## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
RALOXIFENE | 2440 | 67530LCM56 | 2014-05-21 | ng/L | 0.5856 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 39.105 | RALOXIFENE | E | 9.72 | 22.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5856 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7092 | 0.26899 | 0.5856 | 0.49354 | 0.36586
RALOXIFENE | 2440 | 67530LCM56 | 2014-07-12 | ng/L | 0.52423 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 39.105 | RALOXIFENE | E | 9.72 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52423 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7092 | 0.26899 | 0.5856 | 0.49354 | 0.36586
RALOXIFENE | 2440 | 67530LCM56 | 2014-10-10 | ng/L | 1.0178 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 19.5525 | RALOXIFENE | E | 9.72 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0178 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7092 | 0.26899 | 0.5856 | 0.49354 | 0.36586
RALOXIFENE | 2440 | 67530LCM56 | 2014-12-06 | ng/L | 0.15242 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 39.3 | RALOXIFENE | E | 9.72 | 5.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15242 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.2201 | 0.060091 | 0.24071 | 0.11476 | 0.085069
RALOXIFENE | 2440 | 67530LCM56 | 2015-01-16 | ng/L | 0.24071 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 39.3 | RALOXIFENE | E | 9.72 | 9.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24071 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.2201 | 0.060091 | 0.24071 | 0.11476 | 0.085069
RALOXIFENE | 2440 | 67530LCM56 | 2015-05-07 | ng/L | 0.26718 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 39.3 | RALOXIFENE | E | 9.72 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26718 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.2201 | 0.060091 | 0.24071 | 0.11476 | 0.085069
RALOXIFENE | 2440 | 67530LCM56 | 2014-05-30 | ng/L | 0.72114 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 19.5525 | RALOXIFENE | E | 9.72 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72114 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74074 | 0.2193 | 0.72114 | 0.43728 | 0.32415
RALOXIFENE | 2440 | 67530LCM56 | 2014-06-22 | ng/L | 0.96919 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 39.105 | RALOXIFENE | E | 9.72 | 37.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96919 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74074 | 0.2193 | 0.72114 | 0.43728 | 0.32415
RALOXIFENE | 2440 | 67530LCM56 | 2014-07-13 | ng/L | 0.5319 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 19.5525 | RALOXIFENE | E | 9.72 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5319 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74074 | 0.2193 | 0.72114 | 0.43728 | 0.32415
RALOXIFENE | 2440 | 67530LCM56 | 2014-10-10 | ng/L | 0.9922 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 19.5525 | RALOXIFENE | E | 9.72 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9922 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.41171 | 0.50586 | 0.17773 | 0.92699 | 0.68717
RALOXIFENE | 2440 | 67530LCM56 | 2014-11-04 | ng/L | 0.065209 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 20.856 | RALOXIFENE | E | 9.72 | 1.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.065209 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.41171 | 0.50586 | 0.17773 | 0.92699 | 0.68717
RALOXIFENE | 2440 | 67530LCM56 | 2015-02-06 | ng/L | 0.17773 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 39.105 | RALOXIFENE | E | 9.72 | 6.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.17773 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.41171 | 0.50586 | 0.17773 | 0.92699 | 0.68717
RALOXIFENE | 2440 | 67530LCM56 | 2015-07-09 | ng/L | 0.12188 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 14.44 | RALOXIFENE | E | 9.72 | 1.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12188 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.12188 |  | 0.12188 | 0 | 0
RALOXIFENE | 2440 | 67530LCM56 | 2015-06-26 | ng/L | 0.22161 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 14.44 | RALOXIFENE | E | 9.72 | 3.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22161 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36877 | 0.20812 | 0.36877 | 0.29432 | 0.21818
RALOXIFENE | 2440 | 67530LCM56 | 2015-07-31 | ng/L | 0.51593 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 28.88 | RALOXIFENE | E | 9.72 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51593 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36877 | 0.20812 | 0.36877 | 0.29432 | 0.21818
RALOXIFENE | 2440 | 67530LCM56 | 2015-10-01 | ng/L | 0.12195 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 59.04 | RALOXIFENE | E | 9.72 | 7.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12195 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.12195 |  | 0.12195 | 0 | 0
RALOXIFENE | 2440 | 67530LCM56 | 2014-10-11 | ng/L | 0.78155 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 20.856 | RALOXIFENE | E | 9.72 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78155 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36751 | 0.35985 | 0.19083 | 0.65139 | 0.48287
RALOXIFENE | 2440 | 67530LCM56 | 2015-03-10 | ng/L | 0.13016 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 39.105 | RALOXIFENE | E | 9.72 | 5.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.13016 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36751 | 0.35985 | 0.19083 | 0.65139 | 0.48287
RALOXIFENE | 2440 | 67530LCM56 | 2015-04-10 | ng/L | 0.19083 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 20.856 | RALOXIFENE | E | 9.72 | 3.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19083 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36751 | 0.35985 | 0.19083 | 0.65139 | 0.48287
RALOXIFENE | 2440 | 67530LCM56 | 2014-08-16 | ng/L | 0.35318 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 19.65 | RALOXIFENE | E | 9.72 | 6.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35318 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3458 | 0.010436 | 0.3458 | 0.014758 | 0.01094
RALOXIFENE | 2440 | 67530LCM56 | 2014-08-28 | ng/L | 0.33842 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 39.3 | RALOXIFENE | E | 9.72 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33842 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3458 | 0.010436 | 0.3458 | 0.014758 | 0.01094
RALOXIFENE | 2440 | 67530LCM56 | 2014-12-07 | ng/L | 0.13359 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 39.3 | RALOXIFENE | E | 9.72 | 5.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.13359 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.13359 |  | 0.13359 | 0 | 0
RALOXIFENE | 2440 | 67530LCM56 | 2015-04-29 | ng/L | 0.52417 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 39.3 | RALOXIFENE | E | 9.72 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52417 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52417 |  | 0.52417 | 0 | 0
RALOXIFENE | 2440 | 67530LCM56 | 2015-10-01 | ng/L | 0.30894 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 29.52 | RALOXIFENE | E | 9.72 | 9.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30894 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.30894 |  | 0.30894 | 0 | 0