## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
RANITIDINE | 2440 | 67452LCM56 | 2014-07-12 | ng/L | 0.22199 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 770.3099 | RANITIDINE | E | 192 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22199 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.22199 |  | 0.22199 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2014-11-04 | ng/L | 0.19407 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 411.2 | RANITIDINE | E | 192 | 79.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19407 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.21379 | 0.1331 | 0.17875 | 0.16986 | 0.12592
RANITIDINE | 2440 | 67452LCM56 | 2014-12-06 | ng/L | 0.094293 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 771 | RANITIDINE | E | 192 | 72.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.094293 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.21379 | 0.1331 | 0.17875 | 0.16986 | 0.12592
RANITIDINE | 2440 | 67452LCM56 | 2015-01-16 | ng/L | 0.40337 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 771 | RANITIDINE | E | 192 | 311 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40337 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.21379 | 0.1331 | 0.17875 | 0.16986 | 0.12592
RANITIDINE | 2440 | 67452LCM56 | 2015-05-07 | ng/L | 0.16342 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 771 | RANITIDINE | E | 192 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.16342 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.21379 | 0.1331 | 0.17875 | 0.16986 | 0.12592
RANITIDINE | 2440 | 67452LCM56 | 2014-06-22 | ng/L | 0.5738 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 770.3099 | RANITIDINE | E | 192 | 442 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5738 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4959 | 0.11015 | 0.4959 | 0.15578 | 0.11548
RANITIDINE | 2440 | 67452LCM56 | 2014-07-13 | ng/L | 0.41801 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 385.155 | RANITIDINE | E | 192 | 161 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41801 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4959 | 0.11015 | 0.4959 | 0.15578 | 0.11548
RANITIDINE | 2440 | 67452LCM56 | 2014-11-04 | ng/L | 0.3359 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 410.832 | RANITIDINE | E | 192 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3359 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.3359 |  | 0.3359 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-06-26 | ng/L | 0.42191 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 289.16 | RANITIDINE | E | 192 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42191 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42191 |  | 0.42191 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2014-08-30 | ng/L | 0.35538 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 385.5 | RANITIDINE | E | 192 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35538 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.35538 |  | 0.35538 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-03-10 | ng/L | 0.44268 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 770.3099 | RANITIDINE | E | 192 | 341 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44268 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.49031 | 0.067355 | 0.49031 | 0.095254 | 0.070611
RANITIDINE | 2440 | 67452LCM56 | 2015-04-10 | ng/L | 0.53793 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 410.832 | RANITIDINE | E | 192 | 221 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53793 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.49031 | 0.067355 | 0.49031 | 0.095254 | 0.070611
RANITIDINE | 2440 | 67452LCM56 | 2014-07-13 | ng/L | 0.074968 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 385.5 | RANITIDINE | E | 192 | 28.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.074968 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.21989 | 0.16169 | 0.1904 | 0.31933 | 0.23671
RANITIDINE | 2440 | 67452LCM56 | 2014-08-16 | ng/L | 0.1904 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 385.5 | RANITIDINE | E | 192 | 73.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.1904 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.21989 | 0.16169 | 0.1904 | 0.31933 | 0.23671
RANITIDINE | 2440 | 67452LCM56 | 2014-08-28 | ng/L | 0.39429 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 771 | RANITIDINE | E | 192 | 304 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39429 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.21989 | 0.16169 | 0.1904 | 0.31933 | 0.23671
RANITIDINE | 2440 | 67452LCM56 | 2014-10-24 | ng/L | 0.15589 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 411.2 | RANITIDINE | E | 192 | 64.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15589 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.26727 | 0.11623 | 0.25811 | 0.23192 | 0.17192
RANITIDINE | 2440 | 67452LCM56 | 2014-12-07 | ng/L | 0.25811 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 771 | RANITIDINE | E | 192 | 199 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25811 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.26727 | 0.11623 | 0.25811 | 0.23192 | 0.17192
RANITIDINE | 2440 | 67452LCM56 | 2015-03-10 | ng/L | 0.38781 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 771 | RANITIDINE | E | 192 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38781 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.26727 | 0.11623 | 0.25811 | 0.23192 | 0.17192
RANITIDINE | 2440 | 67452LCM56 | 2015-04-29 | ng/L | 0.71466 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 771 | RANITIDINE | E | 192 | 551 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71466 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71466 |  | 0.71466 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-10-01 | ng/L | 0.10721 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 1156.64 | RANITIDINE | E | 192 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.10721 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.10721 |  | 0.10721 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-09-15 | ng/L | 0.45486 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 288 | RANITIDINE | E | 192 | 131 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45486 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45486 |  | 0.45486 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-09-09 | ng/L | 0.095833 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 288 | RANITIDINE | E | 192 | 27.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.095833 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.095833 |  | 0.095833 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2015-10-01 | ng/L | 0.23785 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 576 | RANITIDINE | E | 192 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23785 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.23785 |  | 0.23785 | 0 | 0
RANITIDINE | 2440 | 67452LCM56 | 2014-04-23 | ng/L | 0.14342 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 383.5 | RANITIDINE | E | 192 | 55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14342 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.14342 |  | 0.14342 | 0 | 0