## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-05-17 | ng/L | 0.54223 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 195.4875 | SITAGLIPTIN | E | 97.3 | 106 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54223 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49602 | 0.047632 | 0.49875 | 0.095147 | 0.070531
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-06-11 | ng/L | 0.49875 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 390.975 | SITAGLIPTIN | E | 97.3 | 195 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49875 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49602 | 0.047632 | 0.49875 | 0.095147 | 0.070531
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-06-28 | ng/L | 0.44709 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 195.4875 | SITAGLIPTIN | E | 97.3 | 87.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44709 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49602 | 0.047632 | 0.49875 | 0.095147 | 0.070531
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-09-12 | ng/L | 0.61897 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 195.4875 | SITAGLIPTIN | . | 97.3 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61897 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77547 | 0.11405 | 0.81047 | 0.16945 | 0.12561
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-10-25 | ng/L | 0.86195 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 390.975 | SITAGLIPTIN | E | 97.3 | 337 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86195 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.77547 | 0.11405 | 0.81047 | 0.16945 | 0.12561
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-02-10 | ng/L | 0.76252 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 208.52 | SITAGLIPTIN | . | 97.3 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76252 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77547 | 0.11405 | 0.81047 | 0.16945 | 0.12561
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-04-30 | ng/L | 0.85843 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 208.52 | SITAGLIPTIN | E | 97.3 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85843 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.77547 | 0.11405 | 0.81047 | 0.16945 | 0.12561
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-05-30 | ng/L | 0.42304 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 195.4875 | SITAGLIPTIN | E | 97.3 | 82.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42304 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.54871 | 0.20712 | 0.43532 | 0.36473 | 0.27037
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-06-22 | ng/L | 0.78777 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 390.975 | SITAGLIPTIN | E | 97.3 | 308 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78777 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.54871 | 0.20712 | 0.43532 | 0.36473 | 0.27037
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-07-13 | ng/L | 0.43532 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 195.4875 | SITAGLIPTIN | E | 97.3 | 85.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43532 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.54871 | 0.20712 | 0.43532 | 0.36473 | 0.27037
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-10-10 | ng/L | 0.98974 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 195 | SITAGLIPTIN | . | 97.3 | 193 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98974 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98686 | 0.0097796 | 0.98974 | 0.01891 | 0.014018
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-11-04 | ng/L | 0.97596 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 208 | SITAGLIPTIN | . | 97.3 | 203 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97596 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98686 | 0.0097796 | 0.98974 | 0.01891 | 0.014018
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-02-06 | ng/L | 0.99487 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 390 | SITAGLIPTIN | . | 97.3 | 388 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99487 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98686 | 0.0097796 | 0.98974 | 0.01891 | 0.014018
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-07-30 | ng/L | 0.65592 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 292.72 | SITAGLIPTIN | E | 97.3 | 192 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65592 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60331 | 0.074402 | 0.60331 | 0.10522 | 0.077999
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-08-11 | ng/L | 0.5507 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 146.36 | SITAGLIPTIN | E | 97.3 | 80.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5507 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60331 | 0.074402 | 0.60331 | 0.10522 | 0.077999
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-06-09 | ng/L | 0.55001 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 146.36 | SITAGLIPTIN | . | 97.3 | 80.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55001 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55001 |  | 0.55001 | 0 | 0
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-06-26 | ng/L | 0.55411 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 146.36 | SITAGLIPTIN | . | 97.3 | 81.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55411 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54865 | 0.0077301 | 0.54865 | 0.010932 | 0.0081037
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-07-31 | ng/L | 0.54318 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 292.72 | SITAGLIPTIN | E | 97.3 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54318 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54865 | 0.0077301 | 0.54865 | 0.010932 | 0.0081037
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-10-01 | ng/L | 0.18618 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 585.44 | SITAGLIPTIN | E | 97.3 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18618 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.18618 |  | 0.18618 | 0 | 0
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-07-20 | ng/L | 0.49231 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 195 | SITAGLIPTIN | E | 97.3 | 96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49231 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7188 | 0.35522 | 0.5359 | 0.6359 | 0.47138
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-08-21 | ng/L | 0.5359 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 390 | SITAGLIPTIN | E | 97.3 | 209 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5359 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7188 | 0.35522 | 0.5359 | 0.6359 | 0.47138
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-03-11 | ng/L | 1.1282 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 390 | SITAGLIPTIN | . | 97.3 | 440 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1282 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7188 | 0.35522 | 0.5359 | 0.6359 | 0.47138
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-10-11 | ng/L | 0.84103 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 390 | SITAGLIPTIN | . | 97.3 | 328 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84103 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88002 | 0.08357 | 0.84103 | 0.15288 | 0.11333
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-12-06 | ng/L | 0.82308 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 390 | SITAGLIPTIN | . | 97.3 | 321 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82308 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88002 | 0.08357 | 0.84103 | 0.15288 | 0.11333
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-12-07 | ng/L | 0.97596 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 208 | SITAGLIPTIN | . | 97.3 | 203 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97596 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88002 | 0.08357 | 0.84103 | 0.15288 | 0.11333
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-08-30 | ng/L | 0.7641 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 195 | SITAGLIPTIN | . | 97.3 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7641 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7641 |  | 0.7641 | 0 | 0
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-10-24 | ng/L | 0.75293 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 208.52 | SITAGLIPTIN | E | 97.3 | 157 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75293 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.75143 | 0.052449 | 0.75293 | 0.10487 | 0.077736
SITAGLIPTIN | 2440 | 67531LCM56 | 2014-12-07 | ng/L | 0.80312 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 390.975 | SITAGLIPTIN | . | 97.3 | 314 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80312 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75143 | 0.052449 | 0.75293 | 0.10487 | 0.077736
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-03-10 | ng/L | 0.69825 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 390.975 | SITAGLIPTIN | . | 97.3 | 273 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69825 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75143 | 0.052449 | 0.75293 | 0.10487 | 0.077736
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-04-29 | ng/L | 1.1744 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 390 | SITAGLIPTIN | . | 97.3 | 458 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1744 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1744 |  | 1.1744 | 0 | 0
SITAGLIPTIN | 2440 | 67531LCM56 | 2015-10-01 | ng/L | 0.68666 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 585.44 | SITAGLIPTIN | E | 97.3 | 402 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68666 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68666 |  | 0.68666 | 0 | 0