## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-05-17 | ng/L | 0.70434 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 207.285 | SULFAMETHIZOLE | . | 104 | 146 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70434 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83942 | 0.15164 | 0.81048 | 0.29911 | 0.22172
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-06-11 | ng/L | 1.0034 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 416 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83942 | 0.15164 | 0.81048 | 0.29911 | 0.22172
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-06-28 | ng/L | 0.81048 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 207.285 | SULFAMETHIZOLE | . | 104 | 168 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81048 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83942 | 0.15164 | 0.81048 | 0.29911 | 0.22172
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-09-12 | ng/L | 0.79227 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 207 | SULFAMETHIZOLE | . | 104 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79227 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8479 | 0.092512 | 0.85356 | 0.15625 | 0.11583
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-10-25 | ng/L | 0.9372 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 414 | SULFAMETHIZOLE | . | 104 | 388 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9372 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8479 | 0.092512 | 0.85356 | 0.15625 | 0.11583
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-02-10 | ng/L | 0.91486 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 220.8 | SULFAMETHIZOLE | . | 104 | 202 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91486 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8479 | 0.092512 | 0.85356 | 0.15625 | 0.11583
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-04-30 | ng/L | 0.74728 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 220.8 | SULFAMETHIZOLE | . | 104 | 165 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74728 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8479 | 0.092512 | 0.85356 | 0.15625 | 0.11583
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-05-21 | ng/L | 0.87078 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 361 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87078 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80646 | 0.13945 | 0.87078 | 0.25569 | 0.18954
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-07-12 | ng/L | 0.64645 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 268 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64645 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80646 | 0.13945 | 0.87078 | 0.25569 | 0.18954
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-10-10 | ng/L | 0.90214 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 207.285 | SULFAMETHIZOLE | . | 104 | 187 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90214 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80646 | 0.13945 | 0.87078 | 0.25569 | 0.18954
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-11-04 | ng/L | 0.75078 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 221.104 | SULFAMETHIZOLE | . | 104 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75078 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87877 | 0.19662 | 0.79721 | 0.23729 | 0.1759
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-12-06 | ng/L | 0.76947 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 319 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76947 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87877 | 0.19662 | 0.79721 | 0.23729 | 0.1759
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-01-16 | ng/L | 0.82495 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 342 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82495 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87877 | 0.19662 | 0.79721 | 0.23729 | 0.1759
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-05-07 | ng/L | 1.1699 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 485 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1699 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87877 | 0.19662 | 0.79721 | 0.23729 | 0.1759
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-07-30 | ng/L | 0.8578 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 312.4259 | SULFAMETHIZOLE | . | 104 | 268 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8578 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73457 | 0.17427 | 0.73457 | 0.24646 | 0.1827
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-08-11 | ng/L | 0.61134 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 156.213 | SULFAMETHIZOLE | E | 104 | 95.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61134 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73457 | 0.17427 | 0.73457 | 0.24646 | 0.1827
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-07-09 | ng/L | 0.71697 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 156.213 | SULFAMETHIZOLE | . | 104 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71697 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71697 |  | 0.71697 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-06-09 | ng/L | 0.69777 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 156.213 | SULFAMETHIZOLE | . | 104 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69777 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69777 |  | 0.69777 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-09-10 | ng/L | 0.92308 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 312 | SULFAMETHIZOLE | . | 104 | 288 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92308 |  | 0.92308 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-07-20 | ng/L | 0.65128 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 207.285 | SULFAMETHIZOLE | . | 104 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65128 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76545 | 0.098907 | 0.82013 | 0.17367 | 0.12874
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-08-21 | ng/L | 0.82495 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 342 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82495 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76545 | 0.098907 | 0.82013 | 0.17367 | 0.12874
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-03-11 | ng/L | 0.82013 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 414.57 | SULFAMETHIZOLE | . | 104 | 340 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82013 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76545 | 0.098907 | 0.82013 | 0.17367 | 0.12874
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-10-11 | ng/L | 0.82126 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 414 | SULFAMETHIZOLE | . | 104 | 340 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82126 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84128 | 0.061523 | 0.82126 | 0.11806 | 0.087513
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-12-06 | ng/L | 0.79227 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 414 | SULFAMETHIZOLE | . | 104 | 328 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79227 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84128 | 0.061523 | 0.82126 | 0.11806 | 0.087513
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-12-07 | ng/L | 0.91033 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 220.8 | SULFAMETHIZOLE | . | 104 | 201 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91033 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84128 | 0.061523 | 0.82126 | 0.11806 | 0.087513
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-10-11 | ng/L | 0.81522 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 220.8 | SULFAMETHIZOLE | . | 104 | 180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77486 | 0.070951 | 0.81522 | 0.12349 | 0.091542
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-03-10 | ng/L | 0.81643 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 414 | SULFAMETHIZOLE | . | 104 | 338 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81643 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77486 | 0.070951 | 0.81522 | 0.12349 | 0.091542
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-04-10 | ng/L | 0.69293 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 220.8 | SULFAMETHIZOLE | . | 104 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69293 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77486 | 0.070951 | 0.81522 | 0.12349 | 0.091542
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-07-13 | ng/L | 0.86473 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 207 | SULFAMETHIZOLE | . | 104 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86473 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73833 | 0.11096 | 0.69324 | 0.20773 | 0.15399
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-08-16 | ng/L | 0.657 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 207 | SULFAMETHIZOLE | . | 104 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.657 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73833 | 0.11096 | 0.69324 | 0.20773 | 0.15399
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-08-28 | ng/L | 0.69324 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 414 | SULFAMETHIZOLE | . | 104 | 287 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69324 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73833 | 0.11096 | 0.69324 | 0.20773 | 0.15399
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-10-01 | ng/L | 0.78526 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 624 | SULFAMETHIZOLE | . | 104 | 490 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78526 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78526 |  | 0.78526 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-09-15 | ng/L | 0.82051 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 156 | SULFAMETHIZOLE | . | 104 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82051 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82051 |  | 0.82051 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2015-07-31 | ng/L | 0.97623 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 312.4259 | SULFAMETHIZOLE | . | 104 | 305 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97623 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97623 |  | 0.97623 | 0 | 0
SULFAMETHIZOLE | 2440 | 67476LCM56 | 2014-04-23 | ng/L | 0.71942 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 208.5 | SULFAMETHIZOLE | . | 104 | 150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71942 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71942 |  | 0.71942 | 0 | 0