## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-05-17 | ng/L | 0.84188 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 51.9075 | SULFAMETHOXAZOLE | . | 26.1 | 43.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84188 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76386 | 0.0905 | 0.78505 | 0.17724 | 0.13138
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-06-11 | ng/L | 0.78505 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 103.815 | SULFAMETHOXAZOLE | . | 26.1 | 81.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78505 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76386 | 0.0905 | 0.78505 | 0.17724 | 0.13138
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-06-28 | ng/L | 0.66464 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 51.9075 | SULFAMETHOXAZOLE | . | 26.1 | 34.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66464 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76386 | 0.0905 | 0.78505 | 0.17724 | 0.13138
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-09-12 | ng/L | 0.74748 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 51.9075 | SULFAMETHOXAZOLE | . | 26.1 | 38.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74748 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81639 | 0.046049 | 0.83713 | 0.049066 | 0.036372
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-10-25 | ng/L | 0.84381 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 103.815 | SULFAMETHOXAZOLE | . | 26.1 | 87.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84381 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81639 | 0.046049 | 0.83713 | 0.049066 | 0.036372
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-02-10 | ng/L | 0.83622 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 55.368 | SULFAMETHOXAZOLE | . | 26.1 | 46.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83622 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81639 | 0.046049 | 0.83713 | 0.049066 | 0.036372
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-04-30 | ng/L | 0.83803 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 55.368 | SULFAMETHOXAZOLE | . | 26.1 | 46.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83803 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81639 | 0.046049 | 0.83713 | 0.049066 | 0.036372
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-05-30 | ng/L | 0.74941 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 51.9075 | SULFAMETHOXAZOLE | E | 26.1 | 38.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74941 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.83546 | 0.3434 | 0.74941 | 0.67042 | 0.49698
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-06-22 | ng/L | 1.2137 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 103.815 | SULFAMETHOXAZOLE | E | 26.1 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2137 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.83546 | 0.3434 | 0.74941 | 0.67042 | 0.49698
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-07-13 | ng/L | 0.54327 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 51.9075 | SULFAMETHOXAZOLE | . | 26.1 | 28.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54327 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83546 | 0.3434 | 0.74941 | 0.67042 | 0.49698
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-10-10 | ng/L | 1.0842 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 52.575 | SULFAMETHOXAZOLE | . | 26.1 | 57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92372 | 0.14186 | 0.87209 | 0.26926 | 0.1996
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-11-04 | ng/L | 0.81491 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 56.08 | SULFAMETHOXAZOLE | . | 26.1 | 45.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81491 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92372 | 0.14186 | 0.87209 | 0.26926 | 0.1996
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-02-06 | ng/L | 0.87209 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 91.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87209 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92372 | 0.14186 | 0.87209 | 0.26926 | 0.1996
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-07-30 | ng/L | 0.96361 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 78.04 | SULFAMETHOXAZOLE | E | 26.1 | 75.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96361 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72399 | 0.33887 | 0.72399 | 0.47924 | 0.35526
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-08-11 | ng/L | 0.48437 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 39.02 | SULFAMETHOXAZOLE | E | 26.1 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48437 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72399 | 0.33887 | 0.72399 | 0.47924 | 0.35526
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-06-09 | ng/L | 0.6817 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 39.02 | SULFAMETHOXAZOLE | . | 26.1 | 26.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6817 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6817 |  | 0.6817 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-06-26 | ng/L | 0.82778 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 39.02 | SULFAMETHOXAZOLE | . | 26.1 | 32.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82778 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86174 | 0.048022 | 0.86174 | 0.067914 | 0.050344
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-07-31 | ng/L | 0.89569 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 78.04 | SULFAMETHOXAZOLE | E | 26.1 | 69.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89569 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86174 | 0.048022 | 0.86174 | 0.067914 | 0.050344
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-10-01 | ng/L | 0.9226 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 156.08 | SULFAMETHOXAZOLE | . | 26.1 | 144 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9226 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9226 |  | 0.9226 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-07-20 | ng/L | 0.60865 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 52.575 | SULFAMETHOXAZOLE | E | 26.1 | 32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60865 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7139 | 0.093517 | 0.7456 | 0.17879 | 0.13254
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-08-21 | ng/L | 0.7456 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 78.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7456 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7139 | 0.093517 | 0.7456 | 0.17879 | 0.13254
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-03-11 | ng/L | 0.78745 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 82.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78745 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7139 | 0.093517 | 0.7456 | 0.17879 | 0.13254
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-10-11 | ng/L | 0.82834 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 87.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82834 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90993 | 0.13448 | 0.83631 | 0.2368 | 0.17554
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-12-06 | ng/L | 1.0651 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0651 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90993 | 0.13448 | 0.83631 | 0.2368 | 0.17554
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-12-07 | ng/L | 0.83631 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 56.08 | SULFAMETHOXAZOLE | . | 26.1 | 46.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83631 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90993 | 0.13448 | 0.83631 | 0.2368 | 0.17554
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-08-30 | ng/L | 0.40514 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 52.575 | SULFAMETHOXAZOLE | E | 26.1 | 21.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40514 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40514 |  | 0.40514 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-10-24 | ng/L | 0.69535 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 55.368 | SULFAMETHOXAZOLE | . | 26.1 | 38.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69535 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78951 | 0.098037 | 0.78216 | 0.19566 | 0.14504
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2014-12-07 | ng/L | 0.78216 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 103.815 | SULFAMETHOXAZOLE | . | 26.1 | 81.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78216 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78951 | 0.098037 | 0.78216 | 0.19566 | 0.14504
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-03-10 | ng/L | 0.89101 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 103.815 | SULFAMETHOXAZOLE | . | 26.1 | 92.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89101 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78951 | 0.098037 | 0.78216 | 0.19566 | 0.14504
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-04-29 | ng/L | 0.96053 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 105.15 | SULFAMETHOXAZOLE | . | 26.1 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96053 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96053 |  | 0.96053 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-10-01 | ng/L | 0.90338 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 156.08 | SULFAMETHOXAZOLE | . | 26.1 | 141 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90338 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90338 |  | 0.90338 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-09-15 | ng/L | 0.74235 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 39.2 | SULFAMETHOXAZOLE | . | 26.1 | 29.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74235 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74235 |  | 0.74235 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-09-09 | ng/L | 0.95153 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 39.2 | SULFAMETHOXAZOLE | . | 26.1 | 37.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95153 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95153 |  | 0.95153 | 0 | 0
SULFAMETHOXAZOLE | 2440 | 67454LCM56 | 2015-10-01 | ng/L | 0.8648 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 78.4 | SULFAMETHOXAZOLE | . | 26.1 | 67.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8648 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8648 |  | 0.8648 | 0 | 0