## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEMAZEPAM | 2440 | 67471LCM56 | 2014-05-21 | ng/L | 0.77977 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 73.74 | TEMAZEPAM | . | 18.4 | 57.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77977 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72462 | 0.051395 | 0.71603 | 0.10171 | 0.075396
TEMAZEPAM | 2440 | 67471LCM56 | 2014-07-12 | ng/L | 0.67806 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 73.74 | TEMAZEPAM | . | 18.4 | 50 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67806 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72462 | 0.051395 | 0.71603 | 0.10171 | 0.075396
TEMAZEPAM | 2440 | 67471LCM56 | 2014-10-10 | ng/L | 0.71603 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 36.87 | TEMAZEPAM | . | 18.4 | 26.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71603 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72462 | 0.051395 | 0.71603 | 0.10171 | 0.075396
TEMAZEPAM | 2440 | 67471LCM56 | 2014-05-30 | ng/L | 0.81367 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 36.87 | TEMAZEPAM | . | 18.4 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81367 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81096 | 0.0038357 | 0.81096 | 0.0054245 | 0.0040211
TEMAZEPAM | 2440 | 67471LCM56 | 2014-07-13 | ng/L | 0.80825 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 36.87 | TEMAZEPAM | . | 18.4 | 29.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80825 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81096 | 0.0038357 | 0.81096 | 0.0054245 | 0.0040211
TEMAZEPAM | 2440 | 67471LCM56 | 2014-10-10 | ng/L | 0.58313 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 36.87 | TEMAZEPAM | . | 18.4 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58313 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71993 | 0.12991 | 0.73501 | 0.25851 | 0.19163
TEMAZEPAM | 2440 | 67471LCM56 | 2014-11-04 | ng/L | 0.84164 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 39.328 | TEMAZEPAM | . | 18.4 | 33.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84164 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71993 | 0.12991 | 0.73501 | 0.25851 | 0.19163
TEMAZEPAM | 2440 | 67471LCM56 | 2015-02-06 | ng/L | 0.73501 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 73.74 | TEMAZEPAM | . | 18.4 | 54.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73501 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71993 | 0.12991 | 0.73501 | 0.25851 | 0.19163
TEMAZEPAM | 2440 | 67471LCM56 | 2015-07-09 | ng/L | 0.61416 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 27.68 | TEMAZEPAM | . | 18.4 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61416 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61416 |  | 0.61416 | 0 | 0
TEMAZEPAM | 2440 | 67471LCM56 | 2015-06-26 | ng/L | 0.52746 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 27.68 | TEMAZEPAM | . | 18.4 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52746 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.597 | 0.098351 | 0.597 | 0.13909 | 0.10311
TEMAZEPAM | 2440 | 67471LCM56 | 2015-07-31 | ng/L | 0.66655 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 55.36 | TEMAZEPAM | . | 18.4 | 36.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66655 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.597 | 0.098351 | 0.597 | 0.13909 | 0.10311
TEMAZEPAM | 2440 | 67471LCM56 | 2015-10-01 | ng/L | 0.29529 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 110.4 | TEMAZEPAM | E | 18.4 | 32.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29529 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.29529 |  | 0.29529 | 0 | 0
TEMAZEPAM | 2440 | 67471LCM56 | 2015-09-10 | ng/L | 0.53107 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 55.36 | TEMAZEPAM | . | 18.4 | 29.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53107 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.53107 |  | 0.53107 | 0 | 0
TEMAZEPAM | 2440 | 67471LCM56 | 2014-10-11 | ng/L | 0.64331 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 39.328 | TEMAZEPAM | . | 18.4 | 25.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64331 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70394 | 0.056098 | 0.7145 | 0.11069 | 0.082056
TEMAZEPAM | 2440 | 67471LCM56 | 2015-03-10 | ng/L | 0.754 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 73.74 | TEMAZEPAM | . | 18.4 | 55.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.754 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70394 | 0.056098 | 0.7145 | 0.11069 | 0.082056
TEMAZEPAM | 2440 | 67471LCM56 | 2015-04-10 | ng/L | 0.7145 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 39.328 | TEMAZEPAM | . | 18.4 | 28.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7145 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70394 | 0.056098 | 0.7145 | 0.11069 | 0.082056
TEMAZEPAM | 2440 | 67471LCM56 | 2015-10-01 | ng/L | 0.43659 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 55.2 | TEMAZEPAM | E | 18.4 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43659 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.43659 |  | 0.43659 | 0 | 0
TEMAZEPAM | 2440 | 67471LCM56 | 2015-07-31 | ng/L | 0.66123 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 55.2 | TEMAZEPAM | . | 18.4 | 36.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66123 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66123 |  | 0.66123 | 0 | 0