## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-06-11 | ng/L | 0.77844 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 15.03 | THIABENDAZOLE | E | 4.1 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77844 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82036 | 0.059278 | 0.82036 | 0.083832 | 0.062144
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-06-28 | ng/L | 0.86228 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 7.515 | THIABENDAZOLE | E | 4.1 | 6.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86228 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82036 | 0.059278 | 0.82036 | 0.083832 | 0.062144
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-09-12 | ng/L | 0.50166 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 7.515 | THIABENDAZOLE | E | 4.1 | 3.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50166 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7571 | 0.36105 | 0.59947 | 0.6685 | 0.49555
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-10-25 | ng/L | 0.59947 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 15.03 | THIABENDAZOLE | . | 4.1 | 9.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59947 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7571 | 0.36105 | 0.59947 | 0.6685 | 0.49555
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-04-30 | ng/L | 1.1702 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 8.016 | THIABENDAZOLE | E | 4.1 | 9.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1702 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7571 | 0.36105 | 0.59947 | 0.6685 | 0.49555
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-05-30 | ng/L | 1.01 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 7.515 | THIABENDAZOLE | . | 4.1 | 7.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93768 | 0.30262 | 1.01 | 0.59215 | 0.43895
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-06-22 | ng/L | 1.1976 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 15.03 | THIABENDAZOLE | . | 4.1 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1976 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93768 | 0.30262 | 1.01 | 0.59215 | 0.43895
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-07-13 | ng/L | 0.60546 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 7.515 | THIABENDAZOLE | . | 4.1 | 4.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60546 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93768 | 0.30262 | 1.01 | 0.59215 | 0.43895
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-10-10 | ng/L | 0.15758 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 8.25 | THIABENDAZOLE | . | 4.1 | 1.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15758 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43333 | 0.38998 | 0.43333 | 0.55152 | 0.40883
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-02-06 | ng/L | 0.70909 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 16.5 | THIABENDAZOLE | . | 4.1 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70909 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43333 | 0.38998 | 0.43333 | 0.55152 | 0.40883
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-07-09 | ng/L | 0.67442 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 6.02 | THIABENDAZOLE | . | 4.1 | 4.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67442 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67442 |  | 0.67442 | 0 | 0
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-06-26 | ng/L | 0.78405 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 6.02 | THIABENDAZOLE | . | 4.1 | 4.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78405 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63289 | 0.21378 | 0.63289 | 0.30233 | 0.22411
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-07-31 | ng/L | 0.48173 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 12.04 | THIABENDAZOLE | . | 4.1 | 5.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48173 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63289 | 0.21378 | 0.63289 | 0.30233 | 0.22411
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-10-01 | ng/L | 0.41802 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 24.64 | THIABENDAZOLE | E | 4.1 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41802 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.41802 |  | 0.41802 | 0 | 0
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-07-20 | ng/L | 0.97091 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 8.25 | THIABENDAZOLE | . | 4.1 | 8.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97091 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83394 | 0.1937 | 0.83394 | 0.27394 | 0.20307
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-08-21 | ng/L | 0.69697 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 16.5 | THIABENDAZOLE | . | 4.1 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69697 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83394 | 0.1937 | 0.83394 | 0.27394 | 0.20307
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-10-11 | ng/L | 0.40303 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 16.5 | THIABENDAZOLE | . | 4.1 | 6.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40303 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43364 | 0.043284 | 0.43364 | 0.061212 | 0.045376
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-12-06 | ng/L | 0.46424 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 16.5 | THIABENDAZOLE | . | 4.1 | 7.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46424 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43364 | 0.043284 | 0.43364 | 0.061212 | 0.045376
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-08-30 | ng/L | 0.71394 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 8.25 | THIABENDAZOLE | . | 4.1 | 5.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71394 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71394 |  | 0.71394 | 0 | 0
THIABENDAZOLE | 2440 | 67455LCM56 | 2014-12-07 | ng/L | 0.64338 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 15.03 | THIABENDAZOLE | . | 4.1 | 9.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64338 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71756 | 0.10491 | 0.71756 | 0.14837 | 0.10999
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-03-10 | ng/L | 0.79175 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 15.03 | THIABENDAZOLE | E | 4.1 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79175 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71756 | 0.10491 | 0.71756 | 0.14837 | 0.10999
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-04-29 | ng/L | 0.94545 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 16.5 | THIABENDAZOLE | E | 4.1 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94545 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94545 |  | 0.94545 | 0 | 0
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-10-01 | ng/L | 0.82792 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 12.32 | THIABENDAZOLE | E | 4.1 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82792 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82792 |  | 0.82792 | 0 | 0
THIABENDAZOLE | 2440 | 67455LCM56 | 2015-07-31 | ng/L | 0.88474 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 12.32 | THIABENDAZOLE | . | 4.1 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88474 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88474 |  | 0.88474 | 0 | 0