## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRAMADOL | 2440 | 67517LCM56 | 2014-05-17 | ng/L | 0.86515 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 30.0525 | TRAMADOL | . | 15.1 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86515 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82467 | 0.035541 | 0.81025 | 0.06655 | 0.049333
TRAMADOL | 2440 | 67517LCM56 | 2014-06-11 | ng/L | 0.81025 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 60.105 | TRAMADOL | . | 15.1 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81025 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82467 | 0.035541 | 0.81025 | 0.06655 | 0.049333
TRAMADOL | 2440 | 67517LCM56 | 2014-06-28 | ng/L | 0.7986 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 30.0525 | TRAMADOL | . | 15.1 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7986 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82467 | 0.035541 | 0.81025 | 0.06655 | 0.049333
TRAMADOL | 2440 | 67517LCM56 | 2014-09-12 | ng/L | 0.55914 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 30.225 | TRAMADOL | . | 15.1 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55914 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.72276 | 0.11191 | 0.75962 | 0.12707 | 0.094194
TRAMADOL | 2440 | 67517LCM56 | 2014-10-25 | ng/L | 0.75931 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 60.45 | TRAMADOL | . | 15.1 | 45.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75931 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.72276 | 0.11191 | 0.75962 | 0.12707 | 0.094194
TRAMADOL | 2440 | 67517LCM56 | 2015-02-10 | ng/L | 0.75993 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 32.24 | TRAMADOL | . | 15.1 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75993 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.72276 | 0.11191 | 0.75962 | 0.12707 | 0.094194
TRAMADOL | 2440 | 67517LCM56 | 2015-04-30 | ng/L | 0.81266 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 32.24 | TRAMADOL | . | 15.1 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81266 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.72276 | 0.11191 | 0.75962 | 0.12707 | 0.094194
TRAMADOL | 2440 | 67517LCM56 | 2014-05-21 | ng/L | 0.97995 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 60.105 | TRAMADOL | E | 15.1 | 58.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97995 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.81469 | 0.14859 | 0.77198 | 0.28783 | 0.21337
TRAMADOL | 2440 | 67517LCM56 | 2014-07-12 | ng/L | 0.77198 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 60.105 | TRAMADOL | . | 15.1 | 46.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77198 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81469 | 0.14859 | 0.77198 | 0.28783 | 0.21337
TRAMADOL | 2440 | 67517LCM56 | 2014-10-10 | ng/L | 0.69212 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 30.0525 | TRAMADOL | . | 15.1 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69212 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81469 | 0.14859 | 0.77198 | 0.28783 | 0.21337
TRAMADOL | 2440 | 67517LCM56 | 2014-11-04 | ng/L | 0.75493 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 32.056 | TRAMADOL | . | 15.1 | 24.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75493 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8143 | 0.092369 | 0.80921 | 0.15327 | 0.11362
TRAMADOL | 2440 | 67517LCM56 | 2014-12-06 | ng/L | 0.72041 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 60.105 | TRAMADOL | . | 15.1 | 43.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72041 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8143 | 0.092369 | 0.80921 | 0.15327 | 0.11362
TRAMADOL | 2440 | 67517LCM56 | 2015-01-16 | ng/L | 0.86349 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 60.105 | TRAMADOL | . | 15.1 | 51.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86349 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8143 | 0.092369 | 0.80921 | 0.15327 | 0.11362
TRAMADOL | 2440 | 67517LCM56 | 2015-05-07 | ng/L | 0.91839 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 60.105 | TRAMADOL | . | 15.1 | 55.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91839 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8143 | 0.092369 | 0.80921 | 0.15327 | 0.11362
TRAMADOL | 2440 | 67517LCM56 | 2015-07-30 | ng/L | 0.90266 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 45.3105 | TRAMADOL | . | 15.1 | 40.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90266 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73603 | 0.23565 | 0.73603 | 0.33326 | 0.24704
TRAMADOL | 2440 | 67517LCM56 | 2015-08-11 | ng/L | 0.5694 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 22.6553 | TRAMADOL | E | 15.1 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5694 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73603 | 0.23565 | 0.73603 | 0.33326 | 0.24704
TRAMADOL | 2440 | 67517LCM56 | 2015-07-09 | ng/L | 0.70624 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 22.6553 | TRAMADOL | . | 15.1 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70624 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70624 |  | 0.70624 | 0 | 0
TRAMADOL | 2440 | 67517LCM56 | 2015-06-09 | ng/L | 0.65768 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 22.6553 | TRAMADOL | . | 15.1 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65768 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65768 |  | 0.65768 | 0 | 0
TRAMADOL | 2440 | 67517LCM56 | 2014-07-20 | ng/L | 0.63555 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 30.0525 | TRAMADOL | . | 15.1 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63555 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74703 | 0.13591 | 0.7071 | 0.26287 | 0.19487
TRAMADOL | 2440 | 67517LCM56 | 2014-08-21 | ng/L | 0.7071 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 60.105 | TRAMADOL | . | 15.1 | 42.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7071 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74703 | 0.13591 | 0.7071 | 0.26287 | 0.19487
TRAMADOL | 2440 | 67517LCM56 | 2015-03-11 | ng/L | 0.89843 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 60.105 | TRAMADOL | . | 15.1 | 54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89843 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74703 | 0.13591 | 0.7071 | 0.26287 | 0.19487
TRAMADOL | 2440 | 67517LCM56 | 2014-10-11 | ng/L | 0.66005 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 60.45 | TRAMADOL | . | 15.1 | 39.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66005 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72036 | 0.062444 | 0.71629 | 0.12469 | 0.092431
TRAMADOL | 2440 | 67517LCM56 | 2014-12-06 | ng/L | 0.71629 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 60.45 | TRAMADOL | . | 15.1 | 43.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71629 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72036 | 0.062444 | 0.71629 | 0.12469 | 0.092431
TRAMADOL | 2440 | 67517LCM56 | 2014-12-07 | ng/L | 0.78474 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 32.24 | TRAMADOL | . | 15.1 | 25.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78474 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72036 | 0.062444 | 0.71629 | 0.12469 | 0.092431
TRAMADOL | 2440 | 67517LCM56 | 2014-10-11 | ng/L | 0.58933 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 32.24 | TRAMADOL | . | 15.1 | 19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58933 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66143 | 0.063069 | 0.68859 | 0.11704 | 0.08676
TRAMADOL | 2440 | 67517LCM56 | 2015-03-10 | ng/L | 0.70637 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 60.45 | TRAMADOL | . | 15.1 | 42.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70637 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66143 | 0.063069 | 0.68859 | 0.11704 | 0.08676
TRAMADOL | 2440 | 67517LCM56 | 2015-04-10 | ng/L | 0.68859 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 32.24 | TRAMADOL | . | 15.1 | 22.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68859 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66143 | 0.063069 | 0.68859 | 0.11704 | 0.08676
TRAMADOL | 2440 | 67517LCM56 | 2014-07-13 | ng/L | 0.6617 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 30.225 | TRAMADOL | . | 15.1 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6617 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60987 | 0.048437 | 0.60215 | 0.095947 | 0.071125
TRAMADOL | 2440 | 67517LCM56 | 2014-08-16 | ng/L | 0.60215 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 30.225 | TRAMADOL | . | 15.1 | 18.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60215 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60987 | 0.048437 | 0.60215 | 0.095947 | 0.071125
TRAMADOL | 2440 | 67517LCM56 | 2014-08-28 | ng/L | 0.56576 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 60.45 | TRAMADOL | . | 15.1 | 34.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56576 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60987 | 0.048437 | 0.60215 | 0.095947 | 0.071125
TRAMADOL | 2440 | 67517LCM56 | 2015-07-31 | ng/L | 0.90487 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 45.3105 | TRAMADOL | . | 15.1 | 41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90487 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90487 |  | 0.90487 | 0 | 0