## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIAMTERENE | 2440 | 67475LCM56 | 2014-05-21 | ng/L | 1.2527 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 21.075 | TRIAMTERENE | E | 5.25 | 26.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2527 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9066 | 0.33058 | 0.87307 | 0.6586 | 0.48821
TRIAMTERENE | 2440 | 67475LCM56 | 2014-07-12 | ng/L | 0.87307 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 21.075 | TRIAMTERENE | E | 5.25 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87307 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9066 | 0.33058 | 0.87307 | 0.6586 | 0.48821
TRIAMTERENE | 2440 | 67475LCM56 | 2014-10-10 | ng/L | 0.59407 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 10.5375 | TRIAMTERENE | . | 5.25 | 6.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59407 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9066 | 0.33058 | 0.87307 | 0.6586 | 0.48821
TRIAMTERENE | 2440 | 67475LCM56 | 2014-11-04 | ng/L | 0.73381 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 11.12 | TRIAMTERENE | . | 5.25 | 8.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73381 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.82854 | 0.16772 | 0.78657 | 0.24221 | 0.17955
TRIAMTERENE | 2440 | 67475LCM56 | 2014-12-06 | ng/L | 0.68106 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68106 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.82854 | 0.16772 | 0.78657 | 0.24221 | 0.17955
TRIAMTERENE | 2440 | 67475LCM56 | 2015-01-16 | ng/L | 0.83933 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83933 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.82854 | 0.16772 | 0.78657 | 0.24221 | 0.17955
TRIAMTERENE | 2440 | 67475LCM56 | 2015-05-07 | ng/L | 1.06 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.82854 | 0.16772 | 0.78657 | 0.24221 | 0.17955
TRIAMTERENE | 2440 | 67475LCM56 | 2014-05-30 | ng/L | 1.0724 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 10.5375 | TRIAMTERENE | . | 5.25 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9395 | 0.13286 | 0.9395 | 0.26572 | 0.19697
TRIAMTERENE | 2440 | 67475LCM56 | 2014-06-22 | ng/L | 0.9395 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 21.075 | TRIAMTERENE | . | 5.25 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9395 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9395 | 0.13286 | 0.9395 | 0.26572 | 0.19697
TRIAMTERENE | 2440 | 67475LCM56 | 2014-07-13 | ng/L | 0.80664 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 10.5375 | TRIAMTERENE | E | 5.25 | 8.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80664 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9395 | 0.13286 | 0.9395 | 0.26572 | 0.19697
TRIAMTERENE | 2440 | 67475LCM56 | 2014-10-10 | ng/L | 0.6159 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 10.5375 | TRIAMTERENE | . | 5.25 | 6.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6159 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66793 | 0.09973 | 0.6159 | 0.17794 | 0.1319
TRIAMTERENE | 2440 | 67475LCM56 | 2014-11-04 | ng/L | 0.60498 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 11.24 | TRIAMTERENE | . | 5.25 | 6.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60498 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66793 | 0.09973 | 0.6159 | 0.17794 | 0.1319
TRIAMTERENE | 2440 | 67475LCM56 | 2015-02-06 | ng/L | 0.78292 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 21.075 | TRIAMTERENE | . | 5.25 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78292 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66793 | 0.09973 | 0.6159 | 0.17794 | 0.1319
TRIAMTERENE | 2440 | 67475LCM56 | 2015-07-30 | ng/L | 0.8283 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 15.6948 | TRIAMTERENE | E | 5.25 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8283 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73591 | 0.13066 | 0.73591 | 0.18477 | 0.13697
TRIAMTERENE | 2440 | 67475LCM56 | 2015-08-11 | ng/L | 0.64353 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 7.8474 | TRIAMTERENE | E | 5.25 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64353 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73591 | 0.13066 | 0.73591 | 0.18477 | 0.13697
TRIAMTERENE | 2440 | 67475LCM56 | 2015-07-09 | ng/L | 0.63333 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 7.8474 | TRIAMTERENE | E | 5.25 | 4.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63333 |  | 0.63333 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-06-09 | ng/L | 0.90348 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 7.8474 | TRIAMTERENE | . | 5.25 | 7.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90348 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90348 |  | 0.90348 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-09-10 | ng/L | 0.59747 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 15.8 | TRIAMTERENE | . | 5.25 | 9.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59747 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59747 |  | 0.59747 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2014-08-30 | ng/L | 0.89688 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 10.425 | TRIAMTERENE | . | 5.25 | 9.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89688 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89688 |  | 0.89688 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2014-10-11 | ng/L | 0.46708 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 11.24 | TRIAMTERENE | . | 5.25 | 5.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46708 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63563 | 0.15116 | 0.6806 | 0.29211 | 0.21654
TRIAMTERENE | 2440 | 67475LCM56 | 2015-03-10 | ng/L | 0.75919 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 21.075 | TRIAMTERENE | . | 5.25 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75919 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63563 | 0.15116 | 0.6806 | 0.29211 | 0.21654
TRIAMTERENE | 2440 | 67475LCM56 | 2015-04-10 | ng/L | 0.6806 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 11.24 | TRIAMTERENE | . | 5.25 | 7.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6806 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63563 | 0.15116 | 0.6806 | 0.29211 | 0.21654
TRIAMTERENE | 2440 | 67475LCM56 | 2014-07-13 | ng/L | 0.95731 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 10.425 | TRIAMTERENE | E | 5.25 | 9.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95731 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.70919 | 0.22126 | 0.63789 | 0.42494 | 0.315
TRIAMTERENE | 2440 | 67475LCM56 | 2014-08-16 | ng/L | 0.53237 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 10.425 | TRIAMTERENE | E | 5.25 | 5.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53237 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.70919 | 0.22126 | 0.63789 | 0.42494 | 0.315
TRIAMTERENE | 2440 | 67475LCM56 | 2014-08-28 | ng/L | 0.63789 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 20.85 | TRIAMTERENE | E | 5.25 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63789 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.70919 | 0.22126 | 0.63789 | 0.42494 | 0.315
TRIAMTERENE | 2440 | 67475LCM56 | 2014-10-24 | ng/L | 0.7536 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 11.12 | TRIAMTERENE | . | 5.25 | 8.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7536 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79157 | 0.035893 | 0.79616 | 0.071343 | 0.052886
TRIAMTERENE | 2440 | 67475LCM56 | 2014-12-07 | ng/L | 0.82494 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82494 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79157 | 0.035893 | 0.79616 | 0.071343 | 0.052886
TRIAMTERENE | 2440 | 67475LCM56 | 2015-03-10 | ng/L | 0.79616 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79616 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79157 | 0.035893 | 0.79616 | 0.071343 | 0.052886
TRIAMTERENE | 2440 | 67475LCM56 | 2015-04-29 | ng/L | 0.86331 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 20.85 | TRIAMTERENE | . | 5.25 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86331 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86331 |  | 0.86331 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-10-01 | ng/L | 0.6519 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 31.6 | TRIAMTERENE | . | 5.25 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6519 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6519 |  | 0.6519 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-09-15 | ng/L | 0.81392 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 7.9 | TRIAMTERENE | . | 5.25 | 6.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81392 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81392 |  | 0.81392 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-10-01 | ng/L | 0.5557 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 7.9 | TRIAMTERENE | . | 5.25 | 4.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5557 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5557 |  | 0.5557 | 0 | 0
TRIAMTERENE | 2440 | 67475LCM56 | 2015-07-31 | ng/L | 0.80281 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 15.6948 | TRIAMTERENE | E | 5.25 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80281 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80281 |  | 0.80281 | 0 | 0