## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-05-17 | ng/L | 1.2085 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 37.65 | TRIMETHOPRIM | . | 19 | 45.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2085 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1421 | 0.17317 | 1.2085 | 0.32669 | 0.24217
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-11 | ng/L | 1.2722 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 75.3 | TRIMETHOPRIM | E | 19 | 95.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2722 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1421 | 0.17317 | 1.2085 | 0.32669 | 0.24217
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-28 | ng/L | 0.94555 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 37.65 | TRIMETHOPRIM | . | 19 | 35.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94555 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1421 | 0.17317 | 1.2085 | 0.32669 | 0.24217
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-09-12 | ng/L | 0.60027 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 37.65 | TRIMETHOPRIM | . | 19 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60027 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.9009 | 0.24858 | 0.90281 | 0.3574 | 0.26494
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-25 | ng/L | 0.96149 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 75.3 | TRIMETHOPRIM | . | 19 | 72.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96149 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.9009 | 0.24858 | 0.90281 | 0.3574 | 0.26494
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-02-10 | ng/L | 0.84412 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 40.16 | TRIMETHOPRIM | . | 19 | 33.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84412 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.9009 | 0.24858 | 0.90281 | 0.3574 | 0.26494
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-04-30 | ng/L | 1.1977 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 40.16 | TRIMETHOPRIM | E | 19 | 48.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1977 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.9009 | 0.24858 | 0.90281 | 0.3574 | 0.26494
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-05-30 | ng/L | 0.93493 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 37.65 | TRIMETHOPRIM | . | 19 | 35.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93493 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82293 | 0.16178 | 0.89641 | 0.29748 | 0.22052
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-22 | ng/L | 0.89641 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 75.3 | TRIMETHOPRIM | . | 19 | 67.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89641 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82293 | 0.16178 | 0.89641 | 0.29748 | 0.22052
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-13 | ng/L | 0.63745 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 37.65 | TRIMETHOPRIM | . | 19 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63745 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82293 | 0.16178 | 0.89641 | 0.29748 | 0.22052
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-10 | ng/L | 1.0787 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 38.1 | TRIMETHOPRIM | . | 19 | 41.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0787 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0195 | 0.097596 | 1.0728 | 0.17192 | 0.12744
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-11-04 | ng/L | 1.0728 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 40.64 | TRIMETHOPRIM | E | 19 | 43.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0728 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0195 | 0.097596 | 1.0728 | 0.17192 | 0.12744
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-02-06 | ng/L | 0.90682 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 76.2 | TRIMETHOPRIM | . | 19 | 69.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90682 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0195 | 0.097596 | 1.0728 | 0.17192 | 0.12744
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-07-30 | ng/L | 0.76075 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 57.1803 | TRIMETHOPRIM | . | 19 | 43.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76075 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64795 | 0.15952 | 0.64795 | 0.2256 | 0.16724
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-08-11 | ng/L | 0.53515 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 28.5902 | TRIMETHOPRIM | E | 19 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53515 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64795 | 0.15952 | 0.64795 | 0.2256 | 0.16724
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-07-09 | ng/L | 0.9164 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 28.5902 | TRIMETHOPRIM | E | 19 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9164 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9164 |  | 0.9164 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-06-09 | ng/L | 0.74501 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 28.5902 | TRIMETHOPRIM | E | 19 | 21.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74501 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74501 |  | 0.74501 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-09-10 | ng/L | 0.57218 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 56.8 | TRIMETHOPRIM | . | 19 | 32.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57218 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57218 |  | 0.57218 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-20 | ng/L | 0.45144 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 38.1 | TRIMETHOPRIM | . | 19 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45144 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84383 | 0.34265 | 0.99606 | 0.63255 | 0.4689
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-21 | ng/L | 0.99606 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 76.2 | TRIMETHOPRIM | . | 19 | 75.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99606 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84383 | 0.34265 | 0.99606 | 0.63255 | 0.4689
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-03-11 | ng/L | 1.084 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 76.2 | TRIMETHOPRIM | . | 19 | 82.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.084 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84383 | 0.34265 | 0.99606 | 0.63255 | 0.4689
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-11 | ng/L | 0.98294 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 76.2 | TRIMETHOPRIM | . | 19 | 74.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98294 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0047 | 0.037694 | 0.98294 | 0.065289 | 0.048398
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-06 | ng/L | 0.98294 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 76.2 | TRIMETHOPRIM | . | 19 | 74.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98294 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0047 | 0.037694 | 0.98294 | 0.065289 | 0.048398
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-07 | ng/L | 1.0482 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 40.64 | TRIMETHOPRIM | . | 19 | 42.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0482 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0047 | 0.037694 | 0.98294 | 0.065289 | 0.048398
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-30 | ng/L | 1.1129 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 38.1 | TRIMETHOPRIM | . | 19 | 42.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1129 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1129 |  | 1.1129 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-24 | ng/L | 0.99353 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 40.16 | TRIMETHOPRIM | . | 19 | 39.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99353 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98545 | 0.045692 | 0.99353 | 0.090305 | 0.066943
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-07 | ng/L | 0.93625 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 75.3 | TRIMETHOPRIM | . | 19 | 70.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93625 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98545 | 0.045692 | 0.99353 | 0.090305 | 0.066943
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-03-10 | ng/L | 1.0266 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 75.3 | TRIMETHOPRIM | . | 19 | 77.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0266 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98545 | 0.045692 | 0.99353 | 0.090305 | 0.066943
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-04-29 | ng/L | 1.3255 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 76.2 | TRIMETHOPRIM | E | 19 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3255 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3255 |  | 1.3255 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-10-01 | ng/L | 0.40757 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 113.6 | TRIMETHOPRIM | E | 19 | 46.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40757 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40757 |  | 0.40757 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-09-15 | ng/L | 0.52113 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 28.4 | TRIMETHOPRIM | . | 19 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52113 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52113 |  | 0.52113 | 0 | 0
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-07-31 | ng/L | 0.85869 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 57.1803 | TRIMETHOPRIM | . | 19 | 49.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85869 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85869 |  | 0.85869 | 0 | 0