## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-05-21 | ng/L | 0.040471 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 654.795 | VALACYCLOVIR | E | 163 | 26.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.040471 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.096162 | 0.093174 | 0.044289 | 0.16326 | 0.12102
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-07-12 | ng/L | 0.044289 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 654.795 | VALACYCLOVIR | E | 163 | 29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.044289 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.096162 | 0.093174 | 0.044289 | 0.16326 | 0.12102
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-10-10 | ng/L | 0.20373 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 327.3975 | VALACYCLOVIR | E | 163 | 66.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20373 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.096162 | 0.093174 | 0.044289 | 0.16326 | 0.12102
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-11-04 | ng/L | 0.50226 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 354.4 | VALACYCLOVIR | E | 163 | 178 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50226 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47771 | 0.049462 | 0.49643 | 0.060008 | 0.044483
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-12-06 | ng/L | 0.40482 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 269 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40482 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47771 | 0.049462 | 0.49643 | 0.060008 | 0.044483
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-01-16 | ng/L | 0.49059 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 326 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49059 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47771 | 0.049462 | 0.49643 | 0.060008 | 0.044483
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-05-07 | ng/L | 0.51317 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 341 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51317 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47771 | 0.049462 | 0.49643 | 0.060008 | 0.044483
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-05-30 | ng/L | 0.050703 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 327.3975 | VALACYCLOVIR | E | 163 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.050703 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.046834 | 0.011787 | 0.050703 | 0.022602 | 0.016755
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-06-22 | ng/L | 0.056201 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 654.795 | VALACYCLOVIR | E | 163 | 36.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.056201 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.046834 | 0.011787 | 0.050703 | 0.022602 | 0.016755
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-07-13 | ng/L | 0.033598 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 327.3975 | VALACYCLOVIR | E | 163 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.033598 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.046834 | 0.011787 | 0.050703 | 0.022602 | 0.016755
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-10-10 | ng/L | 0.14386 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 327.3975 | VALACYCLOVIR | E | 163 | 47.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14386 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33348 | 0.18346 | 0.34648 | 0.36622 | 0.27148
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-11-04 | ng/L | 0.34648 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 349.224 | VALACYCLOVIR | E | 163 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34648 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33348 | 0.18346 | 0.34648 | 0.36622 | 0.27148
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-02-06 | ng/L | 0.51008 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 654.795 | VALACYCLOVIR | E | 163 | 334 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51008 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33348 | 0.18346 | 0.34648 | 0.36622 | 0.27148
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-07-09 | ng/L | 0.37167 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 244.3 | VALACYCLOVIR | E | 163 | 90.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37167 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.37167 |  | 0.37167 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-06-26 | ng/L | 0.44208 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 244.3 | VALACYCLOVIR | E | 163 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44208 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43594 | 0.0086833 | 0.43594 | 0.01228 | 0.009103
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-07-31 | ng/L | 0.4298 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 488.6 | VALACYCLOVIR | E | 163 | 210 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4298 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43594 | 0.0086833 | 0.43594 | 0.01228 | 0.009103
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-10-01 | ng/L | 0.57825 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 984 | VALACYCLOVIR | E | 163 | 569 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57825 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57825 |  | 0.57825 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-09-10 | ng/L | 0.24765 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 488.6 | VALACYCLOVIR | E | 163 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24765 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.24765 |  | 0.24765 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-08-30 | ng/L | 0.22694 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 332.25 | VALACYCLOVIR | E | 163 | 75.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22694 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.22694 |  | 0.22694 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-10-11 | ng/L | 0.56124 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 349.224 | VALACYCLOVIR | E | 163 | 196 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56124 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33579 | 0.19642 | 0.24454 | 0.35965 | 0.26661
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-03-10 | ng/L | 0.20159 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 654.795 | VALACYCLOVIR | E | 163 | 132 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20159 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33579 | 0.19642 | 0.24454 | 0.35965 | 0.26661
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-04-10 | ng/L | 0.24454 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 349.224 | VALACYCLOVIR | E | 163 | 85.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24454 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33579 | 0.19642 | 0.24454 | 0.35965 | 0.26661
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-07-13 | ng/L | 0.027238 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 332.25 | VALACYCLOVIR | E | 163 | 9.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.027239 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.14903 | 0.19439 | 0.046652 | 0.34597 | 0.25647
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-08-16 | ng/L | 0.046652 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 332.25 | VALACYCLOVIR | E | 163 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.046652 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.14903 | 0.19439 | 0.046652 | 0.34597 | 0.25647
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-08-28 | ng/L | 0.37321 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 664.5 | VALACYCLOVIR | E | 163 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37321 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.14903 | 0.19439 | 0.046652 | 0.34597 | 0.25647
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-10-24 | ng/L | 0.44018 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 354.4 | VALACYCLOVIR | E | 163 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44018 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.45122 | 0.032297 | 0.44018 | 0.061701 | 0.045738
VALACYCLOVIR | 2440 | 67507LCM56 | 2014-12-07 | ng/L | 0.42588 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 283 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42588 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.45122 | 0.032297 | 0.44018 | 0.061701 | 0.045738
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-03-10 | ng/L | 0.48758 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 324 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48758 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.45122 | 0.032297 | 0.44018 | 0.061701 | 0.045738
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-04-29 | ng/L | 0.45448 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 664.5 | VALACYCLOVIR | E | 163 | 302 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45448 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45448 |  | 0.45448 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-10-01 | ng/L | 0.42276 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 246 | VALACYCLOVIR | E | 163 | 104 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42276 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42276 |  | 0.42276 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-09-09 | ng/L | 0.24437 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 244.3 | VALACYCLOVIR | E | 163 | 59.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24437 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.24437 |  | 0.24437 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-10-01 | ng/L | 0.73374 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 492 | VALACYCLOVIR | E | 163 | 361 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73374 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73374 |  | 0.73374 | 0 | 0
VALACYCLOVIR | 2440 | 67507LCM56 | 2015-07-31 | ng/L | 0.74187 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 492 | VALACYCLOVIR | E | 163 | 365 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74187 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74187 |  | 0.74187 | 0 | 0