## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
VENLAFAXINE | 2440 | 67534LCM56 | 2014-05-21 | ng/L | 0.72416 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 18.09 | VENLAFAXINE | . | 4.48 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72416 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64971 | 0.089384 | 0.67441 | 0.17358 | 0.12867
VENLAFAXINE | 2440 | 67534LCM56 | 2014-07-12 | ng/L | 0.67441 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 18.09 | VENLAFAXINE | . | 4.48 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67441 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64971 | 0.089384 | 0.67441 | 0.17358 | 0.12867
VENLAFAXINE | 2440 | 67534LCM56 | 2014-10-10 | ng/L | 0.55058 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 9.045 | VENLAFAXINE | . | 4.48 | 4.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55058 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64971 | 0.089384 | 0.67441 | 0.17358 | 0.12867
VENLAFAXINE | 2440 | 67534LCM56 | 2014-12-06 | ng/L | 0.63866 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63866 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77498 | 0.1319 | 0.78431 | 0.26331 | 0.19519
VENLAFAXINE | 2440 | 67534LCM56 | 2015-01-16 | ng/L | 0.78431 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78431 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77498 | 0.1319 | 0.78431 | 0.26331 | 0.19519
VENLAFAXINE | 2440 | 67534LCM56 | 2015-05-07 | ng/L | 0.90196 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90196 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77498 | 0.1319 | 0.78431 | 0.26331 | 0.19519
VENLAFAXINE | 2440 | 67534LCM56 | 2014-05-30 | ng/L | 0.63129 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 9.045 | VENLAFAXINE | . | 4.48 | 5.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63129 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69467 | 0.17259 | 0.63129 | 0.32725 | 0.24259
VENLAFAXINE | 2440 | 67534LCM56 | 2014-06-22 | ng/L | 0.88999 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 18.09 | VENLAFAXINE | . | 4.48 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88999 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69467 | 0.17259 | 0.63129 | 0.32725 | 0.24259
VENLAFAXINE | 2440 | 67534LCM56 | 2014-07-13 | ng/L | 0.56274 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 9.045 | VENLAFAXINE | . | 4.48 | 5.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56274 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69467 | 0.17259 | 0.63129 | 0.32725 | 0.24259
VENLAFAXINE | 2440 | 67534LCM56 | 2014-10-10 | ng/L | 0.49972 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 9.045 | VENLAFAXINE | . | 4.48 | 4.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49972 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62852 | 0.18215 | 0.62852 | 0.2576 | 0.19096
VENLAFAXINE | 2440 | 67534LCM56 | 2015-02-06 | ng/L | 0.75732 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 18.09 | VENLAFAXINE | . | 4.48 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75732 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62852 | 0.18215 | 0.62852 | 0.2576 | 0.19096
VENLAFAXINE | 2440 | 67534LCM56 | 2015-07-30 | ng/L | 0.63705 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 13.28 | VENLAFAXINE | . | 4.48 | 8.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63705 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55346 | 0.11821 | 0.55346 | 0.16717 | 0.12392
VENLAFAXINE | 2440 | 67534LCM56 | 2015-08-11 | ng/L | 0.46988 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 6.64 | VENLAFAXINE | E | 4.48 | 3.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46988 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55346 | 0.11821 | 0.55346 | 0.16717 | 0.12392
VENLAFAXINE | 2440 | 67534LCM56 | 2015-06-26 | ng/L | 0.54367 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 6.64 | VENLAFAXINE | . | 4.48 | 3.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54367 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52372 | 0.02822 | 0.52372 | 0.03991 | 0.029585
VENLAFAXINE | 2440 | 67534LCM56 | 2015-07-31 | ng/L | 0.50377 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 13.28 | VENLAFAXINE | . | 4.48 | 6.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50377 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52372 | 0.02822 | 0.52372 | 0.03991 | 0.029585
VENLAFAXINE | 2440 | 67534LCM56 | 2015-10-01 | ng/L | 0.86973 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 26.56 | VENLAFAXINE | . | 4.48 | 23.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86973 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86973 |  | 0.86973 | 0 | 0
VENLAFAXINE | 2440 | 67534LCM56 | 2014-08-30 | ng/L | 0.75742 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 8.925 | VENLAFAXINE | . | 4.48 | 6.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75742 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75742 |  | 0.75742 | 0 | 0
VENLAFAXINE | 2440 | 67534LCM56 | 2014-10-11 | ng/L | 0.47989 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 9.648 | VENLAFAXINE | . | 4.48 | 4.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47989 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60911 | 0.1142 | 0.65091 | 0.21663 | 0.16058
VENLAFAXINE | 2440 | 67534LCM56 | 2015-03-10 | ng/L | 0.69652 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 18.09 | VENLAFAXINE | . | 4.48 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69652 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60911 | 0.1142 | 0.65091 | 0.21663 | 0.16058
VENLAFAXINE | 2440 | 67534LCM56 | 2015-04-10 | ng/L | 0.65091 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 9.648 | VENLAFAXINE | . | 4.48 | 6.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65091 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60911 | 0.1142 | 0.65091 | 0.21663 | 0.16058
VENLAFAXINE | 2440 | 67534LCM56 | 2014-07-13 | ng/L | 0.46162 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 8.925 | VENLAFAXINE | . | 4.48 | 4.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46162 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.47507 | 0.090389 | 0.46162 | 0.17927 | 0.13289
VENLAFAXINE | 2440 | 67534LCM56 | 2014-08-16 | ng/L | 0.39216 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 8.925 | VENLAFAXINE | . | 4.48 | 3.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39216 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.47507 | 0.090389 | 0.46162 | 0.17927 | 0.13289
VENLAFAXINE | 2440 | 67534LCM56 | 2014-08-28 | ng/L | 0.57143 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 17.85 | VENLAFAXINE | . | 4.48 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57143 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.47507 | 0.090389 | 0.46162 | 0.17927 | 0.13289
VENLAFAXINE | 2440 | 67534LCM56 | 2014-10-24 | ng/L | 0.74685 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 9.52 | VENLAFAXINE | . | 4.48 | 7.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74685 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7158 | 0.047547 | 0.7395 | 0.085784 | 0.063591
VENLAFAXINE | 2440 | 67534LCM56 | 2014-12-07 | ng/L | 0.66106 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66106 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7158 | 0.047547 | 0.7395 | 0.085784 | 0.063591
VENLAFAXINE | 2440 | 67534LCM56 | 2015-03-10 | ng/L | 0.7395 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7395 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7158 | 0.047547 | 0.7395 | 0.085784 | 0.063591
VENLAFAXINE | 2440 | 67534LCM56 | 2015-04-29 | ng/L | 0.61064 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 17.85 | VENLAFAXINE | . | 4.48 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61064 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61064 |  | 0.61064 | 0 | 0
VENLAFAXINE | 2440 | 67534LCM56 | 2015-10-01 | ng/L | 0.97515 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 26.56 | VENLAFAXINE | . | 4.48 | 25.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97515 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97515 |  | 0.97515 | 0 | 0
VENLAFAXINE | 2440 | 67534LCM56 | 2015-09-15 | ng/L | 0.5503 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 6.76 | VENLAFAXINE | . | 4.48 | 3.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5503 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5503 |  | 0.5503 | 0 | 0
VENLAFAXINE | 2440 | 67534LCM56 | 2015-10-01 | ng/L | 0.64423 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 13.52 | VENLAFAXINE | . | 4.48 | 8.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64423 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64423 |  | 0.64423 | 0 | 0