## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
VERAPAMIL | 2440 | 67472LCM56 | 2014-06-11 | ng/L | 0.25841 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 61.53 | VERAPAMIL | . | 15.5 | 15.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25841 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.20315 | 0.078146 | 0.20315 | 0.11052 | 0.081924
VERAPAMIL | 2440 | 67472LCM56 | 2014-06-28 | ng/L | 0.1479 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 30.765 | VERAPAMIL | E | 15.5 | 4.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.1479 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.20315 | 0.078146 | 0.20315 | 0.11052 | 0.081924
VERAPAMIL | 2440 | 67472LCM56 | 2014-10-25 | ng/L | 0.19324 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 62.1 | VERAPAMIL | . | 15.5 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19324 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.23027 | 0.10352 | 0.19324 | 0.19686 | 0.14593
VERAPAMIL | 2440 | 67472LCM56 | 2015-02-10 | ng/L | 0.15036 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 33.12 | VERAPAMIL | . | 15.5 | 4.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15036 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.23027 | 0.10352 | 0.19324 | 0.19686 | 0.14593
VERAPAMIL | 2440 | 67472LCM56 | 2015-04-30 | ng/L | 0.34722 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 33.12 | VERAPAMIL | . | 15.5 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34722 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.23027 | 0.10352 | 0.19324 | 0.19686 | 0.14593
VERAPAMIL | 2440 | 67472LCM56 | 2014-05-21 | ng/L | 0.45669 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 61.53 | VERAPAMIL | . | 15.5 | 28.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45669 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40121 | 0.11931 | 0.45669 | 0.21843 | 0.16192
VERAPAMIL | 2440 | 67472LCM56 | 2014-07-12 | ng/L | 0.48269 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 61.53 | VERAPAMIL | . | 15.5 | 29.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48269 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40121 | 0.11931 | 0.45669 | 0.21843 | 0.16192
VERAPAMIL | 2440 | 67472LCM56 | 2014-10-10 | ng/L | 0.26426 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 30.765 | VERAPAMIL | . | 15.5 | 8.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26426 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40121 | 0.11931 | 0.45669 | 0.21843 | 0.16192
VERAPAMIL | 2440 | 67472LCM56 | 2014-12-06 | ng/L | 0.26166 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 61.53 | VERAPAMIL | . | 15.5 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26166 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.27304 | 0.027049 | 0.26166 | 0.050382 | 0.037348
VERAPAMIL | 2440 | 67472LCM56 | 2015-01-16 | ng/L | 0.30392 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 61.53 | VERAPAMIL | . | 15.5 | 18.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30392 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.27304 | 0.027049 | 0.26166 | 0.050382 | 0.037348
VERAPAMIL | 2440 | 67472LCM56 | 2015-05-07 | ng/L | 0.25353 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 61.53 | VERAPAMIL | . | 15.5 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25353 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.27304 | 0.027049 | 0.26166 | 0.050382 | 0.037348
VERAPAMIL | 2440 | 67472LCM56 | 2015-07-30 | ng/L | 0.35944 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 46.461 | VERAPAMIL | E | 15.5 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35944 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.35944 |  | 0.35944 | 0 | 0
VERAPAMIL | 2440 | 67472LCM56 | 2015-07-09 | ng/L | 0.29143 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 23.2305 | VERAPAMIL | E | 15.5 | 6.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29143 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.29143 |  | 0.29143 | 0 | 0
VERAPAMIL | 2440 | 67472LCM56 | 2015-09-10 | ng/L | 0.42949 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 46.8 | VERAPAMIL | . | 15.5 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42949 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.42949 |  | 0.42949 | 0 | 0
VERAPAMIL | 2440 | 67472LCM56 | 2014-08-21 | ng/L | 0.11458 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 61.53 | VERAPAMIL | . | 15.5 | 7.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.11458 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.24907 | 0.19019 | 0.24907 | 0.26897 | 0.19939
VERAPAMIL | 2440 | 67472LCM56 | 2015-03-11 | ng/L | 0.38355 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 61.53 | VERAPAMIL | . | 15.5 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38355 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.24907 | 0.19019 | 0.24907 | 0.26897 | 0.19939
VERAPAMIL | 2440 | 67472LCM56 | 2014-10-11 | ng/L | 0.34138 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 62.1 | VERAPAMIL | . | 15.5 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34138 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.34152 | 0.13547 | 0.34138 | 0.27093 | 0.20084
VERAPAMIL | 2440 | 67472LCM56 | 2014-12-06 | ng/L | 0.20612 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 62.1 | VERAPAMIL | . | 15.5 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20612 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.34152 | 0.13547 | 0.34138 | 0.27093 | 0.20084
VERAPAMIL | 2440 | 67472LCM56 | 2014-12-07 | ng/L | 0.47705 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 33.12 | VERAPAMIL | . | 15.5 | 15.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47705 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.34152 | 0.13547 | 0.34138 | 0.27093 | 0.20084
VERAPAMIL | 2440 | 67472LCM56 | 2014-10-11 | ng/L | 0.14312 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 33.12 | VERAPAMIL | . | 15.5 | 4.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14312 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.16271 | 0.029354 | 0.14855 | 0.053341 | 0.039541
VERAPAMIL | 2440 | 67472LCM56 | 2015-03-10 | ng/L | 0.19646 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 62.1 | VERAPAMIL | . | 15.5 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19646 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.16271 | 0.029354 | 0.14855 | 0.053341 | 0.039541
VERAPAMIL | 2440 | 67472LCM56 | 2015-04-10 | ng/L | 0.14855 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 33.12 | VERAPAMIL | . | 15.5 | 4.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14855 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.16271 | 0.029354 | 0.14855 | 0.053341 | 0.039541
VERAPAMIL | 2440 | 67472LCM56 | 2014-07-13 | ng/L | 0.076973 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.05 | VERAPAMIL | . | 15.5 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.076973 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.19002 | 0.099819 | 0.22705 | 0.18905 | 0.14014
VERAPAMIL | 2440 | 67472LCM56 | 2014-08-16 | ng/L | 0.26602 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.05 | VERAPAMIL | . | 15.5 | 8.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26602 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.19002 | 0.099819 | 0.22705 | 0.18905 | 0.14014
VERAPAMIL | 2440 | 67472LCM56 | 2014-08-28 | ng/L | 0.22705 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 62.1 | VERAPAMIL | . | 15.5 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22705 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.19002 | 0.099819 | 0.22705 | 0.18905 | 0.14014
VERAPAMIL | 2440 | 67472LCM56 | 2015-10-01 | ng/L | 0.29167 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 93.6 | VERAPAMIL | E | 15.5 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29167 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.29167 |  | 0.29167 | 0 | 0
VERAPAMIL | 2440 | 67472LCM56 | 2015-09-15 | ng/L | 0.51282 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 23.4 | VERAPAMIL | . | 15.5 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51282 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.51282 |  | 0.51282 | 0 | 0
VERAPAMIL | 2440 | 67472LCM56 | 2015-07-31 | ng/L | 0.55315 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 46.461 | VERAPAMIL | E | 15.5 | 25.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55315 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.55315 |  | 0.55315 | 0 | 0