## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
WARFARIN | 2440 | 67457LCM56 | 2014-05-21 | ng/L | 0.77992 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 24.105 | WARFARIN | . | 6.03 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77992 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68174 | 0.11454 | 0.7094 | 0.22402 | 0.16606
WARFARIN | 2440 | 67457LCM56 | 2014-07-12 | ng/L | 0.7094 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 24.105 | WARFARIN | . | 6.03 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7094 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68174 | 0.11454 | 0.7094 | 0.22402 | 0.16606
WARFARIN | 2440 | 67457LCM56 | 2014-10-10 | ng/L | 0.5559 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 12.0525 | WARFARIN | . | 6.03 | 6.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5559 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68174 | 0.11454 | 0.7094 | 0.22402 | 0.16606
WARFARIN | 2440 | 67457LCM56 | 2014-11-04 | ng/L | 0.32546 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 13.12 | WARFARIN | . | 6.03 | 4.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32546 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.42344 | 0.088926 | 0.42805 | 0.14906 | 0.1105
WARFARIN | 2440 | 67457LCM56 | 2014-12-06 | ng/L | 0.37236 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.6 | WARFARIN | E | 6.03 | 9.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37236 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.42344 | 0.088926 | 0.42805 | 0.14906 | 0.1105
WARFARIN | 2440 | 67457LCM56 | 2015-01-16 | ng/L | 0.48374 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.6 | WARFARIN | . | 6.03 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48374 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.42344 | 0.088926 | 0.42805 | 0.14906 | 0.1105
WARFARIN | 2440 | 67457LCM56 | 2015-05-07 | ng/L | 0.5122 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.6 | WARFARIN | . | 6.03 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5122 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.42344 | 0.088926 | 0.42805 | 0.14906 | 0.1105
WARFARIN | 2440 | 67457LCM56 | 2014-05-30 | ng/L | 0.68948 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.0525 | WARFARIN | . | 6.03 | 8.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68948 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76692 | 0.24899 | 0.68948 | 0.47957 | 0.3555
WARFARIN | 2440 | 67457LCM56 | 2014-06-22 | ng/L | 1.0454 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 24.105 | WARFARIN | . | 6.03 | 25.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0454 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76692 | 0.24899 | 0.68948 | 0.47957 | 0.3555
WARFARIN | 2440 | 67457LCM56 | 2014-07-13 | ng/L | 0.56586 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.0525 | WARFARIN | . | 6.03 | 6.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56586 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76692 | 0.24899 | 0.68948 | 0.47957 | 0.3555
WARFARIN | 2440 | 67457LCM56 | 2014-10-10 | ng/L | 0.47127 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 12.0525 | WARFARIN | E | 6.03 | 5.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47127 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.5646 | 0.10633 | 0.54216 | 0.20909 | 0.15499
WARFARIN | 2440 | 67457LCM56 | 2014-11-04 | ng/L | 0.54216 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 12.856 | WARFARIN | . | 6.03 | 6.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54216 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5646 | 0.10633 | 0.54216 | 0.20909 | 0.15499
WARFARIN | 2440 | 67457LCM56 | 2015-02-06 | ng/L | 0.68036 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 24.105 | WARFARIN | . | 6.03 | 16.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68036 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5646 | 0.10633 | 0.54216 | 0.20909 | 0.15499
WARFARIN | 2440 | 67457LCM56 | 2015-07-30 | ng/L | 0.7135 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 18.08 | WARFARIN | . | 6.03 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7135 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63606 | 0.10951 | 0.63606 | 0.15487 | 0.1148
WARFARIN | 2440 | 67457LCM56 | 2015-08-11 | ng/L | 0.55863 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 9.04 | WARFARIN | E | 6.03 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55863 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63606 | 0.10951 | 0.63606 | 0.15487 | 0.1148
WARFARIN | 2440 | 67457LCM56 | 2015-06-09 | ng/L | 0.38717 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 9.04 | WARFARIN | . | 6.03 | 3.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38717 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.38717 |  | 0.38717 | 0 | 0
WARFARIN | 2440 | 67457LCM56 | 2015-06-26 | ng/L | 0.67478 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 9.04 | WARFARIN | . | 6.03 | 6.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67478 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66925 | 0.007822 | 0.66925 | 0.011062 | 0.0082001
WARFARIN | 2440 | 67457LCM56 | 2015-07-31 | ng/L | 0.66372 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 18.08 | WARFARIN | E | 6.03 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66372 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66925 | 0.007822 | 0.66925 | 0.011062 | 0.0082001
WARFARIN | 2440 | 67457LCM56 | 2015-10-01 | ng/L | 1.0454 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 36.16 | WARFARIN | . | 6.03 | 37.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0454 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0454 |  | 1.0454 | 0 | 0
WARFARIN | 2440 | 67457LCM56 | 2014-08-30 | ng/L | 0.49594 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 12.3 | WARFARIN | E | 6.03 | 6.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49593 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.49593 |  | 0.49593 | 0 | 0
WARFARIN | 2440 | 67457LCM56 | 2014-10-11 | ng/L | 0.41848 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 12.856 | WARFARIN | E | 6.03 | 5.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41848 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.56359 | 0.12586 | 0.62928 | 0.22454 | 0.16645
WARFARIN | 2440 | 67457LCM56 | 2015-03-10 | ng/L | 0.64302 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 24.105 | WARFARIN | . | 6.03 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64302 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56359 | 0.12586 | 0.62928 | 0.22454 | 0.16645
WARFARIN | 2440 | 67457LCM56 | 2015-04-10 | ng/L | 0.62928 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 12.856 | WARFARIN | . | 6.03 | 8.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62928 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56359 | 0.12586 | 0.62928 | 0.22454 | 0.16645
WARFARIN | 2440 | 67457LCM56 | 2014-07-13 | ng/L | 0.4187 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 12.3 | WARFARIN | . | 6.03 | 5.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4187 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.35407 | 0.06345 | 0.35163 | 0.12683 | 0.094017
WARFARIN | 2440 | 67457LCM56 | 2014-08-16 | ng/L | 0.29187 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 12.3 | WARFARIN | . | 6.03 | 3.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29187 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.35407 | 0.06345 | 0.35163 | 0.12683 | 0.094017
WARFARIN | 2440 | 67457LCM56 | 2014-08-28 | ng/L | 0.35163 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 24.6 | WARFARIN | E | 6.03 | 8.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35163 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35407 | 0.06345 | 0.35163 | 0.12683 | 0.094017
WARFARIN | 2440 | 67457LCM56 | 2014-10-24 | ng/L | 0.54116 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 13.12 | WARFARIN | E | 6.03 | 7.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54116 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.41345 | 0.11715 | 0.38821 | 0.23018 | 0.17063
WARFARIN | 2440 | 67457LCM56 | 2014-12-07 | ng/L | 0.38821 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 24.6 | WARFARIN | E | 6.03 | 9.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38821 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.41345 | 0.11715 | 0.38821 | 0.23018 | 0.17063
WARFARIN | 2440 | 67457LCM56 | 2015-03-10 | ng/L | 0.31098 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 24.6 | WARFARIN | . | 6.03 | 7.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31098 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.41345 | 0.11715 | 0.38821 | 0.23018 | 0.17063
WARFARIN | 2440 | 67457LCM56 | 2015-10-01 | ng/L | 0.76881 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 36.16 | WARFARIN | . | 6.03 | 27.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76881 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76881 |  | 0.76881 | 0 | 0
WARFARIN | 2440 | 67457LCM56 | 2015-09-15 | ng/L | 0.8044 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 9.1 | WARFARIN | . | 6.03 | 7.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8044 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8044 |  | 0.8044 | 0 | 0
WARFARIN | 2440 | 67457LCM56 | 2015-10-01 | ng/L | 0.47582 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 18.2 | WARFARIN | . | 6.03 | 8.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47582 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47582 |  | 0.47582 | 0 | 0