## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-08-06 | ug/L | 0.78603 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.0025 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78603 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78603 |  | 0.78603 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-10-22 | ug/L | 0.765 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.775 | 0.014142 | 0.775 | 0.02 | 0.014826
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-04-23 | ug/L | 0.785 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.775 | 0.014142 | 0.775 | 0.02 | 0.014826
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-06-05 | ug/L | 0.7533 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7533 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87466 | 0.10678 | 0.91651 | 0.20088 | 0.14891
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-09-23 | ug/L | 0.91651 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3186 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91651 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87466 | 0.10678 | 0.91651 | 0.20088 | 0.14891
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-05-07 | ug/L | 0.95417 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87466 | 0.10678 | 0.91651 | 0.20088 | 0.14891
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-08-20 | ug/L | 0.94162 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.3186 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94162 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84746 | 0.13317 | 0.84746 | 0.18832 | 0.1396
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-04-20 | ug/L | 0.7533 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7533 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84746 | 0.13317 | 0.84746 | 0.18832 | 0.1396
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-09-29 | ug/L | 0.9375 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.1216 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87171 | 0.09304 | 0.87171 | 0.13158 | 0.097538
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2016-01-26 | ug/L | 0.80592 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.2432 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80592 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87171 | 0.09304 | 0.87171 | 0.13158 | 0.097538
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-10-02 | ug/L | 0.94572 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.1216 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94572 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94572 |  | 0.94572 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-02-06 | ug/L | 0.75198 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.008 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75198 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75198 |  | 0.75198 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-05-30 | ug/L | 0.75595 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.504 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75595 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75595 |  | 0.75595 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-05-19 | ug/L | 0.77047 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.17262 | 1,4-DICHLOROBENZENE | E | 0.2 | 0.133 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77047 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.77047 |  | 0.77047 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-12-04 | ug/L | 0.83582 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83582 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.801 | 0.049251 | 0.801 | 0.069652 | 0.051632
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-04-23 | ug/L | 0.76617 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76617 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.801 | 0.049251 | 0.801 | 0.069652 | 0.051632
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-08-24 | ug/L | 0.648 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.648 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.722 | 0.10465 | 0.722 | 0.148 | 0.10971
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-18 | ug/L | 0.796 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.722 | 0.10465 | 0.722 | 0.148 | 0.10971
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-07-17 | ug/L | 0.7533 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7533 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8349 | 0.11541 | 0.8349 | 0.16321 | 0.12099
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-12-04 | ug/L | 0.91651 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3186 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91651 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8349 | 0.11541 | 0.8349 | 0.16321 | 0.12099
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-09-30 | ug/L | 0.9375 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.2432 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92002 | 0.024714 | 0.92002 | 0.034951 | 0.025909
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2016-01-12 | ug/L | 0.90255 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.4864 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90255 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92002 | 0.024714 | 0.92002 | 0.034951 | 0.025909
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-10-15 | ug/L | 0.89167 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.12 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89167 |  | 0.89167 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-09-26 | ug/L | 0.80597 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80597 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80597 |  | 0.80597 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-06-12 | ug/L | 0.768 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.734 | 0.048083 | 0.734 | 0.068 | 0.050408
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-02-05 | ug/L | 0.7 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.734 | 0.048083 | 0.734 | 0.068 | 0.050408
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-12 | ug/L | 0.76587 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.504 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76587 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76587 |  | 0.76587 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-20 | ug/L | 0.77 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77 |  | 0.77 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-03-11 | ug/L | 0.78201 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.69181 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78201 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68246 | 0.14078 | 0.68246 | 0.1991 | 0.14759
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-07-23 | ug/L | 0.58292 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.34825 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58292 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68246 | 0.14078 | 0.68246 | 0.1991 | 0.14759
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-07-15 | ug/L | 0.64475 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64475 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7099 | 0.092144 | 0.7099 | 0.13031 | 0.096598
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-08-20 | ug/L | 0.77506 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77506 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7099 | 0.092144 | 0.7099 | 0.13031 | 0.096598
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2011-05-19 | ug/L | 0.88856 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88856 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89506 | 0.009197 | 0.89506 | 0.013007 | 0.0096416
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2011-10-18 | ug/L | 0.90156 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90156 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89506 | 0.009197 | 0.89506 | 0.013007 | 0.0096416
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-07-22 | ug/L | 0.85417 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.24 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85417 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85417 |  | 0.85417 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-11-17 | ug/L | 0.86667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.12 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86667 |  | 0.86667 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-07-31 | ug/L | 0.94444 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.252 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81548 | 0.18239 | 0.81548 | 0.25794 | 0.19121
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-03-27 | ug/L | 0.68651 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.252 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68651 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81548 | 0.18239 | 0.81548 | 0.25794 | 0.19121
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-08-01 | ug/L | 0.81692 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.005 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81692 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72189 | 0.13439 | 0.72189 | 0.19005 | 0.14088
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-04-22 | ug/L | 0.62687 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62687 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72189 | 0.13439 | 0.72189 | 0.19005 | 0.14088
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-11-14 | ug/L | 0.835 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.835 |  | 0.835 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-03-28 | ug/L | 0.723 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.723 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.723 |  | 0.723 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2014-07-09 | ug/L | 0.70308 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70308 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80979 | 0.15092 | 0.80979 | 0.21343 | 0.15822
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-04-21 | ug/L | 0.91651 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1593 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91651 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80979 | 0.15092 | 0.80979 | 0.21343 | 0.15822
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-11-05 | ug/L | 0.91077 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.4864 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91077 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91077 |  | 0.91077 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2015-09-29 | ug/L | 0.84167 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.12 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.014731 | 0.83125 | 0.020833 | 0.015444
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2016-01-14 | ug/L | 0.82083 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.24 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82083 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.014731 | 0.83125 | 0.020833 | 0.015444