## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-10-01 | ug/L | 0.94595 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.1184 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97128 | 0.035833 | 0.97128 | 0.050676 | 0.037565
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-11-17 | ug/L | 0.99662 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0592 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99662 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97128 | 0.035833 | 0.97128 | 0.050676 | 0.037565
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-05-08 | ug/L | 0.96346 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96346 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96346 |  | 0.96346 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-06-05 | ug/L | 0.799 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.799 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89888 | 0.099875 | 0.89888 | 0.19975 | 0.14807
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-09-23 | ug/L | 0.89888 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89888 | 0.099875 | 0.89888 | 0.19975 | 0.14807
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-05-07 | ug/L | 0.99875 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99875 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89888 | 0.099875 | 0.89888 | 0.19975 | 0.14807
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-08-20 | ug/L | 0.93009 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93009 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83958 | 0.128 | 0.83958 | 0.18102 | 0.13419
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-04-20 | ug/L | 0.74906 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74906 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83958 | 0.128 | 0.83958 | 0.18102 | 0.13419
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-05-30 | ug/L | 0.93 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93 |  | 0.93 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-10-16 | ug/L | 1.0557 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.2368 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0557 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0557 |  | 1.0557 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2016-01-13 | ug/L | 0.96346 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1204 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96346 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96346 |  | 0.96346 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-12-15 | ug/L | 0.70657 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.82653 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70657 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-04-14 | ug/L | 1.0033 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.3329 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-07-07 | ug/L | 0.72892 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72892 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-08-17 | ug/L | 0.96386 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-11-22 | ug/L | 0.91265 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91265 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-01-16 | ug/L | 0.9488 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9488 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-06 | ug/L | 0.92289 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92289 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-07 | ug/L | 0.85843 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85843 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-04-10 | ug/L | 0.90361 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90361 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-27 | ug/L | 1.0316 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-07-17 | ug/L | 0.82397 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88015 | 0.07945 | 0.88015 | 0.11236 | 0.083291
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-12-04 | ug/L | 0.93633 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88015 | 0.07945 | 0.88015 | 0.11236 | 0.083291
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-08-21 | ug/L | 1.037 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.037 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0597 | 0.044655 | 1.037 | 0.080247 | 0.059486
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-09-23 | ug/L | 1.0309 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0309 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0597 | 0.044655 | 1.037 | 0.080247 | 0.059486
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-04-22 | ug/L | 1.1111 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0597 | 0.044655 | 1.037 | 0.080247 | 0.059486
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-09-30 | ug/L | 1.0304 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1184 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0304 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0389 | 0.011944 | 1.0389 | 0.016892 | 0.012522
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2016-01-12 | ug/L | 1.0473 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2368 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0473 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0389 | 0.011944 | 1.0389 | 0.016892 | 0.012522
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-10-15 | ug/L | 1.1824 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.0592 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1824 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1824 |  | 1.1824 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-09-26 | ug/L | 0.90541 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90541 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90541 |  | 0.90541 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-06-12 | ug/L | 0.93514 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.185 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93514 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86622 | 0.097466 | 0.86622 | 0.13784 | 0.10218
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-02-05 | ug/L | 0.7973 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7973 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86622 | 0.097466 | 0.86622 | 0.13784 | 0.10218
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-11-14 | ug/L | 0.83784 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83784 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87838 | 0.057333 | 0.87838 | 0.081081 | 0.060105
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-04-23 | ug/L | 0.91892 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87838 | 0.057333 | 0.87838 | 0.081081 | 0.060105
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-06-14 | ug/L | 1.0216 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.185 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0216 |  | 1.0216 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-12 | ug/L | 0.82 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82 |  | 0.82 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-05-29 | ug/L | 0.87333 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87333 |  | 0.87333 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-20 | ug/L | 0.83 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83 |  | 0.83 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-09-18 | ug/L | 0.93333 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93333 |  | 0.93333 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-07-15 | ug/L | 0.65731 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65731 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71618 | 0.083262 | 0.71618 | 0.11775 | 0.087287
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | ug/L | 0.77506 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77506 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71618 | 0.083262 | 0.71618 | 0.11775 | 0.087287
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-05-19 | ug/L | 1.0722 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0908 | 0.02627 | 1.0908 | 0.037151 | 0.02754
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-10-18 | ug/L | 1.1094 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0908 | 0.02627 | 1.0908 | 0.037151 | 0.02754
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-07-20 | ug/L | 0.59964 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.552 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59964 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.70713 | 0.096595 | 0.73506 | 0.18703 | 0.13864
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | ug/L | 0.78667 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.1411 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.111 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78667 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.70713 | 0.096595 | 0.73506 | 0.18703 | 0.13864
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | ug/L | 0.73506 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.27481 | 1-METHYLNAPHTHALENE | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73506 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70713 | 0.096595 | 0.73506 | 0.18703 | 0.13864
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-07-08 | ug/L | 0.7963 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.162 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7963 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94136 | 0.20515 | 0.94136 | 0.29012 | 0.21507
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-09-11 | ug/L | 1.0864 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.081 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0864 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94136 | 0.20515 | 0.94136 | 0.29012 | 0.21507
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-11-05 | ug/L | 0.99383 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.162 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99383 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95988 | 0.048013 | 0.95988 | 0.067901 | 0.050334
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-01-27 | ug/L | 0.92593 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.081 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95988 | 0.048013 | 0.95988 | 0.067901 | 0.050334
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-31 | ug/L | 1.06 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92 | 0.19799 | 0.92 | 0.28 | 0.20756
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-03-27 | ug/L | 0.78 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92 | 0.19799 | 0.92 | 0.28 | 0.20756
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-19 | ug/L | 0.83167 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.6 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83167 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8075 | 0.034177 | 0.8075 | 0.048333 | 0.035829
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-02-07 | ug/L | 0.78333 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8075 | 0.034177 | 0.8075 | 0.048333 | 0.035829
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-08-01 | ug/L | 0.85676 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.37 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85676 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81351 | 0.061155 | 0.81351 | 0.086486 | 0.064112
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-04-22 | ug/L | 0.77027 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77027 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81351 | 0.061155 | 0.81351 | 0.086486 | 0.064112
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-11-14 | ug/L | 1.0405 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0405 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0405 |  | 1.0405 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-02-05 | ug/L | 0.93514 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.185 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93514 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93514 |  | 0.93514 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-04-24 | ug/L | 0.89189 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89189 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89189 |  | 0.89189 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-07-09 | ug/L | 0.72409 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72409 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81149 | 0.12359 | 0.81149 | 0.17478 | 0.12956
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-04-21 | ug/L | 0.89888 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0801 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81149 | 0.12359 | 0.81149 | 0.17478 | 0.12956
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-06-04 | ug/L | 0.67901 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 1-METHYLNAPHTHALENE | E | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67901 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75926 | 0.11349 | 0.75926 | 0.16049 | 0.11897
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2014-10-21 | ug/L | 0.83951 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83951 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75926 | 0.11349 | 0.75926 | 0.16049 | 0.11897
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-11-05 | ug/L | 0.94269 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2408 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94269 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94269 |  | 0.94269 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-07-09 | ug/L | 0.94684 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94684 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94684 |  | 0.94684 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2015-09-29 | ug/L | 1.0299 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0602 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0299 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98422 | 0.064603 | 0.98422 | 0.091362 | 0.067726
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2016-01-14 | ug/L | 0.93854 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1204 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93854 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98422 | 0.064603 | 0.98422 | 0.091362 | 0.067726
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-02-03 | ug/L | 0.62816 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.34068 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62816 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-04-26 | ug/L | 0.97512 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3415 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97512 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-06-29 | ug/L | 0.95164 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3556 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95164 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-08-07 | ug/L | 0.84895 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3664 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84895 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-10-04 | ug/L | 0.88993 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88993 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-11-22 | ug/L | 0.94145 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.854 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94145 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-01 | ug/L | 0.90164 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90164 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-26 | ug/L | 0.99824 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99824 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-05-13 | ug/L | 0.63934 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28467 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63934 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67375 | 0.048667 | 0.67375 | 0.068826 | 0.05102
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-18 | ug/L | 0.70817 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.58743 | 1-METHYLNAPHTHALENE | . | 0.2 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70817 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67375 | 0.048667 | 0.67375 | 0.068826 | 0.05102