## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-02-17 | ug/L | 0.75819 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.59088 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75819 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-04-15 | ug/L | 1.0132 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4509 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0132 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-05-03 | ug/L | 0.82942 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.57028 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82942 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-07-07 | ug/L | 0.89213 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4572 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89213 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-08-16 | ug/L | 0.83018 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5806 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83018 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-11-22 | ug/L | 0.93868 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3224 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93868 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-12-08 | ug/L | 0.74578 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5806 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74578 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-03-07 | ug/L | 0.95074 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4515 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95074 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-04-10 | ug/L | 0.99552 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5806 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99552 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-05-04 | ug/L | 0.84051 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4515 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84051 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87943 | 0.093761 | 0.86632 | 0.12132 | 0.089934
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-06-05 | ug/L | 0.82707 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82707 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91896 | 0.10129 | 0.90226 | 0.2005 | 0.14863
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-09-23 | ug/L | 0.90226 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1596 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90226 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91896 | 0.10129 | 0.90226 | 0.2005 | 0.14863
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-05-07 | ug/L | 1.0276 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0276 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91896 | 0.10129 | 0.90226 | 0.2005 | 0.14863
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-08-20 | ug/L | 0.97744 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1596 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97744 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8584 | 0.16836 | 0.8584 | 0.2381 | 0.1765
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-04-20 | ug/L | 0.73935 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73935 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8584 | 0.16836 | 0.8584 | 0.2381 | 0.1765
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-09-29 | ug/L | 1.0099 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.0604 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93957 | 0.09951 | 0.93957 | 0.14073 | 0.10432
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2016-01-26 | ug/L | 0.86921 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.1208 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86921 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93957 | 0.09951 | 0.93957 | 0.14073 | 0.10432
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-10-02 | ug/L | 0.97682 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.0604 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97682 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97682 |  | 0.97682 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-05-30 | ug/L | 0.882 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.882 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.882 |  | 0.882 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-12-15 | ug/L | 0.78831 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.57338 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78831 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-02-18 | ug/L | 0.84937 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.56866 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84937 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-06-28 | ug/L | 0.8496 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.307 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8496 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-08-06 | ug/L | 0.7101 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4505 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7101 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-08-17 | ug/L | 0.8928 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5802 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8928 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-02-01 | ug/L | 0.55084 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4505 | 2,6-DIMETHYLNAPHTHALENE | E | 0.04 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55084 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-03-06 | ug/L | 0.84885 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3208 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84885 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-03-07 | ug/L | 0.8342 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5802 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8342 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-05-04 | ug/L | 0.84798 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4505 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84798 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-05-22 | ug/L | 0.8747 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3208 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8747 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.80467 | 0.10275 | 0.84841 | 0.061291 | 0.045435
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-07-17 | ug/L | 0.82707 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82707 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89286 | 0.09304 | 0.89286 | 0.13158 | 0.097538
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-12-04 | ug/L | 0.95865 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1596 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95865 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89286 | 0.09304 | 0.89286 | 0.13158 | 0.097538
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-08-21 | ug/L | 0.95062 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95062 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96296 | 0.021383 | 0.95062 | 0.037037 | 0.027455
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-09-23 | ug/L | 0.95062 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95062 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96296 | 0.021383 | 0.95062 | 0.037037 | 0.027455
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-04-22 | ug/L | 0.98765 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98765 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96296 | 0.021383 | 0.95062 | 0.037037 | 0.027455
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-09-30 | ug/L | 1.0099 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1208 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97682 | 0.046828 | 0.97682 | 0.066225 | 0.049092
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2016-01-12 | ug/L | 0.94371 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2416 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94371 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97682 | 0.046828 | 0.97682 | 0.066225 | 0.049092
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-10-15 | ug/L | 1.0333 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-09-26 | ug/L | 1.0312 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0312 |  | 1.0312 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-06-12 | ug/L | 0.88125 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.16 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88125 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84688 | 0.048614 | 0.84688 | 0.06875 | 0.050964
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-02-05 | ug/L | 0.8125 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84688 | 0.048614 | 0.84688 | 0.06875 | 0.050964
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-11-14 | ug/L | 0.76562 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76562 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82812 | 0.088388 | 0.82812 | 0.125 | 0.092661
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-04-23 | ug/L | 0.89062 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89062 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82812 | 0.088388 | 0.82812 | 0.125 | 0.092661
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-06-14 | ug/L | 0.925 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.16 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.925 |  | 0.925 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-12-12 | ug/L | 0.76606 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.996 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76606 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76606 |  | 0.76606 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-05-29 | ug/L | 0.84337 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.498 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84337 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84337 |  | 0.84337 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-12-20 | ug/L | 0.76305 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.996 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76305 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76305 |  | 0.76305 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-09-18 | ug/L | 0.86546 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.498 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86546 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86546 |  | 0.86546 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-07-15 | ug/L | 0.68243 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68243 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72464 | 0.0597 | 0.72464 | 0.084429 | 0.062586
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-08-20 | ug/L | 0.76686 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76686 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72464 | 0.0597 | 0.72464 | 0.084429 | 0.062586
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-05-19 | ug/L | 1.0524 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0524 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0715 | 0.027052 | 1.0715 | 0.038257 | 0.02836
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2011-10-18 | ug/L | 1.0906 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0906 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0715 | 0.027052 | 1.0715 | 0.038257 | 0.02836
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-07-20 | ug/L | 0.58374 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.4968 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58374 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69867 | 0.099855 | 0.74809 | 0.18044 | 0.13375
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-08-20 | ug/L | 0.74809 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.12699 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.095 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74809 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.69867 | 0.099855 | 0.74809 | 0.18044 | 0.13375
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-08-20 | ug/L | 0.76418 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.24733 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76418 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69867 | 0.099855 | 0.74809 | 0.18044 | 0.13375
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-07-08 | ug/L | 0.7716 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.162 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7716 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89198 | 0.17023 | 0.89198 | 0.24074 | 0.17846
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-09-11 | ug/L | 1.0123 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.081 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0123 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89198 | 0.17023 | 0.89198 | 0.24074 | 0.17846
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-11-05 | ug/L | 0.91975 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.162 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91975 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89815 | 0.030554 | 0.89815 | 0.04321 | 0.032031
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-01-27 | ug/L | 0.87654 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.081 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87654 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89815 | 0.030554 | 0.89815 | 0.04321 | 0.032031
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-07-22 | ug/L | 0.96667 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-11-17 | ug/L | 0.98333 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98333 |  | 0.98333 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-07-31 | ug/L | 0.982 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.982 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.855 | 0.17961 | 0.855 | 0.254 | 0.18829
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-03-27 | ug/L | 0.728 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.728 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.855 | 0.17961 | 0.855 | 0.254 | 0.18829
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2012-12-19 | ug/L | 0.77 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7525 | 0.024749 | 0.7525 | 0.035 | 0.025945
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-02-07 | ug/L | 0.735 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.735 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7525 | 0.024749 | 0.7525 | 0.035 | 0.025945
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-08-01 | ug/L | 0.825 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.32 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79531 | 0.041984 | 0.79531 | 0.059375 | 0.044014
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-04-22 | ug/L | 0.76562 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76562 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79531 | 0.041984 | 0.79531 | 0.059375 | 0.044014
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2013-11-14 | ug/L | 0.96875 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96875 |  | 0.96875 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-02-05 | ug/L | 0.94375 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.16 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94375 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94375 |  | 0.94375 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-04-24 | ug/L | 0.85937 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.064 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85938 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85938 |  | 0.85938 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-07-09 | ug/L | 0.77694 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77694 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85213 | 0.10633 | 0.85213 | 0.15038 | 0.11147
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-04-21 | ug/L | 0.92732 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0798 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92732 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85213 | 0.10633 | 0.85213 | 0.15038 | 0.11147
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-06-04 | ug/L | 0.64198 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 2,6-DIMETHYLNAPHTHALENE | E | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64198 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7284 | 0.12222 | 0.7284 | 0.17284 | 0.12812
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2014-10-21 | ug/L | 0.81481 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7284 | 0.12222 | 0.7284 | 0.17284 | 0.12812
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-11-05 | ug/L | 0.93957 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2416 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93957 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93957 |  | 0.93957 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2015-09-29 | ug/L | 1.05 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0208 | 0.041248 | 1.0208 | 0.058333 | 0.043242
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2016-01-14 | ug/L | 0.99167 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.12 | 2,6-DIMETHYLNAPHTHALENE | . | 0.04 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0208 | 0.041248 | 1.0208 | 0.058333 | 0.043242
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-05-13 | ug/L | 0.5953 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.25701 | 2,6-DIMETHYLNAPHTHALENE | E | 0.2 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5953 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64929 | 0.07636 | 0.64929 | 0.10799 | 0.080051
2,6-DIMETHYLNAPHTHALENE | 4433 | 62805GCM99 | 2010-08-18 | ug/L | 0.70329 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.53037 | 2,6-DIMETHYLNAPHTHALENE | . | 0.2 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70329 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64929 | 0.07636 | 0.64929 | 0.10799 | 0.080051