## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-08-20 | ug/L | 1.0737 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0737 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0799 | 0.0088278 | 1.0799 | 0.012484 | 0.0092546
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-10-20 | ug/L | 1.0861 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0861 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0799 | 0.0088278 | 1.0799 | 0.012484 | 0.0092546
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-12-03 | ug/L | 1.0237 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1602 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0237 |  | 1.0237 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-10-01 | ug/L | 0.88333 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.12 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88333 | 0 | 0.88333 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-11-17 | ug/L | 0.88333 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88333 | 0 | 0.88333 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-05-08 | ug/L | 0.99834 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0601 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99834 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99834 |  | 0.99834 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-02-17 | ug/L | 0.753 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24303 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.753 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-04-15 | ug/L | 1.0825 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.59676 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0825 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-05-03 | ug/L | 0.85694 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.23455 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85694 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-07-07 | ug/L | 0.91101 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.59934 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-16 | ug/L | 0.8459 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-11-22 | ug/L | 1.0155 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9552 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-12-08 | ug/L | 0.77052 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77052 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-07 | ug/L | 1.0318 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.597 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0318 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-04-10 | ug/L | 1.0595 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0595 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-04 | ug/L | 0.89782 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.597 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89782 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-06-05 | ug/L | 0.83645 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83645 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97586 | 0.13738 | 0.98002 | 0.27466 | 0.2036
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-09-23 | ug/L | 0.98003 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1602 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98002 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97586 | 0.13738 | 0.98002 | 0.27466 | 0.2036
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-05-07 | ug/L | 1.1111 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97586 | 0.13738 | 0.98002 | 0.27466 | 0.2036
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-08-20 | ug/L | 0.96056 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1572 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96056 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86196 | 0.13944 | 0.86196 | 0.1972 | 0.14618
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-04-20 | ug/L | 0.76336 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0786 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76336 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86196 | 0.13944 | 0.86196 | 0.1972 | 0.14618
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-05-30 | ug/L | 0.89 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89 |  | 0.89 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-12-15 | ug/L | 0.71851 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23382 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71851 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-02-18 | ug/L | 0.83659 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23189 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83659 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-06-28 | ug/L | 0.83231 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.94076 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83231 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-06 | ug/L | 0.67456 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67456 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-17 | ug/L | 0.86221 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2366 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86221 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-02-01 | ug/L | 0.54776 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | E | 0.04 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54776 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-06 | ug/L | 0.87384 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9464 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87384 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-07 | ug/L | 0.8115 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2366 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8115 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-04 | ug/L | 0.84869 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84869 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-22 | ug/L | 0.80938 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9464 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80938 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-05-19 | ug/L | 0.72699 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18707 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72699 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.72699 |  | 0.72699 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-09-17 | ug/L | 1.0051 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0786 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0051 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93193 | 0.10346 | 0.93193 | 0.14631 | 0.10846
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-02-26 | ug/L | 0.85878 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1572 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85878 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93193 | 0.10346 | 0.93193 | 0.14631 | 0.10846
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-07-16 | ug/L | 0.83969 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1572 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83969 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83969 |  | 0.83969 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-10-16 | ug/L | 0.91667 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.24 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2016-01-13 | ug/L | 0.93178 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1202 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93178 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93178 |  | 0.93178 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-09-30 | ug/L | 0.925 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.12 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90417 | 0.029463 | 0.90417 | 0.041667 | 0.030887
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2016-01-12 | ug/L | 0.88333 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.24 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90417 | 0.029463 | 0.90417 | 0.041667 | 0.030887
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-10-15 | ug/L | 1 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-09-26 | ug/L | 0.9 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-06-12 | ug/L | 0.88 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.15 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84 | 0.056569 | 0.84 | 0.08 | 0.059303
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-02-05 | ug/L | 0.8 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84 | 0.056569 | 0.84 | 0.08 | 0.059303
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-11-14 | ug/L | 0.8 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86667 | 0.094281 | 0.86667 | 0.13333 | 0.098839
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-04-23 | ug/L | 0.93333 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86667 | 0.094281 | 0.86667 | 0.13333 | 0.098839
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-06-14 | ug/L | 0.97333 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.15 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97333 |  | 0.97333 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-12 | ug/L | 0.771 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.771 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.771 |  | 0.771 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-05-29 | ug/L | 0.83 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83 |  | 0.83 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-20 | ug/L | 0.759 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.759 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.759 |  | 0.759 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-09-18 | ug/L | 0.872 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.872 |  | 0.872 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-03-11 | ug/L | 0.72716 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.74811 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72716 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65302 | 0.10486 | 0.65302 | 0.14829 | 0.10993
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-07-23 | ug/L | 0.57887 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.37659 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57887 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65302 | 0.10486 | 0.65302 | 0.14829 | 0.10993
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-07-15 | ug/L | 0.68243 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68243 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74515 | 0.088698 | 0.74515 | 0.12544 | 0.092985
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-08-20 | ug/L | 0.80786 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80786 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74515 | 0.088698 | 0.74515 | 0.12544 | 0.092985
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-05-19 | ug/L | 1.0474 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.069 | 0.030562 | 1.069 | 0.043221 | 0.03204
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-10-18 | ug/L | 1.0906 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0906 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.069 | 0.030562 | 1.069 | 0.043221 | 0.03204
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-07-08 | ug/L | 0.84894 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.1602 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84894 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98002 | 0.18538 | 0.98002 | 0.26217 | 0.19435
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-09-11 | ug/L | 1.1111 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98002 | 0.18538 | 0.98002 | 0.26217 | 0.19435
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-11-05 | ug/L | 0.94784 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.1572 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94784 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92557 | 0.031487 | 0.92557 | 0.044529 | 0.033009
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-01-27 | ug/L | 0.90331 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0786 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90331 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92557 | 0.031487 | 0.92557 | 0.044529 | 0.033009
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-07-31 | ug/L | 1.022 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.889 | 0.18809 | 0.889 | 0.266 | 0.19718
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-03-27 | ug/L | 0.756 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.756 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.889 | 0.18809 | 0.889 | 0.266 | 0.19718
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-19 | ug/L | 0.79 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 2-METHYLNAPHTHALENE | . | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7765 | 0.019092 | 0.7765 | 0.027 | 0.020015
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-02-07 | ug/L | 0.763 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.763 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7765 | 0.019092 | 0.7765 | 0.027 | 0.020015
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-08-01 | ug/L | 0.84 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82833 | 0.016499 | 0.82833 | 0.023333 | 0.017297
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-04-22 | ug/L | 0.81667 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82833 | 0.016499 | 0.82833 | 0.023333 | 0.017297
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-11-14 | ug/L | 1.0333 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-02-05 | ug/L | 0.94667 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.15 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94667 |  | 0.94667 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-04-24 | ug/L | 0.9 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-05-22 | ug/L | 0.77403 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0801 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77403 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77403 |  | 0.77403 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2014-04-24 | ug/L | 0.73791 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0786 | 2-METHYLNAPHTHALENE | E | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73791 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73791 |  | 0.73791 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-11-05 | ug/L | 0.91098 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2404 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91098 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91098 |  | 0.91098 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-07-09 | ug/L | 0.9817 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0601 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9817 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9817 |  | 0.9817 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2015-09-29 | ug/L | 1.015 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0601 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.015 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95674 | 0.082359 | 0.95674 | 0.11647 | 0.08634
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2016-01-14 | ug/L | 0.8985 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1202 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8985 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95674 | 0.082359 | 0.95674 | 0.11647 | 0.08634