## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-10-20 | ug/L | 0.26168 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.642 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26168 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.26168 |  | 0.26168 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-12-03 | ug/L | 0.15002 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 1.2798 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15002 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.15002 |  | 0.15002 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-10-01 | ug/L | 0.19456 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.956 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19456 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.16632 | 0.039941 | 0.16632 | 0.056485 | 0.041872
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-11-17 | ug/L | 0.13808 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.478 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13808 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.16632 | 0.039941 | 0.16632 | 0.056485 | 0.041872
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-05-08 | ug/L | 0.27083 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.48 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27083 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.27083 |  | 0.27083 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-10-22 | ug/L | 0.292 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.292 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.292 |  | 0.292 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-02-06 | ug/L | 0.17806 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 3.92 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17806 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.17806 |  | 0.17806 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-02-26 | ug/L | 0.16433 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 1.284 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16433 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.16433 |  | 0.16433 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-07-16 | ug/L | 0.14221 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 1.2798 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14221 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.14221 |  | 0.14221 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-12-04 | ug/L | 0.27664 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.488 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27664 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.27664 |  | 0.27664 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-08-15 | ug/L | 0.080972 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 4.94 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.080972 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.080972 |  | 0.080972 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-10-16 | ug/L | 0.18724 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 1.912 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18724 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.18724 |  | 0.18724 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2016-01-13 | ug/L | 0.14688 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14687 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.14687 |  | 0.14687 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-08-24 | ug/L | 0.11633 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11633 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18316 | 0.094521 | 0.18316 | 0.13367 | 0.099091
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-12-18 | ug/L | 0.25 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18316 | 0.094521 | 0.18316 | 0.13367 | 0.099091
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-29 | ug/L | 0.23827 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23827 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.23827 |  | 0.23827 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-12-15 | ug/L | 0.1841 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.1699 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1841 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-04-14 | ug/L | 0.07826 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.8878 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.07826 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-07-07 | ug/L | 0.20069 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20069 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-08-17 | ug/L | 0.14323 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14323 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-11-22 | ug/L | 0.10451 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10451 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-01-16 | ug/L | 0.079254 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.079253 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-06 | ug/L | 0.11111 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11111 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-07 | ug/L | 0.1191 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1191 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-04-10 | ug/L | 0.087083 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.087083 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-27 | ug/L | 0.10851 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10851 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-08-18 | ug/L | 0.11302 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.1237 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 0.127 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.11302 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.11302 |  | 0.11302 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-12-04 | ug/L | 0.19159 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 1.284 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19159 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.19159 |  | 0.19159 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-04-22 | ug/L | 0.13707 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.642 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13707 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.13707 |  | 0.13707 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-09-30 | ug/L | 0.14017 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.956 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14017 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.13912 | 0.0014793 | 0.13912 | 0.0020921 | 0.0015508
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2016-01-12 | ug/L | 0.13808 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 1.912 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13808 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.13912 | 0.0014793 | 0.13912 | 0.0020921 | 0.0015508
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-10-15 | ug/L | 0.20502 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.478 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20502 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.20502 |  | 0.20502 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-11-14 | ug/L | 0.20082 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.488 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20082 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.20082 |  | 0.20082 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-06-14 | ug/L | 0.216 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.25 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.216 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.216 |  | 0.216 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-05-29 | ug/L | 0.25306 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25306 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.25306 |  | 0.25306 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-09-18 | ug/L | 0.148 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.148 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.148 |  | 0.148 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-07-15 | ug/L | 0.20619 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8217 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20619 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.29789 | 0.12967 | 0.29789 | 0.18339 | 0.13594
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-08-20 | ug/L | 0.38958 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.9016 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38958 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.29789 | 0.12967 | 0.29789 | 0.18339 | 0.13594
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-05-19 | ug/L | 0.40643 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2232 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40643 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48153 | 0.10622 | 0.48153 | 0.15021 | 0.11135
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-10-18 | ug/L | 0.55664 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55664 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48153 | 0.10622 | 0.48153 | 0.15021 | 0.11135
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-12-19 | ug/L | 0.2065 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2065 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.19575 | 0.015203 | 0.19575 | 0.0215 | 0.015938
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-02-07 | ug/L | 0.185 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.185 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.19575 | 0.015203 | 0.19575 | 0.0215 | 0.015938
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-02-05 | ug/L | 0.23852 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.22 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23852 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.23852 |  | 0.23852 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-03-28 | ug/L | 0.1435 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1435 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.1435 |  | 0.1435 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-05-22 | ug/L | 0.26879 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.6399 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26879 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.26879 |  | 0.26879 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-07-09 | ug/L | 0.26567 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6399 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26567 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18597 | 0.11271 | 0.18597 | 0.1594 | 0.11816
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-04-21 | ug/L | 0.10627 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6399 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10627 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18597 | 0.11271 | 0.18597 | 0.1594 | 0.11816
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-06-04 | ug/L | 0.17972 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.2798 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17972 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18362 | 0.0055251 | 0.18362 | 0.0078137 | 0.0057922
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2014-10-21 | ug/L | 0.18753 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.2798 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18753 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18362 | 0.0055251 | 0.18362 | 0.0078137 | 0.0057922
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-11-05 | ug/L | 0.12187 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 1.92 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12187 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.12187 |  | 0.12187 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-07-09 | ug/L | 0.29583 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.48 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29583 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.29583 |  | 0.29583 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2015-09-29 | ug/L | 0.13333 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.48 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13333 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.17292 | 0.055979 | 0.17292 | 0.079167 | 0.058685
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2016-01-14 | ug/L | 0.2125 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2125 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.17292 | 0.055979 | 0.17292 | 0.079167 | 0.058685
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-02-03 | ug/L | 0.084349 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.952 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.084349 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-04-26 | ug/L | 0.11287 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.9591 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11287 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-06-29 | ug/L | 0.29627 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.746 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 3.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29627 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-08-07 | ug/L | 0.062331 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.84 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.062331 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-10-04 | ug/L | 0.089865 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.089865 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-11-22 | ug/L | 0.069459 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 7.4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.069459 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-01 | ug/L | 0.18074 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18074 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-26 | ug/L | 0.16014 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16014 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-28 | ug/L | 0.242 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.242 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.242 |  | 0.242 | 0 | 0