## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-08-20 | ug/L | 0.36137 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36137 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.34268 | 0.026434 | 0.34268 | 0.037383 | 0.027712
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-10-20 | ug/L | 0.32399 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32399 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.34268 | 0.026434 | 0.34268 | 0.037383 | 0.027712
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-12-03 | ug/L | 0.67913 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 4.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67913 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.67913 |  | 0.67913 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-05-12 | ug/L | 0.23274 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 4.2752 | 3-BETA-COPROSTANOL | E | 1.6 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23274 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30623 | 0.10393 | 0.30623 | 0.14698 | 0.10895
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-21 | ug/L | 0.37972 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 7.9533 | 3-BETA-COPROSTANOL | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37972 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30623 | 0.10393 | 0.30623 | 0.14698 | 0.10895
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-10-22 | ug/L | 0.48121 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 3.512 | 3-BETA-COPROSTANOL | E | 1.6 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48121 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46128 | 0.028188 | 0.46128 | 0.039863 | 0.02955
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-04-23 | ug/L | 0.44134 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 3.512 | 3-BETA-COPROSTANOL | E | 1.6 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44134 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46128 | 0.028188 | 0.46128 | 0.039863 | 0.02955
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-09-29 | ug/L | 0.72682 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 2.394 | 3-BETA-COPROSTANOL | E | 1.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72682 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67147 | 0.078272 | 0.67147 | 0.11069 | 0.082056
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2016-01-26 | ug/L | 0.61612 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 4.788 | 3-BETA-COPROSTANOL | E | 1.6 | 2.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61612 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67147 | 0.078272 | 0.67147 | 0.11069 | 0.082056
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-10-02 | ug/L | 0.36383 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 2.394 | 3-BETA-COPROSTANOL | E | 1.6 | 0.871 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36383 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.36383 |  | 0.36383 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-02-06 | ug/L | 0.61237 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 7.92 | 3-BETA-COPROSTANOL | E | 1.6 | 4.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61237 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61237 |  | 0.61237 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-09-17 | ug/L | 0.49844 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49844 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54517 | 0.066085 | 0.54517 | 0.093458 | 0.069279
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-02-26 | ug/L | 0.5919 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5919 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54517 | 0.066085 | 0.54517 | 0.093458 | 0.069279
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-07-16 | ug/L | 0.40031 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 2.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40031 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40031 |  | 0.40031 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-12-04 | ug/L | 0.50578 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50578 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56792 | 0.087877 | 0.56792 | 0.12428 | 0.092126
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-04-23 | ug/L | 0.63006 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63006 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56792 | 0.087877 | 0.56792 | 0.12428 | 0.092126
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-08-15 | ug/L | 0.27998 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 34.86 | 3-BETA-COPROSTANOL | E | 1.6 | 9.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27998 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.27998 |  | 0.27998 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-08-24 | ug/L | 0.57576 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57576 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66414 | 0.12499 | 0.66414 | 0.17677 | 0.13104
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-12-18 | ug/L | 0.75253 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75253 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66414 | 0.12499 | 0.66414 | 0.17677 | 0.13104
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-29 | ug/L | 0.82828 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 3.96 | 3-BETA-COPROSTANOL | E | 1.6 | 3.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82828 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82828 |  | 0.82828 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-12-15 | ug/L | 0.46771 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2695 | 3-BETA-COPROSTANOL | E | 1.6 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46771 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-04-14 | ug/L | 0.9085 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.9279 | 3-BETA-COPROSTANOL | E | 1.6 | 2.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9085 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-07-07 | ug/L | 0.63014 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63014 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-08-17 | ug/L | 0.65668 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 7.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65668 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-11-22 | ug/L | 0.50685 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50685 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-01-16 | ug/L | 0.3399 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 3.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3399 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-06 | ug/L | 0.7274 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.3 | 3-BETA-COPROSTANOL | E | 1.6 | 5.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7274 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-07 | ug/L | 0.41438 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41438 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-04-10 | ug/L | 0.70959 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.3 | 3-BETA-COPROSTANOL | E | 1.6 | 5.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70959 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-27 | ug/L | 0.54966 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 6.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54966 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-18 | ug/L | 0.44377 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9209 | 3-BETA-COPROSTANOL | E | 1.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44377 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.44925 | 0.0077423 | 0.44925 | 0.010949 | 0.0081166
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-09-29 | ug/L | 0.45472 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0025 | 3-BETA-COPROSTANOL | E | 1.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45472 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.44925 | 0.0077423 | 0.44925 | 0.010949 | 0.0081166
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-07-17 | ug/L | 0.36137 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36137 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69393 | 0.4703 | 0.69393 | 0.66511 | 0.49304
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-12-04 | ug/L | 1.0265 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 6.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0265 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69393 | 0.4703 | 0.69393 | 0.66511 | 0.49304
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-08-21 | ug/L | 0.3676 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3676 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68847 | 0.42565 | 0.52648 | 0.80374 | 0.5958
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-09-23 | ug/L | 0.52648 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52648 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68847 | 0.42565 | 0.52648 | 0.80374 | 0.5958
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-04-22 | ug/L | 1.1713 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 3.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1713 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68847 | 0.42565 | 0.52648 | 0.80374 | 0.5958
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-09-30 | ug/L | 0.63074 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 4.788 | 3-BETA-COPROSTANOL | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63074 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64589 | 0.021414 | 0.64589 | 0.030284 | 0.022449
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2016-01-12 | ug/L | 0.66103 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 9.576 | 3-BETA-COPROSTANOL | E | 1.6 | 6.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66103 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64589 | 0.021414 | 0.64589 | 0.030284 | 0.022449
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-10-15 | ug/L | 0.60417 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 2.4 | 3-BETA-COPROSTANOL | E | 1.6 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60417 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60417 |  | 0.60417 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-11-14 | ug/L | 0.50867 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50867 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40318 | 0.14919 | 0.40318 | 0.21098 | 0.1564
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-04-23 | ug/L | 0.29769 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29769 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40318 | 0.14919 | 0.40318 | 0.21098 | 0.1564
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-06-14 | ug/L | 0.93622 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 8.78 | 3-BETA-COPROSTANOL | E | 1.6 | 8.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93622 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.93622 |  | 0.93622 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-05-29 | ug/L | 0.36414 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 0.721 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36414 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.36414 |  | 0.36414 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-09-18 | ug/L | 0.84 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2 | 3-BETA-COPROSTANOL | E | 1.6 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84 |  | 0.84 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-07-15 | ug/L | 0.17218 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | 3-BETA-COPROSTANOL | E | 1.6 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17218 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3042 | 0.18671 | 0.3042 | 0.26405 | 0.19574
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-20 | ug/L | 0.43623 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | 3-BETA-COPROSTANOL | E | 1.6 | 0.851 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43623 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3042 | 0.18671 | 0.3042 | 0.26405 | 0.19574
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-05-19 | ug/L | 0.44118 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | 3-BETA-COPROSTANOL | E | 1.6 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44118 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43153 | 0.013647 | 0.43153 | 0.0193 | 0.014307
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-10-18 | ug/L | 0.42188 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | 3-BETA-COPROSTANOL | E | 1.6 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42188 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43153 | 0.013647 | 0.43153 | 0.0193 | 0.014307
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-07-22 | ug/L | 0.52292 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 4.8 | 3-BETA-COPROSTANOL | E | 1.6 | 2.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52292 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52292 |  | 0.52292 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-11-17 | ug/L | 0.28708 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 2.4 | 3-BETA-COPROSTANOL | E | 1.6 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28708 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.28708 |  | 0.28708 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-12-19 | ug/L | 0.415 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 8 | 3-BETA-COPROSTANOL | E | 1.6 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.415 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4925 | 0.1096 | 0.4925 | 0.155 | 0.1149
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-02-07 | ug/L | 0.57 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 4 | 3-BETA-COPROSTANOL | E | 1.6 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4925 | 0.1096 | 0.4925 | 0.155 | 0.1149
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-02-05 | ug/L | 0.76301 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 8.65 | 3-BETA-COPROSTANOL | E | 1.6 | 6.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76301 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76301 |  | 0.76301 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-04-24 | ug/L | 0.50114 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 3.512 | 3-BETA-COPROSTANOL | E | 1.6 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50114 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50114 |  | 0.50114 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-03-28 | ug/L | 0.3475 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 8 | 3-BETA-COPROSTANOL | E | 1.6 | 2.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3475 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.3475 |  | 0.3475 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-05-22 | ug/L | 0.31028 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 0.996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31028 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.31028 |  | 0.31028 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-07-09 | ug/L | 0.35826 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35826 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46262 | 0.14759 | 0.46262 | 0.20872 | 0.15472
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-04-21 | ug/L | 0.56698 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56698 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46262 | 0.14759 | 0.46262 | 0.20872 | 0.15472
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-04-24 | ug/L | 0.15888 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 3.21 | 3-BETA-COPROSTANOL | E | 1.6 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15888 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.15888 |  | 0.15888 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-06-04 | ug/L | 0.39564 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39564 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56464 | 0.23901 | 0.56464 | 0.33801 | 0.25056
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2014-10-21 | ug/L | 0.73364 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.42 | 3-BETA-COPROSTANOL | E | 1.6 | 4.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73364 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56464 | 0.23901 | 0.56464 | 0.33801 | 0.25056
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-11-05 | ug/L | 0.68087 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 9.576 | 3-BETA-COPROSTANOL | E | 1.6 | 6.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68087 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68087 |  | 0.68087 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2015-09-29 | ug/L | 0.38417 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 2.4 | 3-BETA-COPROSTANOL | E | 1.6 | 0.922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38417 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36083 | 0.032998 | 0.36083 | 0.046667 | 0.034594
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2016-01-14 | ug/L | 0.3375 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 4.8 | 3-BETA-COPROSTANOL | E | 1.6 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3375 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36083 | 0.032998 | 0.36083 | 0.046667 | 0.034594
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-02-03 | ug/L | 0.54656 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.964 | 3-BETA-COPROSTANOL | E | 1.6 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54656 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-04-26 | ug/L | 0.52842 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.9711 | 3-BETA-COPROSTANOL | E | 1.6 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52842 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-06-29 | ug/L | 0.79026 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.7936 | 3-BETA-COPROSTANOL | E | 1.6 | 9.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79026 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-08-07 | ug/L | 0.5148 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.888 | 3-BETA-COPROSTANOL | E | 1.6 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5148 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-10-04 | ug/L | 0.37012 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37012 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-11-22 | ug/L | 0.25976 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 7.43 | 3-BETA-COPROSTANOL | E | 1.6 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25976 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-01 | ug/L | 0.60565 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60565 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-26 | ug/L | 0.51817 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51817 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-28 | ug/L | 0.555 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2 | 3-BETA-COPROSTANOL | E | 1.6 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.555 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.555 |  | 0.555 | 0 | 0