## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-08-20 | ug/L | 0.93633 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94257 | 0.0088278 | 0.94257 | 0.012484 | 0.0092546
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-10-20 | ug/L | 0.94881 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94881 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94257 | 0.0088278 | 0.94257 | 0.012484 | 0.0092546
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-12-03 | ug/L | 0.99251 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1602 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99251 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99251 |  | 0.99251 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-02-17 | ug/L | 0.79449 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.39019 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79449 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-04-15 | ug/L | 1.0437 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.95812 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-05-03 | ug/L | 0.88692 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.37658 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88692 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-07-07 | ug/L | 0.91244 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.96225 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91244 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-16 | ug/L | 0.86333 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86333 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-11-22 | ug/L | 0.95201 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.5336 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95201 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-12-08 | ug/L | 0.6025 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6025 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-07 | ug/L | 0.6771 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9585 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6771 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-04-10 | ug/L | 0.99896 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99896 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-04 | ug/L | 0.84194 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9585 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84194 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-06-05 | ug/L | 0.76155 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76155 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80316 | 0.036039 | 0.82397 | 0.062422 | 0.046273
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-09-23 | ug/L | 0.82397 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1602 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80316 | 0.036039 | 0.82397 | 0.062422 | 0.046273
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-05-07 | ug/L | 0.82397 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80316 | 0.036039 | 0.82397 | 0.062422 | 0.046273
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-04-20 | ug/L | 0.38023 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38023 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.38023 |  | 0.38023 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-09-29 | ug/L | 1.1184 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.0608 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1184 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0115 | 0.15119 | 1.0115 | 0.21382 | 0.1585
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2016-01-26 | ug/L | 0.90461 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.1216 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90461 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0115 | 0.15119 | 1.0115 | 0.21382 | 0.1585
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-10-02 | ug/L | 0.83882 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.0608 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83882 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83882 |  | 0.83882 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-05-30 | ug/L | 0.8125 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.24 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8125 |  | 0.8125 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-12-15 | ug/L | 0.79692 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.37771 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79692 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-02-18 | ug/L | 0.87828 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3746 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.04 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87828 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-06-28 | ug/L | 0.84886 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5197 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84886 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-06 | ug/L | 0.73993 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73993 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-17 | ug/L | 0.91313 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3822 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91313 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-02-01 | ug/L | 0.55573 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.04 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55573 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-06 | ug/L | 0.83726 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5288 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83726 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-07 | ug/L | 0.80324 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3822 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80324 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-04 | ug/L | 0.854 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.854 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-22 | ug/L | 0.88305 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5288 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88305 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-09-17 | ug/L | 1.0266 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0789 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0266 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87452 | 0.21509 | 0.87452 | 0.30418 | 0.22549
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-02-26 | ug/L | 0.72243 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1578 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72243 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87452 | 0.21509 | 0.87452 | 0.30418 | 0.22549
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-07-16 | ug/L | 0.8365 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1578 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8365 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8365 |  | 0.8365 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-09-30 | ug/L | 0.97039 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1216 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97039 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79359 | 0.25005 | 0.79359 | 0.35362 | 0.26213
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2016-01-12 | ug/L | 0.61678 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2432 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61678 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79359 | 0.25005 | 0.79359 | 0.35362 | 0.26213
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-10-15 | ug/L | 0.1 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.1 |  | 0.1 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-09-26 | ug/L | 0.9 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-06-12 | ug/L | 0.85 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7 | 0.21213 | 0.7 | 0.3 | 0.22239
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-02-05 | ug/L | 0.55 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7 | 0.21213 | 0.7 | 0.3 | 0.22239
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-11-14 | ug/L | 0.5625 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5625 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6625 | 0.14142 | 0.6625 | 0.2 | 0.14826
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-04-23 | ug/L | 0.7625 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6625 | 0.14142 | 0.6625 | 0.2 | 0.14826
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-06-14 | ug/L | 0.85 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-12 | ug/L | 0.38136 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.236 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38136 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.38136 |  | 0.38136 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-05-29 | ug/L | 0.95763 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.118 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95763 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95763 |  | 0.95763 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-20 | ug/L | 0.86017 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.236 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86017 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86017 |  | 0.86017 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-09-18 | ug/L | 0.94915 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.118 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94915 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94915 |  | 0.94915 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-07-15 | ug/L | 0.628 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.628 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68718 | 0.083687 | 0.68718 | 0.11835 | 0.087733
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | ug/L | 0.74635 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74635 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68718 | 0.083687 | 0.68718 | 0.11835 | 0.087733
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-05-19 | ug/L | 0.91338 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91338 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89575 | 0.024926 | 0.89575 | 0.035251 | 0.026131
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-10-18 | ug/L | 0.87813 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87813 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89575 | 0.024926 | 0.89575 | 0.035251 | 0.026131
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-07-20 | ug/L | 0.1236 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.2459 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1236 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.5291 | 0.35123 | 0.72531 | 0.61478 | 0.45573
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | ug/L | 0.72531 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.31848 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72531 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5291 | 0.35123 | 0.72531 | 0.61478 | 0.45573
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | ug/L | 0.73838 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.62028 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73838 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5291 | 0.35123 | 0.72531 | 0.61478 | 0.45573
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-07-08 | ug/L | 0.78027 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.1602 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78027 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87703 | 0.13683 | 0.87703 | 0.19351 | 0.14345
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-09-11 | ug/L | 0.97378 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97378 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87703 | 0.13683 | 0.87703 | 0.19351 | 0.14345
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-11-05 | ug/L | 0.96324 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.1578 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96324 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91888 | 0.062734 | 0.91888 | 0.08872 | 0.065767
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-01-27 | ug/L | 0.87452 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87452 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91888 | 0.062734 | 0.91888 | 0.08872 | 0.065767
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-07-22 | ug/L | 1.0083 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0083 |  | 1.0083 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-11-17 | ug/L | 0.85 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-07-31 | ug/L | 1.0667 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90417 | 0.22981 | 0.90417 | 0.325 | 0.24092
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-03-27 | ug/L | 0.74167 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90417 | 0.22981 | 0.90417 | 0.325 | 0.24092
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-19 | ug/L | 0.81875 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.48 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84271 | 0.033882 | 0.84271 | 0.047917 | 0.03552
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-02-07 | ug/L | 0.86667 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.24 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84271 | 0.033882 | 0.84271 | 0.047917 | 0.03552
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-08-01 | ug/L | 0.7175 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.4 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7175 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78375 | 0.093692 | 0.78375 | 0.1325 | 0.098221
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-04-22 | ug/L | 0.85 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78375 | 0.093692 | 0.78375 | 0.1325 | 0.098221
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-11-14 | ug/L | 0.9625 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9625 |  | 0.9625 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-02-05 | ug/L | 0.98 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98 |  | 0.98 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-04-24 | ug/L | 0.825 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.825 |  | 0.825 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-05-22 | ug/L | 0.66167 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0801 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66167 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66167 |  | 0.66167 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2014-04-24 | ug/L | 0.60837 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60837 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60837 |  | 0.60837 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-11-05 | ug/L | 0.89638 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2432 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89638 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89638 |  | 0.89638 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2015-09-29 | ug/L | 1.1 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-05-13 | ug/L | 0.48091 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.64254 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48091 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58587 | 0.14845 | 0.58587 | 0.20994 | 0.15562
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-18 | ug/L | 0.69084 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.3259 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69084 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58587 | 0.14845 | 0.58587 | 0.20994 | 0.15562