## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-08-20 | ug/L | 1.1236 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1236 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1236 | 0 | 1.1236 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-10-20 | ug/L | 1.1236 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1236 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1236 | 0 | 1.1236 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-12-03 | ug/L | 1.19 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1605 | 4-CUMYLPHENOL | . | 0.04 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.19 |  | 1.19 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-10-01 | ug/L | 0.7 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.12 | 4-CUMYLPHENOL | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89167 | 0.27106 | 0.89167 | 0.38333 | 0.28416
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-11-17 | ug/L | 1.0833 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89167 | 0.27106 | 0.89167 | 0.38333 | 0.28416
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-05-08 | ug/L | 1.6667 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6667 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6667 |  | 1.6667 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-02-17 | ug/L | 0.73734 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25361 | 4-CUMYLPHENOL | . | 0.04 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73734 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-04-15 | ug/L | 0.99879 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62275 | 4-CUMYLPHENOL | . | 0.04 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99879 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-05-03 | ug/L | 0.89472 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24477 | 4-CUMYLPHENOL | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89472 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-07-07 | ug/L | 0.87459 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62544 | 4-CUMYLPHENOL | . | 0.04 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-16 | ug/L | 0.89888 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | . | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-11-22 | ug/L | 0.94101 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9968 | 4-CUMYLPHENOL | . | 0.04 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-12-08 | ug/L | 0.80257 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | E | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80257 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-07 | ug/L | 1.0465 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.623 | 4-CUMYLPHENOL | . | 0.04 | 0.652 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0465 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-04-10 | ug/L | 0.96308 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96308 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-04 | ug/L | 0.96148 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.623 | 4-CUMYLPHENOL | . | 0.04 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96148 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-09-29 | ug/L | 1.2667 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.28874 | 1.0625 | 0.40833 | 0.30269
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2016-01-26 | ug/L | 0.85833 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.12 | 4-CUMYLPHENOL | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.28874 | 1.0625 | 0.40833 | 0.30269
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-10-02 | ug/L | 0.98333 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98333 |  | 0.98333 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-05-30 | ug/L | 0.724 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.724 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.724 |  | 0.724 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-12-15 | ug/L | 0.7765 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24469 | 4-CUMYLPHENOL | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7765 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-02-18 | ug/L | 0.93953 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24267 | 4-CUMYLPHENOL | . | 0.04 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93953 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-06-28 | ug/L | 0.77299 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.98449 | 4-CUMYLPHENOL | . | 0.04 | 0.761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77299 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-06 | ug/L | 0.71082 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71082 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-17 | ug/L | 0.84814 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2476 | 4-CUMYLPHENOL | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84814 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-02-01 | ug/L | 0.47819 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | E | 0.04 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47819 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-06 | ug/L | 0.81583 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9904 | 4-CUMYLPHENOL | . | 0.04 | 0.808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81583 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-07 | ug/L | 0.8441 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2476 | 4-CUMYLPHENOL | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8441 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-04 | ug/L | 0.93861 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | . | 0.04 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93861 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-22 | ug/L | 0.73809 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9904 | 4-CUMYLPHENOL | . | 0.04 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73809 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-09-17 | ug/L | 1.236 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.236 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.083 | 0.21628 | 1.083 | 0.30587 | 0.22674
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-02-26 | ug/L | 0.93009 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1602 | 4-CUMYLPHENOL | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93009 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.083 | 0.21628 | 1.083 | 0.30587 | 0.22674
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-07-16 | ug/L | 0.90966 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1605 | 4-CUMYLPHENOL | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90966 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90966 |  | 0.90966 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-10-16 | ug/L | 1.1208 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.24 | 4-CUMYLPHENOL | . | 0.04 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1208 |  | 1.1208 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2016-01-13 | ug/L | 0.81667 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.12 | 4-CUMYLPHENOL | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-07-17 | ug/L | 0.93633 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77091 | 0.23394 | 0.77091 | 0.33084 | 0.24525
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-12-04 | ug/L | 0.60549 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1602 | 4-CUMYLPHENOL | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60549 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77091 | 0.23394 | 0.77091 | 0.33084 | 0.24525
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-08-21 | ug/L | 0.86142 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86142 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0112 | 0.18005 | 0.9613 | 0.34956 | 0.25913
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-09-23 | ug/L | 0.9613 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.1602 | 4-CUMYLPHENOL | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9613 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0112 | 0.18005 | 0.9613 | 0.34956 | 0.25913
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-04-22 | ug/L | 1.211 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0801 | 4-CUMYLPHENOL | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.211 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0112 | 0.18005 | 0.9613 | 0.34956 | 0.25913
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-09-26 | ug/L | 1.0135 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0135 |  | 1.0135 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-06-12 | ug/L | 0.95135 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.185 | 4-CUMYLPHENOL | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95135 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86081 | 0.12804 | 0.86081 | 0.18108 | 0.13423
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-02-05 | ug/L | 0.77027 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77027 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86081 | 0.12804 | 0.86081 | 0.18108 | 0.13423
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-11-14 | ug/L | 0.93243 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88514 | 0.066888 | 0.88514 | 0.094595 | 0.070122
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-04-23 | ug/L | 0.83784 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83784 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88514 | 0.066888 | 0.88514 | 0.094595 | 0.070122
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-06-14 | ug/L | 1.1135 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.185 | 4-CUMYLPHENOL | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1135 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1135 |  | 1.1135 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-12 | ug/L | 0.72 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72 |  | 0.72 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-05-29 | ug/L | 0.802 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.802 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.802 |  | 0.802 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-20 | ug/L | 0.71 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71 |  | 0.71 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-09-18 | ug/L | 0.986 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.986 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.986 |  | 0.986 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-07-15 | ug/L | 0.84152 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 4-CUMYLPHENOL | . | 0.2 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84152 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86365 | 0.031296 | 0.86365 | 0.04426 | 0.032809
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | ug/L | 0.88578 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 4-CUMYLPHENOL | E | 0.2 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88578 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86365 | 0.031296 | 0.86365 | 0.04426 | 0.032809
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-05-19 | ug/L | 1.2708 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 4-CUMYLPHENOL | . | 0.04 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2708 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1885 | 0.11634 | 1.1885 | 0.16453 | 0.12197
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-10-18 | ug/L | 1.1062 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 4-CUMYLPHENOL | . | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1885 | 0.11634 | 1.1885 | 0.16453 | 0.12197
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-07-20 | ug/L | 0.38454 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.81916 | 4-CUMYLPHENOL | E | 0.2 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38454 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.58955 | 0.17759 | 0.6877 | 0.31186 | 0.23118
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | ug/L | 0.6877 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.20939 | 4-CUMYLPHENOL | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6877 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.58955 | 0.17759 | 0.6877 | 0.31186 | 0.23118
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | ug/L | 0.6964 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.40781 | 4-CUMYLPHENOL | . | 0.2 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6964 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58955 | 0.17759 | 0.6877 | 0.31186 | 0.23118
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-07-22 | ug/L | 1.3833 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | 4-CUMYLPHENOL | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3833 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3833 |  | 1.3833 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-11-17 | ug/L | 1.0333 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-07-31 | ug/L | 0.916 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.818 | 0.13859 | 0.818 | 0.196 | 0.14529
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-03-27 | ug/L | 0.72 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.818 | 0.13859 | 0.818 | 0.196 | 0.14529
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-19 | ug/L | 0.755 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 4-CUMYLPHENOL | . | 0.04 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7065 | 0.068589 | 0.7065 | 0.097 | 0.071905
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-02-07 | ug/L | 0.658 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.658 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7065 | 0.068589 | 0.7065 | 0.097 | 0.071905
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-08-01 | ug/L | 0.52162 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.37 | 4-CUMYLPHENOL | . | 0.04 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52162 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61892 | 0.1376 | 0.61892 | 0.19459 | 0.14425
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-04-22 | ug/L | 0.71622 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71622 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61892 | 0.1376 | 0.61892 | 0.19459 | 0.14425
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-11-14 | ug/L | 0.94595 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94595 |  | 0.94595 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-02-05 | ug/L | 0.97297 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.185 | 4-CUMYLPHENOL | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97297 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97297 |  | 0.97297 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-04-24 | ug/L | 0.74324 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74324 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74324 |  | 0.74324 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-05-22 | ug/L | 0.7352 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.08025 | 4-CUMYLPHENOL | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7352 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7352 |  | 0.7352 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-07-09 | ug/L | 0.85981 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.08025 | 4-CUMYLPHENOL | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85981 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87227 | 0.017623 | 0.87227 | 0.024922 | 0.018475
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-04-21 | ug/L | 0.88474 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.08025 | 4-CUMYLPHENOL | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88474 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87227 | 0.017623 | 0.87227 | 0.024922 | 0.018475
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-04-24 | ug/L | 0.54829 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.08025 | 4-CUMYLPHENOL | E | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54829 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54829 |  | 0.54829 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-06-04 | ug/L | 0.17445 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1605 | 4-CUMYLPHENOL | E | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17445 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52648 | 0.49784 | 0.52648 | 0.70405 | 0.5219
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2014-10-21 | ug/L | 0.8785 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1605 | 4-CUMYLPHENOL | . | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8785 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52648 | 0.49784 | 0.52648 | 0.70405 | 0.5219
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2015-07-09 | ug/L | 1.25 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.06 | 4-CUMYLPHENOL | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.25 |  | 1.25 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-05-13 | ug/L | 0.32629 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | 4-CUMYLPHENOL | E | 0.2 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32629 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4135 | 0.12333 | 0.4135 | 0.17442 | 0.1293
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-18 | ug/L | 0.50071 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | 4-CUMYLPHENOL | . | 0.2 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50071 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4135 | 0.12333 | 0.4135 | 0.17442 | 0.1293