## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-08-20 | ug/L | 1.2374 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2374 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2374 |  | 1.2374 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-12-03 | ug/L | 1.1111 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.0801 | 4-N-OCTYLPHENOL | E | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1111 |  | 1.1111 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-10-01 | ug/L | 0.28333 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.06 | 4-N-OCTYLPHENOL | E | 0.02 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28333 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.575 | 0.41248 | 0.575 | 0.58333 | 0.43242
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-11-17 | ug/L | 0.86667 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.03 | 4-N-OCTYLPHENOL | E | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.575 | 0.41248 | 0.575 | 0.58333 | 0.43242
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-05-08 | ug/L | 1.3 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.03 | 4-N-OCTYLPHENOL | E | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3 |  | 1.3 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-02-17 | ug/L | 0.64553 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5174 | 4-N-OCTYLPHENOL | E | 0.02 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64553 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-04-15 | ug/L | 0.77372 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.2705 | 4-N-OCTYLPHENOL | E | 0.02 | 0.983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77372 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-05-03 | ug/L | 0.66485 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.49936 | 4-N-OCTYLPHENOL | E | 0.02 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66485 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-07-07 | ug/L | 0.64656 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.276 | 4-N-OCTYLPHENOL | E | 0.02 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64656 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-16 | ug/L | 0.55468 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55468 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-11-22 | ug/L | 0.67368 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.0336 | 4-N-OCTYLPHENOL | E | 0.02 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67368 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-12-08 | ug/L | 0.62943 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62943 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-07 | ug/L | 0.83399 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.271 | 4-N-OCTYLPHENOL | E | 0.02 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83399 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-04-10 | ug/L | 0.9048 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9048 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-04 | ug/L | 0.68607 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.271 | 4-N-OCTYLPHENOL | E | 0.02 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68607 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-09-29 | ug/L | 1.9 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.03 | 4-N-OCTYLPHENOL | E | 0.02 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6167 | 0.40069 | 1.6167 | 0.56667 | 0.42006
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2016-01-26 | ug/L | 1.3333 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.06 | 4-N-OCTYLPHENOL | E | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6167 | 0.40069 | 1.6167 | 0.56667 | 0.42006
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-10-02 | ug/L | 1.1 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.03 | 4-N-OCTYLPHENOL | E | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-05-30 | ug/L | 0.88427 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3992 | 4-N-OCTYLPHENOL | E | 0.02 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88427 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88427 |  | 0.88427 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-12-15 | ug/L | 0.64165 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.50183 | 4-N-OCTYLPHENOL | E | 0.02 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64165 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-02-18 | ug/L | 0.651 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4977 | 4-N-OCTYLPHENOL | E | 0.02 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.651 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-06-28 | ug/L | 0.52004 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0191 | 4-N-OCTYLPHENOL | E | 0.02 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52004 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-06 | ug/L | 0.60969 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60969 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-17 | ug/L | 0.57897 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5078 | 4-N-OCTYLPHENOL | E | 0.02 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57897 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-02-01 | ug/L | 0.38755 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38755 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-06 | ug/L | 0.6794 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0312 | 4-N-OCTYLPHENOL | E | 0.02 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6794 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-07 | ug/L | 0.68137 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5078 | 4-N-OCTYLPHENOL | E | 0.02 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68137 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-04 | ug/L | 0.72154 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72154 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-22 | ug/L | 0.64002 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0312 | 4-N-OCTYLPHENOL | E | 0.02 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64002 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-09-17 | ug/L | 0.78283 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78283 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78283 |  | 0.78283 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-07-16 | ug/L | 0.83645 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.0801 | 4-N-OCTYLPHENOL | E | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83645 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.83645 |  | 0.83645 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-10-16 | ug/L | 0.925 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.12 | 4-N-OCTYLPHENOL | E | 0.02 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.925 |  | 0.925 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2016-01-13 | ug/L | 0.46667 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.06 | 4-N-OCTYLPHENOL | E | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46667 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46667 |  | 0.46667 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-07-17 | ug/L | 0.68182 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68182 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68182 |  | 0.68182 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-09-23 | ug/L | 0.89646 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.0792 | 4-N-OCTYLPHENOL | E | 0.02 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89646 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2311 | 0.47319 | 1.2311 | 0.66919 | 0.49607
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-04-22 | ug/L | 1.5657 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5657 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2311 | 0.47319 | 1.2311 | 0.66919 | 0.49607
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-09-26 | ug/L | 0.72222 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72222 |  | 0.72222 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-06-12 | ug/L | 0.83333 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.09 | 4-N-OCTYLPHENOL | E | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86111 | 0.039284 | 0.86111 | 0.055556 | 0.041183
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-02-05 | ug/L | 0.88889 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86111 | 0.039284 | 0.86111 | 0.055556 | 0.041183
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-11-14 | ug/L | 0.88889 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88889 |  | 0.88889 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-06-14 | ug/L | 1.5222 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.09 | 4-N-OCTYLPHENOL | E | 0.02 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5222 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5222 |  | 1.5222 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-12 | ug/L | 0.57323 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57323 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57323 |  | 0.57323 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-05-29 | ug/L | 1.0051 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.198 | 4-N-OCTYLPHENOL | E | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0051 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0051 |  | 1.0051 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-20 | ug/L | 0.57071 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57071 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57071 |  | 0.57071 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-09-18 | ug/L | 0.88889 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.198 | 4-N-OCTYLPHENOL | E | 0.02 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88889 |  | 0.88889 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-07-15 | ug/L | 0.68661 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | 4-N-OCTYLPHENOL | E | 0.2 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68661 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.75749 | 0.10024 | 0.75749 | 0.14175 | 0.10508
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | ug/L | 0.82837 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | 4-N-OCTYLPHENOL | E | 0.2 | 0.101 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82837 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.75749 | 0.10024 | 0.75749 | 0.14175 | 0.10508
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-05-19 | ug/L | 1.1318 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | 4-N-OCTYLPHENOL | E | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1318 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.019 | 0.15948 | 1.019 | 0.22554 | 0.16719
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-10-18 | ug/L | 0.90625 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | 4-N-OCTYLPHENOL | E | 0.02 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.019 | 0.15948 | 1.019 | 0.22554 | 0.16719
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-07-20 | ug/L | 0.27571 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.585 | 4-N-OCTYLPHENOL | E | 0.2 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27571 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.4539 | 0.15591 | 0.52078 | 0.2895 | 0.21461
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | ug/L | 0.52078 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.40516 | 4-N-OCTYLPHENOL | E | 0.2 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52078 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.4539 | 0.15591 | 0.52078 | 0.2895 | 0.21461
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | ug/L | 0.56521 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.78909 | 4-N-OCTYLPHENOL | E | 0.2 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56521 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.4539 | 0.15591 | 0.52078 | 0.2895 | 0.21461
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-07-22 | ug/L | 1.5833 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.06 | 4-N-OCTYLPHENOL | E | 0.02 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5833 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5833 |  | 1.5833 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-07-31 | ug/L | 0.77154 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1996 | 4-N-OCTYLPHENOL | E | 0.02 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77154 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66132 | 0.15588 | 0.66132 | 0.22044 | 0.16341
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-03-27 | ug/L | 0.5511 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1996 | 4-N-OCTYLPHENOL | E | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5511 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66132 | 0.15588 | 0.66132 | 0.22044 | 0.16341
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-19 | ug/L | 0.67761 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.7984 | 4-N-OCTYLPHENOL | E | 0.02 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67761 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69702 | 0.027455 | 0.69702 | 0.038828 | 0.028782
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-02-07 | ug/L | 0.71643 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3992 | 4-N-OCTYLPHENOL | E | 0.02 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71643 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69702 | 0.027455 | 0.69702 | 0.038828 | 0.028782
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-08-01 | ug/L | 0.41111 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.18 | 4-N-OCTYLPHENOL | E | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41111 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56667 | 0.21999 | 0.56667 | 0.31111 | 0.23062
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-04-22 | ug/L | 0.72222 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56667 | 0.21999 | 0.56667 | 0.31111 | 0.23062
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-11-14 | ug/L | 0.75 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2014-05-22 | ug/L | 0.89888 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.04005 | 4-N-OCTYLPHENOL | E | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89888 |  | 0.89888 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-04-21 | ug/L | 1.1486 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.04005 | 4-N-OCTYLPHENOL | E | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1486 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1486 |  | 1.1486 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2015-07-09 | ug/L | 0.9 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.03 | 4-N-OCTYLPHENOL | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-05-13 | ug/L | 0.23489 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.81741 | 4-N-OCTYLPHENOL | E | 0.2 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23489 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.33443 | 0.14077 | 0.33443 | 0.19908 | 0.14757
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-18 | ug/L | 0.43396 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.6868 | 4-N-OCTYLPHENOL | E | 0.2 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43396 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.33443 | 0.14077 | 0.33443 | 0.19908 | 0.14757