## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2013-02-06 | ug/L | 0.25 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 8 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.25 |  | 0.25 | 0 | 0
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2013-12-04 | ug/L | 0.32667 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32667 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30333 | 0.032998 | 0.30333 | 0.046667 | 0.034594
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2014-04-23 | ug/L | 0.28 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30333 | 0.032998 | 0.30333 | 0.046667 | 0.034594
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2013-08-15 | ug/L | 0.16933 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 15 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16933 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.16933 |  | 0.16933 | 0 | 0
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2015-10-16 | ug/L | 0.059375 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 9.6 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.059375 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.059375 |  | 0.059375 | 0 | 0
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-08-24 | ug/L | 0.255 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.255 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3225 | 0.095459 | 0.3225 | 0.135 | 0.10007
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-12-18 | ug/L | 0.39 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3225 | 0.095459 | 0.3225 | 0.135 | 0.10007
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-07-29 | ug/L | 0.3725 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 4 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3725 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.3725 |  | 0.3725 | 0 | 0
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2010-12-15 | ug/L | 0.24781 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.3481 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 3.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24781 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-04-14 | ug/L | 0.44637 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.9734 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44637 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-07-07 | ug/L | 0.25403 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.96 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25403 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-08-17 | ug/L | 0.313 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.84 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 6.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.313 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-11-22 | ug/L | 0.23387 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.96 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23387 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-01-16 | ug/L | 0.28528 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.84 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 5.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28528 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-03-06 | ug/L | 0.29677 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.4 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 3.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29677 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-03-07 | ug/L | 0.31653 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.96 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31653 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-04-10 | ug/L | 0.33145 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.4 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 4.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33145 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2012-07-27 | ug/L | 0.28175 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.84 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 5.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28175 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.30069 | 0.060205 | 0.29103 | 0.0625 | 0.046331
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2010-08-18 | ug/L | 0.12449 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 10.4425 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 3.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12449 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18936 | 0.09174 | 0.18936 | 0.12974 | 0.096175
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2010-09-29 | ug/L | 0.25423 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 10.6596 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 3.2 | 2.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25423 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.18936 | 0.09174 | 0.18936 | 0.12974 | 0.096175
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2013-11-14 | ug/L | 0.24333 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24333 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.23667 | 0.0094281 | 0.23667 | 0.013333 | 0.0098839
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2014-04-23 | ug/L | 0.23 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.23667 | 0.0094281 | 0.23667 | 0.013333 | 0.0098839
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2013-05-29 | ug/L | 0.325 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.325 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.325 |  | 0.325 | 0 | 0
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2010-07-15 | ug/L | 0.81117 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8217 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 3.2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81117 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83361 | 0.031737 | 0.83361 | 0.044882 | 0.033271
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2010-08-20 | ug/L | 0.85605 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.9016 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 3.2 | 3.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85605 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83361 | 0.031737 | 0.83361 | 0.044882 | 0.033271
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-05-19 | ug/L | 1.1386 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2232 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 3.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1386 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.083 | 0.078682 | 1.083 | 0.11127 | 0.082486
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2011-10-18 | ug/L | 1.0273 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 5.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0273 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.083 | 0.078682 | 1.083 | 0.11127 | 0.082486
4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 4433 | 61703GCM99 | 2014-02-05 | ug/L | 0.256 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 7.5 | 4-NONYLPHENOL_DIETHOXYLATE,_TOTAL_(NPEO2) | E | 1.6 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.256 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.256 |  | 0.256 | 0 | 0