## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-05-12 | ug/L | 0.58769 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 2.2631 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58769 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75108 | 0.23106 | 0.75108 | 0.32677 | 0.24223
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-08-21 | ug/L | 0.91447 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 4.2101 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91447 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75108 | 0.23106 | 0.75108 | 0.32677 | 0.24223
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-08-20 | ug/L | 0.91698 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 6.336 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 5.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91698 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86727 | 0.070309 | 0.86727 | 0.099432 | 0.073708
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-04-20 | ug/L | 0.81755 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 3.168 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81755 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86727 | 0.070309 | 0.86727 | 0.099432 | 0.073708
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-10-02 | ug/L | 0.92373 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 2.36 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92373 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.92373 |  | 0.92373 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2013-02-06 | ug/L | 1.1709 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 7.84 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 9.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1709 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1709 |  | 1.1709 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-09-17 | ug/L | 0.99116 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 3.168 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99116 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9233 | 0.095977 | 0.9233 | 0.13573 | 0.10062
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-02-26 | ug/L | 0.85543 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 6.336 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 5.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85543 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9233 | 0.095977 | 0.9233 | 0.13573 | 0.10062
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-07-16 | ug/L | 0.70549 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 6.336 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 4.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70549 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70549 |  | 0.70549 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2013-12-04 | ug/L | 1.0942 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 2.76 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0942 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.029 | 0.092231 | 1.029 | 0.13043 | 0.09669
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-04-23 | ug/L | 0.96377 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 2.76 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96377 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.029 | 0.092231 | 1.029 | 0.13043 | 0.09669
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2013-08-15 | ug/L | 0.85507 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 13.8 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 11.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85507 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85507 |  | 0.85507 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-10-16 | ug/L | 1.1864 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 9.44 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 11.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1864 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1864 |  | 1.1864 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2016-01-13 | ug/L | 1.0127 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 4.72 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 4.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0127 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0127 |  | 1.0127 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-08-24 | ug/L | 1.0255 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.96 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0255 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0255 |  | 1.0255 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-07-29 | ug/L | 1.4133 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 3.92 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 5.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4133 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.4133 |  | 1.4133 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-12-15 | ug/L | 1.4006 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.726 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 8.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4006 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-04-14 | ug/L | 1.9035 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.3062 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 4.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9035 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-07-07 | ug/L | 1.4043 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.3 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4043 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-08-17 | ug/L | 1.6413 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 9.2 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 15.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6413 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-11-22 | ug/L | 1.4826 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.3 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4826 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-01-16 | ug/L | 1.4891 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 9.2 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 13.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4891 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-03-06 | ug/L | 1.4574 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.75 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 8.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4574 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-03-07 | ug/L | 1.6217 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.3 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 3.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6217 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-04-10 | ug/L | 1.3583 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.75 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 7.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3583 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2012-07-27 | ug/L | 1.5109 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 9.2 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 13.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5109 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.527 | 0.16049 | 1.4859 | 0.21739 | 0.16115
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-08-18 | ug/L | 1.0962 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.0708 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0962 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5481 | 0.6391 | 1.5481 | 0.90382 | 0.67
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-09-29 | ug/L | 2.0247 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1139 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 4.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5481 | 0.6391 | 1.5481 | 0.90382 | 0.67 | 2
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2013-11-14 | ug/L | 0.88043 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 2.76 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88043 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87138 | 0.01281 | 0.87138 | 0.018116 | 0.013429
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-04-23 | ug/L | 0.86232 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 2.76 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86232 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87138 | 0.01281 | 0.87138 | 0.018116 | 0.013429
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2013-05-29 | ug/L | 1.1122 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1.96 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1122 |  | 1.1122 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-07-15 | ug/L | 0.87397 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87397 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86757 | 0.0090451 | 0.86757 | 0.012792 | 0.0094823
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2010-08-20 | ug/L | 0.86118 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86118 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86757 | 0.0090451 | 0.86757 | 0.012792 | 0.0094823
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-05-19 | ug/L | 1.3279 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3279 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2342 | 0.1324 | 1.2342 | 0.18724 | 0.1388
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2011-10-18 | ug/L | 1.1406 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1406 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2342 | 0.1324 | 1.2342 | 0.18724 | 0.1388
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-11-05 | ug/L | 1.1206 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 6.336 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 7.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1206 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9959 | 0.17633 | 0.9959 | 0.24937 | 0.18485
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-01-27 | ug/L | 0.87121 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 3.168 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87121 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9959 | 0.17633 | 0.9959 | 0.24937 | 0.18485
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-11-17 | ug/L | 0.82203 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 2.36 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82203 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82203 |  | 0.82203 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-02-05 | ug/L | 1.1507 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 6.9 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 7.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1507 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1507 |  | 1.1507 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2014-04-24 | ug/L | 0.36932 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 3.168 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36932 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.36932 |  | 0.36932 | 0 | 0
4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 4433 | 61704GCM99 | 2015-07-09 | ug/L | 1.0593 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 2.36 | 4-NONYLPHENOL_MONOETHOXYLATE,_TOTAL_(NPEO1) | E | 1.6 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0593 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0593 |  | 1.0593 | 0 | 0