## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-08-20 | ug/L | 0.85454 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85454 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84269 | 0.01676 | 0.84269 | 0.023703 | 0.01757
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-10-20 | ug/L | 0.83084 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83084 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84269 | 0.01676 | 0.84269 | 0.023703 | 0.01757
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-12-03 | ug/L | 0.87325 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 1.6032 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87325 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87325 |  | 0.87325 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-10-01 | ug/L | 0.28833 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 1.2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28833 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57 | 0.39834 | 0.57 | 0.56333 | 0.41759
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-11-17 | ug/L | 0.85167 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.6 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85167 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57 | 0.39834 | 0.57 | 0.56333 | 0.41759
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-05-08 | ug/L | 1.1033 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.6 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1033 |  | 1.1033 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-05-12 | ug/L | 0.62521 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 3.071 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62521 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67844 | 0.075272 | 0.67844 | 0.10645 | 0.078911
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-21 | ug/L | 0.73166 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 5.713 | 4-TERT-OCTYLPHENOL | E | 0.4 | 4.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73166 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67844 | 0.075272 | 0.67844 | 0.10645 | 0.078911
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-10-22 | ug/L | 0.63854 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63854 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66206 | 0.033259 | 0.66206 | 0.047035 | 0.034867
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-04-23 | ug/L | 0.68558 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68558 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66206 | 0.033259 | 0.66206 | 0.047035 | 0.034867
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-06-05 | ug/L | 0.81836 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81836 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91442 | 0.083303 | 0.95808 | 0.14845 | 0.11005
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-09-23 | ug/L | 0.96682 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 1.6032 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96682 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91442 | 0.083303 | 0.95808 | 0.14845 | 0.11005
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-05-07 | ug/L | 0.95808 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.768 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95808 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91442 | 0.083303 | 0.95808 | 0.14845 | 0.11005
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-08-20 | ug/L | 0.75 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 1.56 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67179 | 0.1106 | 0.67179 | 0.15641 | 0.11595
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-04-20 | ug/L | 0.59359 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.78 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59359 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67179 | 0.1106 | 0.67179 | 0.15641 | 0.11595
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-09-29 | ug/L | 0.95667 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.6 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86 | 0.13671 | 0.86 | 0.19333 | 0.14332
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2016-01-26 | ug/L | 0.76333 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 1.2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86 | 0.13671 | 0.86 | 0.19333 | 0.14332
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-10-02 | ug/L | 0.73208 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.586 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73208 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73208 |  | 0.73208 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-02-06 | ug/L | 0.79167 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.92 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79167 |  | 0.79167 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-09-17 | ug/L | 0.89615 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.78 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89615 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76346 | 0.18766 | 0.76346 | 0.26538 | 0.19673
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-02-26 | ug/L | 0.63077 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 1.56 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.984 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63077 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76346 | 0.18766 | 0.76346 | 0.26538 | 0.19673
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-07-16 | ug/L | 0.75641 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 1.56 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75641 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75641 |  | 0.75641 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-12-04 | ug/L | 0.86364 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86364 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67742 | 0.26335 | 0.67742 | 0.37243 | 0.27608
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-04-23 | ug/L | 0.4912 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4912 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67742 | 0.26335 | 0.67742 | 0.37243 | 0.27608
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-08-15 | ug/L | 0.63313 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.918 | 4-TERT-OCTYLPHENOL | E | 0.4 | 4.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63313 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63313 |  | 0.63313 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-10-16 | ug/L | 0.98976 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 2.344 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98976 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.98976 |  | 0.98976 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2016-01-13 | ug/L | 0.46502 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 1.172 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46502 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46502 |  | 0.46502 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-08-24 | ug/L | 0.72708 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72708 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78542 | 0.082496 | 0.78542 | 0.11667 | 0.086484
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-12-18 | ug/L | 0.84375 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78542 | 0.082496 | 0.78542 | 0.11667 | 0.086484
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-29 | ug/L | 0.98958 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.96 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.98958 |  | 0.98958 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-12-15 | ug/L | 0.85966 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.3145 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85966 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-04-14 | ug/L | 1.0483 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.52943 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-07-07 | ug/L | 0.72917 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72917 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-08-17 | ug/L | 0.91856 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91856 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-11-22 | ug/L | 0.84091 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84091 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-01-16 | ug/L | 0.98958 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-06 | ug/L | 0.87121 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.32 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87121 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-07 | ug/L | 0.92614 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92614 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-04-10 | ug/L | 0.93939 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.32 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93939 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-27 | ug/L | 0.9517 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9517 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-18 | ug/L | 0.71193 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.8093 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71193 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73606 | 0.034131 | 0.73606 | 0.048269 | 0.035781
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-09-29 | ug/L | 0.7602 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.8677 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7602 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73606 | 0.034131 | 0.73606 | 0.048269 | 0.035781
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-11-14 | ug/L | 0.6129 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6129 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63783 | 0.035252 | 0.63783 | 0.049853 | 0.036956
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-04-23 | ug/L | 0.66276 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66276 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63783 | 0.035252 | 0.63783 | 0.049853 | 0.036956
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-06-14 | ug/L | 0.9122 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.754 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9122 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9122 |  | 0.9122 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-05-29 | ug/L | 0.76458 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76458 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76458 |  | 0.76458 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-09-18 | ug/L | 0.858 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.858 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.858 |  | 0.858 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-07-15 | ug/L | 0.78709 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78709 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.81593 | 0.040785 | 0.81593 | 0.057678 | 0.042756
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-20 | ug/L | 0.84477 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.103 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.81593 | 0.040785 | 0.81593 | 0.057678 | 0.042756
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-05-19 | ug/L | 1.241 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.125 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.241 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 1.1611 | 0.11296 | 1.1611 | 0.15975 | 0.11842
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-10-18 | ug/L | 1.0813 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.173 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0812 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 1.1611 | 0.11296 | 1.1611 | 0.15975 | 0.11842
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-07-08 | ug/L | 0.68613 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 1.6032 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68613 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7878 | 0.14379 | 0.7878 | 0.20334 | 0.15074
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-09-11 | ug/L | 0.88947 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.713 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88947 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7878 | 0.14379 | 0.7878 | 0.20334 | 0.15074
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-11-05 | ug/L | 0.87821 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 1.56 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87821 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83718 | 0.058019 | 0.83718 | 0.082051 | 0.060824
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-01-27 | ug/L | 0.79615 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.78 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79615 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83718 | 0.058019 | 0.83718 | 0.082051 | 0.060824
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-07-22 | ug/L | 0.85 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 1.2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-11-17 | ug/L | 0.76451 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.586 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76451 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76451 |  | 0.76451 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-12-19 | ug/L | 0.73 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7335 | 0.0049497 | 0.7335 | 0.007 | 0.005189
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-02-07 | ug/L | 0.737 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.737 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.737 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7335 | 0.0049497 | 0.7335 | 0.007 | 0.005189
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-02-05 | ug/L | 0.89736 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.705 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89736 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89736 |  | 0.89736 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-04-24 | ug/L | 0.61003 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.7016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61003 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61003 |  | 0.61003 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-03-28 | ug/L | 0.73 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73 |  | 0.73 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-05-22 | ug/L | 0.70235 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.8016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70235 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70235 |  | 0.70235 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2014-04-24 | ug/L | 0.49487 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.78 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49487 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.49487 |  | 0.49487 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2015-07-09 | ug/L | 0.86348 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.586 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86348 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86348 |  | 0.86348 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-02-03 | ug/L | 0.65923 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.54154 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65923 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-04-26 | ug/L | 0.79766 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.54284 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79766 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-06-29 | ug/L | 0.83072 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.1548 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83072 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-08-07 | ug/L | 0.88398 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.172 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88398 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-10-04 | ug/L | 0.80847 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80847 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-11-22 | ug/L | 0.75138 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.3575 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75138 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-01 | ug/L | 0.73481 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-26 | ug/L | 0.86925 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86924 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-28 | ug/L | 0.844 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 0.5 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.844 |  | 0.844 | 0 | 0