## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2015-10-01 | ug/L | 1.0906 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.596 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0906 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3674 | 0.39152 | 1.3674 | 0.55369 | 0.41045
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2015-11-17 | ug/L | 1.6443 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.298 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6443 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3674 | 0.39152 | 1.3674 | 0.55369 | 0.41045
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-02-06 | ug/L | 0.18333 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18333 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.18333 |  | 0.18333 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-12-04 | ug/L | 0.225 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.225 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.225 | 0 | 0.225 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2014-04-23 | ug/L | 0.225 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.225 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.225 | 0 | 0.225 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-08-15 | ug/L | 0.15 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.15 |  | 0.15 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2015-10-16 | ug/L | 1.401 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 1.192 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.401 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.401 |  | 1.401 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-08-24 | ug/L | 0.16667 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.23333 | 0.094281 | 0.23333 | 0.13333 | 0.098839
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-12-18 | ug/L | 0.3 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.23333 | 0.094281 | 0.23333 | 0.13333 | 0.098839
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-07-29 | ug/L | 0.33333 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.6 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33333 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.33333 |  | 0.33333 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-12-15 | ug/L | 0.50717 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.9717 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50717 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-04-14 | ug/L | 0.33999 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.79414 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33999 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-07-07 | ug/L | 0.21465 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21465 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-08-17 | ug/L | 0.28093 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28093 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-11-22 | ug/L | 0.20202 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20202 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-01-16 | ug/L | 0.30303 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30303 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-03-06 | ug/L | 0.17172 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.98 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17172 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-03-07 | ug/L | 0.16414 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16414 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-07-27 | ug/L | 0.22096 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22096 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-08-18 | ug/L | 0.20666 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1872 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20666 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36534 | 0.22442 | 0.36534 | 0.31738 | 0.23527
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-09-29 | ug/L | 0.52403 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.2327 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52403 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36534 | 0.22442 | 0.36534 | 0.31738 | 0.23527
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2015-09-30 | ug/L | 1.1577 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.596 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1577 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0864 | 0.10085 | 1.0864 | 0.14262 | 0.10572
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2016-01-12 | ug/L | 1.0151 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 1.192 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0151 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0864 | 0.10085 | 1.0864 | 0.14262 | 0.10572
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2015-10-15 | ug/L | 0.9396 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.298 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9396 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9396 |  | 0.9396 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2014-04-23 | ug/L | 0.2 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.4 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.2 |  | 0.2 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2014-02-05 | ug/L | 0.21 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.21 |  | 0.21 | 0 | 0