## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-02-17 | ug/L | 0.72407 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4309 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72407 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-04-15 | ug/L | 0.86667 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0581 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-05-03 | ug/L | 0.75263 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.41587 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75263 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-07-07 | ug/L | 0.84883 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0626 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84883 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-08-16 | ug/L | 0.84317 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84317 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-11-22 | ug/L | 0.84436 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.6936 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84436 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-12-08 | ug/L | 0.68966 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68966 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-03-07 | ug/L | 0.8786 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0585 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8786 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-04-10 | ug/L | 0.8786 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8786 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-05-04 | ug/L | 0.78129 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0585 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78129 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-06-05 | ug/L | 0.81454 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81454 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93358 | 0.15051 | 0.88346 | 0.28822 | 0.21365
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-09-23 | ug/L | 0.88346 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1596 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88346 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93358 | 0.15051 | 0.88346 | 0.28822 | 0.21365
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-05-07 | ug/L | 1.1028 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1028 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93358 | 0.15051 | 0.88346 | 0.28822 | 0.21365
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-08-20 | ug/L | 0.97744 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1596 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97744 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.10633 | 0.90226 | 0.15038 | 0.11147
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-04-20 | ug/L | 0.82707 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82707 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.10633 | 0.90226 | 0.15038 | 0.11147
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-09-29 | ug/L | 1.1184 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.0608 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1184 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0609 | 0.08141 | 1.0609 | 0.11513 | 0.085346
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2016-01-26 | ug/L | 1.0033 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.1216 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0609 | 0.08141 | 1.0609 | 0.11513 | 0.085346
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-10-02 | ug/L | 1.1678 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.0608 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1678 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1678 |  | 1.1678 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-02-06 | ug/L | 0.77375 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77375 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77375 |  | 0.77375 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-05-30 | ug/L | 0.82831 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3984 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82831 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82831 |  | 0.82831 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-08-24 | ug/L | 0.695 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.695 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7875 | 0.13081 | 0.7875 | 0.185 | 0.13714
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-12-18 | ug/L | 0.88 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7875 | 0.13081 | 0.7875 | 0.185 | 0.13714
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-07-29 | ug/L | 0.9775 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.4 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9775 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9775 |  | 0.9775 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-08-18 | ug/L | 0.72718 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.98324 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72718 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72227 | 0.0069502 | 0.72227 | 0.0098291 | 0.0072862
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-09-29 | ug/L | 0.71736 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.0037 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71736 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72227 | 0.0069502 | 0.72227 | 0.0098291 | 0.0072862
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-07-17 | ug/L | 0.90226 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90226 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92732 | 0.035444 | 0.92732 | 0.050125 | 0.037157
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-12-04 | ug/L | 0.95238 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1596 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92732 | 0.035444 | 0.92732 | 0.050125 | 0.037157
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-08-21 | ug/L | 0.97531 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97531 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9321 | 0.054865 | 0.95062 | 0.10494 | 0.07779
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-09-23 | ug/L | 0.87037 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87037 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9321 | 0.054865 | 0.95062 | 0.10494 | 0.07779
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-04-22 | ug/L | 0.95062 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95062 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9321 | 0.054865 | 0.95062 | 0.10494 | 0.07779
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-09-30 | ug/L | 1.0609 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1216 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0609 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0095 | 0.072688 | 1.0095 | 0.1028 | 0.076202
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2016-01-12 | ug/L | 0.95806 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2432 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95806 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0095 | 0.072688 | 1.0095 | 0.1028 | 0.076202
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-10-15 | ug/L | 0.95 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95 |  | 0.95 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-05-29 | ug/L | 0.8 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-07-15 | ug/L | 0.84571 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84571 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84524 | 0.00066121 | 0.84524 | 0.0009351 | 0.00069318
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-08-20 | ug/L | 0.84477 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.2 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84524 | 0.00066121 | 0.84524 | 0.0009351 | 0.00069318
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-05-19 | ug/L | 1.2211 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2211 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1793 | 0.059145 | 1.1793 | 0.083644 | 0.062004
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-10-18 | ug/L | 1.1375 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1793 | 0.059145 | 1.1793 | 0.083644 | 0.062004
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-07-08 | ug/L | 0.64815 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.162 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64815 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83025 | 0.25753 | 0.83025 | 0.3642 | 0.26998
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-09-11 | ug/L | 1.0123 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.081 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0123 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83025 | 0.25753 | 0.83025 | 0.3642 | 0.26998
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-11-05 | ug/L | 0.90123 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.162 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90123 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90741 | 0.0087297 | 0.90741 | 0.012346 | 0.0091517
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-01-27 | ug/L | 0.91358 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.081 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91358 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90741 | 0.0087297 | 0.90741 | 0.012346 | 0.0091517
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-07-22 | ug/L | 0.91667 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-11-17 | ug/L | 1.1667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-07-31 | ug/L | 1.0894 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0894 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91365 | 0.24848 | 0.91365 | 0.35141 | 0.26049
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-03-27 | ug/L | 0.73795 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73795 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91365 | 0.24848 | 0.91365 | 0.35141 | 0.26049
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-12-19 | ug/L | 0.70658 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.7968 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70658 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71348 | 0.0097618 | 0.71348 | 0.013805 | 0.010234
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-02-07 | ug/L | 0.72038 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3984 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72038 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71348 | 0.0097618 | 0.71348 | 0.013805 | 0.010234
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-08-01 | ug/L | 0.54667 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54667 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64833 | 0.14378 | 0.64833 | 0.20333 | 0.15073
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-04-22 | ug/L | 0.75 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64833 | 0.14378 | 0.64833 | 0.20333 | 0.15073
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-11-14 | ug/L | 0.96667 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-02-05 | ug/L | 0.86 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.15 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86 |  | 0.86 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-04-24 | ug/L | 0.76667 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76667 |  | 0.76667 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-07-09 | ug/L | 0.76441 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76441 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87719 | 0.1595 | 0.87719 | 0.22556 | 0.16721
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-04-21 | ug/L | 0.98998 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0798 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98997 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87719 | 0.1595 | 0.87719 | 0.22556 | 0.16721
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-06-04 | ug/L | 0.55556 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55556 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65432 | 0.13968 | 0.65432 | 0.19753 | 0.14643
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2014-10-21 | ug/L | 0.75309 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75309 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65432 | 0.13968 | 0.65432 | 0.19753 | 0.14643
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-11-05 | ug/L | 1.102 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2432 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.102 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.102 |  | 1.102 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2015-09-29 | ug/L | 1.05 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0792 | 0.041248 | 1.0792 | 0.058333 | 0.043242
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2016-01-14 | ug/L | 1.1083 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.12 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0792 | 0.041248 | 1.0792 | 0.058333 | 0.043242