## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-08-20 | ug/L | 0.78358 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78358 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89552 | 0.15831 | 0.89552 | 0.22388 | 0.16596
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-10-20 | ug/L | 1.0075 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0075 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89552 | 0.15831 | 0.89552 | 0.22388 | 0.16596
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-12-03 | ug/L | 0.99502 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ANTHRAQUINONE | E | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99502 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.99502 |  | 0.99502 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-10-01 | ug/L | 0.9 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.12 | ANTHRAQUINONE | E | 0.04 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1083 | 0.29463 | 1.1083 | 0.41667 | 0.30887
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-11-17 | ug/L | 1.3167 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.06 | ANTHRAQUINONE | E | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3167 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1083 | 0.29463 | 1.1083 | 0.41667 | 0.30887
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-05-08 | ug/L | 1.5333 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.06 | ANTHRAQUINONE | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5333 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5333 |  | 1.5333 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-02-17 | ug/L | 0.71412 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.32628 | ANTHRAQUINONE | E | 0.04 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71412 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-04-15 | ug/L | 1.0597 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.80118 | ANTHRAQUINONE | E | 0.04 | 0.849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-05-03 | ug/L | 0.76532 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3149 | ANTHRAQUINONE | E | 0.04 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76532 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-07-07 | ug/L | 0.86001 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.80464 | ANTHRAQUINONE | E | 0.04 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86001 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-08-16 | ug/L | 0.78291 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3206 | ANTHRAQUINONE | E | 0.04 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78291 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-11-22 | ug/L | 0.95134 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.2824 | ANTHRAQUINONE | E | 0.04 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95134 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-12-08 | ug/L | 0.97318 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3206 | ANTHRAQUINONE | E | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97318 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-03-07 | ug/L | 0.95072 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8015 | ANTHRAQUINONE | E | 0.04 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95072 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-04-10 | ug/L | 0.90767 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3206 | ANTHRAQUINONE | E | 0.04 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90767 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-05-04 | ug/L | 0.86837 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8015 | ANTHRAQUINONE | E | 0.04 | 0.696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86837 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.88333 | 0.10664 | 0.88802 | 0.16843 | 0.12486
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-06-05 | ug/L | 0.88308 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88308 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0199 | 0.13104 | 1.0323 | 0.26119 | 0.19362
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-09-23 | ug/L | 1.0323 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1608 | ANTHRAQUINONE | E | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0199 | 0.13104 | 1.0323 | 0.26119 | 0.19362
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-05-07 | ug/L | 1.1443 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1443 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0199 | 0.13104 | 1.0323 | 0.26119 | 0.19362
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-08-20 | ug/L | 1.0153 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1566 | ANTHRAQUINONE | E | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0057 | 0.013546 | 1.0057 | 0.019157 | 0.014201
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-04-20 | ug/L | 0.99617 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0783 | ANTHRAQUINONE | E | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99617 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0057 | 0.013546 | 1.0057 | 0.019157 | 0.014201
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-09-29 | ug/L | 1.1833 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.06 | ANTHRAQUINONE | E | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1458 | 0.053033 | 1.1458 | 0.075 | 0.055597
ANTHRAQUINONE | 4433 | 62813GCM99 | 2016-01-26 | ug/L | 1.1083 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.12 | ANTHRAQUINONE | E | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1458 | 0.053033 | 1.1458 | 0.075 | 0.055597
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-10-02 | ug/L | 1.3621 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.058 | ANTHRAQUINONE | E | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3621 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3621 |  | 1.3621 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-05-30 | ug/L | 0.792 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | ANTHRAQUINONE | E | 0.04 | 0.396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.792 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.792 |  | 0.792 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-12-15 | ug/L | 0.85749 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.31604 | ANTHRAQUINONE | E | 0.04 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85749 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-02-18 | ug/L | 1.0082 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.31344 | ANTHRAQUINONE | E | 0.04 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0082 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-06-28 | ug/L | 0.78328 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.2716 | ANTHRAQUINONE | E | 0.04 | 0.996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78328 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-08-06 | ug/L | 0.80926 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7995 | ANTHRAQUINONE | E | 0.04 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80926 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-08-17 | ug/L | 0.78174 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3198 | ANTHRAQUINONE | E | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78174 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-02-01 | ug/L | 0.4778 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7995 | ANTHRAQUINONE | E | 0.04 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4778 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-03-06 | ug/L | 0.7575 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.2792 | ANTHRAQUINONE | E | 0.04 | 0.969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7575 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-03-07 | ug/L | 0.90369 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3198 | ANTHRAQUINONE | E | 0.04 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90369 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-05-04 | ug/L | 0.93183 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7995 | ANTHRAQUINONE | E | 0.04 | 0.745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93183 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-05-22 | ug/L | 0.78956 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.2792 | ANTHRAQUINONE | E | 0.04 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78956 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81003 | 0.1415 | 0.79941 | 0.12195 | 0.090401
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-09-17 | ug/L | 1.06 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0783 | ANTHRAQUINONE | E | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.092 | 0.045154 | 1.092 | 0.063857 | 0.047337
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-02-26 | ug/L | 1.1239 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1566 | ANTHRAQUINONE | E | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1239 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.092 | 0.045154 | 1.092 | 0.063857 | 0.047337
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-07-16 | ug/L | 0.83014 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1566 | ANTHRAQUINONE | E | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83014 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.83014 |  | 0.83014 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-10-16 | ug/L | 1.1509 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.232 | ANTHRAQUINONE | E | 0.04 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1509 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1509 |  | 1.1509 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2016-01-13 | ug/L | 1.3448 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.116 | ANTHRAQUINONE | E | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3448 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3448 |  | 1.3448 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-09-26 | ug/L | 0.85 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-06-12 | ug/L | 0.822 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.5 | ANTHRAQUINONE | E | 0.04 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.822 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7685 | 0.07566 | 0.7685 | 0.107 | 0.079318
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-02-05 | ug/L | 0.715 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7685 | 0.07566 | 0.7685 | 0.107 | 0.079318
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-11-14 | ug/L | 0.685 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.665 | 0.028284 | 0.665 | 0.04 | 0.029652
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-04-23 | ug/L | 0.645 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.665 | 0.028284 | 0.665 | 0.04 | 0.029652
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-06-14 | ug/L | 0.792 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.5 | ANTHRAQUINONE | E | 0.04 | 0.396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.792 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.792 |  | 0.792 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-12-12 | ug/L | 0.80645 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.496 | ANTHRAQUINONE | E | 0.04 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80645 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80645 |  | 0.80645 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-05-29 | ug/L | 0.82258 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.248 | ANTHRAQUINONE | E | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82258 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82258 |  | 0.82258 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-12-20 | ug/L | 0.68548 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.496 | ANTHRAQUINONE | E | 0.04 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68548 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68548 |  | 0.68548 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-09-18 | ug/L | 0.92339 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.248 | ANTHRAQUINONE | E | 0.04 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92339 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.92339 |  | 0.92339 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-07-15 | ug/L | 0.83315 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ANTHRAQUINONE | E | 0.2 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83315 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83486 | 0.0024206 | 0.83486 | 0.0034232 | 0.0025376
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-08-20 | ug/L | 0.83657 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ANTHRAQUINONE | E | 0.2 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83657 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83486 | 0.0024206 | 0.83486 | 0.0034232 | 0.0025376
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-05-19 | ug/L | 1.2311 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ANTHRAQUINONE | E | 0.04 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2311 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.103 | 0.18107 | 1.103 | 0.25607 | 0.18982
ANTHRAQUINONE | 4433 | 62813GCM99 | 2011-10-18 | ug/L | 0.975 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ANTHRAQUINONE | E | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.103 | 0.18107 | 1.103 | 0.25607 | 0.18982
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-07-20 | ug/L | 0.36337 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.82011 | ANTHRAQUINONE | E | 0.2 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36337 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.12328 | 0.55844 | 0.22814 | 0.16912
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-08-20 | ug/L | 0.5915 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.20964 | ANTHRAQUINONE | E | 0.2 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5915 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.12328 | 0.55844 | 0.22814 | 0.16912
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-08-20 | ug/L | 0.55844 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.40828 | ANTHRAQUINONE | E | 0.2 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55844 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.12328 | 0.55844 | 0.22814 | 0.16912
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-07-08 | ug/L | 0.67164 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.1608 | ANTHRAQUINONE | E | 0.04 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67164 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77114 | 0.14072 | 0.77114 | 0.199 | 0.14752
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-09-11 | ug/L | 0.87065 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77114 | 0.14072 | 0.77114 | 0.199 | 0.14752
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-11-05 | ug/L | 1.2835 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.1566 | ANTHRAQUINONE | E | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2835 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1654 | 0.16707 | 1.1654 | 0.23627 | 0.17515
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-01-27 | ug/L | 1.0473 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0783 | ANTHRAQUINONE | E | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0473 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1654 | 0.16707 | 1.1654 | 0.23627 | 0.17515
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-07-22 | ug/L | 0.925 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | ANTHRAQUINONE | E | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.925 |  | 0.925 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-11-17 | ug/L | 1.1897 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.058 | ANTHRAQUINONE | E | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1897 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1897 |  | 1.1897 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-07-31 | ug/L | 0.788 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ANTHRAQUINONE | E | 0.04 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.648 | 0.19799 | 0.648 | 0.28 | 0.20756
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-03-27 | ug/L | 0.508 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ANTHRAQUINONE | E | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.508 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.648 | 0.19799 | 0.648 | 0.28 | 0.20756
ANTHRAQUINONE | 4433 | 62813GCM99 | 2012-12-19 | ug/L | 0.625 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | ANTHRAQUINONE | E | 0.04 | 0.625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.625 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5985 | 0.037477 | 0.5985 | 0.053 | 0.039288
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-02-07 | ug/L | 0.572 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | ANTHRAQUINONE | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.572 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5985 | 0.037477 | 0.5985 | 0.053 | 0.039288
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-08-01 | ug/L | 0.718 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1 | ANTHRAQUINONE | E | 0.04 | 0.718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.718 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.704 | 0.019799 | 0.704 | 0.028 | 0.020756
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-04-22 | ug/L | 0.69 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.704 | 0.019799 | 0.704 | 0.028 | 0.020756
ANTHRAQUINONE | 4433 | 62813GCM99 | 2013-11-14 | ug/L | 0.79 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79 |  | 0.79 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-02-05 | ug/L | 0.878 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.5 | ANTHRAQUINONE | E | 0.04 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.878 |  | 0.878 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-04-24 | ug/L | 0.555 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.2 | ANTHRAQUINONE | E | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.555 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.555 |  | 0.555 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-05-22 | ug/L | 0.84577 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0804 | ANTHRAQUINONE | E | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84577 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84577 |  | 0.84577 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2014-04-24 | ug/L | 0.84291 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0783 | ANTHRAQUINONE | E | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84291 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84291 |  | 0.84291 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2015-07-09 | ug/L | 0.89655 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.058 | ANTHRAQUINONE | E | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89655 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89655 |  | 0.89655 | 0 | 0
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-05-13 | ug/L | 0.66204 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | ANTHRAQUINONE | E | 0.2 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66204 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74923 | 0.12331 | 0.74923 | 0.17439 | 0.12927
ANTHRAQUINONE | 4433 | 62813GCM99 | 2010-08-18 | ug/L | 0.83643 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | ANTHRAQUINONE | E | 0.2 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83643 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74923 | 0.12331 | 0.74923 | 0.17439 | 0.12927