## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 4433 | 39630GCM99 | 2014-08-20 | ug/L | 0.98003 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98002 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0752 | 0.13462 | 1.0752 | 0.19039 | 0.14113
ATRAZINE | 4433 | 39630GCM99 | 2014-10-20 | ug/L | 1.1704 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1704 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0752 | 0.13462 | 1.0752 | 0.19039 | 0.14113
ATRAZINE | 4433 | 39630GCM99 | 2014-12-03 | ug/L | 1.2235 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6408 | ATRAZINE | . | 0.16 | 0.784 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2235 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2235 |  | 1.2235 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2011-02-17 | ug/L | 0.93695 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.58701 | ATRAZINE | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93695 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-04-15 | ug/L | 1.0337 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4414 | ATRAZINE | . | 0.16 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0337 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-05-03 | ug/L | 0.9655 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.56655 | ATRAZINE | . | 0.16 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9655 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-07-07 | ug/L | 0.90492 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4476 | ATRAZINE | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90492 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-08-16 | ug/L | 0.92233 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92233 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-11-22 | ug/L | 0.98821 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3072 | ATRAZINE | . | 0.16 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98821 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-12-08 | ug/L | 0.76456 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76456 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-03-07 | ug/L | 1.165 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.442 | ATRAZINE | . | 0.16 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.165 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-04-10 | ug/L | 1.087 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-05-04 | ug/L | 0.96394 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.442 | ATRAZINE | . | 0.16 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96394 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2013-08-06 | ug/L | 0.81351 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 2.102 | ATRAZINE | . | 0.16 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81351 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81351 |  | 0.81351 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-10-22 | ug/L | 0.76667 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79167 | 0.035355 | 0.79167 | 0.05 | 0.037064
ATRAZINE | 4433 | 39630GCM99 | 2014-04-23 | ug/L | 0.81667 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79167 | 0.035355 | 0.79167 | 0.05 | 0.037064
ATRAZINE | 4433 | 39630GCM99 | 2014-06-05 | ug/L | 0.9176 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9176 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0664 | 0.13762 | 1.0924 | 0.27154 | 0.20129
ATRAZINE | 4433 | 39630GCM99 | 2014-09-23 | ug/L | 1.0924 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.6408 | ATRAZINE | . | 0.16 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0924 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0664 | 0.13762 | 1.0924 | 0.27154 | 0.20129
ATRAZINE | 4433 | 39630GCM99 | 2015-05-07 | ug/L | 1.1891 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1891 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0664 | 0.13762 | 1.0924 | 0.27154 | 0.20129
ATRAZINE | 4433 | 39630GCM99 | 2014-08-20 | ug/L | 1.0904 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.6282 | ATRAZINE | . | 0.16 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0904 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96546 | 0.17672 | 0.96546 | 0.24992 | 0.18526
ATRAZINE | 4433 | 39630GCM99 | 2015-04-20 | ug/L | 0.8405 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.3141 | ATRAZINE | . | 0.16 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8405 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96546 | 0.17672 | 0.96546 | 0.24992 | 0.18526
ATRAZINE | 4433 | 39630GCM99 | 2015-09-29 | ug/L | 1.1917 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.24 | ATRAZINE | . | 0.16 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1917 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0052 | 0.26369 | 1.0052 | 0.37292 | 0.27644
ATRAZINE | 4433 | 39630GCM99 | 2016-01-26 | ug/L | 0.81875 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.48 | ATRAZINE | . | 0.16 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0052 | 0.26369 | 1.0052 | 0.37292 | 0.27644
ATRAZINE | 4433 | 39630GCM99 | 2015-10-02 | ug/L | 1.0333 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.24 | ATRAZINE | . | 0.16 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-02-06 | ug/L | 0.95431 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.0448 | ATRAZINE | . | 0.16 | 3.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95431 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95431 |  | 0.95431 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-05-30 | ug/L | 0.89992 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0224 | ATRAZINE | . | 0.16 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89992 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89992 |  | 0.89992 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2010-12-15 | ug/L | 1.0168 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.56942 | ATRAZINE | . | 0.16 | 0.579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0168 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-02-18 | ug/L | 0.83225 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.56474 | ATRAZINE | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83225 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-06-28 | ug/L | 0.88169 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.2911 | ATRAZINE | . | 0.16 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88169 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-08-06 | ug/L | 0.8261 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | . | 0.16 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8261 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-08-17 | ug/L | 0.95453 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5762 | ATRAZINE | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95453 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-02-01 | ug/L | 0.563 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | E | 0.16 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.563 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-03-06 | ug/L | 1.0153 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3048 | ATRAZINE | . | 0.16 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-03-07 | ug/L | 0.85734 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5762 | ATRAZINE | . | 0.16 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85734 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-05-04 | ug/L | 0.98577 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | . | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98577 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-05-22 | ug/L | 0.73759 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3048 | ATRAZINE | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73759 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2010-05-19 | ug/L | 1.178 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.23344 | ATRAZINE | . | 0.2 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.178 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.178 |  | 1.178 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2014-09-17 | ug/L | 0.93282 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3141 | ATRAZINE | . | 0.16 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93282 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93999 | 0.01013 | 0.93999 | 0.014327 | 0.01062
ATRAZINE | 4433 | 39630GCM99 | 2015-02-26 | ug/L | 0.94715 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.6282 | ATRAZINE | . | 0.16 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94715 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93999 | 0.01013 | 0.93999 | 0.014327 | 0.01062
ATRAZINE | 4433 | 39630GCM99 | 2014-07-16 | ug/L | 0.79592 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6282 | ATRAZINE | . | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79592 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79592 |  | 0.79592 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-12-04 | ug/L | 0.86264 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86264 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.827 | 0.050412 | 0.827 | 0.071293 | 0.052849
ATRAZINE | 4433 | 39630GCM99 | 2014-04-23 | ug/L | 0.79135 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79135 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.827 | 0.050412 | 0.827 | 0.071293 | 0.052849
ATRAZINE | 4433 | 39630GCM99 | 2012-08-24 | ug/L | 0.846 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ATRAZINE | . | 0.16 | 0.846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.846 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.885 | 0.055154 | 0.885 | 0.078 | 0.057821
ATRAZINE | 4433 | 39630GCM99 | 2012-12-18 | ug/L | 0.924 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ATRAZINE | . | 0.16 | 0.924 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.885 | 0.055154 | 0.885 | 0.078 | 0.057821
ATRAZINE | 4433 | 39630GCM99 | 2015-09-30 | ug/L | 1.275 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.48 | ATRAZINE | . | 0.16 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1135 | 0.22834 | 1.1135 | 0.32292 | 0.23937
ATRAZINE | 4433 | 39630GCM99 | 2016-01-12 | ug/L | 0.95208 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.96 | ATRAZINE | . | 0.16 | 0.914 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95208 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1135 | 0.22834 | 1.1135 | 0.32292 | 0.23937
ATRAZINE | 4433 | 39630GCM99 | 2015-10-15 | ug/L | 1.125 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | ATRAZINE | . | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.125 |  | 1.125 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-09-26 | ug/L | 0.86502 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86502 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86502 |  | 0.86502 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-06-12 | ug/L | 0.88286 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 1.05 | ATRAZINE | . | 0.16 | 0.927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88286 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.795 | 0.12425 | 0.795 | 0.17571 | 0.13026
ATRAZINE | 4433 | 39630GCM99 | 2014-02-05 | ug/L | 0.70714 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70714 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.795 | 0.12425 | 0.795 | 0.17571 | 0.13026
ATRAZINE | 4433 | 39630GCM99 | 2012-12-12 | ug/L | 0.86531 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0224 | ATRAZINE | . | 0.16 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86531 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86531 |  | 0.86531 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2012-12-20 | ug/L | 0.79 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | ATRAZINE | . | 0.16 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79 |  | 0.79 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2010-03-11 | ug/L | 0.63871 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.93313 | ATRAZINE | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63871 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80687 | 0.23781 | 0.80687 | 0.33632 | 0.24931
ATRAZINE | 4433 | 39630GCM99 | 2010-07-23 | ug/L | 0.97503 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.46973 | ATRAZINE | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97503 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80687 | 0.23781 | 0.80687 | 0.33632 | 0.24931
ATRAZINE | 4433 | 39630GCM99 | 2010-07-15 | ug/L | 0.61021 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | ATRAZINE | . | 0.2 | 0.583 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61021 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66905 | 0.08322 | 0.66905 | 0.11769 | 0.087243
ATRAZINE | 4433 | 39630GCM99 | 2010-08-20 | ug/L | 0.7279 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | ATRAZINE | . | 0.2 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7279 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66905 | 0.08322 | 0.66905 | 0.11769 | 0.087243
ATRAZINE | 4433 | 39630GCM99 | 2014-07-08 | ug/L | 0.74126 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.6408 | ATRAZINE | . | 0.16 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74126 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90902 | 0.23725 | 0.90902 | 0.33552 | 0.24872
ATRAZINE | 4433 | 39630GCM99 | 2014-09-11 | ug/L | 1.0768 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0768 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90902 | 0.23725 | 0.90902 | 0.33552 | 0.24872
ATRAZINE | 4433 | 39630GCM99 | 2014-11-05 | ug/L | 1.1063 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.6282 | ATRAZINE | . | 0.16 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1063 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1294 | 0.032643 | 1.1294 | 0.046164 | 0.034221
ATRAZINE | 4433 | 39630GCM99 | 2015-01-27 | ug/L | 1.1525 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.3141 | ATRAZINE | . | 0.16 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1525 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1294 | 0.032643 | 1.1294 | 0.046164 | 0.034221
ATRAZINE | 4433 | 39630GCM99 | 2015-07-22 | ug/L | 1.0875 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | ATRAZINE | . | 0.16 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0875 |  | 1.0875 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2015-11-17 | ug/L | 0.88333 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | ATRAZINE | . | 0.16 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88333 |  | 0.88333 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2012-07-31 | ug/L | 1.0581 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0112 | ATRAZINE | . | 0.16 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0581 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89794 | 0.22657 | 0.89794 | 0.32041 | 0.23752
ATRAZINE | 4433 | 39630GCM99 | 2013-03-27 | ug/L | 0.73774 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0112 | ATRAZINE | . | 0.16 | 0.746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73774 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89794 | 0.22657 | 0.89794 | 0.32041 | 0.23752
ATRAZINE | 4433 | 39630GCM99 | 2013-08-01 | ug/L | 0.78422 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 2.104 | ATRAZINE | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78422 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72243 | 0.08738 | 0.72243 | 0.12357 | 0.091604
ATRAZINE | 4433 | 39630GCM99 | 2014-04-22 | ug/L | 0.66065 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66065 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72243 | 0.08738 | 0.72243 | 0.12357 | 0.091604
ATRAZINE | 4433 | 39630GCM99 | 2013-11-14 | ug/L | 0.87381 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87381 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87381 |  | 0.87381 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-03-28 | ug/L | 0.8025 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | ATRAZINE | . | 0.16 | 3.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8025 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8025 |  | 0.8025 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2014-05-22 | ug/L | 0.78964 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3204 | ATRAZINE | . | 0.16 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78964 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78964 |  | 0.78964 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2014-04-24 | ug/L | 0.56351 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3141 | ATRAZINE | E | 0.16 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56351 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56351 |  | 0.56351 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2015-11-05 | ug/L | 1.0521 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.96 | ATRAZINE | . | 0.16 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0521 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0521 |  | 1.0521 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2015-09-29 | ug/L | 1.3083 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | ATRAZINE | . | 0.16 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3083 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1219 | 0.26369 | 1.1219 | 0.37292 | 0.27644
ATRAZINE | 4433 | 39630GCM99 | 2016-01-14 | ug/L | 0.93542 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | ATRAZINE | . | 0.16 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93542 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1219 | 0.26369 | 1.1219 | 0.37292 | 0.27644