## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZOPHENONE | 4433 | 62814GCM99 | 2014-08-20 | ug/L | 0.9311 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9311 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96214 | 0.043892 | 0.96214 | 0.062073 | 0.046014
BENZOPHENONE | 4433 | 62814GCM99 | 2014-10-20 | ug/L | 0.99317 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99317 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96214 | 0.043892 | 0.96214 | 0.062073 | 0.046014
BENZOPHENONE | 4433 | 62814GCM99 | 2014-12-03 | ug/L | 1.0329 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.3195 | BENZOPHENONE | . | 0.08 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0329 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0329 |  | 1.0329 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2011-02-17 | ug/L | 0.8459 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.29554 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-04-15 | ug/L | 1.061 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.72571 | BENZOPHENONE | . | 0.08 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.061 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-05-03 | ug/L | 0.91152 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.28524 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91152 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-07-07 | ug/L | 0.91927 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.72884 | BENZOPHENONE | . | 0.08 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91927 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-16 | ug/L | 0.86088 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86088 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-11-22 | ug/L | 0.9814 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.1616 | BENZOPHENONE | . | 0.08 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9814 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-12-08 | ug/L | 0.82645 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82645 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-07 | ug/L | 1.0055 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.726 | BENZOPHENONE | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0055 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-04-10 | ug/L | 1.0675 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-04 | ug/L | 0.84022 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.726 | BENZOPHENONE | . | 0.08 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84022 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2013-08-06 | ug/L | 0.71746 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.352 | BENZOPHENONE | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71746 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71746 |  | 0.71746 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-10-22 | ug/L | 0.85185 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85185 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.026189 | 0.83333 | 0.037037 | 0.027455
BENZOPHENONE | 4433 | 62814GCM99 | 2014-04-23 | ug/L | 0.81481 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.026189 | 0.83333 | 0.037037 | 0.027455
BENZOPHENONE | 4433 | 62814GCM99 | 2015-09-29 | ug/L | 1.157 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.121 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.157 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1157 | 0.058439 | 1.1157 | 0.082645 | 0.061264
BENZOPHENONE | 4433 | 62814GCM99 | 2016-01-26 | ug/L | 1.0744 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.242 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0744 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1157 | 0.058439 | 1.1157 | 0.082645 | 0.061264
BENZOPHENONE | 4433 | 62814GCM99 | 2015-10-02 | ug/L | 1.157 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.121 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.157 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.157 |  | 1.157 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-02-06 | ug/L | 0.80287 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8096 | BENZOPHENONE | . | 0.08 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80287 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80287 |  | 0.80287 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-05-30 | ug/L | 0.86462 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.4048 | BENZOPHENONE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86462 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86462 |  | 0.86462 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2010-12-15 | ug/L | 0.8456 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.28382 | BENZOPHENONE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8456 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-02-18 | ug/L | 0.99472 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.28149 | BENZOPHENONE | E | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99472 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-06-28 | ug/L | 0.90197 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1419 | BENZOPHENONE | . | 0.08 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90197 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-06 | ug/L | 0.79387 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79387 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-17 | ug/L | 0.90529 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2872 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90529 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-02-01 | ug/L | 0.5571 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | E | 0.08 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5571 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-06 | ug/L | 0.84436 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1488 | BENZOPHENONE | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84436 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-07 | ug/L | 0.94011 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2872 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94011 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-04 | ug/L | 0.91922 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91922 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-22 | ug/L | 0.9227 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1488 | BENZOPHENONE | . | 0.08 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9227 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2014-09-17 | ug/L | 1.0552 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0552 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99317 | 0.087785 | 0.99317 | 0.12415 | 0.092029
BENZOPHENONE | 4433 | 62814GCM99 | 2015-02-26 | ug/L | 0.9311 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.3222 | BENZOPHENONE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9311 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99317 | 0.087785 | 0.99317 | 0.12415 | 0.092029
BENZOPHENONE | 4433 | 62814GCM99 | 2014-07-16 | ug/L | 0.87637 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.3195 | BENZOPHENONE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87637 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87637 |  | 0.87637 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-12-04 | ug/L | 0.99705 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99705 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90473 | 0.13056 | 0.90473 | 0.18464 | 0.13687
BENZOPHENONE | 4433 | 62814GCM99 | 2014-04-23 | ug/L | 0.81241 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81241 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90473 | 0.13056 | 0.90473 | 0.18464 | 0.13687
BENZOPHENONE | 4433 | 62814GCM99 | 2012-08-24 | ug/L | 0.85 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85 | 0 | 0.85 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-18 | ug/L | 0.85 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85 | 0 | 0.85 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2014-07-17 | ug/L | 0.86903 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86903 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88454 | 0.021946 | 0.88454 | 0.031037 | 0.023007
BENZOPHENONE | 4433 | 62814GCM99 | 2014-12-04 | ug/L | 0.90006 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3222 | BENZOPHENONE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90006 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88454 | 0.021946 | 0.88454 | 0.031037 | 0.023007
BENZOPHENONE | 4433 | 62814GCM99 | 2014-08-21 | ug/L | 0.9311 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9311 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96214 | 0.053757 | 0.9311 | 0.09311 | 0.069021
BENZOPHENONE | 4433 | 62814GCM99 | 2014-09-23 | ug/L | 1.0242 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.3222 | BENZOPHENONE | . | 0.08 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0242 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96214 | 0.053757 | 0.9311 | 0.09311 | 0.069021
BENZOPHENONE | 4433 | 62814GCM99 | 2015-04-22 | ug/L | 0.9311 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1611 | BENZOPHENONE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9311 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96214 | 0.053757 | 0.9311 | 0.09311 | 0.069021
BENZOPHENONE | 4433 | 62814GCM99 | 2015-09-30 | ug/L | 1.0744 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.242 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0744 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0331 | 0.058439 | 1.0331 | 0.082645 | 0.061264
BENZOPHENONE | 4433 | 62814GCM99 | 2016-01-12 | ug/L | 0.99174 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.484 | BENZOPHENONE | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99174 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0331 | 0.058439 | 1.0331 | 0.082645 | 0.061264
BENZOPHENONE | 4433 | 62814GCM99 | 2015-10-15 | ug/L | 0.91667 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.12 | BENZOPHENONE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-09-26 | ug/L | 0.84934 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84934 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84934 |  | 0.84934 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-06-12 | ug/L | 0.81481 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.675 | BENZOPHENONE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81481 | 0 | 0.81481 | 1.1102e-16 | 8.23e-17
BENZOPHENONE | 4433 | 62814GCM99 | 2014-02-05 | ug/L | 0.81481 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81481 | 0 | 0.81481 | 1.1102e-16 | 8.23e-17
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-12 | ug/L | 0.86462 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4048 | BENZOPHENONE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86462 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86462 |  | 0.86462 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-20 | ug/L | 0.75 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.4 | BENZOPHENONE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2010-07-15 | ug/L | 0.71173 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | BENZOPHENONE | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71173 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81721 | 0.14917 | 0.81721 | 0.21095 | 0.15638
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | ug/L | 0.92269 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | BENZOPHENONE | E | 0.2 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92269 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81721 | 0.14917 | 0.81721 | 0.21095 | 0.15638
BENZOPHENONE | 4433 | 62814GCM99 | 2011-05-19 | ug/L | 1.0673 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | BENZOPHENONE | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0883 | 0.02978 | 1.0883 | 0.042115 | 0.031219
BENZOPHENONE | 4433 | 62814GCM99 | 2011-10-18 | ug/L | 1.1094 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | BENZOPHENONE | . | 0.08 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0883 | 0.02978 | 1.0883 | 0.042115 | 0.031219
BENZOPHENONE | 4433 | 62814GCM99 | 2010-07-20 | ug/L | 0.51077 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.56777 | BENZOPHENONE | E | 0.2 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51077 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69414 | 0.16123 | 0.75793 | 0.30293 | 0.22456
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | ug/L | 0.75793 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.14513 | BENZOPHENONE | E | 0.2 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75793 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.69414 | 0.16123 | 0.75793 | 0.30293 | 0.22456
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | ug/L | 0.81371 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.28266 | BENZOPHENONE | . | 0.2 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81371 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69414 | 0.16123 | 0.75793 | 0.30293 | 0.22456
BENZOPHENONE | 4433 | 62814GCM99 | 2015-07-22 | ug/L | 0.95833 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.24 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95833 |  | 0.95833 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2015-11-17 | ug/L | 1.1667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.12 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-07-31 | ug/L | 1.087 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2024 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96344 | 0.17468 | 0.96344 | 0.24704 | 0.18312
BENZOPHENONE | 4433 | 62814GCM99 | 2013-03-27 | ug/L | 0.83992 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2024 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83992 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96344 | 0.17468 | 0.96344 | 0.24704 | 0.18312
BENZOPHENONE | 4433 | 62814GCM99 | 2013-08-01 | ug/L | 0.74594 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.354 | BENZOPHENONE | . | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74594 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74225 | 0.0052224 | 0.74225 | 0.0073855 | 0.0054748
BENZOPHENONE | 4433 | 62814GCM99 | 2014-04-22 | ug/L | 0.73855 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73855 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74225 | 0.0052224 | 0.74225 | 0.0073855 | 0.0054748
BENZOPHENONE | 4433 | 62814GCM99 | 2013-11-14 | ug/L | 0.96296 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96296 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96296 |  | 0.96296 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-03-28 | ug/L | 0.825 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.8 | BENZOPHENONE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.825 |  | 0.825 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2014-05-22 | ug/L | 0.81377 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.15975 | BENZOPHENONE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81377 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81377 |  | 0.81377 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2014-07-09 | ug/L | 0.87637 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.15975 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87637 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93897 | 0.088527 | 0.93897 | 0.1252 | 0.092806
BENZOPHENONE | 4433 | 62814GCM99 | 2015-04-21 | ug/L | 1.0016 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.15975 | BENZOPHENONE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93897 | 0.088527 | 0.93897 | 0.1252 | 0.092806
BENZOPHENONE | 4433 | 62814GCM99 | 2014-04-24 | ug/L | 0.75117 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.15975 | BENZOPHENONE | E | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75117 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75117 |  | 0.75117 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2014-06-04 | ug/L | 0.65728 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.3195 | BENZOPHENONE | E | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65728 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71987 | 0.088527 | 0.71987 | 0.1252 | 0.092806
BENZOPHENONE | 4433 | 62814GCM99 | 2014-10-21 | ug/L | 0.78247 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.3195 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78247 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71987 | 0.088527 | 0.71987 | 0.1252 | 0.092806
BENZOPHENONE | 4433 | 62814GCM99 | 2015-11-05 | ug/L | 1.1364 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.484 | BENZOPHENONE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1364 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1364 |  | 1.1364 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2015-09-29 | ug/L | 1.0833 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.12 | BENZOPHENONE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1667 | 0.11785 | 1.1667 | 0.16667 | 0.12355
BENZOPHENONE | 4433 | 62814GCM99 | 2016-01-14 | ug/L | 1.25 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.24 | BENZOPHENONE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1667 | 0.11785 | 1.1667 | 0.16667 | 0.12355
BENZOPHENONE | 4433 | 62814GCM99 | 2010-05-13 | ug/L | 0.68306 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.2928 | BENZOPHENONE | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68306 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76356 | 0.11385 | 0.76356 | 0.16101 | 0.11936
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-18 | ug/L | 0.84407 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.60422 | BENZOPHENONE | E | 0.2 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84407 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76356 | 0.11385 | 0.76356 | 0.16101 | 0.11936