## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-10-01 | ug/L | 0.48333 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.06 | BENZO[A]PYRENE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48333 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74167 | 0.36534 | 0.74167 | 0.51667 | 0.383
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-11-17 | ug/L | 1 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74167 | 0.36534 | 0.74167 | 0.51667 | 0.383
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-05-08 | ug/L | 1.1333 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1333 |  | 1.1333 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-02-17 | ug/L | 0.59721 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.30307 | BENZO[A]PYRENE | . | 0.02 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59721 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-04-15 | ug/L | 1.0441 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.7442 | BENZO[A]PYRENE | E | 0.02 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0441 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-05-03 | ug/L | 0.97776 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.29251 | BENZO[A]PYRENE | . | 0.02 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97776 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-07-07 | ug/L | 0.87903 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.74741 | BENZO[A]PYRENE | . | 0.02 | 0.657 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-08-16 | ug/L | 0.87307 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2978 | BENZO[A]PYRENE | . | 0.02 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87307 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-11-22 | ug/L | 0.80339 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.1912 | BENZO[A]PYRENE | . | 0.02 | 0.957 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80339 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-12-08 | ug/L | 0.71525 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2978 | BENZO[A]PYRENE | . | 0.02 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71525 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-03-07 | ug/L | 1.0665 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.7445 | BENZO[A]PYRENE | . | 0.02 | 0.794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0665 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-04-10 | ug/L | 0.95366 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2978 | BENZO[A]PYRENE | . | 0.02 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95366 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-05-04 | ug/L | 0.8086 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.7445 | BENZO[A]PYRENE | . | 0.02 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8086 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87185 | 0.14687 | 0.87605 | 0.17437 | 0.12926
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-06-05 | ug/L | 0.95238 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0399 | BENZO[A]PYRENE | . | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0443 | 0.18131 | 0.95238 | 0.32581 | 0.24152
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-09-23 | ug/L | 0.92732 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.0798 | BENZO[A]PYRENE | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92732 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0443 | 0.18131 | 0.95238 | 0.32581 | 0.24152
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-05-07 | ug/L | 1.2531 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0399 | BENZO[A]PYRENE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2531 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0443 | 0.18131 | 0.95238 | 0.32581 | 0.24152
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-08-20 | ug/L | 0.81454 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.0798 | BENZO[A]PYRENE | . | 0.02 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81454 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8584 | 0.062027 | 0.8584 | 0.087719 | 0.065025
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-04-20 | ug/L | 0.90226 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0399 | BENZO[A]PYRENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90226 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8584 | 0.062027 | 0.8584 | 0.087719 | 0.065025
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-09-29 | ug/L | 1.3667 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.34177 | 1.125 | 0.48333 | 0.35829
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2016-01-26 | ug/L | 0.88333 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.06 | BENZO[A]PYRENE | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.34177 | 1.125 | 0.48333 | 0.35829
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-10-02 | ug/L | 1.1 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-05-30 | ug/L | 1.07 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | BENZO[A]PYRENE | . | 0.02 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.07 |  | 1.07 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-12-15 | ug/L | 0.84836 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.29351 | BENZO[A]PYRENE | . | 0.02 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84836 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-02-18 | ug/L | 0.92755 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.29109 | BENZO[A]PYRENE | . | 0.02 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92755 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-06-28 | ug/L | 0.88914 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1809 | BENZO[A]PYRENE | . | 0.02 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88914 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-08-06 | ug/L | 0.62357 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7425 | BENZO[A]PYRENE | E | 0.02 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62357 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-08-17 | ug/L | 0.9798 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.297 | BENZO[A]PYRENE | . | 0.02 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9798 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-02-01 | ug/L | 0.50774 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7425 | BENZO[A]PYRENE | E | 0.02 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50774 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-03-06 | ug/L | 0.91751 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.188 | BENZO[A]PYRENE | . | 0.02 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91751 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-03-07 | ug/L | 0.87542 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.297 | BENZO[A]PYRENE | . | 0.02 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-05-04 | ug/L | 0.90101 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.7425 | BENZO[A]PYRENE | . | 0.02 | 0.669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90101 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-05-22 | ug/L | 0.74411 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.188 | BENZO[A]PYRENE | . | 0.02 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74411 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82142 | 0.15043 | 0.88228 | 0.1734 | 0.12854
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-05-19 | ug/L | 0.6998 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.27579 | BENZO[A]PYRENE | E | 0.2 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6998 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6998 |  | 0.6998 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-10-16 | ug/L | 1.0833 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.12 | BENZO[A]PYRENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0833 |  | 1.0833 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2016-01-13 | ug/L | 0.71667 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.06 | BENZO[A]PYRENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71667 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71667 |  | 0.71667 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-07-17 | ug/L | 0.87719 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0399 | BENZO[A]PYRENE | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87719 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92105 | 0.062027 | 0.92105 | 0.087719 | 0.065025
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-12-04 | ug/L | 0.96491 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.0798 | BENZO[A]PYRENE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96491 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92105 | 0.062027 | 0.92105 | 0.087719 | 0.065025
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-08-21 | ug/L | 1 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.039 | BENZO[A]PYRENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0726 | 0.1603 | 1 | 0.29487 | 0.21859
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-09-23 | ug/L | 0.96154 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.078 | BENZO[A]PYRENE | . | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0726 | 0.1603 | 1 | 0.29487 | 0.21859
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-04-22 | ug/L | 1.2564 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.039 | BENZO[A]PYRENE | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2564 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0726 | 0.1603 | 1 | 0.29487 | 0.21859
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-09-26 | ug/L | 0.9 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.04 | BENZO[A]PYRENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-06-12 | ug/L | 1.14 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.1 | BENZO[A]PYRENE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.14 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.945 | 0.27577 | 0.945 | 0.39 | 0.2891
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-02-05 | ug/L | 0.75 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.04 | BENZO[A]PYRENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.945 | 0.27577 | 0.945 | 0.39 | 0.2891
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-11-14 | ug/L | 0.825 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.04 | BENZO[A]PYRENE | . | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85 | 0.035355 | 0.85 | 0.05 | 0.037064
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-04-23 | ug/L | 0.875 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.04 | BENZO[A]PYRENE | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85 | 0.035355 | 0.85 | 0.05 | 0.037064
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-06-14 | ug/L | 1.13 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.1 | BENZO[A]PYRENE | . | 0.02 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.13 |  | 1.13 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-12-12 | ug/L | 0.856 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | BENZO[A]PYRENE | . | 0.02 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.856 |  | 0.856 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-05-29 | ug/L | 0.864 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | BENZO[A]PYRENE | . | 0.02 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.864 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.864 |  | 0.864 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-12-20 | ug/L | 0.788 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | BENZO[A]PYRENE | . | 0.02 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.788 |  | 0.788 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-09-18 | ug/L | 0.948 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | BENZO[A]PYRENE | . | 0.02 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.948 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.948 |  | 0.948 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-03-11 | ug/L | 0.28583 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.1021 | BENZO[A]PYRENE | . | 0.2 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28583 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43222 | 0.20704 | 0.43222 | 0.29279 | 0.21704
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-07-23 | ug/L | 0.57862 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.55477 | BENZO[A]PYRENE | . | 0.2 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57862 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.43222 | 0.20704 | 0.43222 | 0.29279 | 0.21704
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-07-15 | ug/L | 0.51915 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | BENZO[A]PYRENE | E | 0.2 | 0.062 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51915 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.59584 | 0.10846 | 0.59584 | 0.15339 | 0.11371
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2010-08-20 | ug/L | 0.67254 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | BENZO[A]PYRENE | E | 0.2 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67254 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.59584 | 0.10846 | 0.59584 | 0.15339 | 0.11371
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-05-19 | ug/L | 1.0623 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | BENZO[A]PYRENE | . | 0.02 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0623 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0718 | 0.013402 | 1.0718 | 0.018954 | 0.01405
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2011-10-18 | ug/L | 1.0813 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | BENZO[A]PYRENE | . | 0.02 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0812 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0718 | 0.013402 | 1.0718 | 0.018954 | 0.01405
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-07-08 | ug/L | 0.82051 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.078 | BENZO[A]PYRENE | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82051 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96154 | 0.19944 | 0.96154 | 0.28205 | 0.20908
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-09-11 | ug/L | 1.1026 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.039 | BENZO[A]PYRENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1026 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96154 | 0.19944 | 0.96154 | 0.28205 | 0.20908
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-11-05 | ug/L | 1.2436 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.078 | BENZO[A]PYRENE | . | 0.02 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2436 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1859 | 0.081589 | 1.1859 | 0.11538 | 0.085533
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-01-27 | ug/L | 1.1282 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.039 | BENZO[A]PYRENE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1282 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1859 | 0.081589 | 1.1859 | 0.11538 | 0.085533
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-07-22 | ug/L | 1.0667 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.06 | BENZO[A]PYRENE | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0667 |  | 1.0667 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-11-17 | ug/L | 1.0333 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-07-31 | ug/L | 1.048 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BENZO[A]PYRENE | . | 0.02 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.864 | 0.26022 | 0.864 | 0.368 | 0.27279
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-03-27 | ug/L | 0.68 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BENZO[A]PYRENE | . | 0.02 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.864 | 0.26022 | 0.864 | 0.368 | 0.27279
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2012-12-19 | ug/L | 0.65 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | BENZO[A]PYRENE | . | 0.02 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.693 | 0.060811 | 0.693 | 0.086 | 0.063751
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-02-07 | ug/L | 0.736 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | BENZO[A]PYRENE | . | 0.02 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.693 | 0.060811 | 0.693 | 0.086 | 0.063751
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-08-01 | ug/L | 0.80526 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.19 | BENZO[A]PYRENE | . | 0.02 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80526 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87632 | 0.10048 | 0.87632 | 0.14211 | 0.10534
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-04-22 | ug/L | 0.94737 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.038 | BENZO[A]PYRENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94737 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87632 | 0.10048 | 0.87632 | 0.14211 | 0.10534
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2013-11-14 | ug/L | 1.0789 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.038 | BENZO[A]PYRENE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0789 |  | 1.0789 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-02-05 | ug/L | 0.87368 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.095 | BENZO[A]PYRENE | . | 0.02 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87368 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87368 |  | 0.87368 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-04-24 | ug/L | 0.81579 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.038 | BENZO[A]PYRENE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81579 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81579 |  | 0.81579 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-07-09 | ug/L | 0.85213 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0399 | BENZO[A]PYRENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85213 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85213 |  | 0.85213 | 0 | 0
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-06-04 | ug/L | 0.57692 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.078 | BENZO[A]PYRENE | E | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57692 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78205 | 0.2901 | 0.78205 | 0.41026 | 0.30412
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2014-10-21 | ug/L | 0.98718 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.078 | BENZO[A]PYRENE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98718 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78205 | 0.2901 | 0.78205 | 0.41026 | 0.30412
BENZO[A]PYRENE | 4433 | 34247GCM99 | 2015-07-09 | ug/L | 0.96667 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.03 | BENZO[A]PYRENE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0