## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-08-20 | ug/L | 0.28407 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28407 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.33766 | 0.075786 | 0.33766 | 0.10718 | 0.07945
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-10-20 | ug/L | 0.39125 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 3.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39125 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.33766 | 0.075786 | 0.33766 | 0.10718 | 0.07945
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-12-03 | ug/L | 0.84285 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 19.2204 | BETA-SITOSTEROL | E | 4.8 | 16.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84285 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84285 |  | 0.84285 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-10-01 | ug/L | 0.38122 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 14.48 | BETA-SITOSTEROL | E | 4.8 | 5.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38122 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51934 | 0.19533 | 0.51934 | 0.27624 | 0.20478
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-11-17 | ug/L | 0.65746 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 7.24 | BETA-SITOSTEROL | E | 4.8 | 4.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65746 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51934 | 0.19533 | 0.51934 | 0.27624 | 0.20478
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-05-08 | ug/L | 0.78845 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 7.204 | BETA-SITOSTEROL | E | 4.8 | 5.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78845 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78845 |  | 0.78845 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-05-12 | ug/L | 0.16018 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 6.4301 | BETA-SITOSTEROL | E | 1.6 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16018 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.21677 | 0.080029 | 0.21677 | 0.11318 | 0.083898
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-21 | ug/L | 0.27336 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 11.9622 | BETA-SITOSTEROL | E | 1.6 | 3.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27336 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.21677 | 0.080029 | 0.21677 | 0.11318 | 0.083898
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-10-22 | ug/L | 0.46845 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 6.212 | BETA-SITOSTEROL | E | 4.8 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46845 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48696 | 0.026181 | 0.48696 | 0.037025 | 0.027446
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-04-23 | ug/L | 0.50547 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 6.212 | BETA-SITOSTEROL | E | 4.8 | 3.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50547 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48696 | 0.026181 | 0.48696 | 0.037025 | 0.027446
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-06-05 | ug/L | 0.83453 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 8.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83453 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.82222 | 0.29753 | 0.83453 | 0.59468 | 0.44083
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-09-23 | ug/L | 0.51872 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 19.2204 | BETA-SITOSTEROL | E | 4.8 | 9.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51872 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.82222 | 0.29753 | 0.83453 | 0.59468 | 0.44083
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-05-07 | ug/L | 1.1134 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1134 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.82222 | 0.29753 | 0.83453 | 0.59468 | 0.44083
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-08-20 | ug/L | 0.79768 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 18.93 | BETA-SITOSTEROL | E | 4.8 | 15.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79768 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76915 | 0.040342 | 0.76915 | 0.057052 | 0.042292
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-04-20 | ug/L | 0.74062 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 9.465 | BETA-SITOSTEROL | E | 4.8 | 7.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74062 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76915 | 0.040342 | 0.76915 | 0.057052 | 0.042292
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-02-06 | ug/L | 0.7348 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 23.68 | BETA-SITOSTEROL | E | 4.8 | 17.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7348 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7348 |  | 0.7348 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-09-17 | ug/L | 0.54622 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 9.465 | BETA-SITOSTEROL | E | 4.8 | 5.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54622 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55837 | 0.017183 | 0.55837 | 0.0243 | 0.018013
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-02-26 | ug/L | 0.57052 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 18.93 | BETA-SITOSTEROL | E | 4.8 | 10.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57052 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55837 | 0.017183 | 0.55837 | 0.0243 | 0.018013
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-07-16 | ug/L | 0.39725 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 18.93 | BETA-SITOSTEROL | E | 4.8 | 7.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39725 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39725 |  | 0.39725 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-12-04 | ug/L | 0.43137 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43137 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56863 | 0.19411 | 0.56863 | 0.27451 | 0.20349
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-04-23 | ug/L | 0.70588 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 4.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70588 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56863 | 0.19411 | 0.56863 | 0.27451 | 0.20349
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-08-15 | ug/L | 0.38437 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 61.66 | BETA-SITOSTEROL | E | 4.8 | 23.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38437 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.38437 |  | 0.38437 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-10-16 | ug/L | 0.62155 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 28.96 | BETA-SITOSTEROL | E | 4.8 | 18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62155 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.62155 |  | 0.62155 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2016-01-13 | ug/L | 0.4435 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 14.408 | BETA-SITOSTEROL | E | 4.8 | 6.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4435 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4435 |  | 0.4435 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-08-24 | ug/L | 0.52872 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52872 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76943 | 0.34041 | 0.76943 | 0.48142 | 0.35687
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-12-18 | ug/L | 1.0101 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 5.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76943 | 0.34041 | 0.76943 | 0.48142 | 0.35687
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-29 | ug/L | 0.7103 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 11.84 | BETA-SITOSTEROL | E | 4.8 | 8.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7103 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7103 |  | 0.7103 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-12-15 | ug/L | 0.40909 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.149 | BETA-SITOSTEROL | E | 1.6 | 4.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40909 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-04-14 | ug/L | 0.99934 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.8932 | BETA-SITOSTEROL | E | 1.6 | 4.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99934 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-07-07 | ug/L | 0.75 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 1.6 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-08-17 | ug/L | 0.68648 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 1.6 | 13.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68648 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-11-22 | ug/L | 0.57992 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 4.8 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57992 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-01-16 | ug/L | 0.31711 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 4.8 | 6.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31711 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-06 | ug/L | 0.74098 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.2 | BETA-SITOSTEROL | E | 4.8 | 9.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74098 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-07 | ug/L | 0.39344 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 4.8 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39344 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-04-10 | ug/L | 0.82787 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.2 | BETA-SITOSTEROL | E | 4.8 | 10.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82787 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-27 | ug/L | 0.56352 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 4.8 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56352 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-18 | ug/L | 0.57908 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 5.8714 | BETA-SITOSTEROL | E | 1.6 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57908 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45305 | 0.17823 | 0.45305 | 0.25206 | 0.18685
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-09-29 | ug/L | 0.32702 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 5.9934 | BETA-SITOSTEROL | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32702 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45305 | 0.17823 | 0.45305 | 0.25206 | 0.18685
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-09-30 | ug/L | 0.60566 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 14.48 | BETA-SITOSTEROL | E | 4.8 | 8.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60566 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62051 | 0.020998 | 0.62051 | 0.029696 | 0.022013
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2016-01-12 | ug/L | 0.63536 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 28.96 | BETA-SITOSTEROL | E | 4.8 | 18.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63536 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62051 | 0.020998 | 0.62051 | 0.029696 | 0.022013
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-10-15 | ug/L | 0.57735 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 7.24 | BETA-SITOSTEROL | E | 4.8 | 4.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57735 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57735 |  | 0.57735 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-11-14 | ug/L | 0.46732 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46732 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40523 | 0.087811 | 0.40523 | 0.12418 | 0.092056
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-04-23 | ug/L | 0.34314 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34314 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40523 | 0.087811 | 0.40523 | 0.12418 | 0.092056
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-06-14 | ug/L | 1.0238 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 15.53 | BETA-SITOSTEROL | E | 4.8 | 15.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0238 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0238 |  | 1.0238 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-05-29 | ug/L | 0.39189 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39189 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39189 |  | 0.39189 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-09-18 | ug/L | 0.77437 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 5.992 | BETA-SITOSTEROL | E | 4.8 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77437 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77437 |  | 0.77437 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-07-15 | ug/L | 0.14072 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 4.5979 | BETA-SITOSTEROL | E | 1.6 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14072 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27167 | 0.1852 | 0.27167 | 0.26191 | 0.19415
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-20 | ug/L | 0.40263 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 4.6942 | BETA-SITOSTEROL | E | 1.6 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40263 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27167 | 0.1852 | 0.27167 | 0.26191 | 0.19415
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-05-19 | ug/L | 0.50674 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.8678 | BETA-SITOSTEROL | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50674 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5618 | 0.077867 | 0.5618 | 0.11012 | 0.081631
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-10-18 | ug/L | 0.61686 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 6.144 | BETA-SITOSTEROL | E | 4.8 | 3.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61686 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5618 | 0.077867 | 0.5618 | 0.11012 | 0.081631
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-07-08 | ug/L | 0.57231 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 19.2204 | BETA-SITOSTEROL | E | 4.8 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57231 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56294 | 0.013244 | 0.56294 | 0.01873 | 0.013884
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-09-11 | ug/L | 0.55358 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 5.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55358 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56294 | 0.013244 | 0.56294 | 0.01873 | 0.013884
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-11-05 | ug/L | 1.3365 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 18.93 | BETA-SITOSTEROL | E | 4.8 | 25.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3365 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0037 | 0.47066 | 1.0037 | 0.66561 | 0.49341
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-01-27 | ug/L | 0.67089 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 9.465 | BETA-SITOSTEROL | E | 4.8 | 6.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67089 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0037 | 0.47066 | 1.0037 | 0.66561 | 0.49341
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-12-19 | ug/L | 0.56742 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 23.968 | BETA-SITOSTEROL | E | 4.8 | 13.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56742 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54197 | 0.035993 | 0.54197 | 0.050901 | 0.037733
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-02-07 | ug/L | 0.51652 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 11.984 | BETA-SITOSTEROL | E | 4.8 | 6.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51652 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54197 | 0.035993 | 0.54197 | 0.050901 | 0.037733
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-02-05 | ug/L | 0.66667 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 15.3 | BETA-SITOSTEROL | E | 4.8 | 10.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66667 |  | 0.66667 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-04-24 | ug/L | 0.60045 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 6.212 | BETA-SITOSTEROL | E | 4.8 | 3.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60045 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60045 |  | 0.60045 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-03-28 | ug/L | 0.34045 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 23.968 | BETA-SITOSTEROL | E | 4.8 | 8.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34045 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.34045 |  | 0.34045 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-05-22 | ug/L | 0.27679 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 9.6102 | BETA-SITOSTEROL | E | 4.8 | 2.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27679 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.27679 |  | 0.27679 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2014-04-24 | ug/L | 0.19651 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 9.465 | BETA-SITOSTEROL | E | 4.8 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19651 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.19651 |  | 0.19651 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-11-05 | ug/L | 0.56566 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 28.816 | BETA-SITOSTEROL | E | 4.8 | 16.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56566 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56566 |  | 0.56566 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-07-09 | ug/L | 0.5608 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 7.204 | BETA-SITOSTEROL | E | 4.8 | 4.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5608 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5608 |  | 0.5608 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2015-09-29 | ug/L | 0.28456 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 7.204 | BETA-SITOSTEROL | E | 4.8 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28456 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.25056 | 0.048096 | 0.25056 | 0.068018 | 0.050421
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2016-01-14 | ug/L | 0.21655 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 14.408 | BETA-SITOSTEROL | E | 4.8 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21655 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.25056 | 0.048096 | 0.25056 | 0.068018 | 0.050421
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-02-03 | ug/L | 0.46388 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.9367 | BETA-SITOSTEROL | E | 1.6 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46388 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-04-26 | ug/L | 0.61028 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.9485 | BETA-SITOSTEROL | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61028 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-06-29 | ug/L | 0.81964 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 19.6429 | BETA-SITOSTEROL | E | 1.6 | 16.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81964 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-08-07 | ug/L | 0.5404 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 19.8 | BETA-SITOSTEROL | E | 1.6 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5404 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-10-04 | ug/L | 0.3596 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3596 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-11-22 | ug/L | 0.26182 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 12.375 | BETA-SITOSTEROL | E | 4.8 | 3.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26182 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-01 | ug/L | 0.5697 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5697 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-26 | ug/L | 0.56566 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56566 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-28 | ug/L | 0.51235 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 5.992 | BETA-SITOSTEROL | E | 4.8 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51235 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.51235 |  | 0.51235 | 0 | 0