## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-10-01 | ug/L | 0.42776 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 10.216 | BETA-STIGMASTANOL | E | 3.4 | 4.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42776 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56529 | 0.1945 | 0.56529 | 0.27506 | 0.2039
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-11-17 | ug/L | 0.70282 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 5.108 | BETA-STIGMASTANOL | E | 3.4 | 3.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70282 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56529 | 0.1945 | 0.56529 | 0.27506 | 0.2039
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-05-08 | ug/L | 0.83007 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 5.108 | BETA-STIGMASTANOL | E | 3.4 | 4.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83007 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.83007 |  | 0.83007 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-05-12 | ug/L | 0.20474 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 4.5521 | BETA-STIGMASTANOL | E | 1.7 | 0.932 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20474 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28658 | 0.11574 | 0.28658 | 0.16369 | 0.12134
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-21 | ug/L | 0.36842 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 8.4685 | BETA-STIGMASTANOL | E | 1.7 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36842 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28658 | 0.11574 | 0.28658 | 0.16369 | 0.12134
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-10-22 | ug/L | 0.36598 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 5.984 | BETA-STIGMASTANOL | E | 3.4 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36598 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.34091 | 0.03545 | 0.34091 | 0.050134 | 0.037164
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-04-23 | ug/L | 0.31584 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 5.984 | BETA-STIGMASTANOL | E | 3.4 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31584 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.34091 | 0.03545 | 0.34091 | 0.050134 | 0.037164
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-06-05 | ug/L | 0.58197 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 3.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58197 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74331 | 0.21807 | 0.65655 | 0.40943 | 0.30351
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-09-23 | ug/L | 0.65655 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 13.6776 | BETA-STIGMASTANOL | E | 3.4 | 8.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65655 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74331 | 0.21807 | 0.65655 | 0.40943 | 0.30351
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-05-07 | ug/L | 0.9914 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 6.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9914 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74331 | 0.21807 | 0.65655 | 0.40943 | 0.30351
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-08-20 | ug/L | 0.7282 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 13.6776 | BETA-STIGMASTANOL | E | 3.4 | 9.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7282 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65874 | 0.098227 | 0.65874 | 0.13891 | 0.10297
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-04-20 | ug/L | 0.58928 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 4.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58928 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65874 | 0.098227 | 0.65874 | 0.13891 | 0.10297
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-09-29 | ug/L | 0.67541 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 5.108 | BETA-STIGMASTANOL | E | 3.4 | 3.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67541 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61717 | 0.082367 | 0.61717 | 0.11648 | 0.086348
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2016-01-26 | ug/L | 0.55893 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 10.216 | BETA-STIGMASTANOL | E | 3.4 | 5.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55893 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61717 | 0.082367 | 0.61717 | 0.11648 | 0.086348
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-10-02 | ug/L | 0.26 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.26 |  | 0.26 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-02-06 | ug/L | 0.685 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 20 | BETA-STIGMASTANOL | E | 3.4 | 13.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.685 |  | 0.685 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-12-04 | ug/L | 0.33333 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33333 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42869 | 0.13486 | 0.42869 | 0.19072 | 0.14138
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-04-23 | ug/L | 0.52406 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52405 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42869 | 0.13486 | 0.42869 | 0.19072 | 0.14138
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-08-15 | ug/L | 0.26601 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 59.02 | BETA-STIGMASTANOL | E | 3.4 | 15.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26601 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.26601 |  | 0.26601 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-10-16 | ug/L | 0.78 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 20 | BETA-STIGMASTANOL | E | 3.4 | 15.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78 |  | 0.78 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2016-01-13 | ug/L | 0.442 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 10 | BETA-STIGMASTANOL | E | 3.4 | 4.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.442 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.442 |  | 0.442 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-08-24 | ug/L | 0.438 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.438 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.534 | 0.13576 | 0.534 | 0.192 | 0.14233
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-12-18 | ug/L | 0.63 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.534 | 0.13576 | 0.534 | 0.192 | 0.14233
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-29 | ug/L | 0.609 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 10 | BETA-STIGMASTANOL | E | 3.4 | 6.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.609 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.609 |  | 0.609 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-12-15 | ug/L | 0.54716 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.7674 | BETA-STIGMASTANOL | E | 1.6 | 4.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54716 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-04-14 | ug/L | 1.0165 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.1284 | BETA-STIGMASTANOL | E | 1.6 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-07-07 | ug/L | 0.52564 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 1.6 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52564 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-08-17 | ug/L | 0.66186 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 1.6 | 8.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66186 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-11-22 | ug/L | 0.51282 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 3.4 | 1.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51282 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-01-16 | ug/L | 0.26763 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 3.4 | 3.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26763 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-06 | ug/L | 0.68462 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.8 | BETA-STIGMASTANOL | E | 3.4 | 5.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68462 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-07 | ug/L | 0.36859 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 3.4 | 1.15 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.36859 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-04-10 | ug/L | 0.76154 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.8 | BETA-STIGMASTANOL | E | 3.4 | 5.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76154 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-27 | ug/L | 0.50561 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 3.4 | 6.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50561 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-18 | ug/L | 0.5732 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.2219 | BETA-STIGMASTANOL | E | 1.7 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5732 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48963 | 0.11818 | 0.48963 | 0.16714 | 0.1239
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-09-29 | ug/L | 0.40606 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.3097 | BETA-STIGMASTANOL | E | 1.7 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40606 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48963 | 0.11818 | 0.48963 | 0.16714 | 0.1239
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-07-17 | ug/L | 0.43136 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 2.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43136 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62511 | 0.274 | 0.62511 | 0.38749 | 0.28725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-12-04 | ug/L | 0.81886 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 13.6776 | BETA-STIGMASTANOL | E | 3.4 | 11.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81886 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62511 | 0.274 | 0.62511 | 0.38749 | 0.28725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-08-21 | ug/L | 0.22319 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 6.9 | BETA-STIGMASTANOL | E | 3.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22319 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49106 | 0.26812 | 0.49058 | 0.53623 | 0.3975
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-09-23 | ug/L | 0.49058 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 13.8 | BETA-STIGMASTANOL | E | 3.4 | 6.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49058 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49106 | 0.26812 | 0.49058 | 0.53623 | 0.3975
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-04-22 | ug/L | 0.75942 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 6.9 | BETA-STIGMASTANOL | E | 3.4 | 5.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75942 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49106 | 0.26812 | 0.49058 | 0.53623 | 0.3975
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-11-14 | ug/L | 0.47938 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47938 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36426 | 0.1628 | 0.36426 | 0.23024 | 0.17067
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-04-23 | ug/L | 0.24914 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24914 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36426 | 0.1628 | 0.36426 | 0.23024 | 0.17067
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-06-14 | ug/L | 0.74198 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 14.96 | BETA-STIGMASTANOL | E | 3.4 | 11.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74198 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74198 |  | 0.74198 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-05-29 | ug/L | 0.328 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.328 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.328 |  | 0.328 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-09-18 | ug/L | 0.70032 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 5.012 | BETA-STIGMASTANOL | E | 3.4 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70032 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70032 |  | 0.70032 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-07-15 | ug/L | 0.15574 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.1943 | BETA-STIGMASTANOL | E | 1.7 | 0.186 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15574 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.30547 | 0.21174 | 0.30547 | 0.29945 | 0.22198
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-20 | ug/L | 0.45519 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.2193 | BETA-STIGMASTANOL | E | 1.7 | 0.555 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.45519 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.30547 | 0.21174 | 0.30547 | 0.29945 | 0.22198
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-05-19 | ug/L | 0.22834 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.0073 | BETA-STIGMASTANOL | E | 1.6 | 0.23 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.22834 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.31417 | 0.12138 | 0.31417 | 0.17166 | 0.12725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-10-18 | ug/L | 0.4 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.6 | BETA-STIGMASTANOL | E | 3.4 | 0.64 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.31417 | 0.12138 | 0.31417 | 0.17166 | 0.12725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-07-08 | ug/L | 0.4471 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 13.8 | BETA-STIGMASTANOL | E | 3.4 | 6.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4471 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41558 | 0.044578 | 0.41558 | 0.063043 | 0.046733
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-09-11 | ug/L | 0.38406 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 6.9 | BETA-STIGMASTANOL | E | 3.4 | 2.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38406 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41558 | 0.044578 | 0.41558 | 0.063043 | 0.046733
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-11-05 | ug/L | 0.78986 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 13.8 | BETA-STIGMASTANOL | E | 3.4 | 10.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78986 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66957 | 0.17012 | 0.66957 | 0.24058 | 0.17834
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-01-27 | ug/L | 0.54928 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 6.9 | BETA-STIGMASTANOL | E | 3.4 | 3.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54928 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66957 | 0.17012 | 0.66957 | 0.24058 | 0.17834
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-07-22 | ug/L | 0.50607 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 10.216 | BETA-STIGMASTANOL | E | 3.4 | 5.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50607 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50607 |  | 0.50607 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-11-17 | ug/L | 0.15 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.15 |  | 0.15 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-12-19 | ug/L | 0.39755 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 20.048 | BETA-STIGMASTANOL | E | 3.4 | 7.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41076 | 0.018693 | 0.41076 | 0.026437 | 0.019597
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-02-07 | ug/L | 0.42398 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 10.024 | BETA-STIGMASTANOL | E | 3.4 | 4.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42398 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41076 | 0.018693 | 0.41076 | 0.026437 | 0.019597
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-02-05 | ug/L | 0.7354 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 14.55 | BETA-STIGMASTANOL | E | 3.4 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7354 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7354 |  | 0.7354 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-04-24 | ug/L | 0.39773 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 5.984 | BETA-STIGMASTANOL | E | 3.4 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39773 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39773 |  | 0.39773 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-03-28 | ug/L | 0.30527 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 20.048 | BETA-STIGMASTANOL | E | 3.4 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30527 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.30527 |  | 0.30527 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-07-09 | ug/L | 0.46646 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 3.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46646 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62219 | 0.22023 | 0.62219 | 0.31146 | 0.23088
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-04-21 | ug/L | 0.77791 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 6.8388 | BETA-STIGMASTANOL | E | 3.4 | 5.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77791 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62219 | 0.22023 | 0.62219 | 0.31146 | 0.23088
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-06-04 | ug/L | 0.34783 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 13.8 | BETA-STIGMASTANOL | E | 3.4 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34783 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55072 | 0.28694 | 0.55072 | 0.4058 | 0.30081
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2014-10-21 | ug/L | 0.75362 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 13.8 | BETA-STIGMASTANOL | E | 3.4 | 10.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75362 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55072 | 0.28694 | 0.55072 | 0.4058 | 0.30081
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2015-07-09 | ug/L | 0.468 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.468 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.468 |  | 0.468 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-02-03 | ug/L | 0.64455 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.4287 | BETA-STIGMASTANOL | E | 1.6 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64455 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-04-26 | ug/L | 0.59646 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.437 | BETA-STIGMASTANOL | E | 1.6 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59646 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-06-29 | ug/L | 0.79162 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 13.6429 | BETA-STIGMASTANOL | E | 1.6 | 10.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79162 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-08-07 | ug/L | 0.67481 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 13.752 | BETA-STIGMASTANOL | E | 1.6 | 9.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-10-04 | ug/L | 0.2356 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2356 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-11-22 | ug/L | 0.24084 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 8.595 | BETA-STIGMASTANOL | E | 3.4 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24084 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-01 | ug/L | 0.50029 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50029 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-26 | ug/L | 0.44793 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44793 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-28 | ug/L | 0.43496 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 5.012 | BETA-STIGMASTANOL | E | 3.4 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43496 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.43496 |  | 0.43496 | 0 | 0