## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-08-20 | ug/L | 0.54135 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.99 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54135 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54135 |  | 0.54135 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-12-03 | ug/L | 0.989 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 7.998 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 7.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.989 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.989 |  | 0.989 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-10-01 | ug/L | 0.5 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 6 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5 |  | 0.5 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-10-22 | ug/L | 0.49552 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 4.016 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49552 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.49552 |  | 0.49552 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-02-06 | ug/L | 0.74121 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 15.92 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 11.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74121 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74121 |  | 0.74121 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-12-04 | ug/L | 0.47236 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47236 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47236 |  | 0.47236 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-08-15 | ug/L | 0.27264 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 39.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27264 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.27264 |  | 0.27264 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-10-16 | ug/L | 2.9833 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 12 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 35.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2016-01-13 | ug/L | 0.51598 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 6.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51598 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.51598 |  | 0.51598 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-08-24 | ug/L | 0.46985 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46985 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53141 | 0.087056 | 0.53141 | 0.12312 | 0.091264
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-12-18 | ug/L | 0.59296 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 2.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59296 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.53141 | 0.087056 | 0.53141 | 0.12312 | 0.091264
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-29 | ug/L | 0.57286 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 7.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57286 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57286 |  | 0.57286 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-12-15 | ug/L | 0.46231 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.5557 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46231 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-04-14 | ug/L | 0.67976 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.2515 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67976 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-07-07 | ug/L | 0.56132 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56132 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-08-17 | ug/L | 0.6309 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6309 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-11-22 | ug/L | 0.59434 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59434 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-01-16 | ug/L | 0.39387 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39387 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-06 | ug/L | 0.59057 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.6 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59057 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-07 | ug/L | 0.4717 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4717 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-04-10 | ug/L | 0.61132 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.6 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61132 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-27 | ug/L | 0.55778 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 9.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55778 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-08-18 | ug/L | 0.74001 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.7297 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74001 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.67017 | 0.098762 | 0.67017 | 0.13967 | 0.10354
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-09-29 | ug/L | 0.60034 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.7657 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.06 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60034 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.67017 | 0.098762 | 0.67017 | 0.13967 | 0.10354
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-08-21 | ug/L | 0.49875 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.99 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49875 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74728 | 0.31772 | 0.63784 | 0.60652 | 0.4496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-09-23 | ug/L | 0.63784 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 7.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 5.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63784 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74728 | 0.31772 | 0.63784 | 0.60652 | 0.4496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-04-22 | ug/L | 1.1053 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.99 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1053 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74728 | 0.31772 | 0.63784 | 0.60652 | 0.4496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-09-30 | ug/L | 0.775 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 6 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 4.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72542 | 0.070121 | 0.72542 | 0.099167 | 0.073511
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2016-01-12 | ug/L | 0.67583 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 12 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 8.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67583 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72542 | 0.070121 | 0.72542 | 0.099167 | 0.073511
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-10-15 | ug/L | 0.75 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 3 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-11-14 | ug/L | 0.56281 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56281 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56281 |  | 0.56281 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-06-14 | ug/L | 0.75797 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 10.04 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 7.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75797 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75797 |  | 0.75797 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-05-29 | ug/L | 0.48241 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48241 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48241 |  | 0.48241 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-09-18 | ug/L | 0.61876 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 4.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61876 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61876 |  | 0.61876 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-07-15 | ug/L | 0.56939 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56939 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.56939 |  | 0.56939 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-12-19 | ug/L | 0.44973 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 16.032 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 7.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44973 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52052 | 0.10012 | 0.52052 | 0.14159 | 0.10496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-02-07 | ug/L | 0.59132 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 8.016 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59132 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52052 | 0.10012 | 0.52052 | 0.14159 | 0.10496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-03-28 | ug/L | 0.34868 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 16.032 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 5.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34868 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.34868 |  | 0.34868 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-05-22 | ug/L | 0.34759 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 3.999 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34759 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.34759 |  | 0.34759 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-06-04 | ug/L | 0.3901 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 7.998 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3901 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60828 | 0.30855 | 0.60828 | 0.43636 | 0.32347
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2014-10-21 | ug/L | 0.82646 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 7.998 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82646 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60828 | 0.30855 | 0.60828 | 0.43636 | 0.32347
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-11-05 | ug/L | 0.66744 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 12.016 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 8.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66744 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66744 |  | 0.66744 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-07-09 | ug/L | 0.6225 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 3.004 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6225 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6225 |  | 0.6225 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2015-09-29 | ug/L | 0.59254 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 3.004 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59254 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5268 | 0.092978 | 0.5268 | 0.13149 | 0.097473
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2016-01-14 | ug/L | 0.46105 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 6.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46105 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5268 | 0.092978 | 0.5268 | 0.13149 | 0.097473
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-02-03 | ug/L | 0.5136 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.2445 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5136 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-06-29 | ug/L | 0.54592 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 16.8889 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 9.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54592 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-08-07 | ug/L | 0.62852 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 17.024 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62852 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-10-04 | ug/L | 1.0902 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.256 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0902 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-11-22 | ug/L | 0.31673 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 10.64 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31673 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-01 | ug/L | 0.67669 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.256 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67669 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-28 | ug/L | 0.55888 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 4.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55888 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55888 |  | 0.55888 | 0 | 0