## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BISPHENOL A | 4433 | 62816GCM99 | 2014-08-20 | ug/L | 0.7673 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0795 | BISPHENOL_A | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7673 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95597 | 0.26683 | 0.95597 | 0.37736 | 0.27973
BISPHENOL A | 4433 | 62816GCM99 | 2014-10-20 | ug/L | 1.1447 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0795 | BISPHENOL_A | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1447 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95597 | 0.26683 | 0.95597 | 0.37736 | 0.27973
BISPHENOL A | 4433 | 62816GCM99 | 2014-12-03 | ug/L | 1.0966 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1605 | BISPHENOL_A | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0966 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0966 |  | 1.0966 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2015-11-17 | ug/L | 1.1149 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0592 | BISPHENOL_A | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1149 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1149 |  | 1.1149 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2015-05-08 | ug/L | 1.4642 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0601 | BISPHENOL_A | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4642 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4642 |  | 1.4642 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2010-05-12 | ug/L | 0.60831 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 1.0061 | BISPHENOL_A | . | 0.4 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60831 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71557 | 0.15168 | 0.71557 | 0.21451 | 0.15901
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-21 | ug/L | 0.82282 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 1.8716 | BISPHENOL_A | E | 0.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82282 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71557 | 0.15168 | 0.71557 | 0.21451 | 0.15901
BISPHENOL A | 4433 | 62816GCM99 | 2013-05-30 | ug/L | 0.86 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86 |  | 0.86 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-09-17 | ug/L | 1.1572 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0795 | BISPHENOL_A | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1572 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1006 | 0.08005 | 1.1006 | 0.11321 | 0.08392
BISPHENOL A | 4433 | 62816GCM99 | 2015-02-26 | ug/L | 1.044 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.159 | BISPHENOL_A | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.044 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1006 | 0.08005 | 1.1006 | 0.11321 | 0.08392
BISPHENOL A | 4433 | 62816GCM99 | 2014-07-16 | ug/L | 0.75389 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1605 | BISPHENOL_A | . | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75389 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75389 |  | 0.75389 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2015-10-16 | ug/L | 0.93328 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.2368 | BISPHENOL_A | . | 0.04 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93328 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93328 |  | 0.93328 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2016-01-13 | ug/L | 0.58236 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1202 | BISPHENOL_A | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58236 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58236 |  | 0.58236 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2010-12-15 | ug/L | 0.80086 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.5983 | BISPHENOL_A | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80086 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-04-14 | ug/L | 1.28 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.64374 | BISPHENOL_A | . | 0.04 | 0.824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-07-07 | ug/L | 0.71495 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71495 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-08-17 | ug/L | 0.88006 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88006 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-11-22 | ug/L | 0.97508 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97508 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-01-16 | ug/L | 0.90343 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90343 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-06 | ug/L | 0.99688 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.605 | BISPHENOL_A | . | 0.04 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99688 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-07 | ug/L | 1.014 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.014 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-04-10 | ug/L | 0.98442 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.605 | BISPHENOL_A | . | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98442 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-27 | ug/L | 0.92679 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92679 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-18 | ug/L | 0.69168 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.93107 | BISPHENOL_A | . | 0.4 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69168 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79774 | 0.15 | 0.79774 | 0.21213 | 0.15725
BISPHENOL A | 4433 | 62816GCM99 | 2010-09-29 | ug/L | 0.9038 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.95043 | BISPHENOL_A | . | 0.4 | 0.859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9038 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79774 | 0.15 | 0.79774 | 0.21213 | 0.15725
BISPHENOL A | 4433 | 62816GCM99 | 2014-07-17 | ug/L | 0.7044 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0795 | BISPHENOL_A | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7044 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7044 |  | 0.7044 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-09-23 | ug/L | 0.84277 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.159 | BISPHENOL_A | . | 0.04 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84277 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98742 | 0.20457 | 0.98742 | 0.28931 | 0.21446
BISPHENOL A | 4433 | 62816GCM99 | 2015-04-22 | ug/L | 1.1321 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0795 | BISPHENOL_A | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1321 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98742 | 0.20457 | 0.98742 | 0.28931 | 0.21446
BISPHENOL A | 4433 | 62816GCM99 | 2015-09-30 | ug/L | 1.098 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1184 | BISPHENOL_A | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.098 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94806 | 0.21201 | 0.94806 | 0.29983 | 0.22226
BISPHENOL A | 4433 | 62816GCM99 | 2016-01-12 | ug/L | 0.79814 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2368 | BISPHENOL_A | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79814 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94806 | 0.21201 | 0.94806 | 0.29983 | 0.22226
BISPHENOL A | 4433 | 62816GCM99 | 2013-09-26 | ug/L | 0.88235 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88235 |  | 0.88235 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-06-12 | ug/L | 0.90118 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.425 | BISPHENOL_A | . | 0.04 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90118 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77706 | 0.17553 | 0.77706 | 0.24824 | 0.18401
BISPHENOL A | 4433 | 62816GCM99 | 2014-02-05 | ug/L | 0.65294 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65294 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77706 | 0.17553 | 0.77706 | 0.24824 | 0.18401
BISPHENOL A | 4433 | 62816GCM99 | 2013-11-14 | ug/L | 0.62941 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62941 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62353 | 0.0083189 | 0.62353 | 0.011765 | 0.0087211
BISPHENOL A | 4433 | 62816GCM99 | 2014-04-23 | ug/L | 0.61765 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61765 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62353 | 0.0083189 | 0.62353 | 0.011765 | 0.0087211
BISPHENOL A | 4433 | 62816GCM99 | 2013-06-14 | ug/L | 0.82588 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.425 | BISPHENOL_A | . | 0.04 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82588 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82588 |  | 0.82588 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-12 | ug/L | 0.574 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.574 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.574 |  | 0.574 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-05-29 | ug/L | 0.936 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.936 |  | 0.936 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-20 | ug/L | 0.584 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.584 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.584 |  | 0.584 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-09-18 | ug/L | 1.144 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | BISPHENOL_A | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.144 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.144 |  | 1.144 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2010-07-15 | ug/L | 0.73685 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | BISPHENOL_A | E | 0.4 | 0.176 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73685 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.80722 | 0.099508 | 0.80722 | 0.14072 | 0.10432
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-20 | ug/L | 0.87758 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | BISPHENOL_A | E | 0.4 | 0.214 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87758 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.80722 | 0.099508 | 0.80722 | 0.14072 | 0.10432
BISPHENOL A | 4433 | 62816GCM99 | 2011-05-19 | ug/L | 1.3432 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.17123 | BISPHENOL_A | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3432 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2653 | 0.1101 | 1.2653 | 0.1557 | 0.11542
BISPHENOL A | 4433 | 62816GCM99 | 2011-10-18 | ug/L | 1.1875 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.272 | BISPHENOL_A | . | 0.04 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2653 | 0.1101 | 1.2653 | 0.1557 | 0.11542
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-31 | ug/L | 1.076 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.3479 | 0.83 | 0.492 | 0.36471
BISPHENOL A | 4433 | 62816GCM99 | 2013-03-27 | ug/L | 0.584 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.584 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.3479 | 0.83 | 0.492 | 0.36471
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-19 | ug/L | 0.755 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | BISPHENOL_A | . | 0.04 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7585 | 0.0049497 | 0.7585 | 0.007 | 0.005189
BISPHENOL A | 4433 | 62816GCM99 | 2013-02-07 | ug/L | 0.762 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.762 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7585 | 0.0049497 | 0.7585 | 0.007 | 0.005189
BISPHENOL A | 4433 | 62816GCM99 | 2013-08-01 | ug/L | 0.47882 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.85 | BISPHENOL_A | . | 0.04 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47882 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.56588 | 0.12312 | 0.56588 | 0.17412 | 0.12907
BISPHENOL A | 4433 | 62816GCM99 | 2014-04-22 | ug/L | 0.65294 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65294 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.56588 | 0.12312 | 0.56588 | 0.17412 | 0.12907
BISPHENOL A | 4433 | 62816GCM99 | 2013-11-14 | ug/L | 0.60588 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60588 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60588 |  | 0.60588 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-02-05 | ug/L | 0.92471 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.425 | BISPHENOL_A | . | 0.04 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92471 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92471 |  | 0.92471 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-04-24 | ug/L | 0.6 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6 |  | 0.6 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-05-22 | ug/L | 0.66044 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.08025 | BISPHENOL_A | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66044 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66044 |  | 0.66044 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2014-07-09 | ug/L | 1.109 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.08025 | BISPHENOL_A | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.109 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80997 | 0.42294 | 0.80997 | 0.59813 | 0.44339
BISPHENOL A | 4433 | 62816GCM99 | 2015-04-21 | ug/L | 0.5109 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.08025 | BISPHENOL_A | . | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5109 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80997 | 0.42294 | 0.80997 | 0.59813 | 0.44339
BISPHENOL A | 4433 | 62816GCM99 | 2014-10-21 | ug/L | 0.92835 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1605 | BISPHENOL_A | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92835 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92835 |  | 0.92835 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2015-11-05 | ug/L | 1.2895 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2404 | BISPHENOL_A | . | 0.04 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2895 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2895 |  | 1.2895 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2016-01-14 | ug/L | 0.24958 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1202 | BISPHENOL_A | . | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24958 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.24958 |  | 0.24958 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2011-02-03 | ug/L | 0.73285 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64406 | BISPHENOL_A | . | 0.04 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73285 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-04-26 | ug/L | 0.90612 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64561 | BISPHENOL_A | E | 0.04 | 0.585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90612 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-06-29 | ug/L | 0.71799 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5627 | BISPHENOL_A | E | 0.04 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71799 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-08-07 | ug/L | 0.81295 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5832 | BISPHENOL_A | . | 0.04 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81295 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-10-04 | ug/L | 0.80211 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80211 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-11-22 | ug/L | 0.72468 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.6145 | BISPHENOL_A | . | 0.04 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72468 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-01 | ug/L | 0.71075 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71075 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-26 | ug/L | 0.87334 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87334 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291