## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOFORM | 4433 | 32104GCM99 | 2015-10-01 | ug/L | 1.124 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.484 | BROMOFORM | . | 0.16 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.124 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0248 | 0.14025 | 1.0248 | 0.19835 | 0.14703
BROMOFORM | 4433 | 32104GCM99 | 2015-11-17 | ug/L | 0.92562 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.242 | BROMOFORM | . | 0.16 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92562 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0248 | 0.14025 | 1.0248 | 0.19835 | 0.14703
BROMOFORM | 4433 | 32104GCM99 | 2015-05-08 | ug/L | 1.0041 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.242 | BROMOFORM | . | 0.16 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0041 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0041 |  | 1.0041 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2011-02-17 | ug/L | 0.79101 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25158 | BROMOFORM | . | 0.16 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-04-15 | ug/L | 0.98421 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.61775 | BROMOFORM | . | 0.16 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98421 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-05-03 | ug/L | 0.8896 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24281 | BROMOFORM | . | 0.16 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8896 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-07-07 | ug/L | 0.8188 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62042 | BROMOFORM | . | 0.16 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8188 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-08-16 | ug/L | 0.82524 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82524 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-11-22 | ug/L | 0.90918 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9888 | BROMOFORM | . | 0.16 | 0.899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90918 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-12-08 | ug/L | 0.80097 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80097 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-03-07 | ug/L | 0.98706 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.618 | BROMOFORM | . | 0.16 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98706 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-04-10 | ug/L | 0.96683 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96683 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-05-04 | ug/L | 0.77994 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.618 | BROMOFORM | . | 0.16 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77994 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2013-10-22 | ug/L | 0.82212 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.4014 | BROMOFORM | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82212 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85825 | 0.051086 | 0.85825 | 0.072247 | 0.053556
BROMOFORM | 4433 | 32104GCM99 | 2014-04-23 | ug/L | 0.89437 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.4014 | BROMOFORM | . | 0.16 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89437 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85825 | 0.051086 | 0.85825 | 0.072247 | 0.053556
BROMOFORM | 4433 | 32104GCM99 | 2014-06-05 | ug/L | 0.7714 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7714 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95955 | 0.19472 | 0.94701 | 0.38884 | 0.28824
BROMOFORM | 4433 | 32104GCM99 | 2014-09-23 | ug/L | 1.1602 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.6378 | BROMOFORM | E | 0.16 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1602 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.95955 | 0.19472 | 0.94701 | 0.38884 | 0.28824
BROMOFORM | 4433 | 32104GCM99 | 2015-05-07 | ug/L | 0.94701 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94701 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95955 | 0.19472 | 0.94701 | 0.38884 | 0.28824
BROMOFORM | 4433 | 32104GCM99 | 2014-08-20 | ug/L | 0.93133 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.6378 | BROMOFORM | . | 0.16 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93133 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87331 | 0.082041 | 0.87331 | 0.11602 | 0.086007
BROMOFORM | 4433 | 32104GCM99 | 2015-04-20 | ug/L | 0.8153 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8153 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87331 | 0.082041 | 0.87331 | 0.11602 | 0.086007
BROMOFORM | 4433 | 32104GCM99 | 2015-09-29 | ug/L | 0.92562 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.242 | BROMOFORM | . | 0.16 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92562 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89153 | 0.048212 | 0.89153 | 0.068182 | 0.050542
BROMOFORM | 4433 | 32104GCM99 | 2016-01-26 | ug/L | 0.85744 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.484 | BROMOFORM | . | 0.16 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85744 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89153 | 0.048212 | 0.89153 | 0.068182 | 0.050542
BROMOFORM | 4433 | 32104GCM99 | 2015-10-02 | ug/L | 1.3193 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.238 | BROMOFORM | E | 0.16 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3193 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3193 |  | 1.3193 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-02-06 | ug/L | 0.80745 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.6224 | BROMOFORM | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80745 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80745 |  | 0.80745 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-05-30 | ug/L | 0.85922 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.8112 | BROMOFORM | . | 0.16 | 0.697 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85922 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85922 |  | 0.85922 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2010-12-15 | ug/L | 0.75293 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24172 | BROMOFORM | . | 0.16 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75293 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-02-18 | ug/L | 0.85095 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23973 | BROMOFORM | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85095 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-06-28 | ug/L | 0.87192 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.97256 | BROMOFORM | . | 0.16 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87192 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-08-06 | ug/L | 0.65904 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | . | 0.16 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65904 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-08-17 | ug/L | 0.85446 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2446 | BROMOFORM | . | 0.16 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85446 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-02-01 | ug/L | 0.5789 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | E | 0.16 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5789 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-03-06 | ug/L | 0.89738 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9784 | BROMOFORM | . | 0.16 | 0.878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89738 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-03-07 | ug/L | 0.85854 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2446 | BROMOFORM | . | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85854 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-05-04 | ug/L | 0.852 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | . | 0.16 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-05-22 | ug/L | 0.7686 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9784 | BROMOFORM | . | 0.16 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7686 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2010-05-19 | ug/L | 0.83144 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.15034 | BROMOFORM | E | 0.2 | 0.125 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83144 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.83144 |  | 0.83144 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-12-04 | ug/L | 0.91162 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91162 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90657 | 0.0071425 | 0.90657 | 0.010101 | 0.0074878
BROMOFORM | 4433 | 32104GCM99 | 2014-04-23 | ug/L | 0.90152 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90152 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90657 | 0.0071425 | 0.90657 | 0.010101 | 0.0074878
BROMOFORM | 4433 | 32104GCM99 | 2013-08-15 | ug/L | 0.78505 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 3.987 | BROMOFORM | E | 0.16 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78505 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78505 |  | 0.78505 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2015-10-16 | ug/L | 0.94643 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.952 | BROMOFORM | . | 0.16 | 0.901 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94643 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94643 |  | 0.94643 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2016-01-13 | ug/L | 0.91597 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.476 | BROMOFORM | . | 0.16 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91597 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91597 |  | 0.91597 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-08-24 | ug/L | 0.845 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.4 | BROMOFORM | . | 0.16 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8425 | 0.0035355 | 0.8425 | 0.005 | 0.0037064
BROMOFORM | 4433 | 32104GCM99 | 2012-12-18 | ug/L | 0.84 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.4 | BROMOFORM | . | 0.16 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8425 | 0.0035355 | 0.8425 | 0.005 | 0.0037064
BROMOFORM | 4433 | 32104GCM99 | 2014-07-17 | ug/L | 0.8059 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8059 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87253 | 0.094237 | 0.87253 | 0.13327 | 0.098792
BROMOFORM | 4433 | 32104GCM99 | 2014-12-04 | ug/L | 0.93917 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.6378 | BROMOFORM | . | 0.16 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93917 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87253 | 0.094237 | 0.87253 | 0.13327 | 0.098792
BROMOFORM | 4433 | 32104GCM99 | 2014-08-21 | ug/L | 1.0061 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | BROMOFORM | . | 0.16 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0061 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1515 | 0.13111 | 1.1879 | 0.25455 | 0.18869
BROMOFORM | 4433 | 32104GCM99 | 2014-09-23 | ug/L | 1.2606 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | BROMOFORM | E | 0.16 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2606 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1515 | 0.13111 | 1.1879 | 0.25455 | 0.18869
BROMOFORM | 4433 | 32104GCM99 | 2015-04-22 | ug/L | 1.1879 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | BROMOFORM | . | 0.16 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1879 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1515 | 0.13111 | 1.1879 | 0.25455 | 0.18869
BROMOFORM | 4433 | 32104GCM99 | 2013-11-14 | ug/L | 0.7904 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7904 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81187 | 0.030356 | 0.81187 | 0.042929 | 0.031823
BROMOFORM | 4433 | 32104GCM99 | 2014-04-23 | ug/L | 0.83333 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81187 | 0.030356 | 0.81187 | 0.042929 | 0.031823
BROMOFORM | 4433 | 32104GCM99 | 2013-06-14 | ug/L | 0.9427 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.0035 | BROMOFORM | . | 0.16 | 0.946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9427 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9427 |  | 0.9427 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-12-12 | ug/L | 0.80621 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.8112 | BROMOFORM | . | 0.16 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80621 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80621 |  | 0.80621 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-12-20 | ug/L | 0.8175 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.8 | BROMOFORM | . | 0.16 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8175 |  | 0.8175 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2010-03-11 | ug/L | 0.72267 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.60332 | BROMOFORM | . | 0.2 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72267 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63133 | 0.12917 | 0.63133 | 0.18267 | 0.13541
BROMOFORM | 4433 | 32104GCM99 | 2010-07-23 | ug/L | 0.54 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.30371 | BROMOFORM | E | 0.2 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63133 | 0.12917 | 0.63133 | 0.18267 | 0.13541
BROMOFORM | 4433 | 32104GCM99 | 2010-07-15 | ug/L | 0.66777 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | BROMOFORM | . | 0.2 | 0.638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66777 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71014 | 0.059913 | 0.71014 | 0.08473 | 0.062809
BROMOFORM | 4433 | 32104GCM99 | 2010-08-20 | ug/L | 0.7525 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | BROMOFORM | . | 0.2 | 0.734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71014 | 0.059913 | 0.71014 | 0.08473 | 0.062809
BROMOFORM | 4433 | 32104GCM99 | 2011-05-19 | ug/L | 1.0325 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | BROMOFORM | . | 0.16 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0514 | 0.026729 | 1.0514 | 0.037801 | 0.028021
BROMOFORM | 4433 | 32104GCM99 | 2011-10-18 | ug/L | 1.0703 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | BROMOFORM | . | 0.16 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0703 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0514 | 0.026729 | 1.0514 | 0.037801 | 0.028021
BROMOFORM | 4433 | 32104GCM99 | 2014-07-08 | ug/L | 0.77273 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.66 | BROMOFORM | . | 0.16 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77273 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89848 | 0.17785 | 0.89848 | 0.25152 | 0.18645
BROMOFORM | 4433 | 32104GCM99 | 2014-09-11 | ug/L | 1.0242 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.33 | BROMOFORM | . | 0.16 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0242 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89848 | 0.17785 | 0.89848 | 0.25152 | 0.18645
BROMOFORM | 4433 | 32104GCM99 | 2014-11-05 | ug/L | 1.0333 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.66 | BROMOFORM | . | 0.16 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98485 | 0.068568 | 0.98485 | 0.09697 | 0.071883
BROMOFORM | 4433 | 32104GCM99 | 2015-01-27 | ug/L | 0.93636 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.33 | BROMOFORM | . | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93636 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98485 | 0.068568 | 0.98485 | 0.09697 | 0.071883
BROMOFORM | 4433 | 32104GCM99 | 2015-07-22 | ug/L | 0.93802 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.484 | BROMOFORM | . | 0.16 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93802 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93802 |  | 0.93802 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2015-11-17 | ug/L | 0.97899 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.238 | BROMOFORM | . | 0.16 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97899 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97899 |  | 0.97899 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-07-31 | ug/L | 0.95661 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4056 | BROMOFORM | . | 0.16 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95661 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85922 | 0.13773 | 0.85922 | 0.19477 | 0.14438
BROMOFORM | 4433 | 32104GCM99 | 2013-03-27 | ug/L | 0.76183 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4056 | BROMOFORM | . | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76183 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85922 | 0.13773 | 0.85922 | 0.19477 | 0.14438
BROMOFORM | 4433 | 32104GCM99 | 2014-02-05 | ug/L | 0.88182 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.99 | BROMOFORM | . | 0.16 | 0.873 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88182 |  | 0.88182 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2014-04-24 | ug/L | 0.81714 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.4014 | BROMOFORM | . | 0.16 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81714 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81714 |  | 0.81714 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-03-28 | ug/L | 0.76875 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.6 | BROMOFORM | . | 0.16 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76875 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76875 |  | 0.76875 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2014-07-09 | ug/L | 0.74632 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74632 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92662 | 0.25499 | 0.92662 | 0.36061 | 0.26732
BROMOFORM | 4433 | 32104GCM99 | 2015-04-21 | ug/L | 1.1069 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3189 | BROMOFORM | . | 0.16 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1069 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92662 | 0.25499 | 0.92662 | 0.36061 | 0.26732
BROMOFORM | 4433 | 32104GCM99 | 2014-06-04 | ug/L | 0.67576 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | BROMOFORM | E | 0.16 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67576 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74848 | 0.10285 | 0.74848 | 0.14545 | 0.10782
BROMOFORM | 4433 | 32104GCM99 | 2014-10-21 | ug/L | 0.82121 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | BROMOFORM | . | 0.16 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82121 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74848 | 0.10285 | 0.74848 | 0.14545 | 0.10782
BROMOFORM | 4433 | 32104GCM99 | 2015-07-09 | ug/L | 0.95378 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.238 | BROMOFORM | . | 0.16 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95378 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95378 |  | 0.95378 | 0 | 0