## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAFFEINE | 4433 | 81436GCM99 | 2014-08-20 | ug/L | 0.91932 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91932 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98186 | 0.088444 | 0.98186 | 0.12508 | 0.092719
CAFFEINE | 4433 | 81436GCM99 | 2014-10-20 | ug/L | 1.0444 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0444 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98186 | 0.088444 | 0.98186 | 0.12508 | 0.092719
CAFFEINE | 4433 | 81436GCM99 | 2014-12-03 | ug/L | 1.207 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.3198 | CAFFEINE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.207 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.207 |  | 1.207 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2015-10-01 | ug/L | 0.84163 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.2412 | CAFFEINE | . | 0.08 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84163 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93076 | 0.12606 | 0.93076 | 0.17828 | 0.13215
CAFFEINE | 4433 | 81436GCM99 | 2015-11-17 | ug/L | 1.0199 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.1206 | CAFFEINE | . | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0199 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93076 | 0.12606 | 0.93076 | 0.17828 | 0.13215
CAFFEINE | 4433 | 81436GCM99 | 2015-05-08 | ug/L | 1.198 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.1202 | CAFFEINE | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.198 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.198 |  | 1.198 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-08-06 | ug/L | 0.66958 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.8005 | CAFFEINE | . | 0.08 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66958 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66958 |  | 0.66958 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-10-22 | ug/L | 0.8 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72813 | 0.10165 | 0.72813 | 0.14375 | 0.10656
CAFFEINE | 4433 | 81436GCM99 | 2014-04-23 | ug/L | 0.65625 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65625 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72813 | 0.10165 | 0.72813 | 0.14375 | 0.10656
CAFFEINE | 4433 | 81436GCM99 | 2014-06-05 | ug/L | 0.84428 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84428 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96414 | 0.25504 | 0.84428 | 0.46592 | 0.34538
CAFFEINE | 4433 | 81436GCM99 | 2014-09-23 | ug/L | 0.79112 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3198 | CAFFEINE | . | 0.08 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79112 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96414 | 0.25504 | 0.84428 | 0.46592 | 0.34538
CAFFEINE | 4433 | 81436GCM99 | 2015-05-07 | ug/L | 1.257 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.257 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96414 | 0.25504 | 0.84428 | 0.46592 | 0.34538
CAFFEINE | 4433 | 81436GCM99 | 2014-08-20 | ug/L | 1.0912 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.318 | CAFFEINE | . | 0.08 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0912 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0236 | 0.095615 | 1.0236 | 0.13522 | 0.10024
CAFFEINE | 4433 | 81436GCM99 | 2015-04-20 | ug/L | 0.95597 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.159 | CAFFEINE | . | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95597 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0236 | 0.095615 | 1.0236 | 0.13522 | 0.10024
CAFFEINE | 4433 | 81436GCM99 | 2013-02-06 | ug/L | 0.82928 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8224 | CAFFEINE | . | 0.08 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82928 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82928 |  | 0.82928 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-05-30 | ug/L | 0.93872 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.4112 | CAFFEINE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93872 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93872 |  | 0.93872 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2014-09-17 | ug/L | 0.84906 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.159 | CAFFEINE | . | 0.08 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84906 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91195 | 0.088944 | 0.91195 | 0.12579 | 0.093244
CAFFEINE | 4433 | 81436GCM99 | 2015-02-26 | ug/L | 0.97484 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.318 | CAFFEINE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97484 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91195 | 0.088944 | 0.91195 | 0.12579 | 0.093244
CAFFEINE | 4433 | 81436GCM99 | 2014-07-16 | ug/L | 0.83648 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.318 | CAFFEINE | . | 0.08 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83648 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83648 |  | 0.83648 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-12-04 | ug/L | 0.88015 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88015 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87079 | 0.013242 | 0.87079 | 0.018727 | 0.013882
CAFFEINE | 4433 | 81436GCM99 | 2014-04-23 | ug/L | 0.86142 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86142 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87079 | 0.013242 | 0.87079 | 0.018727 | 0.013882
CAFFEINE | 4433 | 81436GCM99 | 2015-10-16 | ug/L | 0.9432 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.4824 | CAFFEINE | . | 0.08 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9432 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9432 |  | 0.9432 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2016-01-13 | ug/L | 1.0191 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.2404 | CAFFEINE | . | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0191 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0191 |  | 1.0191 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2012-08-24 | ug/L | 0.73 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | CAFFEINE | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.805 | 0.10607 | 0.805 | 0.15 | 0.11119
CAFFEINE | 4433 | 81436GCM99 | 2012-12-18 | ug/L | 0.88 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | CAFFEINE | . | 0.08 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.805 | 0.10607 | 0.805 | 0.15 | 0.11119
CAFFEINE | 4433 | 81436GCM99 | 2010-12-15 | ug/L | 0.69113 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.6929 | CAFFEINE | . | 0.08 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69113 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-04-14 | ug/L | 1.009 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68184 | CAFFEINE | . | 0.08 | 0.688 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.009 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-07-07 | ug/L | 0.725 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-08-17 | ug/L | 0.90441 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90441 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-11-22 | ug/L | 0.8 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-01-16 | ug/L | 0.76103 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76103 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-03-06 | ug/L | 0.85882 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.7 | CAFFEINE | . | 0.08 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85882 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-03-07 | ug/L | 0.84853 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84853 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-04-10 | ug/L | 0.92941 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.7 | CAFFEINE | . | 0.08 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92941 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-07-27 | ug/L | 0.875 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2015-09-30 | ug/L | 1.1609 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.2412 | CAFFEINE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1609 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0054 | 0.21987 | 1.0054 | 0.31095 | 0.2305
CAFFEINE | 4433 | 81436GCM99 | 2016-01-12 | ug/L | 0.84992 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.4824 | CAFFEINE | . | 0.08 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84992 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0054 | 0.21987 | 1.0054 | 0.31095 | 0.2305
CAFFEINE | 4433 | 81436GCM99 | 2015-10-15 | ug/L | 1.1443 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.1206 | CAFFEINE | . | 0.08 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1443 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1443 |  | 1.1443 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-09-26 | ug/L | 0.89263 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89263 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89263 |  | 0.89263 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-06-12 | ug/L | 0.82 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.4 | CAFFEINE | . | 0.08 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76938 | 0.071595 | 0.76938 | 0.10125 | 0.075056
CAFFEINE | 4433 | 81436GCM99 | 2014-02-05 | ug/L | 0.71875 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71875 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76938 | 0.071595 | 0.76938 | 0.10125 | 0.075056
CAFFEINE | 4433 | 81436GCM99 | 2012-12-12 | ug/L | 0.74903 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4112 | CAFFEINE | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74903 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74903 |  | 0.74903 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2012-12-20 | ug/L | 0.66 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.4 | CAFFEINE | . | 0.08 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66 |  | 0.66 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2010-07-15 | ug/L | 0.43541 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | CAFFEINE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43541 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65445 | 0.30976 | 0.65445 | 0.43806 | 0.32473
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | ug/L | 0.87348 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | CAFFEINE | . | 0.2 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87348 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65445 | 0.30976 | 0.65445 | 0.43806 | 0.32473
CAFFEINE | 4433 | 81436GCM99 | 2011-05-19 | ug/L | 0.95061 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | CAFFEINE | . | 0.08 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95061 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91515 | 0.050147 | 0.91515 | 0.070918 | 0.052571
CAFFEINE | 4433 | 81436GCM99 | 2011-10-18 | ug/L | 0.87969 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAFFEINE | . | 0.08 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87969 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91515 | 0.050147 | 0.91515 | 0.070918 | 0.052571
CAFFEINE | 4433 | 81436GCM99 | 2010-07-20 | ug/L | 0.40349 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.4746 | CAFFEINE | E | 0.2 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40349 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68379 | 0.24275 | 0.82241 | 0.42198 | 0.31281
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | ug/L | 0.82241 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.37694 | CAFFEINE | . | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82241 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68379 | 0.24275 | 0.82241 | 0.42198 | 0.31281
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | ug/L | 0.82547 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.73413 | CAFFEINE | . | 0.2 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82547 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68379 | 0.24275 | 0.82241 | 0.42198 | 0.31281
CAFFEINE | 4433 | 81436GCM99 | 2014-07-08 | ug/L | 0.81926 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.3198 | CAFFEINE | . | 0.08 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81926 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93496 | 0.16362 | 0.93496 | 0.23139 | 0.17153
CAFFEINE | 4433 | 81436GCM99 | 2014-09-11 | ug/L | 1.0507 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0507 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93496 | 0.16362 | 0.93496 | 0.23139 | 0.17153
CAFFEINE | 4433 | 81436GCM99 | 2014-11-05 | ug/L | 1.2138 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.318 | CAFFEINE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2138 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1384 | 0.10673 | 1.1384 | 0.15094 | 0.11189
CAFFEINE | 4433 | 81436GCM99 | 2015-01-27 | ug/L | 1.0629 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.159 | CAFFEINE | . | 0.08 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0629 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1384 | 0.10673 | 1.1384 | 0.15094 | 0.11189
CAFFEINE | 4433 | 81436GCM99 | 2012-07-31 | ug/L | 0.98249 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2056 | CAFFEINE | . | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98249 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7928 | 0.26826 | 0.7928 | 0.37938 | 0.28123
CAFFEINE | 4433 | 81436GCM99 | 2013-03-27 | ug/L | 0.60311 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2056 | CAFFEINE | . | 0.08 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60311 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7928 | 0.26826 | 0.7928 | 0.37938 | 0.28123
CAFFEINE | 4433 | 81436GCM99 | 2013-08-01 | ug/L | 0.38702 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.801 | CAFFEINE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38702 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53683 | 0.21187 | 0.53683 | 0.29963 | 0.22211
CAFFEINE | 4433 | 81436GCM99 | 2014-04-22 | ug/L | 0.68664 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68664 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53683 | 0.21187 | 0.53683 | 0.29963 | 0.22211
CAFFEINE | 4433 | 81436GCM99 | 2013-11-14 | ug/L | 0.95625 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95625 |  | 0.95625 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-03-28 | ug/L | 0.64375 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.8 | CAFFEINE | . | 0.08 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64375 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64375 |  | 0.64375 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2014-05-22 | ug/L | 0.71295 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.1599 | CAFFEINE | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71295 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71295 |  | 0.71295 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2014-04-24 | ug/L | 0.45912 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.159 | CAFFEINE | E | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45912 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45912 |  | 0.45912 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2015-11-05 | ug/L | 0.86938 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.4808 | CAFFEINE | . | 0.08 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86938 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86938 |  | 0.86938 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2015-07-09 | ug/L | 1.0233 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.1202 | CAFFEINE | E | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0233 |  | 1.0233 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2015-09-29 | ug/L | 1.1148 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.1202 | CAFFEINE | . | 0.08 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1148 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0087 | 0.15001 | 1.0087 | 0.21215 | 0.15726
CAFFEINE | 4433 | 81436GCM99 | 2016-01-14 | ug/L | 0.90266 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.2404 | CAFFEINE | . | 0.08 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90266 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0087 | 0.15001 | 1.0087 | 0.21215 | 0.15726
CAFFEINE | 4433 | 81436GCM99 | 2011-02-03 | ug/L | 0.66172 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.68156 | CAFFEINE | . | 0.08 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66172 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-04-26 | ug/L | 0.9075 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.68319 | CAFFEINE | . | 0.08 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9075 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-06-29 | ug/L | 0.80018 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.7119 | CAFFEINE | . | 0.08 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80018 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-08-07 | ug/L | 0.76456 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.7336 | CAFFEINE | . | 0.08 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76456 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-10-04 | ug/L | 0.81358 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81358 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-11-22 | ug/L | 0.65555 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.7085 | CAFFEINE | . | 0.08 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65555 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2012-03-01 | ug/L | 0.87065 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2012-07-26 | ug/L | 0.95698 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95698 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2010-05-13 | ug/L | 0.50626 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.76047 | CAFFEINE | . | 0.2 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50626 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58449 | 0.11063 | 0.58449 | 0.15646 | 0.11598
CAFFEINE | 4433 | 81436GCM99 | 2010-08-18 | ug/L | 0.66272 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.5693 | CAFFEINE | . | 0.2 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66272 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58449 | 0.11063 | 0.58449 | 0.15646 | 0.11598