## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAMPHOR | 4433 | 62817GCM99 | 2015-10-01 | ug/L | 0.91393 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.244 | CAMPHOR | . | 0.08 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91393 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92418 | 0.01449 | 0.92418 | 0.020492 | 0.01519
CAMPHOR | 4433 | 62817GCM99 | 2015-11-17 | ug/L | 0.93443 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.122 | CAMPHOR | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93443 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92418 | 0.01449 | 0.92418 | 0.020492 | 0.01519
CAMPHOR | 4433 | 62817GCM99 | 2015-05-08 | ug/L | 1.0495 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.12006 | CAMPHOR | . | 0.08 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0495 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0495 |  | 1.0495 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2011-02-17 | ug/L | 0.8529 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25443 | CAMPHOR | . | 0.08 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8529 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-04-15 | ug/L | 0.95238 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62475 | CAMPHOR | . | 0.08 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-05-03 | ug/L | 0.87149 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24556 | CAMPHOR | . | 0.08 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87149 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-07-07 | ug/L | 0.82079 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62745 | CAMPHOR | . | 0.08 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82079 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-08-16 | ug/L | 0.852 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-11-22 | ug/L | 0.92 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1 | CAMPHOR | . | 0.08 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2011-12-08 | ug/L | 0.772 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.772 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2012-03-07 | ug/L | 1.0368 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.625 | CAMPHOR | . | 0.08 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0368 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2012-04-10 | ug/L | 1.036 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2012-05-04 | ug/L | 0.8384 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.625 | CAMPHOR | . | 0.08 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8384 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.89528 | 0.089393 | 0.8622 | 0.11398 | 0.084493
CAMPHOR | 4433 | 62817GCM99 | 2013-08-06 | ug/L | 0.80645 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.302 | CAMPHOR | . | 0.08 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80645 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80645 |  | 0.80645 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2013-10-22 | ug/L | 0.76538 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76538 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77692 | 0.016318 | 0.77692 | 0.023077 | 0.017107
CAMPHOR | 4433 | 62817GCM99 | 2014-04-23 | ug/L | 0.78846 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77692 | 0.016318 | 0.77692 | 0.023077 | 0.017107
CAMPHOR | 4433 | 62817GCM99 | 2014-06-05 | ug/L | 0.82557 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82557 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93731 | 0.096763 | 0.99317 | 0.1676 | 0.12424
CAMPHOR | 4433 | 62817GCM99 | 2014-09-23 | ug/L | 0.99317 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99317 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93731 | 0.096763 | 0.99317 | 0.1676 | 0.12424
CAMPHOR | 4433 | 62817GCM99 | 2015-05-07 | ug/L | 0.99317 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99317 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93731 | 0.096763 | 0.99317 | 0.1676 | 0.12424
CAMPHOR | 4433 | 62817GCM99 | 2014-08-20 | ug/L | 0.95593 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95593 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89385 | 0.087785 | 0.89385 | 0.12415 | 0.092029
CAMPHOR | 4433 | 62817GCM99 | 2015-04-20 | ug/L | 0.83178 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83178 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89385 | 0.087785 | 0.89385 | 0.12415 | 0.092029
CAMPHOR | 4433 | 62817GCM99 | 2013-02-06 | ug/L | 0.82902 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.6176 | CAMPHOR | . | 0.08 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82902 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82902 |  | 0.82902 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2013-05-30 | ug/L | 0.94883 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3088 | CAMPHOR | . | 0.08 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94883 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94883 |  | 0.94883 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2010-12-15 | ug/L | 0.82478 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2437 | CAMPHOR | . | 0.08 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82478 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2011-02-18 | ug/L | 0.86059 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24169 | CAMPHOR | . | 0.08 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86059 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2011-06-28 | ug/L | 0.89341 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.98052 | CAMPHOR | . | 0.08 | 0.876 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89341 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2011-08-06 | ug/L | 0.7056 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | . | 0.08 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7056 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2011-08-17 | ug/L | 0.91241 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2466 | CAMPHOR | . | 0.08 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91241 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2012-02-01 | ug/L | 0.55799 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | E | 0.08 | 0.344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55799 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2012-03-06 | ug/L | 0.92762 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9864 | CAMPHOR | . | 0.08 | 0.915 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92762 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2012-03-07 | ug/L | 0.94079 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2466 | CAMPHOR | . | 0.08 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94079 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2012-05-04 | ug/L | 0.90024 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | . | 0.08 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90024 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2012-05-22 | ug/L | 0.84753 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9864 | CAMPHOR | . | 0.08 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84753 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8371 | 0.11916 | 0.877 | 0.087624 | 0.064955
CAMPHOR | 4433 | 62817GCM99 | 2013-12-04 | ug/L | 0.93942 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93942 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85314 | 0.12201 | 0.85314 | 0.17255 | 0.12791
CAMPHOR | 4433 | 62817GCM99 | 2014-04-23 | ug/L | 0.76687 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76687 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85314 | 0.12201 | 0.85314 | 0.17255 | 0.12791
CAMPHOR | 4433 | 62817GCM99 | 2015-10-16 | ug/L | 0.91598 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.488 | CAMPHOR | . | 0.08 | 0.447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91598 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91598 |  | 0.91598 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2016-01-13 | ug/L | 1.0828 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.24012 | CAMPHOR | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0828 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0828 |  | 1.0828 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2012-08-24 | ug/L | 0.88 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.15 | CAMPHOR | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.051854 | 0.91667 | 0.073333 | 0.054361
CAMPHOR | 4433 | 62817GCM99 | 2012-12-18 | ug/L | 0.95333 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.15 | CAMPHOR | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95333 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.051854 | 0.91667 | 0.073333 | 0.054361
CAMPHOR | 4433 | 62817GCM99 | 2014-07-17 | ug/L | 0.8442 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8442 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92024 | 0.10754 | 0.92024 | 0.15208 | 0.11273
CAMPHOR | 4433 | 62817GCM99 | 2014-12-04 | ug/L | 0.99628 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99628 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92024 | 0.10754 | 0.92024 | 0.15208 | 0.11273
CAMPHOR | 4433 | 62817GCM99 | 2014-08-21 | ug/L | 0.95597 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95597 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94654 | 0.080604 | 0.95597 | 0.16038 | 0.11889
CAMPHOR | 4433 | 62817GCM99 | 2014-09-23 | ug/L | 1.022 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94654 | 0.080604 | 0.95597 | 0.16038 | 0.11889
CAMPHOR | 4433 | 62817GCM99 | 2015-04-22 | ug/L | 0.86164 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86164 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94654 | 0.080604 | 0.95597 | 0.16038 | 0.11889
CAMPHOR | 4433 | 62817GCM99 | 2015-09-30 | ug/L | 0.92623 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.244 | CAMPHOR | . | 0.08 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92623 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93648 | 0.01449 | 0.93648 | 0.020492 | 0.01519
CAMPHOR | 4433 | 62817GCM99 | 2016-01-12 | ug/L | 0.94672 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.488 | CAMPHOR | . | 0.08 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94672 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93648 | 0.01449 | 0.93648 | 0.020492 | 0.01519
CAMPHOR | 4433 | 62817GCM99 | 2015-10-15 | ug/L | 1.0492 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.122 | CAMPHOR | . | 0.08 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0492 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0492 |  | 1.0492 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2013-09-26 | ug/L | 0.89724 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89724 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89724 |  | 0.89724 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2013-06-12 | ug/L | 0.84923 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.65 | CAMPHOR | . | 0.08 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84923 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80731 | 0.059288 | 0.80731 | 0.083846 | 0.062154
CAMPHOR | 4433 | 62817GCM99 | 2014-02-05 | ug/L | 0.76538 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76538 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80731 | 0.059288 | 0.80731 | 0.083846 | 0.062154
CAMPHOR | 4433 | 62817GCM99 | 2012-12-12 | ug/L | 0.84197 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.3088 | CAMPHOR | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84197 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84197 |  | 0.84197 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2012-12-20 | ug/L | 0.88667 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.3 | CAMPHOR | . | 0.08 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88667 |  | 0.88667 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2010-07-15 | ug/L | 0.71592 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | CAMPHOR | . | 0.2 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71592 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76497 | 0.069364 | 0.76497 | 0.098095 | 0.072717
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.81402 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | CAMPHOR | . | 0.2 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81402 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76497 | 0.069364 | 0.76497 | 0.098095 | 0.072717
CAMPHOR | 4433 | 62817GCM99 | 2011-05-19 | ug/L | 1.1318 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | CAMPHOR | . | 0.08 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1318 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.11639 | 1.0495 | 0.1646 | 0.12202
CAMPHOR | 4433 | 62817GCM99 | 2011-10-18 | ug/L | 0.96719 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAMPHOR | . | 0.08 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96719 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.11639 | 1.0495 | 0.1646 | 0.12202
CAMPHOR | 4433 | 62817GCM99 | 2010-07-20 | ug/L | 0.64672 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.4345 | CAMPHOR | E | 0.2 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64672 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72956 | 0.071967 | 0.76531 | 0.12994 | 0.09632
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.76531 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.11107 | CAMPHOR | E | 0.2 | 0.085 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.76531 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.72956 | 0.071967 | 0.76531 | 0.12994 | 0.09632
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.77666 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.21631 | CAMPHOR | E | 0.2 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77666 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72956 | 0.071967 | 0.76531 | 0.12994 | 0.09632
CAMPHOR | 4433 | 62817GCM99 | 2014-07-08 | ug/L | 0.73899 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73899 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83176 | 0.13119 | 0.83176 | 0.18553 | 0.13753
CAMPHOR | 4433 | 62817GCM99 | 2014-09-11 | ug/L | 0.92453 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92453 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83176 | 0.13119 | 0.83176 | 0.18553 | 0.13753
CAMPHOR | 4433 | 62817GCM99 | 2014-11-05 | ug/L | 0.9088 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90881 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91352 | 0.0066708 | 0.91352 | 0.009434 | 0.0069933
CAMPHOR | 4433 | 62817GCM99 | 2015-01-27 | ug/L | 0.91824 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91824 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91352 | 0.0066708 | 0.91352 | 0.009434 | 0.0069933
CAMPHOR | 4433 | 62817GCM99 | 2012-07-31 | ug/L | 0.96503 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1544 | CAMPHOR | . | 0.08 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96503 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87111 | 0.13281 | 0.87111 | 0.18782 | 0.13923
CAMPHOR | 4433 | 62817GCM99 | 2013-03-27 | ug/L | 0.7772 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1544 | CAMPHOR | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7772 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87111 | 0.13281 | 0.87111 | 0.18782 | 0.13923
CAMPHOR | 4433 | 62817GCM99 | 2013-08-01 | ug/L | 0.82822 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.304 | CAMPHOR | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82822 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74003 | 0.12472 | 0.74003 | 0.17638 | 0.13075
CAMPHOR | 4433 | 62817GCM99 | 2014-04-22 | ug/L | 0.65184 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65184 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74003 | 0.12472 | 0.74003 | 0.17638 | 0.13075
CAMPHOR | 4433 | 62817GCM99 | 2013-11-14 | ug/L | 0.91154 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91154 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91154 |  | 0.91154 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2013-03-28 | ug/L | 0.785 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.6 | CAMPHOR | . | 0.08 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.785 |  | 0.785 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2014-07-09 | ug/L | 0.78833 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78833 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83489 | 0.065839 | 0.83489 | 0.09311 | 0.069021
CAMPHOR | 4433 | 62817GCM99 | 2015-04-21 | ug/L | 0.88144 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88144 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83489 | 0.065839 | 0.83489 | 0.09311 | 0.069021
CAMPHOR | 4433 | 62817GCM99 | 2014-06-04 | ug/L | 0.66352 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | E | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66352 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73113 | 0.095615 | 0.73113 | 0.13522 | 0.10024
CAMPHOR | 4433 | 62817GCM99 | 2014-10-21 | ug/L | 0.79874 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79874 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73113 | 0.095615 | 0.73113 | 0.13522 | 0.10024
CAMPHOR | 4433 | 62817GCM99 | 2015-11-05 | ug/L | 0.97035 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.48024 | CAMPHOR | . | 0.08 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97035 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97035 |  | 0.97035 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2015-07-09 | ug/L | 0.9995 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.12006 | CAMPHOR | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9995 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9995 |  | 0.9995 | 0 | 0
CAMPHOR | 4433 | 62817GCM99 | 2015-09-29 | ug/L | 1.0245 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.12006 | CAMPHOR | . | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0245 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0453 | 0.029448 | 1.0453 | 0.041646 | 0.030872
CAMPHOR | 4433 | 62817GCM99 | 2016-01-14 | ug/L | 1.0661 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.24012 | CAMPHOR | . | 0.08 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0661 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0453 | 0.029448 | 1.0453 | 0.041646 | 0.030872
CAMPHOR | 4433 | 62817GCM99 | 2010-05-13 | ug/L | 0.61811 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.22326 | CAMPHOR | E | 0.2 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61811 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67805 | 0.084763 | 0.67805 | 0.11987 | 0.088861
CAMPHOR | 4433 | 62817GCM99 | 2010-08-18 | ug/L | 0.73798 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.46072 | CAMPHOR | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73798 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67805 | 0.084763 | 0.67805 | 0.11987 | 0.088861