## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBARYL | 4433 | 39750GCM99 | 2015-10-01 | ug/L | 0.31111 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.18 | CARBARYL | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31111 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51667 | 0.2907 | 0.51667 | 0.41111 | 0.30475
CARBARYL | 4433 | 39750GCM99 | 2015-11-17 | ug/L | 0.72222 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51667 | 0.2907 | 0.51667 | 0.41111 | 0.30475
CARBARYL | 4433 | 39750GCM99 | 2015-05-08 | ug/L | 1.1444 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1444 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1444 |  | 1.1444 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2011-02-17 | ug/L | 0.80684 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.45858 | CARBARYL | E | 0.06 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80684 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-04-15 | ug/L | 1.0301 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.126 | CARBARYL | E | 0.06 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0301 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-05-03 | ug/L | 0.75239 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.44259 | CARBARYL | E | 0.06 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75239 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-07-07 | ug/L | 0.46157 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1309 | CARBARYL | E | 0.06 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46157 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-08-16 | ug/L | 0.83 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4506 | CARBARYL | E | 0.06 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-11-22 | ug/L | 0.78229 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.8024 | CARBARYL | E | 0.06 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78229 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2011-12-08 | ug/L | 0.89436 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4506 | CARBARYL | E | 0.06 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89436 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2012-03-07 | ug/L | 0.76609 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1265 | CARBARYL | E | 0.06 | 0.863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76609 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2012-04-10 | ug/L | 0.86995 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4506 | CARBARYL | E | 0.06 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86995 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2012-05-04 | ug/L | 0.53795 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1265 | CARBARYL | E | 0.06 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53795 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77316 | 0.16581 | 0.79457 | 0.11756 | 0.087146
CARBARYL | 4433 | 39750GCM99 | 2013-08-06 | ug/L | 0.73614 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.451 | CARBARYL | E | 0.06 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73614 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73614 |  | 0.73614 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-10-22 | ug/L | 0.82222 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82222 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81111 | 0.015713 | 0.81111 | 0.022222 | 0.016473
CARBARYL | 4433 | 39750GCM99 | 2014-04-23 | ug/L | 0.8 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81111 | 0.015713 | 0.81111 | 0.022222 | 0.016473
CARBARYL | 4433 | 39750GCM99 | 2014-06-05 | ug/L | 0.51282 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51282 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.77199 | 0.2392 | 0.81886 | 0.47146 | 0.34949
CARBARYL | 4433 | 39750GCM99 | 2014-09-23 | ug/L | 0.98428 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.2418 | CARBARYL | E | 0.06 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98428 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.77199 | 0.2392 | 0.81886 | 0.47146 | 0.34949
CARBARYL | 4433 | 39750GCM99 | 2015-05-07 | ug/L | 0.81886 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81886 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.77199 | 0.2392 | 0.81886 | 0.47146 | 0.34949
CARBARYL | 4433 | 39750GCM99 | 2014-08-20 | ug/L | 0.80232 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.2418 | CARBARYL | E | 0.06 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80232 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85608 | 0.076033 | 0.85608 | 0.10753 | 0.079709
CARBARYL | 4433 | 39750GCM99 | 2015-04-20 | ug/L | 0.90984 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90984 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85608 | 0.076033 | 0.85608 | 0.10753 | 0.079709
CARBARYL | 4433 | 39750GCM99 | 2015-09-29 | ug/L | 1.0778 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.075 | 0.0039284 | 1.075 | 0.0055556 | 0.0041183
CARBARYL | 4433 | 39750GCM99 | 2016-01-26 | ug/L | 1.0722 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.18 | CARBARYL | E | 0.06 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.075 | 0.0039284 | 1.075 | 0.0055556 | 0.0041183
CARBARYL | 4433 | 39750GCM99 | 2015-10-02 | ug/L | 0.58889 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58889 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58889 |  | 0.58889 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-02-06 | ug/L | 0.80571 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0016 | CARBARYL | E | 0.06 | 0.807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80571 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80571 |  | 0.80571 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-05-30 | ug/L | 1.0903 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5008 | CARBARYL | E | 0.06 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0903 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0903 |  | 1.0903 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2010-12-15 | ug/L | 0.96361 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.44313 | CARBARYL | E | 0.06 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96361 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2011-02-18 | ug/L | 0.87376 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.43948 | CARBARYL | E | 0.06 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87376 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2011-06-28 | ug/L | 0.8245 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.7829 | CARBARYL | E | 0.06 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8245 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2011-08-06 | ug/L | 0.47725 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.121 | CARBARYL | E | 0.06 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47725 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2011-08-17 | ug/L | 0.67128 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4484 | CARBARYL | E | 0.06 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67128 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2012-02-01 | ug/L | 0.38537 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.121 | CARBARYL | E | 0.06 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38537 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2012-03-06 | ug/L | 0.61887 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.7936 | CARBARYL | E | 0.06 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61887 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2012-03-07 | ug/L | 0.62667 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4484 | CARBARYL | E | 0.06 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62667 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2012-05-04 | ug/L | 0.68332 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.121 | CARBARYL | E | 0.06 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68332 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2012-05-22 | ug/L | 0.74153 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.7936 | CARBARYL | E | 0.06 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74153 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.68661 | 0.17537 | 0.6773 | 0.20563 | 0.15243
CARBARYL | 4433 | 39750GCM99 | 2010-05-19 | ug/L | 1.3462 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.26074 | CARBARYL | E | 0.2 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3462 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3462 |  | 1.3462 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-12-04 | ug/L | 0.99558 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0904 | CARBARYL | E | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91261 | 0.11733 | 0.91261 | 0.16593 | 0.123
CARBARYL | 4433 | 39750GCM99 | 2014-04-23 | ug/L | 0.82965 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0904 | CARBARYL | E | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82965 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91261 | 0.11733 | 0.91261 | 0.16593 | 0.123
CARBARYL | 4433 | 39750GCM99 | 2015-10-16 | ug/L | 0.51111 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.36 | CARBARYL | E | 0.06 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51111 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.51111 |  | 0.51111 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2016-01-13 | ug/L | 1.2056 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.18 | CARBARYL | E | 0.06 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2056 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2056 |  | 1.2056 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2012-08-24 | ug/L | 0.988 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.988 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.046 | 0.082024 | 1.046 | 0.116 | 0.08599
CARBARYL | 4433 | 39750GCM99 | 2012-12-18 | ug/L | 1.104 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.046 | 0.082024 | 1.046 | 0.116 | 0.08599
CARBARYL | 4433 | 39750GCM99 | 2014-07-17 | ug/L | 0.46319 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46319 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54591 | 0.11697 | 0.54591 | 0.16543 | 0.12263
CARBARYL | 4433 | 39750GCM99 | 2014-12-04 | ug/L | 0.62862 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.2418 | CARBARYL | E | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62862 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54591 | 0.11697 | 0.54591 | 0.16543 | 0.12263
CARBARYL | 4433 | 39750GCM99 | 2014-08-21 | ug/L | 0.60531 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1206 | CARBARYL | E | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60531 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67579 | 0.1904 | 0.60531 | 0.3607 | 0.26738
CARBARYL | 4433 | 39750GCM99 | 2014-09-23 | ug/L | 0.89138 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.2412 | CARBARYL | E | 0.06 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89138 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67579 | 0.1904 | 0.60531 | 0.3607 | 0.26738
CARBARYL | 4433 | 39750GCM99 | 2015-04-22 | ug/L | 0.53068 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1206 | CARBARYL | E | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53068 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67579 | 0.1904 | 0.60531 | 0.3607 | 0.26738
CARBARYL | 4433 | 39750GCM99 | 2013-09-26 | ug/L | 0.89602 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.0904 | CARBARYL | E | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89602 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89602 |  | 0.89602 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-06-12 | ug/L | 0.89333 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.225 | CARBARYL | E | 0.06 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1522 | 0.36612 | 1.1522 | 0.51778 | 0.38382
CARBARYL | 4433 | 39750GCM99 | 2014-02-05 | ug/L | 1.4111 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4111 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1522 | 0.36612 | 1.1522 | 0.51778 | 0.38382
CARBARYL | 4433 | 39750GCM99 | 2012-12-12 | ug/L | 0.6889 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5008 | CARBARYL | E | 0.06 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6889 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6889 |  | 0.6889 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2012-12-20 | ug/L | 0.562 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | CARBARYL | E | 0.06 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.562 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.562 |  | 0.562 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2010-03-11 | ug/L | 0.52976 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.0458 | CARBARYL | E | 0.2 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52976 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79297 | 0.37224 | 0.79297 | 0.52642 | 0.39023
CARBARYL | 4433 | 39750GCM99 | 2010-07-23 | ug/L | 1.0562 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.52642 | CARBARYL | E | 0.2 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0562 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79297 | 0.37224 | 0.79297 | 0.52642 | 0.39023
CARBARYL | 4433 | 39750GCM99 | 2010-07-15 | ug/L | 0.72848 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | CARBARYL | E | 0.2 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72848 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0778 | 0.49399 | 1.0778 | 0.69861 | 0.51787
CARBARYL | 4433 | 39750GCM99 | 2010-08-20 | ug/L | 1.4271 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | CARBARYL | E | 0.2 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4271 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0778 | 0.49399 | 1.0778 | 0.69861 | 0.51787
CARBARYL | 4433 | 39750GCM99 | 2011-05-19 | ug/L | 0.68172 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.30218 | CARBARYL | E | 0.06 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68172 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67628 | 0.0076999 | 0.67628 | 0.010889 | 0.0080721
CARBARYL | 4433 | 39750GCM99 | 2011-10-18 | ug/L | 0.67083 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.48 | CARBARYL | E | 0.06 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67083 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67628 | 0.0076999 | 0.67628 | 0.010889 | 0.0080721
CARBARYL | 4433 | 39750GCM99 | 2014-07-08 | ug/L | 0.72554 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.2412 | CARBARYL | E | 0.06 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72554 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78151 | 0.079154 | 0.78151 | 0.11194 | 0.08298
CARBARYL | 4433 | 39750GCM99 | 2014-09-11 | ug/L | 0.83748 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1206 | CARBARYL | E | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83748 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78151 | 0.079154 | 0.78151 | 0.11194 | 0.08298
CARBARYL | 4433 | 39750GCM99 | 2014-11-05 | ug/L | 1.3184 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.2412 | CARBARYL | E | 0.06 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3184 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1609 | 0.2228 | 1.1609 | 0.31509 | 0.23357
CARBARYL | 4433 | 39750GCM99 | 2015-01-27 | ug/L | 1.0033 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.1206 | CARBARYL | E | 0.06 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1609 | 0.2228 | 1.1609 | 0.31509 | 0.23357
CARBARYL | 4433 | 39750GCM99 | 2015-07-22 | ug/L | 0.88889 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.18 | CARBARYL | E | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88889 |  | 0.88889 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2015-11-17 | ug/L | 0.95556 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.95556 |  | 0.95556 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2012-07-31 | ug/L | 1.0304 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | CARBARYL | E | 0.06 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0304 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80072 | 0.32475 | 0.80072 | 0.45927 | 0.34045
CARBARYL | 4433 | 39750GCM99 | 2013-03-27 | ug/L | 0.57109 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | CARBARYL | E | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57109 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80072 | 0.32475 | 0.80072 | 0.45927 | 0.34045
CARBARYL | 4433 | 39750GCM99 | 2013-08-01 | ug/L | 0.54867 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.452 | CARBARYL | E | 0.06 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54867 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70575 | 0.22214 | 0.70575 | 0.31416 | 0.23288
CARBARYL | 4433 | 39750GCM99 | 2014-04-22 | ug/L | 0.86283 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.0904 | CARBARYL | E | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86283 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70575 | 0.22214 | 0.70575 | 0.31416 | 0.23288
CARBARYL | 4433 | 39750GCM99 | 2013-11-14 | ug/L | 0.97778 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97778 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97778 |  | 0.97778 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2013-03-28 | ug/L | 0.567 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | CARBARYL | E | 0.06 | 0.567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.567 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.567 |  | 0.567 | 0 | 0
CARBARYL | 4433 | 39750GCM99 | 2014-07-09 | ug/L | 0.95947 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95947 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89744 | 0.08773 | 0.89744 | 0.12407 | 0.091971
CARBARYL | 4433 | 39750GCM99 | 2015-04-21 | ug/L | 0.8354 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1209 | CARBARYL | E | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8354 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89744 | 0.08773 | 0.89744 | 0.12407 | 0.091971
CARBARYL | 4433 | 39750GCM99 | 2014-06-04 | ug/L | 0.25705 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.2412 | CARBARYL | E | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25705 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52653 | 0.38111 | 0.52653 | 0.53897 | 0.39953
CARBARYL | 4433 | 39750GCM99 | 2014-10-21 | ug/L | 0.79602 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.2412 | CARBARYL | E | 0.06 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79602 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52653 | 0.38111 | 0.52653 | 0.53897 | 0.39953
CARBARYL | 4433 | 39750GCM99 | 2015-07-09 | ug/L | 0.34444 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.09 | CARBARYL | E | 0.06 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34444 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.34444 |  | 0.34444 | 0 | 0