## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-10-01 | ug/L | 0.75083 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.3636 | CHLORPYRIFOS | . | 0.12 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75083 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85121 | 0.14197 | 0.85121 | 0.20077 | 0.14883
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-11-17 | ug/L | 0.9516 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.1818 | CHLORPYRIFOS | E | 0.12 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9516 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85121 | 0.14197 | 0.85121 | 0.20077 | 0.14883
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-05-08 | ug/L | 1.4436 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.1801 | CHLORPYRIFOS | E | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4436 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.4436 |  | 1.4436 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-02-17 | ug/L | 0.9239 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.59963 | CHLORPYRIFOS | . | 0.32 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9239 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-04-15 | ug/L | 0.91686 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4724 | CHLORPYRIFOS | . | 0.32 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91686 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-05-03 | ug/L | 0.87606 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.57873 | CHLORPYRIFOS | . | 0.32 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87606 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-07-07 | ug/L | 0.86559 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4788 | CHLORPYRIFOS | . | 0.32 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86559 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-08-16 | ug/L | 0.92668 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | CHLORPYRIFOS | . | 0.32 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92668 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-11-22 | ug/L | 0.85285 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3568 | CHLORPYRIFOS | . | 0.12 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85285 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-12-08 | ug/L | 0.77902 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | CHLORPYRIFOS | . | 0.12 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77902 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-03-07 | ug/L | 1.0726 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | CHLORPYRIFOS | . | 0.12 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0726 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-04-10 | ug/L | 1.0387 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | CHLORPYRIFOS | . | 0.12 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0387 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-05-04 | ug/L | 0.8554 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | CHLORPYRIFOS | . | 0.12 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8554 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91077 | 0.088226 | 0.89646 | 0.071283 | 0.052841
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-08-06 | ug/L | 0.81941 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.257 | CHLORPYRIFOS | . | 0.12 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81941 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81941 |  | 0.81941 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-10-22 | ug/L | 0.80952 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.252 | CHLORPYRIFOS | . | 0.12 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80952 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86111 | 0.072955 | 0.86111 | 0.10317 | 0.076482
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-04-23 | ug/L | 0.9127 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.252 | CHLORPYRIFOS | . | 0.12 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9127 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86111 | 0.072955 | 0.86111 | 0.10317 | 0.076482
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-06-05 | ug/L | 0.85941 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.2397 | CHLORPYRIFOS | . | 0.12 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85941 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0583 | 0.26889 | 0.95119 | 0.5048 | 0.3742
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-09-23 | ug/L | 0.95119 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.4794 | CHLORPYRIFOS | . | 0.12 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95119 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0583 | 0.26889 | 0.95119 | 0.5048 | 0.3742
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-05-07 | ug/L | 1.3642 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.2397 | CHLORPYRIFOS | E | 0.12 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3642 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0583 | 0.26889 | 0.95119 | 0.5048 | 0.3742
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-08-20 | ug/L | 1.1932 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.4794 | CHLORPYRIFOS | . | 0.12 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1932 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1222 | 0.1003 | 1.1222 | 0.14184 | 0.10515
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-04-20 | ug/L | 1.0513 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.2397 | CHLORPYRIFOS | E | 0.12 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0513 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1222 | 0.1003 | 1.1222 | 0.14184 | 0.10515
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-02-06 | ug/L | 0.93276 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.0096 | CHLORPYRIFOS | . | 0.12 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93276 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93276 |  | 0.93276 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-05-30 | ug/L | 0.87789 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0048 | CHLORPYRIFOS | . | 0.12 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87789 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87789 |  | 0.87789 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-12-15 | ug/L | 0.90176 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.58108 | CHLORPYRIFOS | . | 0.32 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90176 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-02-18 | ug/L | 0.91098 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5763 | CHLORPYRIFOS | . | 0.32 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91098 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-06-28 | ug/L | 0.864 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.338 | CHLORPYRIFOS | . | 0.32 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.864 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-08-06 | ug/L | 0.73469 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.47 | CHLORPYRIFOS | . | 0.32 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73469 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-08-17 | ug/L | 0.96259 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.588 | CHLORPYRIFOS | . | 0.32 | 0.566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96259 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-02-01 | ug/L | 0.5449 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.47 | CHLORPYRIFOS | E | 0.12 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5449 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-03-06 | ug/L | 0.92687 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.352 | CHLORPYRIFOS | . | 0.12 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92687 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-03-07 | ug/L | 0.92347 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.588 | CHLORPYRIFOS | . | 0.12 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92347 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-05-04 | ug/L | 0.92517 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.47 | CHLORPYRIFOS | . | 0.12 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92517 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-05-22 | ug/L | 0.74405 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.352 | CHLORPYRIFOS | . | 0.12 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74405 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84385 | 0.13058 | 0.90637 | 0.18112 | 0.13426
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-05-19 | ug/L | 0.89278 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.21618 | CHLORPYRIFOS | E | 0.2 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89278 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89278 |  | 0.89278 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-12-04 | ug/L | 1.0048 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2508 | CHLORPYRIFOS | . | 0.12 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0048 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93102 | 0.10432 | 0.93102 | 0.14753 | 0.10936
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-04-23 | ug/L | 0.85726 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2508 | CHLORPYRIFOS | . | 0.12 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85726 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93102 | 0.10432 | 0.93102 | 0.14753 | 0.10936
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-10-16 | ug/L | 1.0809 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.7272 | CHLORPYRIFOS | . | 0.12 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0809 |  | 1.0809 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2016-01-13 | ug/L | 1.0661 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.3602 | CHLORPYRIFOS | E | 0.12 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0661 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0661 |  | 1.0661 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-08-24 | ug/L | 0.833 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | CHLORPYRIFOS | . | 0.12 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.833 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9815 | 0.21001 | 0.9815 | 0.297 | 0.22016
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-12-18 | ug/L | 1.13 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | CHLORPYRIFOS | . | 0.12 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9815 | 0.21001 | 0.9815 | 0.297 | 0.22016
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-07-17 | ug/L | 0.93033 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.2397 | CHLORPYRIFOS | . | 0.12 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93033 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0284 | 0.13865 | 1.0284 | 0.19608 | 0.14535
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-12-04 | ug/L | 1.1264 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.4794 | CHLORPYRIFOS | . | 0.12 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1264 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0284 | 0.13865 | 1.0284 | 0.19608 | 0.14535
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-08-21 | ug/L | 1.1667 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.24 | CHLORPYRIFOS | . | 0.12 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.116 | 0.095114 | 1.1667 | 0.16875 | 0.12509
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-09-23 | ug/L | 1.0063 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.48 | CHLORPYRIFOS | . | 0.12 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.116 | 0.095114 | 1.1667 | 0.16875 | 0.12509
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-04-22 | ug/L | 1.175 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.24 | CHLORPYRIFOS | E | 0.12 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.116 | 0.095114 | 1.1667 | 0.16875 | 0.12509
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-09-30 | ug/L | 1.1496 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.3636 | CHLORPYRIFOS | . | 0.12 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1496 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98804 | 0.22851 | 0.98804 | 0.32316 | 0.23955
CHLORPYRIFOS | 4433 | 38932GCM99 | 2016-01-12 | ug/L | 0.82646 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.7272 | CHLORPYRIFOS | E | 0.12 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82646 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.98804 | 0.22851 | 0.98804 | 0.32316 | 0.23955
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-10-15 | ug/L | 1.0836 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.1818 | CHLORPYRIFOS | . | 0.12 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0836 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0836 |  | 1.0836 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-09-26 | ug/L | 1.0048 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2508 | CHLORPYRIFOS | . | 0.12 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0048 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0048 |  | 1.0048 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-06-12 | ug/L | 0.98095 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.63 | CHLORPYRIFOS | . | 0.12 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98095 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92302 | 0.081934 | 0.92302 | 0.11587 | 0.085895
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-02-05 | ug/L | 0.86508 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.252 | CHLORPYRIFOS | . | 0.12 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86508 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92302 | 0.081934 | 0.92302 | 0.11587 | 0.085895
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-12-12 | ug/L | 0.88787 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0048 | CHLORPYRIFOS | . | 0.12 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88787 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88787 |  | 0.88787 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-12-20 | ug/L | 0.92 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | CHLORPYRIFOS | . | 0.12 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92 |  | 0.92 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-03-11 | ug/L | 0.48574 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.86878 | CHLORPYRIFOS | . | 0.2 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48574 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66131 | 0.2483 | 0.66131 | 0.35115 | 0.2603
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-07-23 | ug/L | 0.83689 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.43734 | CHLORPYRIFOS | . | 0.2 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83689 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66131 | 0.2483 | 0.66131 | 0.35115 | 0.2603
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-07-15 | ug/L | 0.71173 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | CHLORPYRIFOS | . | 0.2 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71173 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76595 | 0.076674 | 0.76595 | 0.10843 | 0.080381
CHLORPYRIFOS | 4433 | 38932GCM99 | 2010-08-20 | ug/L | 0.82017 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | CHLORPYRIFOS | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82017 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76595 | 0.076674 | 0.76595 | 0.10843 | 0.080381
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-05-19 | ug/L | 0.93075 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | CHLORPYRIFOS | . | 0.32 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93075 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8853 | 0.06428 | 0.8853 | 0.090906 | 0.067388
CHLORPYRIFOS | 4433 | 38932GCM99 | 2011-10-18 | ug/L | 0.83984 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | CHLORPYRIFOS | . | 0.12 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83984 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8853 | 0.06428 | 0.8853 | 0.090906 | 0.067388
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-07-08 | ug/L | 0.9 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.48 | CHLORPYRIFOS | . | 0.12 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.22981 | 1.0625 | 0.325 | 0.24092
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-09-11 | ug/L | 1.225 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.24 | CHLORPYRIFOS | . | 0.12 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.22981 | 1.0625 | 0.325 | 0.24092
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-11-05 | ug/L | 1.3396 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.48 | CHLORPYRIFOS | . | 0.12 | 0.643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3396 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2781 | 0.086915 | 1.2781 | 0.12292 | 0.091117
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-01-27 | ug/L | 1.2167 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.24 | CHLORPYRIFOS | E | 0.12 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2167 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2781 | 0.086915 | 1.2781 | 0.12292 | 0.091117
CHLORPYRIFOS | 4433 | 38932GCM99 | 2012-07-31 | ug/L | 0.98065 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0024 | CHLORPYRIFOS | . | 0.12 | 0.983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98065 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86542 | 0.16295 | 0.86542 | 0.23045 | 0.17083
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-03-27 | ug/L | 0.7502 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0024 | CHLORPYRIFOS | . | 0.12 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7502 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86542 | 0.16295 | 0.86542 | 0.23045 | 0.17083
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-08-01 | ug/L | 0.71132 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.254 | CHLORPYRIFOS | . | 0.12 | 0.892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71132 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77432 | 0.089093 | 0.77432 | 0.126 | 0.0934
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-04-22 | ug/L | 0.83732 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2508 | CHLORPYRIFOS | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83732 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77432 | 0.089093 | 0.77432 | 0.126 | 0.0934
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-11-14 | ug/L | 0.94048 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.252 | CHLORPYRIFOS | . | 0.12 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94048 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94048 |  | 0.94048 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2013-03-28 | ug/L | 0.715 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | CHLORPYRIFOS | . | 0.12 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.715 |  | 0.715 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-07-09 | ug/L | 1.0013 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.2397 | CHLORPYRIFOS | . | 0.12 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0013 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.02 | 0.02655 | 1.02 | 0.037547 | 0.027833
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-04-21 | ug/L | 1.0388 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.2397 | CHLORPYRIFOS | E | 0.12 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0388 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.02 | 0.02655 | 1.02 | 0.037547 | 0.027833
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-06-04 | ug/L | 0.59583 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.48 | CHLORPYRIFOS | E | 0.12 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59583 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75417 | 0.22392 | 0.75417 | 0.31667 | 0.23474
CHLORPYRIFOS | 4433 | 38932GCM99 | 2014-10-21 | ug/L | 0.9125 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.48 | CHLORPYRIFOS | . | 0.12 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75417 | 0.22392 | 0.75417 | 0.31667 | 0.23474
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-11-05 | ug/L | 1.1882 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.7204 | CHLORPYRIFOS | E | 0.12 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1882 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1882 |  | 1.1882 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-07-09 | ug/L | 1.2604 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.1801 | CHLORPYRIFOS | E | 0.12 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2604 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2604 |  | 1.2604 | 0 | 0
CHLORPYRIFOS | 4433 | 38932GCM99 | 2015-09-29 | ug/L | 1.3381 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.1801 | CHLORPYRIFOS | . | 0.12 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3381 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1258 | 0.30035 | 1.1258 | 0.42476 | 0.31487
CHLORPYRIFOS | 4433 | 38932GCM99 | 2016-01-14 | ug/L | 0.91338 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.3602 | CHLORPYRIFOS | E | 0.12 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91338 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1258 | 0.30035 | 1.1258 | 0.42476 | 0.31487