## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHOLESTEROL | 4433 | 62818GCM99 | 2015-10-01 | ug/L | 0.4049 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 4.816 | CHOLESTEROL | E | 1.6 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4049 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55959 | 0.21877 | 0.55959 | 0.30939 | 0.22934
CHOLESTEROL | 4433 | 62818GCM99 | 2015-11-17 | ug/L | 0.71429 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55959 | 0.21877 | 0.55959 | 0.30939 | 0.22934
CHOLESTEROL | 4433 | 62818GCM99 | 2015-05-08 | ug/L | 0.94269 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94269 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94269 |  | 0.94269 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2010-05-12 | ug/L | 0.23864 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 4.2324 | CHOLESTEROL | E | 1.6 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23864 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30792 | 0.097985 | 0.30792 | 0.13857 | 0.10272
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-21 | ug/L | 0.37721 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 7.8736 | CHOLESTEROL | E | 1.6 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37721 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30792 | 0.097985 | 0.30792 | 0.13857 | 0.10272
CHOLESTEROL | 4433 | 62818GCM99 | 2013-10-22 | ug/L | 0.47342 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47342 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46096 | 0.017619 | 0.46096 | 0.024917 | 0.018471
CHOLESTEROL | 4433 | 62818GCM99 | 2014-04-23 | ug/L | 0.4485 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4485 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46096 | 0.017619 | 0.46096 | 0.024917 | 0.018471
CHOLESTEROL | 4433 | 62818GCM99 | 2014-06-05 | ug/L | 0.77238 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77238 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8277 | 0.30544 | 0.77238 | 0.60333 | 0.44724
CHOLESTEROL | 4433 | 62818GCM99 | 2014-09-23 | ug/L | 0.55369 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 6.4476 | CHOLESTEROL | E | 1.6 | 3.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55369 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8277 | 0.30544 | 0.77238 | 0.60333 | 0.44724
CHOLESTEROL | 4433 | 62818GCM99 | 2015-05-07 | ug/L | 1.157 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 3.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.157 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8277 | 0.30544 | 0.77238 | 0.60333 | 0.44724
CHOLESTEROL | 4433 | 62818GCM99 | 2014-08-20 | ug/L | 0.88715 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 6.4476 | CHOLESTEROL | E | 1.6 | 5.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88715 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8065 | 0.11406 | 0.8065 | 0.1613 | 0.11957
CHOLESTEROL | 4433 | 62818GCM99 | 2015-04-20 | ug/L | 0.72585 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72585 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8065 | 0.11406 | 0.8065 | 0.1613 | 0.11957
CHOLESTEROL | 4433 | 62818GCM99 | 2015-09-29 | ug/L | 0.8098 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8098 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70494 | 0.14829 | 0.70494 | 0.20972 | 0.15546
CHOLESTEROL | 4433 | 62818GCM99 | 2016-01-26 | ug/L | 0.60008 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 4.816 | CHOLESTEROL | E | 1.6 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60008 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70494 | 0.14829 | 0.70494 | 0.20972 | 0.15546
CHOLESTEROL | 4433 | 62818GCM99 | 2015-10-02 | ug/L | 0.4 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 2.4 | CHOLESTEROL | E | 1.6 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4 |  | 0.4 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-02-06 | ug/L | 0.61895 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 9.92 | CHOLESTEROL | E | 1.6 | 6.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61895 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61895 |  | 0.61895 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-12-04 | ug/L | 0.5042 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5042 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.58824 | 0.11884 | 0.58824 | 0.16807 | 0.12459
CHOLESTEROL | 4433 | 62818GCM99 | 2014-04-23 | ug/L | 0.67227 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67227 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.58824 | 0.11884 | 0.58824 | 0.16807 | 0.12459
CHOLESTEROL | 4433 | 62818GCM99 | 2013-08-15 | ug/L | 0.30576 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 23.94 | CHOLESTEROL | E | 1.6 | 7.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30576 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.30576 |  | 0.30576 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2015-10-16 | ug/L | 0.64167 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 9.6 | CHOLESTEROL | E | 1.6 | 6.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64167 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.64167 |  | 0.64167 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2016-01-13 | ug/L | 0.45 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 4.8 | CHOLESTEROL | E | 1.6 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45 |  | 0.45 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2012-08-24 | ug/L | 0.6129 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6129 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66935 | 0.079835 | 0.66935 | 0.1129 | 0.083694
CHOLESTEROL | 4433 | 62818GCM99 | 2012-12-18 | ug/L | 0.72581 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72581 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66935 | 0.079835 | 0.66935 | 0.1129 | 0.083694
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-29 | ug/L | 0.7379 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 4.96 | CHOLESTEROL | E | 1.6 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7379 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7379 |  | 0.7379 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2010-12-15 | ug/L | 0.48322 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.6222 | CHOLESTEROL | E | 1.6 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48322 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-04-14 | ug/L | 1.001 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.6672 | CHOLESTEROL | E | 1.6 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-07-07 | ug/L | 0.65414 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65414 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-08-17 | ug/L | 0.7265 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 7.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7265 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-11-22 | ug/L | 0.55263 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55263 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-01-16 | ug/L | 0.33177 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 3.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33177 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-06 | ug/L | 0.68722 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.65 | CHOLESTEROL | E | 1.6 | 4.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68722 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-07 | ug/L | 0.40977 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40977 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-04-10 | ug/L | 0.74586 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.65 | CHOLESTEROL | E | 1.6 | 4.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74586 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-27 | ug/L | 0.56297 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 5.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56297 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-18 | ug/L | 0.4751 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9571 | CHOLESTEROL | E | 1.6 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4751 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45788 | 0.024348 | 0.45788 | 0.034433 | 0.025525
CHOLESTEROL | 4433 | 62818GCM99 | 2010-09-29 | ug/L | 0.44067 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0393 | CHOLESTEROL | E | 1.6 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44067 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45788 | 0.024348 | 0.45788 | 0.034433 | 0.025525
CHOLESTEROL | 4433 | 62818GCM99 | 2014-07-17 | ug/L | 0.6359 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6359 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8794 | 0.34436 | 0.8794 | 0.487 | 0.36101
CHOLESTEROL | 4433 | 62818GCM99 | 2014-12-04 | ug/L | 1.1229 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 6.4476 | CHOLESTEROL | E | 1.6 | 7.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1229 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8794 | 0.34436 | 0.8794 | 0.487 | 0.36101
CHOLESTEROL | 4433 | 62818GCM99 | 2014-08-21 | ug/L | 0.32727 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.3 | CHOLESTEROL | E | 1.6 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32727 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59192 | 0.3609 | 0.44545 | 0.67576 | 0.50093
CHOLESTEROL | 4433 | 62818GCM99 | 2014-09-23 | ug/L | 0.44545 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 6.6 | CHOLESTEROL | E | 1.6 | 2.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44545 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59192 | 0.3609 | 0.44545 | 0.67576 | 0.50093
CHOLESTEROL | 4433 | 62818GCM99 | 2015-04-22 | ug/L | 1.003 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.3 | CHOLESTEROL | E | 1.6 | 3.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.003 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59192 | 0.3609 | 0.44545 | 0.67576 | 0.50093
CHOLESTEROL | 4433 | 62818GCM99 | 2013-11-14 | ug/L | 0.4916 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4916 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.39916 | 0.13073 | 0.39916 | 0.18487 | 0.13705
CHOLESTEROL | 4433 | 62818GCM99 | 2014-04-23 | ug/L | 0.30672 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30672 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.39916 | 0.13073 | 0.39916 | 0.18487 | 0.13705
CHOLESTEROL | 4433 | 62818GCM99 | 2013-06-14 | ug/L | 0.99668 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 6.02 | CHOLESTEROL | E | 1.6 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.99668 |  | 0.99668 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-05-29 | ug/L | 0.39516 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39516 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39516 |  | 0.39516 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2012-09-18 | ug/L | 0.8 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2.5 | CHOLESTEROL | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2010-07-15 | ug/L | 0.17793 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | CHOLESTEROL | E | 1.6 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17793 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.29145 | 0.16053 | 0.29145 | 0.22702 | 0.16829
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-20 | ug/L | 0.40496 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | CHOLESTEROL | E | 1.6 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40496 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.29145 | 0.16053 | 0.29145 | 0.22702 | 0.16829
CHOLESTEROL | 4433 | 62818GCM99 | 2011-05-19 | ug/L | 0.47158 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | CHOLESTEROL | E | 1.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47158 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.47993 | 0.01181 | 0.47993 | 0.016701 | 0.012381
CHOLESTEROL | 4433 | 62818GCM99 | 2011-10-18 | ug/L | 0.48828 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | CHOLESTEROL | E | 1.6 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48828 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.47993 | 0.01181 | 0.47993 | 0.016701 | 0.012381
CHOLESTEROL | 4433 | 62818GCM99 | 2014-07-08 | ug/L | 0.50303 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 6.6 | CHOLESTEROL | E | 1.6 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50303 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.47424 | 0.040712 | 0.47424 | 0.057576 | 0.04268
CHOLESTEROL | 4433 | 62818GCM99 | 2014-09-11 | ug/L | 0.44545 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 3.3 | CHOLESTEROL | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44545 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.47424 | 0.040712 | 0.47424 | 0.057576 | 0.04268
CHOLESTEROL | 4433 | 62818GCM99 | 2014-11-05 | ug/L | 0.79242 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 6.6 | CHOLESTEROL | E | 1.6 | 5.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79242 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69924 | 0.13178 | 0.69924 | 0.18636 | 0.13815
CHOLESTEROL | 4433 | 62818GCM99 | 2015-01-27 | ug/L | 0.60606 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 3.3 | CHOLESTEROL | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60606 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69924 | 0.13178 | 0.69924 | 0.18636 | 0.13815
CHOLESTEROL | 4433 | 62818GCM99 | 2015-07-22 | ug/L | 0.5814 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 4.816 | CHOLESTEROL | E | 1.6 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5814 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5814 |  | 0.5814 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2012-12-19 | ug/L | 0.428 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 10 | CHOLESTEROL | E | 1.6 | 4.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.428 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.532 | 0.14708 | 0.532 | 0.208 | 0.15419
CHOLESTEROL | 4433 | 62818GCM99 | 2013-02-07 | ug/L | 0.636 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 5 | CHOLESTEROL | E | 1.6 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.532 | 0.14708 | 0.532 | 0.208 | 0.15419
CHOLESTEROL | 4433 | 62818GCM99 | 2014-02-05 | ug/L | 0.67059 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 5.95 | CHOLESTEROL | E | 1.6 | 3.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67059 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.67059 |  | 0.67059 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2014-04-24 | ug/L | 0.52326 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52326 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52326 |  | 0.52326 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-03-28 | ug/L | 0.348 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 10 | CHOLESTEROL | E | 1.6 | 3.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.348 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.348 |  | 0.348 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2014-07-09 | ug/L | 0.60798 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60798 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86699 | 0.3663 | 0.86699 | 0.51802 | 0.384
CHOLESTEROL | 4433 | 62818GCM99 | 2015-04-21 | ug/L | 1.126 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.2238 | CHOLESTEROL | E | 1.6 | 3.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.126 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86699 | 0.3663 | 0.86699 | 0.51802 | 0.384
CHOLESTEROL | 4433 | 62818GCM99 | 2014-06-04 | ug/L | 0.43636 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.6 | CHOLESTEROL | E | 1.6 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43636 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62273 | 0.26356 | 0.62273 | 0.37273 | 0.2763
CHOLESTEROL | 4433 | 62818GCM99 | 2014-10-21 | ug/L | 0.80909 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.6 | CHOLESTEROL | E | 1.6 | 5.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80909 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62273 | 0.26356 | 0.62273 | 0.37273 | 0.2763
CHOLESTEROL | 4433 | 62818GCM99 | 2015-07-09 | ug/L | 0.475 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 2.4 | CHOLESTEROL | E | 1.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.475 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.475 |  | 0.475 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2011-02-03 | ug/L | 0.58279 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.6768 | CHOLESTEROL | E | 1.6 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58279 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-04-26 | ug/L | 0.56649 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.6832 | CHOLESTEROL | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56649 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-06-29 | ug/L | 0.84876 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 10.6508 | CHOLESTEROL | E | 1.6 | 9.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84876 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-08-07 | ug/L | 0.4592 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 10.736 | CHOLESTEROL | E | 1.6 | 4.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4592 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-10-04 | ug/L | 0.35395 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35395 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-11-22 | ug/L | 0.28912 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 6.71 | CHOLESTEROL | E | 1.6 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28912 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-01 | ug/L | 0.53651 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53651 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-26 | ug/L | 0.59985 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59985 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-28 | ug/L | 0.528 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2.5 | CHOLESTEROL | E | 1.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.528 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.528 |  | 0.528 | 0 | 0