## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
D-LIMONENE | 4433 | 62819GCM99 | 2011-02-17 | ug/L | 0.78125 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.37248 | D-LIMONENE | E | 0.16 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-04-15 | ug/L | 1.019 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91463 | D-LIMONENE | E | 0.16 | 0.932 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-05-03 | ug/L | 0.79 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.35949 | D-LIMONENE | E | 0.16 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-07-07 | ug/L | 0.75116 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91858 | D-LIMONENE | E | 0.16 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75116 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-16 | ug/L | 0.71585 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71585 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-11-22 | ug/L | 0.8265 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.464 | D-LIMONENE | E | 0.16 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8265 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-12-08 | ug/L | 0.76776 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76776 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-07 | ug/L | 0.92022 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.915 | D-LIMONENE | E | 0.16 | 0.842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92022 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-04-10 | ug/L | 0.98907 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98907 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-04 | ug/L | 0.7224 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.915 | D-LIMONENE | E | 0.16 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7224 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2013-10-22 | ug/L | 0.62667 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | D-LIMONENE | E | 0.16 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62667 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64 | 0.018856 | 0.64 | 0.026667 | 0.019768
D-LIMONENE | 4433 | 62819GCM99 | 2014-04-23 | ug/L | 0.65333 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | D-LIMONENE | E | 0.16 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65333 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64 | 0.018856 | 0.64 | 0.026667 | 0.019768
D-LIMONENE | 4433 | 62819GCM99 | 2014-06-05 | ug/L | 0.68203 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3255 | D-LIMONENE | E | 0.16 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68203 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91347 | 0.21252 | 0.95853 | 0.41782 | 0.30972
D-LIMONENE | 4433 | 62819GCM99 | 2014-09-23 | ug/L | 0.95853 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.651 | D-LIMONENE | E | 0.16 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95853 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91347 | 0.21252 | 0.95853 | 0.41782 | 0.30972
D-LIMONENE | 4433 | 62819GCM99 | 2015-05-07 | ug/L | 1.0998 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3255 | D-LIMONENE | E | 0.16 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0998 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91347 | 0.21252 | 0.95853 | 0.41782 | 0.30972
D-LIMONENE | 4433 | 62819GCM99 | 2015-09-29 | ug/L | 1.0526 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.2394 | D-LIMONENE | E | 0.16 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.95134 | 0.14325 | 0.95134 | 0.20259 | 0.15018
D-LIMONENE | 4433 | 62819GCM99 | 2016-01-26 | ug/L | 0.85004 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.4788 | D-LIMONENE | E | 0.16 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85004 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.95134 | 0.14325 | 0.95134 | 0.20259 | 0.15018
D-LIMONENE | 4433 | 62819GCM99 | 2015-10-02 | ug/L | 1.0359 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.2394 | D-LIMONENE | E | 0.16 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0359 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0359 |  | 1.0359 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-02-06 | ug/L | 0.78734 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.1024 | D-LIMONENE | E | 0.16 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78734 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78734 |  | 0.78734 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-05-30 | ug/L | 0.76541 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0512 | D-LIMONENE | E | 0.16 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76541 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76541 |  | 0.76541 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2010-12-15 | ug/L | 0.83633 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3611 | D-LIMONENE | E | 0.16 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83633 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-02-18 | ug/L | 0.84885 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.35813 | D-LIMONENE | E | 0.16 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84885 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-06-28 | ug/L | 0.77776 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4529 | D-LIMONENE | E | 0.16 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77776 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-06 | ug/L | 0.61522 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61522 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-17 | ug/L | 0.79365 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3654 | D-LIMONENE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-02-01 | ug/L | 0.5561 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5561 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-06 | ug/L | 0.88944 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4616 | D-LIMONENE | E | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88944 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-07 | ug/L | 0.84839 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3654 | D-LIMONENE | E | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-04 | ug/L | 0.81336 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.743 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81336 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-22 | ug/L | 0.69787 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4616 | D-LIMONENE | E | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69787 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2013-12-04 | ug/L | 0.96918 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96918 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67637 | 0.41409 | 0.67637 | 0.58562 | 0.43411
D-LIMONENE | 4433 | 62819GCM99 | 2014-04-23 | ug/L | 0.38356 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38356 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67637 | 0.41409 | 0.67637 | 0.58562 | 0.43411
D-LIMONENE | 4433 | 62819GCM99 | 2013-08-15 | ug/L | 0.51014 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2.96 | D-LIMONENE | E | 0.16 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51014 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.51014 |  | 0.51014 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-08-24 | ug/L | 0.664 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | D-LIMONENE | E | 0.16 | 0.664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7265 | 0.088388 | 0.7265 | 0.125 | 0.092661
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-18 | ug/L | 0.789 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | D-LIMONENE | E | 0.16 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.789 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7265 | 0.088388 | 0.7265 | 0.125 | 0.092661
D-LIMONENE | 4433 | 62819GCM99 | 2014-07-17 | ug/L | 0.73733 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.3255 | D-LIMONENE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73733 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78725 | 0.070602 | 0.78725 | 0.099846 | 0.074015
D-LIMONENE | 4433 | 62819GCM99 | 2014-12-04 | ug/L | 0.83717 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.651 | D-LIMONENE | E | 0.16 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83717 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78725 | 0.070602 | 0.78725 | 0.099846 | 0.074015
D-LIMONENE | 4433 | 62819GCM99 | 2014-08-21 | ug/L | 1.0697 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | D-LIMONENE | E | 0.16 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1242 | 0.063492 | 1.1091 | 0.12424 | 0.0921
D-LIMONENE | 4433 | 62819GCM99 | 2014-09-23 | ug/L | 1.1091 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | D-LIMONENE | E | 0.16 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1091 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1242 | 0.063492 | 1.1091 | 0.12424 | 0.0921
D-LIMONENE | 4433 | 62819GCM99 | 2015-04-22 | ug/L | 1.1939 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | D-LIMONENE | E | 0.16 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1939 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1242 | 0.063492 | 1.1091 | 0.12424 | 0.0921
D-LIMONENE | 4433 | 62819GCM99 | 2015-09-30 | ug/L | 1.0944 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.4788 | D-LIMONENE | E | 0.16 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0944 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0098 | 0.11962 | 1.0098 | 0.16917 | 0.12541
D-LIMONENE | 4433 | 62819GCM99 | 2016-01-12 | ug/L | 0.92523 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.9576 | D-LIMONENE | E | 0.16 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92523 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0098 | 0.11962 | 1.0098 | 0.16917 | 0.12541
D-LIMONENE | 4433 | 62819GCM99 | 2015-10-15 | ug/L | 0.87917 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | D-LIMONENE | E | 0.16 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87917 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87917 |  | 0.87917 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-11-14 | ug/L | 0.75685 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75685 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7774 | 0.029059 | 0.7774 | 0.041096 | 0.030464
D-LIMONENE | 4433 | 62819GCM99 | 2014-04-23 | ug/L | 0.79795 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79795 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7774 | 0.029059 | 0.7774 | 0.041096 | 0.030464
D-LIMONENE | 4433 | 62819GCM99 | 2013-06-14 | ug/L | 0.688 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.75 | D-LIMONENE | E | 0.16 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.688 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.688 |  | 0.688 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-12 | ug/L | 0.80441 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0512 | D-LIMONENE | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80441 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80441 |  | 0.80441 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-20 | ug/L | 0.79 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | D-LIMONENE | E | 0.16 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79 |  | 0.79 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2010-07-15 | ug/L | 0.59869 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | D-LIMONENE | E | 0.2 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59869 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64843 | 0.070338 | 0.64843 | 0.099474 | 0.073739
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | ug/L | 0.69817 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | D-LIMONENE | E | 0.2 | 0.681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69817 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64843 | 0.070338 | 0.64843 | 0.099474 | 0.073739
D-LIMONENE | 4433 | 62819GCM99 | 2011-05-19 | ug/L | 0.83395 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | D-LIMONENE | E | 0.16 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83395 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82323 | 0.015169 | 0.82323 | 0.021452 | 0.015902
D-LIMONENE | 4433 | 62819GCM99 | 2011-10-18 | ug/L | 0.8125 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | D-LIMONENE | E | 0.16 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82323 | 0.015169 | 0.82323 | 0.021452 | 0.015902
D-LIMONENE | 4433 | 62819GCM99 | 2010-07-20 | ug/L | 0.62806 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.4983 | D-LIMONENE | E | 0.2 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62806 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74506 | 0.1015 | 0.79769 | 0.18137 | 0.13445
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | ug/L | 0.80943 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.38299 | D-LIMONENE | E | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80943 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74506 | 0.1015 | 0.79769 | 0.18137 | 0.13445
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | ug/L | 0.79769 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.7459 | D-LIMONENE | E | 0.2 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79769 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74506 | 0.1015 | 0.79769 | 0.18137 | 0.13445
D-LIMONENE | 4433 | 62819GCM99 | 2014-07-08 | ug/L | 0.75152 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.66 | D-LIMONENE | E | 0.16 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75152 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85303 | 0.14356 | 0.85303 | 0.20303 | 0.1505
D-LIMONENE | 4433 | 62819GCM99 | 2014-09-11 | ug/L | 0.95455 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.33 | D-LIMONENE | E | 0.16 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85303 | 0.14356 | 0.85303 | 0.20303 | 0.1505
D-LIMONENE | 4433 | 62819GCM99 | 2014-11-05 | ug/L | 0.91364 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.66 | D-LIMONENE | E | 0.16 | 0.603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91364 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9053 | 0.011785 | 0.9053 | 0.016667 | 0.012355
D-LIMONENE | 4433 | 62819GCM99 | 2015-01-27 | ug/L | 0.89697 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.33 | D-LIMONENE | E | 0.16 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89697 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9053 | 0.011785 | 0.9053 | 0.016667 | 0.012355
D-LIMONENE | 4433 | 62819GCM99 | 2015-07-22 | ug/L | 0.93958 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | D-LIMONENE | E | 0.16 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93958 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.93958 |  | 0.93958 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2015-11-17 | ug/L | 0.94167 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | D-LIMONENE | E | 0.16 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94167 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94167 |  | 0.94167 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-07-31 | ug/L | 0.92531 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0256 | D-LIMONENE | E | 0.16 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92531 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82098 | 0.14754 | 0.82098 | 0.20866 | 0.15468
D-LIMONENE | 4433 | 62819GCM99 | 2013-03-27 | ug/L | 0.71665 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0256 | D-LIMONENE | E | 0.16 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71665 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82098 | 0.14754 | 0.82098 | 0.20866 | 0.15468
D-LIMONENE | 4433 | 62819GCM99 | 2014-02-05 | ug/L | 0.84795 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.73 | D-LIMONENE | E | 0.16 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84795 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84795 |  | 0.84795 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2014-04-24 | ug/L | 0.56 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.3 | D-LIMONENE | E | 0.16 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56 |  | 0.56 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-03-28 | ug/L | 0.7525 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | D-LIMONENE | E | 0.16 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7525 |  | 0.7525 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2014-07-09 | ug/L | 0.71275 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3255 | D-LIMONENE | E | 0.16 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71275 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71275 |  | 0.71275 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2014-06-04 | ug/L | 0.57273 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | D-LIMONENE | E | 0.16 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57273 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69924 | 0.17892 | 0.69924 | 0.25303 | 0.18757
D-LIMONENE | 4433 | 62819GCM99 | 2014-10-21 | ug/L | 0.82576 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | D-LIMONENE | E | 0.16 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82576 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69924 | 0.17892 | 0.69924 | 0.25303 | 0.18757
D-LIMONENE | 4433 | 62819GCM99 | 2015-11-05 | ug/L | 0.8114 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.9576 | D-LIMONENE | E | 0.16 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8114 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8114 |  | 0.8114 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2015-09-29 | ug/L | 0.8875 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | D-LIMONENE | E | 0.16 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8875 |  | 0.8875 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2010-05-13 | ug/L | 0.59534 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.77267 | D-LIMONENE | E | 0.2 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59534 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66143 | 0.093467 | 0.66143 | 0.13218 | 0.097985
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-18 | ug/L | 0.72752 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.5945 | D-LIMONENE | E | 0.2 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72752 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66143 | 0.093467 | 0.66143 | 0.13218 | 0.097985