## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON | 4433 | 39570GCM99 | 2015-10-01 | ug/L | 0.74167 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.96 | DIAZINON | . | 0.32 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.24749 | 0.91667 | 0.35 | 0.25945
DIAZINON | 4433 | 39570GCM99 | 2015-11-17 | ug/L | 1.0917 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.48 | DIAZINON | . | 0.32 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0917 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.24749 | 0.91667 | 0.35 | 0.25945
DIAZINON | 4433 | 39570GCM99 | 2015-05-08 | ug/L | 1.2792 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.48 | DIAZINON | . | 0.32 | 0.614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2792 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2792 |  | 1.2792 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2011-02-17 | ug/L | 0.97575 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3505 | DIAZINON | . | 0.32 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97575 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-04-15 | ug/L | 1.0027 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.86066 | DIAZINON | . | 0.32 | 0.863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0027 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-05-03 | ug/L | 1.0406 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.33828 | DIAZINON | . | 0.32 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-07-07 | ug/L | 0.92321 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.86437 | DIAZINON | . | 0.32 | 0.798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92321 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-08-16 | ug/L | 0.98432 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98432 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-11-22 | ug/L | 0.99448 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.3776 | DIAZINON | . | 0.32 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99448 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-12-08 | ug/L | 0.65331 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65331 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-03-07 | ug/L | 1.1614 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.861 | DIAZINON | . | 0.32 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1614 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-04-10 | ug/L | 1.4024 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4024 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-05-04 | ug/L | 0.9338 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.861 | DIAZINON | . | 0.32 | 0.804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9338 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2013-10-22 | ug/L | 0.772 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5 | DIAZINON | . | 0.32 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.772 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.824 | 0.073539 | 0.824 | 0.104 | 0.077094
DIAZINON | 4433 | 39570GCM99 | 2014-04-23 | ug/L | 0.876 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5 | DIAZINON | . | 0.32 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.876 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.824 | 0.073539 | 0.824 | 0.104 | 0.077094
DIAZINON | 4433 | 39570GCM99 | 2014-06-05 | ug/L | 0.88766 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88766 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99553 | 0.17497 | 0.90153 | 0.30975 | 0.22962
DIAZINON | 4433 | 39570GCM99 | 2014-09-23 | ug/L | 0.90153 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 1.2978 | DIAZINON | . | 0.32 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90153 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99553 | 0.17497 | 0.90153 | 0.30975 | 0.22962
DIAZINON | 4433 | 39570GCM99 | 2015-05-07 | ug/L | 1.1974 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1974 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99553 | 0.17497 | 0.90153 | 0.30975 | 0.22962
DIAZINON | 4433 | 39570GCM99 | 2014-08-20 | ug/L | 1.0865 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 1.2978 | DIAZINON | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0865 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97858 | 0.15256 | 0.97858 | 0.21575 | 0.15993
DIAZINON | 4433 | 39570GCM99 | 2015-04-20 | ug/L | 0.8707 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8707 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97858 | 0.15256 | 0.97858 | 0.21575 | 0.15993
DIAZINON | 4433 | 39570GCM99 | 2015-09-29 | ug/L | 1.2375 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.48 | DIAZINON | . | 0.32 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2375 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0958 | 0.20035 | 1.0958 | 0.28333 | 0.21003
DIAZINON | 4433 | 39570GCM99 | 2016-01-26 | ug/L | 0.95417 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.96 | DIAZINON | . | 0.32 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0958 | 0.20035 | 1.0958 | 0.28333 | 0.21003
DIAZINON | 4433 | 39570GCM99 | 2015-10-02 | ug/L | 1.0565 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.478 | DIAZINON | . | 0.32 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0565 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0565 |  | 1.0565 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-02-06 | ug/L | 0.9325 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4 | DIAZINON | . | 0.32 | 3.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9325 |  | 0.9325 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2010-12-15 | ug/L | 1.0369 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33561 | DIAZINON | . | 0.32 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0369 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-02-18 | ug/L | 1.0185 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33284 | DIAZINON | . | 0.32 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0185 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-06-28 | ug/L | 0.94053 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3503 | DIAZINON | . | 0.32 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94053 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-08-06 | ug/L | 0.78092 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | . | 0.32 | 0.663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78092 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-08-17 | ug/L | 1.0895 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3396 | DIAZINON | . | 0.32 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0895 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-02-01 | ug/L | 0.59717 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | E | 0.32 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59717 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-03-06 | ug/L | 1.0012 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3584 | DIAZINON | . | 0.32 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-03-07 | ug/L | 0.95701 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3396 | DIAZINON | . | 0.32 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95701 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-05-04 | ug/L | 1.0483 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | . | 0.32 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-05-22 | ug/L | 0.79505 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3584 | DIAZINON | . | 0.32 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79505 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2010-05-19 | ug/L | 0.95087 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.34705 | DIAZINON | . | 0.2 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95087 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95087 |  | 0.95087 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-12-04 | ug/L | 0.96721 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96721 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8207 | 0.20721 | 0.8207 | 0.29303 | 0.21722
DIAZINON | 4433 | 39570GCM99 | 2014-04-23 | ug/L | 0.67418 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67418 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8207 | 0.20721 | 0.8207 | 0.29303 | 0.21722
DIAZINON | 4433 | 39570GCM99 | 2013-08-15 | ug/L | 0.58704 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 4.94 | DIAZINON | E | 0.32 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58704 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58704 |  | 0.58704 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2015-10-16 | ug/L | 1.114 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 1.912 | DIAZINON | . | 0.32 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.114 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.114 |  | 1.114 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2016-01-13 | ug/L | 1.0774 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.956 | DIAZINON | . | 0.32 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0774 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0774 |  | 1.0774 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-08-24 | ug/L | 0.766 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DIAZINON | . | 0.32 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.766 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.893 | 0.17961 | 0.893 | 0.254 | 0.18829
DIAZINON | 4433 | 39570GCM99 | 2012-12-18 | ug/L | 1.02 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DIAZINON | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.893 | 0.17961 | 0.893 | 0.254 | 0.18829
DIAZINON | 4433 | 39570GCM99 | 2012-07-29 | ug/L | 1.03 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 2 | DIAZINON | . | 0.32 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.03 |  | 1.03 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2014-07-17 | ug/L | 0.86608 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86608 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97241 | 0.15038 | 0.97241 | 0.21267 | 0.15765
DIAZINON | 4433 | 39570GCM99 | 2014-12-04 | ug/L | 1.0787 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 1.2978 | DIAZINON | . | 0.32 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0787 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97241 | 0.15038 | 0.97241 | 0.21267 | 0.15765
DIAZINON | 4433 | 39570GCM99 | 2014-08-21 | ug/L | 1.0873 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.63 | DIAZINON | . | 0.32 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0873 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0603 | 0.066912 | 1.0873 | 0.1254 | 0.092955
DIAZINON | 4433 | 39570GCM99 | 2014-09-23 | ug/L | 0.98413 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 1.26 | DIAZINON | . | 0.32 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98413 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0603 | 0.066912 | 1.0873 | 0.1254 | 0.092955
DIAZINON | 4433 | 39570GCM99 | 2015-04-22 | ug/L | 1.1095 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.63 | DIAZINON | . | 0.32 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1095 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0603 | 0.066912 | 1.0873 | 0.1254 | 0.092955
DIAZINON | 4433 | 39570GCM99 | 2013-11-14 | ug/L | 0.77049 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77049 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81557 | 0.063756 | 0.81557 | 0.090164 | 0.066838
DIAZINON | 4433 | 39570GCM99 | 2014-04-23 | ug/L | 0.86066 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86066 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81557 | 0.063756 | 0.81557 | 0.090164 | 0.066838
DIAZINON | 4433 | 39570GCM99 | 2013-06-14 | ug/L | 0.992 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.25 | DIAZINON | . | 0.32 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.992 |  | 0.992 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-05-29 | ug/L | 0.93 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1 | DIAZINON | . | 0.32 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93 |  | 0.93 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-09-18 | ug/L | 1.0159 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1.004 | DIAZINON | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0159 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0159 |  | 1.0159 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2010-03-11 | ug/L | 0.55905 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.3917 | DIAZINON | . | 0.2 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55905 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67136 | 0.15884 | 0.67136 | 0.22463 | 0.16651
DIAZINON | 4433 | 39570GCM99 | 2010-07-23 | ug/L | 0.78367 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.70055 | DIAZINON | . | 0.2 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78367 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67136 | 0.15884 | 0.67136 | 0.22463 | 0.16651
DIAZINON | 4433 | 39570GCM99 | 2010-07-15 | ug/L | 0.50292 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | DIAZINON | . | 0.2 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50292 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55134 | 0.068465 | 0.55134 | 0.096824 | 0.071774
DIAZINON | 4433 | 39570GCM99 | 2010-08-20 | ug/L | 0.59975 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | DIAZINON | . | 0.2 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59975 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55134 | 0.068465 | 0.55134 | 0.096824 | 0.071774
DIAZINON | 4433 | 39570GCM99 | 2011-05-19 | ug/L | 0.32059 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.96696 | DIAZINON | . | 0.32 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32059 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.23614 | 0.11943 | 0.23614 | 0.1689 | 0.1252
DIAZINON | 4433 | 39570GCM99 | 2011-10-18 | ug/L | 0.15169 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.536 | DIAZINON | . | 0.32 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15169 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.23614 | 0.11943 | 0.23614 | 0.1689 | 0.1252
DIAZINON | 4433 | 39570GCM99 | 2014-07-08 | ug/L | 0.81746 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 1.26 | DIAZINON | . | 0.32 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81746 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99206 | 0.24693 | 0.99206 | 0.34921 | 0.25886
DIAZINON | 4433 | 39570GCM99 | 2014-09-11 | ug/L | 1.1667 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.63 | DIAZINON | . | 0.32 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99206 | 0.24693 | 0.99206 | 0.34921 | 0.25886
DIAZINON | 4433 | 39570GCM99 | 2014-11-05 | ug/L | 1.2619 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 1.26 | DIAZINON | . | 0.32 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2619 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2063 | 0.078567 | 1.2063 | 0.11111 | 0.082366
DIAZINON | 4433 | 39570GCM99 | 2015-01-27 | ug/L | 1.1508 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.63 | DIAZINON | E | 0.32 | 0.725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1508 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2063 | 0.078567 | 1.2063 | 0.11111 | 0.082366
DIAZINON | 4433 | 39570GCM99 | 2015-07-22 | ug/L | 1.0396 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.96 | DIAZINON | . | 0.32 | 0.998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0396 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0396 |  | 1.0396 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2015-11-17 | ug/L | 1.0753 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.478 | DIAZINON | . | 0.32 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0753 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0753 |  | 1.0753 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-12-19 | ug/L | 0.8242 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4.016 | DIAZINON | . | 0.32 | 3.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8242 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80802 | 0.022889 | 0.80802 | 0.032371 | 0.023996
DIAZINON | 4433 | 39570GCM99 | 2013-02-07 | ug/L | 0.79183 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2.008 | DIAZINON | . | 0.32 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79183 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80802 | 0.022889 | 0.80802 | 0.032371 | 0.023996
DIAZINON | 4433 | 39570GCM99 | 2014-02-05 | ug/L | 0.98361 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.22 | DIAZINON | . | 0.32 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98361 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98361 |  | 0.98361 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2014-04-24 | ug/L | 0.788 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.5 | DIAZINON | . | 0.32 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.788 |  | 0.788 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-03-28 | ug/L | 0.76195 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4.016 | DIAZINON | . | 0.32 | 3.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76195 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76195 |  | 0.76195 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2014-07-09 | ug/L | 0.83064 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83064 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66343 | 0.23647 | 0.66343 | 0.33441 | 0.2479
DIAZINON | 4433 | 39570GCM99 | 2015-04-21 | ug/L | 0.49622 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6489 | DIAZINON | . | 0.32 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49622 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66343 | 0.23647 | 0.66343 | 0.33441 | 0.2479
DIAZINON | 4433 | 39570GCM99 | 2014-06-04 | ug/L | 0.64206 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.26 | DIAZINON | E | 0.32 | 0.809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64206 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76151 | 0.16892 | 0.76151 | 0.23889 | 0.17709
DIAZINON | 4433 | 39570GCM99 | 2014-10-21 | ug/L | 0.88095 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.26 | DIAZINON | . | 0.32 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88095 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76151 | 0.16892 | 0.76151 | 0.23889 | 0.17709
DIAZINON | 4433 | 39570GCM99 | 2015-07-09 | ug/L | 1.0795 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.478 | DIAZINON | . | 0.32 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0795 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0795 |  | 1.0795 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-07-28 | ug/L | 0.95916 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1.004 | DIAZINON | . | 0.32 | 0.963 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95916 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95916 |  | 0.95916 | 0 | 0