## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICHLORVOS | 4433 | 30218GCM99 | 2014-08-20 | ug/L | 0.85518 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85518 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9769 | 0.17214 | 0.9769 | 0.24345 | 0.18046
DICHLORVOS | 4433 | 30218GCM99 | 2014-10-20 | ug/L | 1.0986 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0986 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9769 | 0.17214 | 0.9769 | 0.24345 | 0.18046
DICHLORVOS | 4433 | 30218GCM99 | 2014-12-03 | ug/L | 0.94747 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.3198 | DICHLORVOS | . | 0.08 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94747 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94747 |  | 0.94747 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2015-10-01 | ug/L | 0.86885 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.244 | DICHLORVOS | . | 0.08 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86885 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86475 | 0.005796 | 0.86475 | 0.0081967 | 0.0060761
DICHLORVOS | 4433 | 30218GCM99 | 2015-11-17 | ug/L | 0.86066 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.122 | DICHLORVOS | . | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86066 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86475 | 0.005796 | 0.86475 | 0.0081967 | 0.0060761
DICHLORVOS | 4433 | 30218GCM99 | 2015-05-08 | ug/L | 1.0658 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.1201 | DICHLORVOS | . | 0.08 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0658 |  | 1.0658 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2011-02-17 | ug/L | 0.92032 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.50417 | DICHLORVOS | . | 0.08 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92032 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-04-15 | ug/L | 0.91276 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.238 | DICHLORVOS | . | 0.08 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91276 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-05-03 | ug/L | 0.90836 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.48659 | DICHLORVOS | . | 0.08 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90836 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-07-07 | ug/L | 0.7134 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.2433 | DICHLORVOS | . | 0.08 | 0.887 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7134 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-08-16 | ug/L | 0.74485 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4954 | DICHLORVOS | . | 0.08 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74485 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-11-22 | ug/L | 0.85285 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.9816 | DICHLORVOS | . | 0.08 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85285 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2011-12-08 | ug/L | 0.81348 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4954 | DICHLORVOS | . | 0.08 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81348 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2012-03-07 | ug/L | 0.87202 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.2385 | DICHLORVOS | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87202 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2012-04-10 | ug/L | 0.90432 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4954 | DICHLORVOS | . | 0.08 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90432 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2012-05-04 | ug/L | 0.70166 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.2385 | DICHLORVOS | . | 0.08 | 0.869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70166 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.8344 | 0.085865 | 0.86243 | 0.1635 | 0.1212
DICHLORVOS | 4433 | 30218GCM99 | 2013-08-06 | ug/L | 0.6957 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.861 | DICHLORVOS | . | 0.08 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6957 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6957 |  | 0.6957 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-10-22 | ug/L | 0.9023 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.174 | DICHLORVOS | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9023 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81609 | 0.12191 | 0.81609 | 0.17241 | 0.12781
DICHLORVOS | 4433 | 30218GCM99 | 2014-04-23 | ug/L | 0.72989 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.174 | DICHLORVOS | . | 0.08 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72989 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81609 | 0.12191 | 0.81609 | 0.17241 | 0.12781
DICHLORVOS | 4433 | 30218GCM99 | 2013-02-06 | ug/L | 0.69499 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.0576 | DICHLORVOS | . | 0.08 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69499 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69499 |  | 0.69499 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-05-30 | ug/L | 0.80343 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0288 | DICHLORVOS | . | 0.08 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80343 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80343 |  | 0.80343 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2010-12-15 | ug/L | 0.90969 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.48918 | DICHLORVOS | . | 0.08 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90969 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2011-02-18 | ug/L | 0.83067 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.48515 | DICHLORVOS | . | 0.08 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83067 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2011-06-28 | ug/L | 0.79261 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.9682 | DICHLORVOS | . | 0.08 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79261 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2011-08-06 | ug/L | 0.73939 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2375 | DICHLORVOS | . | 0.08 | 0.915 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73939 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2011-08-17 | ug/L | 0.8101 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.495 | DICHLORVOS | . | 0.08 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8101 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2012-02-01 | ug/L | 0.47758 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2375 | DICHLORVOS | E | 0.08 | 0.591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47758 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2012-03-06 | ug/L | 0.71717 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.98 | DICHLORVOS | . | 0.08 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71717 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2012-03-07 | ug/L | 0.77778 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.495 | DICHLORVOS | . | 0.08 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2012-05-04 | ug/L | 0.87273 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2375 | DICHLORVOS | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87273 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2012-05-22 | ug/L | 0.79293 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.98 | DICHLORVOS | . | 0.08 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79293 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77206 | 0.11816 | 0.79277 | 0.091275 | 0.067661
DICHLORVOS | 4433 | 30218GCM99 | 2010-05-19 | ug/L | 0.8518 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.38037 | DICHLORVOS | E | 0.2 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8518 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8518 |  | 0.8518 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2014-09-17 | ug/L | 0.99875 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99875 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9613 | 0.052967 | 0.9613 | 0.074906 | 0.055527
DICHLORVOS | 4433 | 30218GCM99 | 2015-02-26 | ug/L | 0.92385 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.3204 | DICHLORVOS | . | 0.08 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92385 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9613 | 0.052967 | 0.9613 | 0.074906 | 0.055527
DICHLORVOS | 4433 | 30218GCM99 | 2014-07-16 | ug/L | 0.74422 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.3198 | DICHLORVOS | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74422 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74422 |  | 0.74422 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-12-04 | ug/L | 1.0035 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1704 | DICHLORVOS | . | 0.08 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93897 | 0.091293 | 0.93897 | 0.12911 | 0.095706
DICHLORVOS | 4433 | 30218GCM99 | 2014-04-23 | ug/L | 0.87441 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1704 | DICHLORVOS | . | 0.08 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87441 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93897 | 0.091293 | 0.93897 | 0.12911 | 0.095706
DICHLORVOS | 4433 | 30218GCM99 | 2015-10-16 | ug/L | 0.86271 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.488 | DICHLORVOS | . | 0.08 | 0.421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8627 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8627 |  | 0.8627 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2016-01-13 | ug/L | 1.0741 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.2402 | DICHLORVOS | . | 0.08 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0741 |  | 1.0741 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2012-08-24 | ug/L | 0.791 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DICHLORVOS | . | 0.08 | 0.791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.791 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8345 | 0.061518 | 0.8345 | 0.087 | 0.064492
DICHLORVOS | 4433 | 30218GCM99 | 2012-12-18 | ug/L | 0.878 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DICHLORVOS | . | 0.08 | 0.878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8345 | 0.061518 | 0.8345 | 0.087 | 0.064492
DICHLORVOS | 4433 | 30218GCM99 | 2014-07-17 | ug/L | 0.72409 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72409 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81461 | 0.128 | 0.81461 | 0.18102 | 0.13419
DICHLORVOS | 4433 | 30218GCM99 | 2014-12-04 | ug/L | 0.90512 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3204 | DICHLORVOS | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90512 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81461 | 0.128 | 0.81461 | 0.18102 | 0.13419
DICHLORVOS | 4433 | 30218GCM99 | 2014-08-21 | ug/L | 0.9613 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9613 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92905 | 0.069813 | 0.9613 | 0.12797 | 0.094859
DICHLORVOS | 4433 | 30218GCM99 | 2014-09-23 | ug/L | 0.9769 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.3204 | DICHLORVOS | . | 0.08 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9769 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92905 | 0.069813 | 0.9613 | 0.12797 | 0.094859
DICHLORVOS | 4433 | 30218GCM99 | 2015-04-22 | ug/L | 0.84894 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1602 | DICHLORVOS | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84894 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92905 | 0.069813 | 0.9613 | 0.12797 | 0.094859
DICHLORVOS | 4433 | 30218GCM99 | 2015-09-30 | ug/L | 1.0492 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.244 | DICHLORVOS | . | 0.08 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0492 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96619 | 0.11737 | 0.96619 | 0.16598 | 0.12304
DICHLORVOS | 4433 | 30218GCM99 | 2016-01-12 | ug/L | 0.8832 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.488 | DICHLORVOS | . | 0.08 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8832 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96619 | 0.11737 | 0.96619 | 0.16598 | 0.12304
DICHLORVOS | 4433 | 30218GCM99 | 2015-10-15 | ug/L | 0.91803 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.122 | DICHLORVOS | . | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91803 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91803 |  | 0.91803 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-09-26 | ug/L | 0.84507 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1704 | DICHLORVOS | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84507 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84507 |  | 0.84507 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-06-12 | ug/L | 0.81609 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.435 | DICHLORVOS | . | 0.08 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81609 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86782 | 0.073149 | 0.86782 | 0.10345 | 0.076685
DICHLORVOS | 4433 | 30218GCM99 | 2014-02-05 | ug/L | 0.91954 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.174 | DICHLORVOS | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91954 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86782 | 0.073149 | 0.86782 | 0.10345 | 0.076685
DICHLORVOS | 4433 | 30218GCM99 | 2012-12-12 | ug/L | 0.75414 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0288 | DICHLORVOS | . | 0.08 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75414 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75414 |  | 0.75414 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2012-12-20 | ug/L | 0.715 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | DICHLORVOS | . | 0.08 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.715 |  | 0.715 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2010-03-11 | ug/L | 0.45668 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.5284 | DICHLORVOS | . | 0.2 | 0.698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45668 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4558 | 0.0012566 | 0.4558 | 0.001777 | 0.0013173
DICHLORVOS | 4433 | 30218GCM99 | 2010-07-23 | ug/L | 0.45491 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.76939 | DICHLORVOS | . | 0.2 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45491 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4558 | 0.0012566 | 0.4558 | 0.001777 | 0.0013173
DICHLORVOS | 4433 | 30218GCM99 | 2010-07-15 | ug/L | 0.54636 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | DICHLORVOS | . | 0.2 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54636 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77041 | 0.31685 | 0.77041 | 0.44809 | 0.33217
DICHLORVOS | 4433 | 30218GCM99 | 2010-08-20 | ug/L | 0.99445 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | DICHLORVOS | E | 0.2 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99445 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77041 | 0.31685 | 0.77041 | 0.44809 | 0.33217
DICHLORVOS | 4433 | 30218GCM99 | 2011-05-19 | ug/L | 0.95557 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.24174 | DICHLORVOS | . | 0.08 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95557 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88143 | 0.10485 | 0.88143 | 0.14828 | 0.10992
DICHLORVOS | 4433 | 30218GCM99 | 2011-10-18 | ug/L | 0.80729 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.384 | DICHLORVOS | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80729 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88143 | 0.10485 | 0.88143 | 0.14828 | 0.10992
DICHLORVOS | 4433 | 30218GCM99 | 2012-07-31 | ug/L | 0.89314 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0144 | DICHLORVOS | . | 0.08 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89314 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80639 | 0.12268 | 0.80639 | 0.1735 | 0.12861
DICHLORVOS | 4433 | 30218GCM99 | 2013-03-27 | ug/L | 0.71964 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0144 | DICHLORVOS | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71964 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80639 | 0.12268 | 0.80639 | 0.1735 | 0.12861
DICHLORVOS | 4433 | 30218GCM99 | 2013-08-01 | ug/L | 0.57512 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.852 | DICHLORVOS | . | 0.08 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57512 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71303 | 0.19504 | 0.71303 | 0.27582 | 0.20446
DICHLORVOS | 4433 | 30218GCM99 | 2014-04-22 | ug/L | 0.85094 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.1704 | DICHLORVOS | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85094 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71303 | 0.19504 | 0.71303 | 0.27582 | 0.20446
DICHLORVOS | 4433 | 30218GCM99 | 2013-11-14 | ug/L | 1.0575 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.174 | DICHLORVOS | . | 0.08 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0575 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0575 |  | 1.0575 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2013-03-28 | ug/L | 0.7025 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | DICHLORVOS | . | 0.08 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7025 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7025 |  | 0.7025 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2014-05-22 | ug/L | 0.7192 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.1599 | DICHLORVOS | . | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7192 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7192 |  | 0.7192 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2014-07-09 | ug/L | 0.90682 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1599 | DICHLORVOS | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90682 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90994 | 0.0044222 | 0.90994 | 0.0062539 | 0.004636
DICHLORVOS | 4433 | 30218GCM99 | 2015-04-21 | ug/L | 0.91307 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1599 | DICHLORVOS | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91307 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90994 | 0.0044222 | 0.90994 | 0.0062539 | 0.004636
DICHLORVOS | 4433 | 30218GCM99 | 2014-04-24 | ug/L | 0.70669 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.1599 | DICHLORVOS | E | 0.08 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70669 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70669 |  | 0.70669 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2014-06-04 | ug/L | 0.59099 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.3198 | DICHLORVOS | E | 0.08 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59099 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.6676 | 0.10834 | 0.6676 | 0.15322 | 0.11358
DICHLORVOS | 4433 | 30218GCM99 | 2014-10-21 | ug/L | 0.74422 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.3198 | DICHLORVOS | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74422 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6676 | 0.10834 | 0.6676 | 0.15322 | 0.11358
DICHLORVOS | 4433 | 30218GCM99 | 2015-11-05 | ug/L | 1.0346 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.4804 | DICHLORVOS | . | 0.08 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0346 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0346 |  | 1.0346 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2015-07-09 | ug/L | 0.79933 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.1201 | DICHLORVOS | . | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79933 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79933 |  | 0.79933 | 0 | 0
DICHLORVOS | 4433 | 30218GCM99 | 2015-09-29 | ug/L | 1.1241 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.1201 | DICHLORVOS | . | 0.08 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1241 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0928 | 0.044157 | 1.0928 | 0.062448 | 0.046292
DICHLORVOS | 4433 | 30218GCM99 | 2016-01-14 | ug/L | 1.0616 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.2402 | DICHLORVOS | . | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0616 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0928 | 0.044157 | 1.0928 | 0.062448 | 0.046292