## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUORANTHENE | 4433 | 34376GCM99 | 2014-08-20 | ug/L | 1.1692 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1692 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2189 | 0.070359 | 1.2189 | 0.099502 | 0.07376
FLUORANTHENE | 4433 | 34376GCM99 | 2014-10-20 | ug/L | 1.2687 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2687 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2189 | 0.070359 | 1.2189 | 0.099502 | 0.07376
FLUORANTHENE | 4433 | 34376GCM99 | 2014-12-03 | ug/L | 1.194 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.0804 | FLUORANTHENE | . | 0.02 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.194 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.194 |  | 1.194 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2011-02-17 | ug/L | 0.80322 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3735 | FLUORANTHENE | . | 0.02 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80322 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-04-15 | ug/L | 0.93007 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91713 | FLUORANTHENE | . | 0.02 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93007 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-05-03 | ug/L | 0.87662 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.36048 | FLUORANTHENE | . | 0.02 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87662 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-07-07 | ug/L | 0.82402 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.92109 | FLUORANTHENE | . | 0.02 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82402 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-16 | ug/L | 0.86648 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86649 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-11-22 | ug/L | 0.86512 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.468 | FLUORANTHENE | . | 0.02 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86512 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-12-08 | ug/L | 0.72752 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72752 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-07 | ug/L | 0.96567 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9175 | FLUORANTHENE | . | 0.02 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96567 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-04-10 | ug/L | 1.0109 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0109 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-04 | ug/L | 0.84905 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9175 | FLUORANTHENE | . | 0.02 | 0.779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84905 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2014-06-05 | ug/L | 0.9204 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9204 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1277 | 0.19952 | 1.1443 | 0.39801 | 0.29504
FLUORANTHENE | 4433 | 34376GCM99 | 2014-09-23 | ug/L | 1.1443 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.0804 | FLUORANTHENE | . | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1443 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1277 | 0.19952 | 1.1443 | 0.39801 | 0.29504
FLUORANTHENE | 4433 | 34376GCM99 | 2015-05-07 | ug/L | 1.3184 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3184 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1277 | 0.19952 | 1.1443 | 0.39801 | 0.29504
FLUORANTHENE | 4433 | 34376GCM99 | 2014-08-20 | ug/L | 1.0814 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.0786 | FLUORANTHENE | . | 0.02 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0814 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99873 | 0.11695 | 0.99873 | 0.16539 | 0.12261
FLUORANTHENE | 4433 | 34376GCM99 | 2015-04-20 | ug/L | 0.91603 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0393 | FLUORANTHENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91603 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99873 | 0.11695 | 0.99873 | 0.16539 | 0.12261
FLUORANTHENE | 4433 | 34376GCM99 | 2015-09-29 | ug/L | 1.7763 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.0304 | FLUORANTHENE | . | 0.02 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7763 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.5214 | 0.36053 | 1.5214 | 0.50987 | 0.37796
FLUORANTHENE | 4433 | 34376GCM99 | 2016-01-26 | ug/L | 1.2664 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.0608 | FLUORANTHENE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2664 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.5214 | 0.36053 | 1.5214 | 0.50987 | 0.37796
FLUORANTHENE | 4433 | 34376GCM99 | 2015-10-02 | ug/L | 1.6776 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.0304 | FLUORANTHENE | . | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6776 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6776 |  | 1.6776 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-05-30 | ug/L | 0.95 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95 |  | 0.95 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2010-12-15 | ug/L | 0.79814 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.36209 | FLUORANTHENE | . | 0.02 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79814 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-02-18 | ug/L | 0.91894 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.35911 | FLUORANTHENE | . | 0.02 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91894 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-06-28 | ug/L | 0.78937 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4569 | FLUORANTHENE | . | 0.02 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78937 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-06 | ug/L | 0.72271 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | . | 0.02 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72271 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-17 | ug/L | 0.9143 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3664 | FLUORANTHENE | . | 0.02 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9143 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-02-01 | ug/L | 0.54039 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | E | 0.02 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54039 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-06 | ug/L | 0.83925 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4656 | FLUORANTHENE | . | 0.02 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83925 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-07 | ug/L | 0.8488 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3664 | FLUORANTHENE | . | 0.02 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8488 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-04 | ug/L | 0.8286 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | . | 0.02 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8286 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-22 | ug/L | 0.66662 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4656 | FLUORANTHENE | . | 0.02 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66662 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2010-05-19 | ug/L | 0.96907 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.40245 | FLUORANTHENE | . | 0.2 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96907 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96907 |  | 0.96907 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2014-09-17 | ug/L | 1.2214 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0393 | FLUORANTHENE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2214 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0941 | 0.17993 | 1.0941 | 0.25445 | 0.18862
FLUORANTHENE | 4433 | 34376GCM99 | 2015-02-26 | ug/L | 0.96692 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.0786 | FLUORANTHENE | . | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96692 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0941 | 0.17993 | 1.0941 | 0.25445 | 0.18862
FLUORANTHENE | 4433 | 34376GCM99 | 2014-07-16 | ug/L | 0.85242 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.0786 | FLUORANTHENE | . | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85242 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85242 |  | 0.85242 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2015-09-30 | ug/L | 1.6776 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.0608 | FLUORANTHENE | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6776 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.509 | 0.23842 | 1.509 | 0.33717 | 0.24994
FLUORANTHENE | 4433 | 34376GCM99 | 2016-01-12 | ug/L | 1.3405 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.1216 | FLUORANTHENE | . | 0.02 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3405 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.509 | 0.23842 | 1.509 | 0.33717 | 0.24994
FLUORANTHENE | 4433 | 34376GCM99 | 2015-10-15 | ug/L | 1.2 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.03 | FLUORANTHENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2 |  | 1.2 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-09-26 | ug/L | 0.93478 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93478 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93478 |  | 0.93478 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-06-12 | ug/L | 0.94783 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.115 | FLUORANTHENE | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94783 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88696 | 0.086083 | 0.88696 | 0.12174 | 0.090244
FLUORANTHENE | 4433 | 34376GCM99 | 2014-02-05 | ug/L | 0.82609 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88696 | 0.086083 | 0.88696 | 0.12174 | 0.090244
FLUORANTHENE | 4433 | 34376GCM99 | 2013-11-14 | ug/L | 0.84783 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84783 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88043 | 0.046116 | 0.88043 | 0.065217 | 0.048345
FLUORANTHENE | 4433 | 34376GCM99 | 2014-04-23 | ug/L | 0.91304 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88043 | 0.046116 | 0.88043 | 0.065217 | 0.048345
FLUORANTHENE | 4433 | 34376GCM99 | 2013-06-14 | ug/L | 1 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.115 | FLUORANTHENE | . | 0.02 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-12 | ug/L | 0.8 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-05-29 | ug/L | 0.872 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.872 |  | 0.872 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-20 | ug/L | 0.738 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.738 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.738 |  | 0.738 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-09-18 | ug/L | 0.956 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.956 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.956 |  | 0.956 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2010-03-11 | ug/L | 0.5563 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.6088 | FLUORANTHENE | . | 0.2 | 0.895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5563 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6387 | 0.11653 | 0.6387 | 0.1648 | 0.12216
FLUORANTHENE | 4433 | 34376GCM99 | 2010-07-23 | ug/L | 0.72109 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.80988 | FLUORANTHENE | . | 0.2 | 0.584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72109 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6387 | 0.11653 | 0.6387 | 0.1648 | 0.12216
FLUORANTHENE | 4433 | 34376GCM99 | 2010-07-15 | ug/L | 0.77035 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | FLUORANTHENE | E | 0.2 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77035 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.80756 | 0.052626 | 0.80756 | 0.074425 | 0.05517
FLUORANTHENE | 4433 | 34376GCM99 | 2010-08-20 | ug/L | 0.84477 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | FLUORANTHENE | E | 0.2 | 0.103 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.80756 | 0.052626 | 0.80756 | 0.074425 | 0.05517
FLUORANTHENE | 4433 | 34376GCM99 | 2011-05-19 | ug/L | 1.0921 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | FLUORANTHENE | . | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0429 | 0.06953 | 1.0429 | 0.09833 | 0.072891
FLUORANTHENE | 4433 | 34376GCM99 | 2011-10-18 | ug/L | 0.99375 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | FLUORANTHENE | . | 0.02 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0429 | 0.06953 | 1.0429 | 0.09833 | 0.072891
FLUORANTHENE | 4433 | 34376GCM99 | 2014-07-08 | ug/L | 0.80846 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.0804 | FLUORANTHENE | . | 0.02 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80846 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0137 | 0.29023 | 1.0137 | 0.41045 | 0.30426
FLUORANTHENE | 4433 | 34376GCM99 | 2014-09-11 | ug/L | 1.2189 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2189 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0137 | 0.29023 | 1.0137 | 0.41045 | 0.30426
FLUORANTHENE | 4433 | 34376GCM99 | 2014-11-05 | ug/L | 1.2214 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.0786 | FLUORANTHENE | . | 0.02 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2214 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.145 | 0.10796 | 1.145 | 0.15267 | 0.11317
FLUORANTHENE | 4433 | 34376GCM99 | 2015-01-27 | ug/L | 1.0687 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0393 | FLUORANTHENE | . | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0687 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.145 | 0.10796 | 1.145 | 0.15267 | 0.11317
FLUORANTHENE | 4433 | 34376GCM99 | 2015-07-22 | ug/L | 1.1667 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.06 | FLUORANTHENE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2015-11-17 | ug/L | 1.0333 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.03 | FLUORANTHENE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-07-31 | ug/L | 1.056 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.912 | 0.20365 | 0.912 | 0.288 | 0.21349
FLUORANTHENE | 4433 | 34376GCM99 | 2013-03-27 | ug/L | 0.768 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.912 | 0.20365 | 0.912 | 0.288 | 0.21349
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-19 | ug/L | 0.77 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | FLUORANTHENE | . | 0.02 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.774 | 0.0056569 | 0.774 | 0.008 | 0.0059303
FLUORANTHENE | 4433 | 34376GCM99 | 2013-02-07 | ug/L | 0.778 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.778 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.774 | 0.0056569 | 0.774 | 0.008 | 0.0059303
FLUORANTHENE | 4433 | 34376GCM99 | 2013-08-01 | ug/L | 0.78182 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.22 | FLUORANTHENE | . | 0.02 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78182 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77727 | 0.0064282 | 0.77727 | 0.0090909 | 0.006739
FLUORANTHENE | 4433 | 34376GCM99 | 2014-04-22 | ug/L | 0.77273 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.044 | FLUORANTHENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77273 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77727 | 0.0064282 | 0.77727 | 0.0090909 | 0.006739
FLUORANTHENE | 4433 | 34376GCM99 | 2013-11-14 | ug/L | 0.97727 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.044 | FLUORANTHENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97727 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97727 |  | 0.97727 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2014-02-05 | ug/L | 0.96364 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.11 | FLUORANTHENE | . | 0.02 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96364 |  | 0.96364 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2014-04-24 | ug/L | 0.86364 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.044 | FLUORANTHENE | . | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86364 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86364 |  | 0.86364 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2014-05-22 | ug/L | 0.74627 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0402 | FLUORANTHENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74627 |  | 0.74627 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2014-04-24 | ug/L | 0.73791 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0393 | FLUORANTHENE | E | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73791 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73791 |  | 0.73791 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2015-11-05 | ug/L | 1.4885 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.1216 | FLUORANTHENE | . | 0.02 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4885 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4885 |  | 1.4885 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2015-09-29 | ug/L | 1.3 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.03 | FLUORANTHENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1333 | 0.2357 | 1.1333 | 0.33333 | 0.2471
FLUORANTHENE | 4433 | 34376GCM99 | 2016-01-14 | ug/L | 0.96667 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.06 | FLUORANTHENE | . | 0.02 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1333 | 0.2357 | 1.1333 | 0.33333 | 0.2471