## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-09-29 | ug/L | 1.4667 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1792 | 0.40659 | 1.1792 | 0.575 | 0.42624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2016-01-26 | ug/L | 0.89167 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.12 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1792 | 0.40659 | 1.1792 | 0.575 | 0.42624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-10-02 | ug/L | 1.45 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.45 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.45 |  | 1.45 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-02-06 | ug/L | 0.774 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.774 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.774 |  | 0.774 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-05-30 | ug/L | 0.97 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97 |  | 0.97 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-08-24 | ug/L | 0.692 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77 | 0.11031 | 0.77 | 0.156 | 0.11564
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-12-18 | ug/L | 0.848 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77 | 0.11031 | 0.77 | 0.156 | 0.11564
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-07-29 | ug/L | 0.976 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.976 |  | 0.976 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-08-18 | ug/L | 0.79883 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.0916 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79883 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79518 | 0.0051587 | 0.79518 | 0.0072955 | 0.0054081
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-09-29 | ug/L | 0.79153 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.1143 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 0.882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79153 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79518 | 0.0051587 | 0.79518 | 0.0072955 | 0.0054081
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-08-21 | ug/L | 1.1481 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1481 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0453 | 0.11991 | 1.0741 | 0.23457 | 0.17388
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-09-23 | ug/L | 0.91358 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91358 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0453 | 0.11991 | 1.0741 | 0.23457 | 0.17388
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-04-22 | ug/L | 1.0741 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.081 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0453 | 0.11991 | 1.0741 | 0.23457 | 0.17388
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-09-30 | ug/L | 1.4917 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.12 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4917 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2083 | 0.40069 | 1.2083 | 0.56667 | 0.42006
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2016-01-12 | ug/L | 0.925 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.24 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2083 | 0.40069 | 1.2083 | 0.56667 | 0.42006
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-10-15 | ug/L | 1.2333 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2333 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2333 |  | 1.2333 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-05-29 | ug/L | 0.824 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.824 |  | 0.824 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-07-15 | ug/L | 0.63637 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.2 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63637 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71802 | 0.11546 | 0.71802 | 0.16329 | 0.12104
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-08-20 | ug/L | 0.79966 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.2 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79966 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71802 | 0.11546 | 0.71802 | 0.16329 | 0.12104
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2011-05-19 | ug/L | 1.0226 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0226 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0144 | 0.01155 | 1.0144 | 0.016334 | 0.012108
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2011-10-18 | ug/L | 1.0063 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0144 | 0.01155 | 1.0144 | 0.016334 | 0.012108
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-07-08 | ug/L | 0.77778 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.162 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98148 | 0.28808 | 0.98148 | 0.40741 | 0.30201
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-09-11 | ug/L | 1.1852 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.081 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1852 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98148 | 0.28808 | 0.98148 | 0.40741 | 0.30201
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-11-05 | ug/L | 1.2531 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.162 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2531 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1759 | 0.10912 | 1.1759 | 0.15432 | 0.1144
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-01-27 | ug/L | 1.0988 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.081 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0988 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1759 | 0.10912 | 1.1759 | 0.15432 | 0.1144
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-07-22 | ug/L | 1.1 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-11-17 | ug/L | 0.96667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-07-31 | ug/L | 1.148 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.148 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.966 | 0.25739 | 0.966 | 0.364 | 0.26983
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-03-27 | ug/L | 0.784 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.784 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.966 | 0.25739 | 0.966 | 0.364 | 0.26983
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-12-19 | ug/L | 0.717 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.717 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7495 | 0.045962 | 0.7495 | 0.065 | 0.048184
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-02-07 | ug/L | 0.782 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.782 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7495 | 0.045962 | 0.7495 | 0.065 | 0.048184
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-08-01 | ug/L | 0.72333 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72333 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77833 | 0.077782 | 0.77833 | 0.11 | 0.081542
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-04-22 | ug/L | 0.83333 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77833 | 0.077782 | 0.77833 | 0.11 | 0.081542
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-11-14 | ug/L | 1.0667 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0667 |  | 1.0667 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-02-05 | ug/L | 0.92 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.15 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92 |  | 0.92 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-04-24 | ug/L | 0.88333 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88333 |  | 0.88333 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-06-04 | ug/L | 0.64198 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64198 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76543 | 0.17459 | 0.76543 | 0.24691 | 0.18303
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2014-10-21 | ug/L | 0.88889 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.162 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76543 | 0.17459 | 0.76543 | 0.24691 | 0.18303
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-11-05 | ug/L | 1.1292 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.24 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1292 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1292 |  | 1.1292 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2015-09-29 | ug/L | 1.3833 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3833 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.15 | 0.32998 | 1.15 | 0.46667 | 0.34594
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2016-01-14 | ug/L | 0.91667 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.12 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.15 | 0.32998 | 1.15 | 0.46667 | 0.34594