## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
INDOLE | 4433 | 62824GCM99 | 2014-08-20 | ug/L | 0.9613 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9613 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97378 | 0.017656 | 0.97378 | 0.024969 | 0.018509
INDOLE | 4433 | 62824GCM99 | 2014-10-20 | ug/L | 0.98627 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98627 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97378 | 0.017656 | 0.97378 | 0.024969 | 0.018509
INDOLE | 4433 | 62824GCM99 | 2014-12-03 | ug/L | 0.98003 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1602 | INDOLE | . | 0.04 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98002 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98002 |  | 0.98002 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2015-11-17 | ug/L | 0.9 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2015-05-08 | ug/L | 1.0167 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0167 |  | 1.0167 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2011-02-17 | ug/L | 0.85107 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.23265 | INDOLE | . | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85107 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-04-15 | ug/L | 1.0293 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.57127 | INDOLE | . | 0.04 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0293 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-05-03 | ug/L | 0.90409 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.22454 | INDOLE | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90409 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-07-07 | ug/L | 0.89588 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.57374 | INDOLE | . | 0.04 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89588 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-08-16 | ug/L | 0.85302 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2286 | INDOLE | . | 0.04 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85302 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-11-22 | ug/L | 0.96675 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9144 | INDOLE | . | 0.04 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96675 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2011-12-08 | ug/L | 0.62992 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2286 | INDOLE | . | 0.04 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62992 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2012-03-07 | ug/L | 0.7804 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5715 | INDOLE | . | 0.04 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7804 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2012-04-10 | ug/L | 1.0542 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2286 | INDOLE | . | 0.04 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2012-05-04 | ug/L | 0.83989 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5715 | INDOLE | . | 0.04 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8399 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88046 | 0.12321 | 0.87445 | 0.12686 | 0.094039
INDOLE | 4433 | 62824GCM99 | 2014-06-05 | ug/L | 0.78652 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78652 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86767 | 0.070898 | 0.89888 | 0.13109 | 0.097173
INDOLE | 4433 | 62824GCM99 | 2014-09-23 | ug/L | 0.9176 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1602 | INDOLE | . | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9176 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86767 | 0.070898 | 0.89888 | 0.13109 | 0.097173
INDOLE | 4433 | 62824GCM99 | 2015-05-07 | ug/L | 0.89888 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86767 | 0.070898 | 0.89888 | 0.13109 | 0.097173
INDOLE | 4433 | 62824GCM99 | 2014-08-20 | ug/L | 0.33835 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1596 | INDOLE | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33835 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.42607 | 0.12405 | 0.42607 | 0.17544 | 0.13005
INDOLE | 4433 | 62824GCM99 | 2015-04-20 | ug/L | 0.51378 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0798 | INDOLE | . | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51378 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.42607 | 0.12405 | 0.42607 | 0.17544 | 0.13005
INDOLE | 4433 | 62824GCM99 | 2015-09-29 | ug/L | 1.1333 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.10017 | 1.0625 | 0.14167 | 0.10502
INDOLE | 4433 | 62824GCM99 | 2016-01-26 | ug/L | 0.99167 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.12 | INDOLE | . | 0.04 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0625 | 0.10017 | 1.0625 | 0.14167 | 0.10502
INDOLE | 4433 | 62824GCM99 | 2015-10-02 | ug/L | 0.91667 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2013-05-30 | ug/L | 0.9 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2 | INDOLE | . | 0.04 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2010-12-15 | ug/L | 0.69296 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.22512 | INDOLE | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69296 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2011-02-18 | ug/L | 0.92714 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.22327 | INDOLE | . | 0.04 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92714 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2011-06-28 | ug/L | 0.87109 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.90577 | INDOLE | . | 0.04 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87109 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2011-08-06 | ug/L | 0.74451 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5695 | INDOLE | . | 0.04 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74451 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2011-08-17 | ug/L | 0.88235 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2278 | INDOLE | . | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2012-02-01 | ug/L | 0.54785 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5695 | INDOLE | E | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54785 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2012-03-06 | ug/L | 0.89004 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9112 | INDOLE | . | 0.04 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89004 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2012-03-07 | ug/L | 0.8604 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2278 | INDOLE | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8604 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2012-05-04 | ug/L | 0.88674 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5695 | INDOLE | . | 0.04 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88674 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2012-05-22 | ug/L | 0.88674 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9112 | INDOLE | . | 0.04 | 0.808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88674 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81898 | 0.11987 | 0.87672 | 0.14223 | 0.10543
INDOLE | 4433 | 62824GCM99 | 2014-09-17 | ug/L | 0.82707 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0798 | INDOLE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82707 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81454 | 0.017722 | 0.81454 | 0.025063 | 0.018579
INDOLE | 4433 | 62824GCM99 | 2015-02-26 | ug/L | 0.80201 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1596 | INDOLE | . | 0.04 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80201 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81454 | 0.017722 | 0.81454 | 0.025063 | 0.018579
INDOLE | 4433 | 62824GCM99 | 2014-07-16 | ug/L | 0.8208 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1596 | INDOLE | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8208 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8208 |  | 0.8208 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2015-10-16 | ug/L | 0.9375 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.24 | INDOLE | . | 0.04 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9375 |  | 0.9375 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2016-01-13 | ug/L | 0.56667 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.12 | INDOLE | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56667 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56667 |  | 0.56667 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2013-09-26 | ug/L | 0.81481 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81481 |  | 0.81481 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2013-06-12 | ug/L | 0.82222 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.135 | INDOLE | . | 0.04 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82222 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80926 | 0.018332 | 0.80926 | 0.025926 | 0.019219
INDOLE | 4433 | 62824GCM99 | 2014-02-05 | ug/L | 0.7963 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7963 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80926 | 0.018332 | 0.80926 | 0.025926 | 0.019219
INDOLE | 4433 | 62824GCM99 | 2013-11-14 | ug/L | 0.61111 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71296 | 0.14404 | 0.71296 | 0.2037 | 0.151
INDOLE | 4433 | 62824GCM99 | 2014-04-23 | ug/L | 0.81481 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71296 | 0.14404 | 0.71296 | 0.2037 | 0.151
INDOLE | 4433 | 62824GCM99 | 2013-06-14 | ug/L | 0.80741 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.135 | INDOLE | . | 0.04 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80741 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80741 |  | 0.80741 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2012-12-12 | ug/L | 0.795 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2 | INDOLE | . | 0.04 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.795 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.795 |  | 0.795 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2013-05-29 | ug/L | 0.92 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1 | INDOLE | . | 0.04 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92 |  | 0.92 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2012-12-20 | ug/L | 0.71 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | INDOLE | . | 0.04 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71 |  | 0.71 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2012-09-18 | ug/L | 0.871 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1 | INDOLE | . | 0.04 | 0.871 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.871 |  | 0.871 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2010-07-15 | ug/L | 0.32656 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | INDOLE | E | 0.2 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32656 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37652 | 0.070659 | 0.37652 | 0.099927 | 0.074075
INDOLE | 4433 | 62824GCM99 | 2010-08-20 | ug/L | 0.42649 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | INDOLE | E | 0.2 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42649 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37652 | 0.070659 | 0.37652 | 0.099927 | 0.074075
INDOLE | 4433 | 62824GCM99 | 2011-05-19 | ug/L | 0.19029 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.12087 | INDOLE | . | 0.04 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19029 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.16025 | 0.042482 | 0.16025 | 0.060078 | 0.044535
INDOLE | 4433 | 62824GCM99 | 2011-10-18 | ug/L | 0.13021 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.192 | INDOLE | . | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13021 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.16025 | 0.042482 | 0.16025 | 0.060078 | 0.044535
INDOLE | 4433 | 62824GCM99 | 2010-07-20 | ug/L | 0.48189 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.39428 | INDOLE | E | 0.2 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48189 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69344 | 0.18326 | 0.79474 | 0.32179 | 0.23854
INDOLE | 4433 | 62824GCM99 | 2010-08-20 | ug/L | 0.80368 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.10079 | INDOLE | E | 0.2 | 0.081 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.80368 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.69344 | 0.18326 | 0.79474 | 0.32179 | 0.23854
INDOLE | 4433 | 62824GCM99 | 2010-08-20 | ug/L | 0.79474 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.19629 | INDOLE | E | 0.2 | 0.156 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79474 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.69344 | 0.18326 | 0.79474 | 0.32179 | 0.23854
INDOLE | 4433 | 62824GCM99 | 2014-07-08 | ug/L | 0.83021 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.1602 | INDOLE | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83021 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93945 | 0.15449 | 0.93945 | 0.21848 | 0.16195
INDOLE | 4433 | 62824GCM99 | 2014-09-11 | ug/L | 1.0487 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93945 | 0.15449 | 0.93945 | 0.21848 | 0.16195
INDOLE | 4433 | 62824GCM99 | 2014-11-05 | ug/L | 0.8396 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.1596 | INDOLE | . | 0.04 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8396 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85213 | 0.017722 | 0.85213 | 0.025063 | 0.018579
INDOLE | 4433 | 62824GCM99 | 2015-01-27 | ug/L | 0.86466 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0798 | INDOLE | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86466 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85213 | 0.017722 | 0.85213 | 0.025063 | 0.018579
INDOLE | 4433 | 62824GCM99 | 2015-07-22 | ug/L | 1.0083 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | INDOLE | . | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0083 |  | 1.0083 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2015-11-17 | ug/L | 0.86667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86667 |  | 0.86667 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2012-07-31 | ug/L | 1 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1 | INDOLE | . | 0.04 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8225 | 0.25102 | 0.8225 | 0.355 | 0.26316
INDOLE | 4433 | 62824GCM99 | 2013-03-27 | ug/L | 0.645 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1 | INDOLE | . | 0.04 | 0.645 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8225 | 0.25102 | 0.8225 | 0.355 | 0.26316
INDOLE | 4433 | 62824GCM99 | 2012-12-19 | ug/L | 0.8775 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4 | INDOLE | . | 0.04 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8775 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74125 | 0.19269 | 0.74125 | 0.2725 | 0.202
INDOLE | 4433 | 62824GCM99 | 2013-02-07 | ug/L | 0.605 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2 | INDOLE | . | 0.04 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.605 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74125 | 0.19269 | 0.74125 | 0.2725 | 0.202
INDOLE | 4433 | 62824GCM99 | 2013-08-01 | ug/L | 0.72963 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.27 | INDOLE | . | 0.04 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72963 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76296 | 0.04714 | 0.76296 | 0.066667 | 0.049419
INDOLE | 4433 | 62824GCM99 | 2014-04-22 | ug/L | 0.7963 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7963 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76296 | 0.04714 | 0.76296 | 0.066667 | 0.049419
INDOLE | 4433 | 62824GCM99 | 2013-11-14 | ug/L | 0.98148 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98148 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98148 |  | 0.98148 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2014-02-05 | ug/L | 0.85926 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.135 | INDOLE | . | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85926 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85926 |  | 0.85926 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2014-04-24 | ug/L | 0.77778 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.054 | INDOLE | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77778 |  | 0.77778 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2014-05-22 | ug/L | 0.76155 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0801 | INDOLE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76155 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76155 |  | 0.76155 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2014-04-24 | ug/L | 0.6391 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0798 | INDOLE | E | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6391 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6391 |  | 0.6391 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2015-07-09 | ug/L | 0.85 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.06 | INDOLE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
INDOLE | 4433 | 62824GCM99 | 2010-05-13 | ug/L | 0.53114 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.20333 | INDOLE | E | 0.2 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53114 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62068 | 0.12662 | 0.62068 | 0.17906 | 0.13274
INDOLE | 4433 | 62824GCM99 | 2010-08-18 | ug/L | 0.71021 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.4196 | INDOLE | . | 0.2 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71021 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62068 | 0.12662 | 0.62068 | 0.17906 | 0.13274