## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOBORNEOL | 4433 | 62825GCM99 | 2014-08-20 | ug/L | 0.94771 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1836 | ISOBORNEOL | . | 0.09 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94771 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97495 | 0.038513 | 0.97495 | 0.054466 | 0.040375
ISOBORNEOL | 4433 | 62825GCM99 | 2014-10-20 | ug/L | 1.0022 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1836 | ISOBORNEOL | E | 0.09 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.97495 | 0.038513 | 0.97495 | 0.054466 | 0.040375
ISOBORNEOL | 4433 | 62825GCM99 | 2013-10-22 | ug/L | 0.78571 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.196 | ISOBORNEOL | . | 0.09 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82653 | 0.057723 | 0.82653 | 0.081633 | 0.060513
ISOBORNEOL | 4433 | 62825GCM99 | 2014-04-23 | ug/L | 0.86735 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.196 | ISOBORNEOL | . | 0.09 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86735 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82653 | 0.057723 | 0.82653 | 0.081633 | 0.060513
ISOBORNEOL | 4433 | 62825GCM99 | 2015-09-29 | ug/L | 1.1004 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.1354 | ISOBORNEOL | . | 0.09 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0875 | 0.018278 | 1.0875 | 0.025849 | 0.019162
ISOBORNEOL | 4433 | 62825GCM99 | 2016-01-26 | ug/L | 1.0746 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.2708 | ISOBORNEOL | . | 0.09 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0746 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0875 | 0.018278 | 1.0875 | 0.025849 | 0.019162
ISOBORNEOL | 4433 | 62825GCM99 | 2015-10-02 | ug/L | 1.0931 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.1354 | ISOBORNEOL | . | 0.09 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0931 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0931 |  | 1.0931 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-02-06 | ug/L | 0.68807 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0928 | ISOBORNEOL | . | 0.09 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68807 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68807 |  | 0.68807 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-05-30 | ug/L | 1.0321 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0464 | ISOBORNEOL | . | 0.09 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0321 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0321 |  | 1.0321 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2014-09-17 | ug/L | 1.1438 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1836 | ISOBORNEOL | . | 0.09 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1438 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97222 | 0.24263 | 0.97222 | 0.34314 | 0.25436
ISOBORNEOL | 4433 | 62825GCM99 | 2015-02-26 | ug/L | 0.80065 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.3672 | ISOBORNEOL | . | 0.09 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80065 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97222 | 0.24263 | 0.97222 | 0.34314 | 0.25436
ISOBORNEOL | 4433 | 62825GCM99 | 2014-07-16 | ug/L | 0.88859 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.36012 | ISOBORNEOL | . | 0.09 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88859 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88859 |  | 0.88859 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-12-04 | ug/L | 1.0437 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2012 | ISOBORNEOL | . | 0.09 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9841 | 0.084347 | 0.9841 | 0.11928 | 0.088424
ISOBORNEOL | 4433 | 62825GCM99 | 2014-04-23 | ug/L | 0.92445 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2012 | ISOBORNEOL | . | 0.09 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92445 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9841 | 0.084347 | 0.9841 | 0.11928 | 0.088424
ISOBORNEOL | 4433 | 62825GCM99 | 2012-08-24 | ug/L | 0.732 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | ISOBORNEOL | . | 0.09 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.732 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.842 | 0.15556 | 0.842 | 0.22 | 0.16308
ISOBORNEOL | 4433 | 62825GCM99 | 2012-12-18 | ug/L | 0.952 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | ISOBORNEOL | . | 0.09 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.842 | 0.15556 | 0.842 | 0.22 | 0.16308
ISOBORNEOL | 4433 | 62825GCM99 | 2010-12-15 | ug/L | 0.79516 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.73193 | ISOBORNEOL | . | 0.08 | 0.582 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79516 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2011-04-14 | ug/L | 0.99052 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.2948 | ISOBORNEOL | . | 0.08 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99052 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2011-07-07 | ug/L | 0.7551 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.294 | ISOBORNEOL | . | 0.08 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7551 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2011-08-17 | ug/L | 1.0034 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.176 | ISOBORNEOL | . | 0.08 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2011-11-22 | ug/L | 0.90136 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.294 | ISOBORNEOL | . | 0.09 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90136 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2012-01-16 | ug/L | 0.82993 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.176 | ISOBORNEOL | . | 0.09 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82993 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2012-03-06 | ug/L | 0.78095 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.735 | ISOBORNEOL | E | 0.09 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78095 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2012-03-07 | ug/L | 0.96599 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.294 | ISOBORNEOL | E | 0.09 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96599 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2012-04-10 | ug/L | 1.5102 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.735 | ISOBORNEOL | E | 0.09 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5102 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2012-07-27 | ug/L | 0.95238 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.176 | ISOBORNEOL | . | 0.09 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9485 | 0.21753 | 0.92687 | 0.19535 | 0.14481
ISOBORNEOL | 4433 | 62825GCM99 | 2014-07-17 | ug/L | 0.86601 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1836 | ISOBORNEOL | . | 0.09 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86601 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99265 | 0.17909 | 0.99265 | 0.25327 | 0.18774
ISOBORNEOL | 4433 | 62825GCM99 | 2014-12-04 | ug/L | 1.1193 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3672 | ISOBORNEOL | . | 0.09 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1193 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99265 | 0.17909 | 0.99265 | 0.25327 | 0.18774
ISOBORNEOL | 4433 | 62825GCM99 | 2014-08-21 | ug/L | 0.94227 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1836 | ISOBORNEOL | . | 0.09 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94227 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96314 | 0.07176 | 0.94227 | 0.13889 | 0.10296
ISOBORNEOL | 4433 | 62825GCM99 | 2014-09-23 | ug/L | 1.043 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.3672 | ISOBORNEOL | E | 0.09 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.043 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.96314 | 0.07176 | 0.94227 | 0.13889 | 0.10296
ISOBORNEOL | 4433 | 62825GCM99 | 2015-04-22 | ug/L | 0.90414 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1836 | ISOBORNEOL | . | 0.09 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90414 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.96314 | 0.07176 | 0.94227 | 0.13889 | 0.10296
ISOBORNEOL | 4433 | 62825GCM99 | 2015-09-30 | ug/L | 1.0007 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.2708 | ISOBORNEOL | . | 0.09 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0007 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98597 | 0.020889 | 0.98597 | 0.029542 | 0.021899
ISOBORNEOL | 4433 | 62825GCM99 | 2016-01-12 | ug/L | 0.9712 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.5416 | ISOBORNEOL | . | 0.09 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9712 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98597 | 0.020889 | 0.98597 | 0.029542 | 0.021899
ISOBORNEOL | 4433 | 62825GCM99 | 2015-10-15 | ug/L | 1.0588 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.136 | ISOBORNEOL | . | 0.09 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0588 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0588 |  | 1.0588 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-09-26 | ug/L | 1.0388 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2012 | ISOBORNEOL | . | 0.09 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0388 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0388 |  | 1.0388 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-06-12 | ug/L | 1.1041 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.49 | ISOBORNEOL | . | 0.09 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1041 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9551 | 0.21069 | 0.9551 | 0.29796 | 0.22087
ISOBORNEOL | 4433 | 62825GCM99 | 2014-02-05 | ug/L | 0.80612 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.196 | ISOBORNEOL | . | 0.09 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80612 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9551 | 0.21069 | 0.9551 | 0.29796 | 0.22087
ISOBORNEOL | 4433 | 62825GCM99 | 2012-12-12 | ug/L | 0.81518 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0464 | ISOBORNEOL | . | 0.09 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81518 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81518 |  | 0.81518 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2012-12-20 | ug/L | 0.827 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | ISOBORNEOL | . | 0.09 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.827 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.827 |  | 0.827 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2010-07-15 | ug/L | 0.67196 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | ISOBORNEOL | . | 0.2 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67196 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6866 | 0.020706 | 0.6866 | 0.029283 | 0.021707
ISOBORNEOL | 4433 | 62825GCM99 | 2010-08-20 | ug/L | 0.70124 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | ISOBORNEOL | . | 0.2 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70124 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6866 | 0.020706 | 0.6866 | 0.029283 | 0.021707
ISOBORNEOL | 4433 | 62825GCM99 | 2011-05-19 | ug/L | 1.1616 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | ISOBORNEOL | . | 0.08 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99876 | 0.23026 | 0.99876 | 0.32564 | 0.24139
ISOBORNEOL | 4433 | 62825GCM99 | 2011-10-18 | ug/L | 0.83594 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | ISOBORNEOL | . | 0.09 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83594 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99876 | 0.23026 | 0.99876 | 0.32564 | 0.24139
ISOBORNEOL | 4433 | 62825GCM99 | 2010-07-20 | ug/L | 0.67769 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.74961 | ISOBORNEOL | E | 0.2 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67769 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71912 | 0.052096 | 0.70206 | 0.099917 | 0.074068
ISOBORNEOL | 4433 | 62825GCM99 | 2010-08-20 | ug/L | 0.7776 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.19161 | ISOBORNEOL | E | 0.2 | 0.149 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7776 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.71912 | 0.052096 | 0.70206 | 0.099917 | 0.074068
ISOBORNEOL | 4433 | 62825GCM99 | 2010-08-20 | ug/L | 0.70206 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.37319 | ISOBORNEOL | . | 0.2 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70206 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71912 | 0.052096 | 0.70206 | 0.099917 | 0.074068
ISOBORNEOL | 4433 | 62825GCM99 | 2015-07-22 | ug/L | 0.98897 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.272 | ISOBORNEOL | . | 0.09 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98897 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98897 |  | 0.98897 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2015-11-17 | ug/L | 1.1838 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.136 | ISOBORNEOL | . | 0.09 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1838 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1838 |  | 1.1838 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2012-07-31 | ug/L | 0.96713 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5232 | ISOBORNEOL | . | 0.09 | 0.506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96713 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84002 | 0.17975 | 0.84002 | 0.2542 | 0.18844
ISOBORNEOL | 4433 | 62825GCM99 | 2013-03-27 | ug/L | 0.71292 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5232 | ISOBORNEOL | . | 0.09 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71292 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84002 | 0.17975 | 0.84002 | 0.2542 | 0.18844
ISOBORNEOL | 4433 | 62825GCM99 | 2013-08-01 | ug/L | 0.77336 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.006 | ISOBORNEOL | . | 0.09 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77336 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77932 | 0.0084347 | 0.77932 | 0.011928 | 0.0088424
ISOBORNEOL | 4433 | 62825GCM99 | 2014-04-22 | ug/L | 0.78529 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2012 | ISOBORNEOL | . | 0.09 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78529 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77932 | 0.0084347 | 0.77932 | 0.011928 | 0.0088424
ISOBORNEOL | 4433 | 62825GCM99 | 2013-11-14 | ug/L | 0.93878 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.196 | ISOBORNEOL | . | 0.09 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93878 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93878 |  | 0.93878 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2013-03-28 | ug/L | 0.71 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | ISOBORNEOL | . | 0.09 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71 |  | 0.71 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2014-05-22 | ug/L | 0.79418 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.18006 | ISOBORNEOL | . | 0.09 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79418 |  | 0.79418 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2014-07-09 | ug/L | 0.81084 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.18006 | ISOBORNEOL | . | 0.09 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81084 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88582 | 0.10603 | 0.88582 | 0.14995 | 0.11116
ISOBORNEOL | 4433 | 62825GCM99 | 2015-04-21 | ug/L | 0.96079 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.18006 | ISOBORNEOL | . | 0.09 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96079 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88582 | 0.10603 | 0.88582 | 0.14995 | 0.11116
ISOBORNEOL | 4433 | 62825GCM99 | 2014-04-24 | ug/L | 0.65534 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.18006 | ISOBORNEOL | E | 0.09 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65534 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65534 |  | 0.65534 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2014-06-04 | ug/L | 0.68311 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.36012 | ISOBORNEOL | E | 0.09 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68311 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83861 | 0.21992 | 0.83861 | 0.31101 | 0.23055
ISOBORNEOL | 4433 | 62825GCM99 | 2014-10-21 | ug/L | 0.99411 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.36012 | ISOBORNEOL | E | 0.09 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99411 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83861 | 0.21992 | 0.83861 | 0.31101 | 0.23055
ISOBORNEOL | 4433 | 62825GCM99 | 2015-11-05 | ug/L | 1.0266 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.5416 | ISOBORNEOL | . | 0.09 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0266 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0266 |  | 1.0266 | 0 | 0
ISOBORNEOL | 4433 | 62825GCM99 | 2015-09-29 | ug/L | 0.99265 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.136 | ISOBORNEOL | . | 0.09 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99265 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0735 | 0.11438 | 1.0735 | 0.16176 | 0.11991
ISOBORNEOL | 4433 | 62825GCM99 | 2016-01-14 | ug/L | 1.1544 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.272 | ISOBORNEOL | . | 0.09 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1544 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0735 | 0.11438 | 1.0735 | 0.16176 | 0.11991
ISOBORNEOL | 4433 | 62825GCM99 | 2011-02-03 | ug/L | 0.67665 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.31774 | ISOBORNEOL | . | 0.08 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67665 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2011-04-26 | ug/L | 0.73468 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3185 | ISOBORNEOL | . | 0.08 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73468 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2011-06-29 | ug/L | 0.8226 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.2643 | ISOBORNEOL | . | 0.08 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8226 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2011-08-07 | ug/L | 0.871 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.2744 | ISOBORNEOL | . | 0.08 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2011-10-04 | ug/L | 1.1676 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3186 | ISOBORNEOL | . | 0.09 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1676 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2011-11-22 | ug/L | 0.81858 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.7965 | ISOBORNEOL | . | 0.09 | 0.652 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81858 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2012-03-01 | ug/L | 0.99498 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3186 | ISOBORNEOL | E | 0.09 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99498 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2012-07-26 | ug/L | 0.65599 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3186 | ISOBORNEOL | . | 0.09 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65599 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84276 | 0.17098 | 0.82059 | 0.22732 | 0.16851
ISOBORNEOL | 4433 | 62825GCM99 | 2010-05-13 | ug/L | 0.46801 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.38674 | ISOBORNEOL | E | 0.2 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46801 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.49025 | 0.031449 | 0.49025 | 0.044475 | 0.032969
ISOBORNEOL | 4433 | 62825GCM99 | 2010-08-18 | ug/L | 0.51249 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.79807 | ISOBORNEOL | . | 0.2 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51249 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.49025 | 0.031449 | 0.49025 | 0.044475 | 0.032969