## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPHORONE | 4433 | 34408GCM99 | 2014-08-20 | ug/L | 0.8631 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8631 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89286 | 0.04209 | 0.89286 | 0.059524 | 0.044124
ISOPHORONE | 4433 | 34408GCM99 | 2014-10-20 | ug/L | 0.92262 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92262 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89286 | 0.04209 | 0.89286 | 0.059524 | 0.044124
ISOPHORONE | 4433 | 34408GCM99 | 2014-12-03 | ug/L | 1.0075 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0075 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0075 |  | 1.0075 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-01 | ug/L | 1.0686 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.1516 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0686 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0422 | 0.037314 | 1.0422 | 0.05277 | 0.039118
ISOPHORONE | 4433 | 34408GCM99 | 2015-11-17 | ug/L | 1.0158 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0758 | ISOPHORONE | . | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0158 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0422 | 0.037314 | 1.0422 | 0.05277 | 0.039118
ISOPHORONE | 4433 | 34408GCM99 | 2015-05-08 | ug/L | 1.1052 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1052 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1052 |  | 1.1052 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-17 | ug/L | 0.77714 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.59963 | ISOPHORONE | . | 0.04 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77714 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-04-15 | ug/L | 0.9712 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4724 | ISOPHORONE | . | 0.04 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9712 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-03 | ug/L | 0.87606 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.57873 | ISOPHORONE | . | 0.04 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87606 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-07-07 | ug/L | 0.77767 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4788 | ISOPHORONE | . | 0.04 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77767 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-16 | ug/L | 0.7926 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.04 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7926 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-11-22 | ug/L | 0.90377 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3568 | ISOPHORONE | . | 0.05 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90377 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-12-08 | ug/L | 0.74168 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74168 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | ug/L | 0.93686 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93686 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-04-10 | ug/L | 0.9776 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9776 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | ug/L | 0.81466 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81466 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-06 | ug/L | 0.7619 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.378 | ISOPHORONE | . | 0.05 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7619 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7619 |  | 0.7619 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-10-22 | ug/L | 0.77632 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77632 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78947 | 0.018608 | 0.78947 | 0.026316 | 0.019508
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-23 | ug/L | 0.80263 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80263 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78947 | 0.018608 | 0.78947 | 0.026316 | 0.019508
ISOPHORONE | 4433 | 34408GCM99 | 2013-02-06 | ug/L | 0.83966 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0016 | ISOPHORONE | . | 0.05 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83966 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83966 |  | 0.83966 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-05-30 | ug/L | 0.97045 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97045 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97045 |  | 0.97045 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2010-12-15 | ug/L | 0.86234 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.57634 | ISOPHORONE | . | 0.04 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86234 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-18 | ug/L | 0.87824 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5716 | ISOPHORONE | . | 0.04 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87824 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-06-28 | ug/L | 0.89698 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3189 | ISOPHORONE | . | 0.04 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89698 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-06 | ug/L | 0.76132 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.04 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76132 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-17 | ug/L | 0.87792 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.04 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87791 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-02-01 | ug/L | 0.5439 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | E | 0.05 | 0.793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5439 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-06 | ug/L | 0.84019 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84019 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | ug/L | 0.91049 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.05 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91049 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | ug/L | 0.91907 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.05 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91907 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-22 | ug/L | 0.84448 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84448 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2010-05-19 | ug/L | 0.84745 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.1947 | ISOPHORONE | E | 0.2 | 0.165 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84745 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.84745 |  | 0.84745 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-17 | ug/L | 0.9127 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9127 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84077 | 0.10172 | 0.84077 | 0.14385 | 0.10663
ISOPHORONE | 4433 | 34408GCM99 | 2015-02-26 | ug/L | 0.76885 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76885 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84077 | 0.10172 | 0.84077 | 0.14385 | 0.10663
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-16 | ug/L | 0.91228 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91228 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91228 |  | 0.91228 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-12-04 | ug/L | 1.0239 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0239 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99734 | 0.037612 | 0.99734 | 0.053191 | 0.03943
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-23 | ug/L | 0.97074 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97074 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99734 | 0.037612 | 0.99734 | 0.053191 | 0.03943
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-16 | ug/L | 0.93668 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.3032 | ISOPHORONE | . | 0.05 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93668 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93668 |  | 0.93668 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-13 | ug/L | 1.1585 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1502 | ISOPHORONE | . | 0.05 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1585 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1585 |  | 1.1585 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2012-08-24 | ug/L | 0.78 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87 | 0.12728 | 0.87 | 0.18 | 0.13343
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-18 | ug/L | 0.96 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87 | 0.12728 | 0.87 | 0.18 | 0.13343
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-17 | ug/L | 0.80357 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80357 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85813 | 0.077164 | 0.85813 | 0.10913 | 0.080895
ISOPHORONE | 4433 | 34408GCM99 | 2014-12-04 | ug/L | 0.9127 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9127 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85813 | 0.077164 | 0.85813 | 0.10913 | 0.080895
ISOPHORONE | 4433 | 34408GCM99 | 2014-08-21 | ug/L | 0.87302 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87302 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85979 | 0.099866 | 0.87302 | 0.19841 | 0.14708
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-23 | ug/L | 0.95238 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85979 | 0.099866 | 0.87302 | 0.19841 | 0.14708
ISOPHORONE | 4433 | 34408GCM99 | 2015-04-22 | ug/L | 0.75397 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75397 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85979 | 0.099866 | 0.87302 | 0.19841 | 0.14708
ISOPHORONE | 4433 | 34408GCM99 | 2015-09-30 | ug/L | 1.0686 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1516 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0686 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0257 | 0.060636 | 1.0257 | 0.085752 | 0.063567
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-12 | ug/L | 0.98285 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.3032 | ISOPHORONE | . | 0.05 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98285 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0257 | 0.060636 | 1.0257 | 0.085752 | 0.063567
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-15 | ug/L | 1.0686 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.0758 | ISOPHORONE | . | 0.05 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0686 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0686 |  | 1.0686 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-09-26 | ug/L | 0.98404 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98404 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98404 |  | 0.98404 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-06-12 | ug/L | 0.86842 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.19 | ISOPHORONE | . | 0.05 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86842 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84211 | 0.037216 | 0.84211 | 0.052632 | 0.039015
ISOPHORONE | 4433 | 34408GCM99 | 2014-02-05 | ug/L | 0.81579 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81579 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84211 | 0.037216 | 0.84211 | 0.052632 | 0.039015
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-12 | ug/L | 0.84065 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84065 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84065 |  | 0.84065 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-20 | ug/L | 0.912 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | ISOPHORONE | . | 0.05 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.912 |  | 0.912 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2010-03-11 | ug/L | 0.76382 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.78029 | ISOPHORONE | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76382 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7116 | 0.073847 | 0.7116 | 0.10444 | 0.077417
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-23 | ug/L | 0.65938 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.39279 | ISOPHORONE | . | 0.2 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65938 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7116 | 0.073847 | 0.7116 | 0.10444 | 0.077417
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-15 | ug/L | 0.66568 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPHORONE | E | 0.2 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66568 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75933 | 0.13244 | 0.75933 | 0.18729 | 0.13884
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-20 | ug/L | 0.85297 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPHORONE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85297 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75933 | 0.13244 | 0.75933 | 0.18729 | 0.13884
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-19 | ug/L | 1.1765 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPHORONE | . | 0.04 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1117 | 0.091636 | 1.1117 | 0.12959 | 0.096066
ISOPHORONE | 4433 | 34408GCM99 | 2011-10-18 | ug/L | 1.0469 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPHORONE | . | 0.05 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1117 | 0.091636 | 1.1117 | 0.12959 | 0.096066
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-31 | ug/L | 0.97045 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97045 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86861 | 0.14402 | 0.86861 | 0.20367 | 0.15098
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-27 | ug/L | 0.76677 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76677 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86861 | 0.14402 | 0.86861 | 0.20367 | 0.15098
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-01 | ug/L | 0.80053 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.376 | ISOPHORONE | . | 0.05 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80053 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79255 | 0.011284 | 0.79255 | 0.015957 | 0.011829
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-22 | ug/L | 0.78457 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78457 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79255 | 0.011284 | 0.79255 | 0.015957 | 0.011829
ISOPHORONE | 4433 | 34408GCM99 | 2013-11-14 | ug/L | 0.97368 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97368 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97368 |  | 0.97368 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-28 | ug/L | 0.764 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | ISOPHORONE | . | 0.05 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.764 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.764 |  | 0.764 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2014-05-22 | ug/L | 0.7619 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7619 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7619 |  | 0.7619 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-09 | ug/L | 0.84211 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84211 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0025 | 0.22684 | 1.0025 | 0.3208 | 0.23781
ISOPHORONE | 4433 | 34408GCM99 | 2015-04-21 | ug/L | 1.1629 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1629 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0025 | 0.22684 | 1.0025 | 0.3208 | 0.23781
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-24 | ug/L | 0.77193 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.09975 | ISOPHORONE | E | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77193 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77193 |  | 0.77193 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2014-06-04 | ug/L | 0.70175 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1995 | ISOPHORONE | E | 0.05 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70175 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75689 | 0.077977 | 0.75689 | 0.11028 | 0.081746
ISOPHORONE | 4433 | 34408GCM99 | 2014-10-21 | ug/L | 0.81203 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81203 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75689 | 0.077977 | 0.75689 | 0.11028 | 0.081746
ISOPHORONE | 4433 | 34408GCM99 | 2015-11-05 | ug/L | 0.94208 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.3004 | ISOPHORONE | . | 0.05 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94208 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94208 |  | 0.94208 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2015-07-09 | ug/L | 0.94541 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94541 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94541 |  | 0.94541 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2015-09-29 | ug/L | 1.0919 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0919 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1085 | 0.023539 | 1.1085 | 0.033289 | 0.024677
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-14 | ug/L | 1.1252 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1502 | ISOPHORONE | . | 0.05 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1252 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1085 | 0.023539 | 1.1085 | 0.033289 | 0.024677